## BoQ1
Government eProcurement System Created By: Arun Raj N Created Date/Time: 13-May-2026 04:50 PM Tender Title: Modification of old Terminal Building for Cargo operations at Tuticorin Airport Tuticorin SH Civil and Electrical Works Tender ID: 2026_AAI_274675_1
Tender Inviting Authority: Senior Manager(E-C), Airports Authority of India, Thoothukudi Airport.
Name of Work: Modification of old Terminal Building for Cargo operations at Tuticorin Airport, Tuticorin (SH: Civil and Electrical Works).
Contract No: 2026_AAI_274675_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | THREEKAY BUILDERS (GSTN-33AACFT8964C1Z5) BID ID -1018761 |  | YASEES ASSOCIATES (GSTN-32ADRPY2271K2ZY) BID ID -1018765 |  | PPS Saw Mill (GSTN-NA) BID ID -1017479
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge. | 82.00 | sqm | 100.00 | 97.00 | 7954.00 | 200.00 | 16400.00 | 250.00 | 20500.00 | 7954.00 | THREEKAY BUILDERS
2.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparentor dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC15) | 635.00 | Kg | 10.00 | 1000.00 | 635000.00 | 500.00 | 317500.00 | 380.00 | 241300.00 | 241300.00 | PPS Saw Mill
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS:1868, Minimum anodic coating of grade AC15) | 71.00 | Kg | 10.00 | 1000.00 | 71000.00 | 529.00 | 37559.00 | 380.00 | 26980.00 | 26980.00 | PPS Saw Mill
4.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides | 184.00 | Sqm | 10.00 | 110.00 | 20240.00 | 950.00 | 174800.00 | 675.00 | 124200.00 | 20240.00 | THREEKAY BUILDERS
5.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 6.00 | Nos | 10.00 | 520.00 | 3120.00 | 1029.00 | 6174.00 | 1000.00 | 6000.00 | 3120.00 | THREEKAY BUILDERS
6.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 12.00 | Nos | 10.00 | 75.00 | 900.00 | 103.00 | 1236.00 | 120.00 | 1440.00 | 900.00 | THREEKAY BUILDERS
7.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Single rubber stopper | 12.00 | Nos | 10.00 | 40.00 | 480.00 | 114.00 | 1368.00 | 120.00 | 1440.00 | 480.00 | THREEKAY BUILDERS
8.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 6.00 | Nos | 10.00 | 1100.00 | 6600.00 | 1617.00 | 9702.00 | 1300.00 | 7800.00 | 6600.00 | THREEKAY BUILDERS
9.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge All kinds of soil | 297.00 | cum | 10.00 | 175.00 | 51975.00 | 262.00 | 77814.00 | 90.00 | 26730.00 | 26730.00 | PPS Saw Mill
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 113.00 | Sqm | 10.00 | 375.00 | 42375.00 | 365.00 | 41245.00 | 350.00 | 39550.00 | 39550.00 | PPS Saw Mill
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 173.00 | Sqm | 10.00 | 567.00 | 98091.00 | 641.00 | 110893.00 | 350.00 | 60550.00 | 60550.00 | PPS Saw Mill
12.00 | Centering and shuttering including strutting, propping etc. and removalof form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 158.00 | Sqm | 10.00 | 567.00 | 89586.00 | 792.00 | 125136.00 | 350.00 | 55300.00 | 55300.00 | PPS Saw Mill
13.00 | Providing and laying in position cement concrete of specified gradeexcluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mmnominal size derived from natural sources) | 48.00 | Cum | 10.00 | 4840.00 | 232320.00 | 6500.00 | 312000.00 | 4700.00 | 225600.00 | 225600.00 | PPS Saw Mill
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 36.00 | Cum | 10.00 | 6100.00 | 219600.00 | 10000.00 | 360000.00 | 5800.00 | 208800.00 | 208800.00 | PPS Saw Mill
15.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cementcontent of 330 kg /cum | 10.00 | Cum | 10.00 | 6800.00 | 68000.00 | 11000.00 | 110000.00 | 6100.00 | 61000.00 | 61000.00 | PPS Saw Mill
16.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 213.00 | Cum | 10.00 | 115.00 | 24495.00 | 225.00 | 47925.00 | 90.00 | 19170.00 | 19170.00 | PPS Saw Mill
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2880.00 | Kg | 10.00 | 88.00 | 253440.00 | 114.00 | 328320.00 | 85.00 | 244800.00 | 244800.00 | PPS Saw Mill
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 800.00 | Kg | 10.00 | 88.00 | 70400.00 | 114.00 | 91200.00 | 85.00 | 68000.00 | 68000.00 | PPS Saw Mill
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 38.00 | Cum | 10.00 | 7500.00 | 285000.00 | 10000.00 | 380000.00 | 7000.00 | 266000.00 | 266000.00 | PPS Saw Mill
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 39.00 | Cum | 10.00 | 7950.00 | 310050.00 | 10500.00 | 409500.00 | 7500.00 | 292500.00 | 292500.00 | PPS Saw Mill
21.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 105.00 | Kg | 10.00 | 141.00 | 14805.00 | 120.00 | 12600.00 | 110.00 | 11550.00 | 11550.00 | PPS Saw Mill
22.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 152.00 | Metre | 10.00 | 365.00 | 55480.00 | 592.00 | 89984.00 | 360.00 | 54720.00 | 54720.00 | PPS Saw Mill
23.00 | 12 mm cement plaster of mix 1:6 (1 cement: 6 Fine sand) | 411.00 | Sqm | 10.00 | 325.00 | 133575.00 | 275.00 | 113025.00 | 410.00 | 168510.00 | 113025.00 | YASEES ASSOCIATES
24.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 Fine sand) | 360.00 | Sqm | 10.00 | 400.00 | 144000.00 | 275.00 | 99000.00 | 410.00 | 147600.00 | 99000.00 | YASEES ASSOCIATES
25.00 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 39.00 | Sqm | 10.00 | 145.00 | 5655.00 | 135.00 | 5265.00 | 156.05 | 6085.95 | 5265.00 | YASEES ASSOCIATES
26.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 39.00 | Sqm | 10.00 | 120.00 | 4680.00 | 114.00 | 4446.00 | 55.00 | 2145.00 | 2145.00 | PPS Saw Mill
27.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 39.00 | Sqm | 10.00 | 145.00 | 5655.00 | 228.00 | 8892.00 | 95.00 | 3705.00 | 3705.00 | PPS Saw Mill
28.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 733.00 | sqm | 10.00 | 125.00 | 91625.00 | 110.00 | 80630.00 | 91.00 | 66703.00 | 66703.00 | PPS Saw Mill
29.00 | Painting with synthetic enamel paint of approved brand andmanufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 21.00 | Sqm | 10.00 | 350.00 | 7350.00 | 180.00 | 3780.00 | 175.00 | 3675.00 | 3675.00 | PPS Saw Mill
30.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60 mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 350.00 | Sqm | 10.00 | 800.00 | 280000.00 | 1000.00 | 350000.00 | 753.00 | 263550.00 | 263550.00 | PPS Saw Mill
31.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-incharge. Made of G.I. wire of dia 4 mm | 26.00 | Sqm | 10.00 | 985.00 | 25610.00 | 1200.00 | 31200.00 | 580.00 | 15080.00 | 15080.00 | PPS Saw Mill
32.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 750.00 | kg | 10.00 | 150.00 | 112500.00 | 125.00 | 93750.00 | 130.00 | 97500.00 | 93750.00 | YASEES ASSOCIATES
33.00 | Fabricating Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2801.00 | Kg | 10.00 | 145.00 | 406145.00 | 125.00 | 350125.00 | 35.00 | 98035.00 | 98035.00 | PPS Saw Mill
34.00 | Fixing precoated galvanised iron profile sheets (size,shape and pitch of corrugation as approved by Engineer-in-charge) 0.45 mm. Sheet shall be fixed using self drilling /self tapping screws with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces,excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required as directed by EIC | 400.00 | Sqm | 10.00 | 750.00 | 300000.00 | 800.00 | 320000.00 | 86.00 | 34400.00 | 34400.00 | PPS Saw Mill
35.00 | Fixing available aluminium work for doors, windows, ventilators and partitions and other sections fixing with dash fasteners of required dia and size including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket C.P. brass / stainless steel screws all complete as per direction of Engineer-in-charge. For fixed portion | 44.00 | Kg | 10.00 | 400.00 | 17600.00 | 135.00 | 5940.00 | 85.00 | 3740.00 | 3740.00 | PPS Saw Mill
36.00 | Fixing available aluminium work for doors, windows, ventilators and partitions and other sections fixing with dash fasteners of required dia and size including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket C.P. brass / stainless steel screws all complete as per direction of Engineer-in-charge For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required | 17.00 | Kg | 10.00 | 400.00 | 6800.00 | 180.00 | 3060.00 | 210.00 | 3570.00 | 3060.00 | YASEES ASSOCIATES
37.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 2.00 | Each | 10.00 | 14925.00 | 29850.00 | 15712.00 | 31424.00 | 14400.00 | 28800.00 | 28800.00 | PPS Saw Mill
38.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). 6 way (8 + 18), Double door | 4.00 | Each | 10.00 | 7950.00 | 31800.00 | 10318.00 | 41272.00 | 7835.00 | 31340.00 | 31340.00 | PPS Saw Mill
39.00 | Providing and fixing of 4pole,125 A, 36 KA breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, Ics=100% Icu and Operational Voltage 415V etc. as required. | 2.00 | Each | 10.00 | 12156.00 | 24312.00 | 15622.00 | 31244.00 | 11820.00 | 23640.00 | 23640.00 | PPS Saw Mill
40.00 | Supplying and fixing of 63A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 10.00 | 3857.00 | 7714.00 | 3985.00 | 7970.00 | 4110.00 | 8220.00 | 7714.00 | THREEKAY BUILDERS
41.00 | Supplying and fixing of 100A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 10.00 | 7250.00 | 14500.00 | 4500.00 | 9000.00 | 7250.00 | 14500.00 | 9000.00 | YASEES ASSOCIATES
42.00 | Supplying and fixing 63A rating, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 10.00 | 2359.00 | 4718.00 | 1717.00 | 3434.00 | 2380.00 | 4760.00 | 3434.00 | YASEES ASSOCIATES
43.00 | Supplying and fixing 100A rating, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 10.00 | 8500.00 | 17000.00 | 2842.00 | 5684.00 | 8400.00 | 16800.00 | 5684.00 | YASEES ASSOCIATES
44.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker(MCB) suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 40.00 | Each | 10.00 | 345.00 | 13800.00 | 277.00 | 11080.00 | 360.00 | 14400.00 | 11080.00 | YASEES ASSOCIATES
45.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 400.00 | Metre | 10.00 | 292.00 | 116800.00 | 180.00 | 72000.00 | 340.00 | 136000.00 | 72000.00 | YASEES ASSOCIATES
46.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 400.00 | Metre | 10.00 | 356.00 | 142400.00 | 208.00 | 83200.00 | 425.00 | 170000.00 | 83200.00 | YASEES ASSOCIATES
47.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | Metre | 10.00 | 496.00 | 99200.00 | 282.00 | 56400.00 | 530.00 | 106000.00 | 56400.00 | YASEES ASSOCIATES
48.00 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 150.00 | Metre | 10.00 | 150.00 | 22500.00 | 121.00 | 18150.00 | 170.00 | 25500.00 | 18150.00 | YASEES ASSOCIATES
49.00 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 150.00 | Metre | 10.00 | 230.00 | 34500.00 | 190.00 | 28500.00 | 260.00 | 39000.00 | 28500.00 | YASEES ASSOCIATES
50.00 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 4 sq. mm | 150.00 | Metre | 10.00 | 325.00 | 48750.00 | 284.00 | 42600.00 | 400.00 | 60000.00 | 42600.00 | YASEES ASSOCIATES
51.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. ( Group C) | 80.00 | Point | 10.00 | 1750.00 | 140000.00 | 1461.00 | 116880.00 | 1700.00 | 136000.00 | 116880.00 | YASEES ASSOCIATES
52.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 A "C" curve, SP, MCB, in sheet metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 10.00 | 2153.00 | 21530.00 | 1141.00 | 11410.00 | 2100.00 | 21000.00 | 11410.00 | YASEES ASSOCIATES
53.00 | Installation, Testing and Commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS/HFFR PVC insulated, copper conductor, single core cable etc. as required. | 30.00 | Each | 10.00 | 255.00 | 7650.00 | 220.00 | 6600.00 | 300.00 | 9000.00 | 6600.00 | YASEES ASSOCIATES
54.00 | Supply, Installation, Testing and Commissioning of ceiling fan with Brush Less Direct Current (BLDC) Motor 1200mm, class of insulation: B, 3 nos. metal( Aluminium alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9,THD (Total Harmonic Distortion) less than 10%, suitable for operation with regulator for speed control and all remaining accessories including safety pin, nut bolts, washers, suitable for 230 V, 50 Hz, single phase AC supply, Ceiling Fan compliant to IS 374:2019 fan i/c external connections with 1.5 sq.mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required. | 20.00 | Each | 10.00 | 4095.00 | 81900.00 | 3250.00 | 65000.00 | 4000.00 | 80000.00 | 65000.00 | YASEES ASSOCIATES
55.00 | Installation, Testing and Commissioning of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. (Upto 450 mm sweep) | 5.00 | Each | 10.00 | 530.00 | 2650.00 | 448.00 | 2240.00 | 570.00 | 2850.00 | 2240.00 | YASEES ASSOCIATES
56.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 20.00 | Each | 10.00 | 392.00 | 7840.00 | 450.00 | 9000.00 | 425.00 | 8500.00 | 7840.00 | THREEKAY BUILDERS
57.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required 3 Module (100mmX75mm) | 20.00 | Each | 10.00 | 365.00 | 7300.00 | 150.00 | 3000.00 | 395.00 | 7900.00 | 3000.00 | YASEES ASSOCIATES
58.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required 4 Module (125mmX75mm) | 20.00 | Each | 10.00 | 385.00 | 7700.00 | 200.00 | 4000.00 | 375.00 | 7500.00 | 4000.00 | YASEES ASSOCIATES
59.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required 6 Module (200mmX75mm) | 5.00 | Each | 10.00 | 460.00 | 2300.00 | 250.00 | 1250.00 | 440.00 | 2200.00 | 1250.00 | YASEES ASSOCIATES
60.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required 12 Module (200mmX150mm) | 3.00 | Each | 10.00 | 608.00 | 1824.00 | 300.00 | 900.00 | 600.00 | 1800.00 | 900.00 | YASEES ASSOCIATES
61.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 5/6 A switch | 105.00 | Each | 10.00 | 185.00 | 19425.00 | 100.00 | 10500.00 | 200.00 | 21000.00 | 10500.00 | YASEES ASSOCIATES
62.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 15/16 A switch | 50.00 | Each | 10.00 | 180.00 | 9000.00 | 157.00 | 7850.00 | 190.00 | 9500.00 | 7850.00 | YASEES ASSOCIATES
63.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 6 pin 15/16 A socket outlet | 50.00 | Each | 10.00 | 219.00 | 10950.00 | 210.00 | 10500.00 | 220.00 | 11000.00 | 10500.00 | YASEES ASSOCIATES
64.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | 10.00 | Each | 10.00 | 125.00 | 1250.00 | 91.00 | 910.00 | 110.00 | 1100.00 | 910.00 | YASEES ASSOCIATES
65.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required | 30.00 | Each | 10.00 | 140.00 | 4200.00 | 106.00 | 3180.00 | 135.00 | 4050.00 | 3180.00 | YASEES ASSOCIATES
66.00 | Supply of 80W Medium High Bay LED Light Fitting of 120 Lumen with PDC Housing, round shaped LED highbay luminaire with IP66 protection rating out put suitable to work 230V, 50Hz AC Supply etc. as required | 15.00 | Each | 10.00 | 11005.00 | 165075.00 | 4000.00 | 60000.00 | 11000.00 | 165000.00 | 60000.00 | YASEES ASSOCIATES
67.00 | Supply of surface /recess mounting type 36W, 2'x2' LED type Luminaire fitted with white colour LED suitable to operate 230V, 50Hz AC supply etc. as required | 20.00 | Each | 10.00 | 4075.00 | 81500.00 | 2557.00 | 51140.00 | 3800.00 | 76000.00 | 51140.00 | YASEES ASSOCIATES
68.00 | Installation, Testing and Commissioning of pre-wired,fluorescent fitting / compact fluorescent/ LED fitting of all types, complete with all accessories and tube/lamp etc., including supplying and fixing ball and socket arrangement, 2 Nos. down rods of 20 mm dia X 1.6 mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connections with 1.5 sq. mm FRLS/HFFR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 35.00 | Each | 10.00 | 465.00 | 16275.00 | 411.00 | 14385.00 | 470.00 | 16450.00 | 14385.00 | YASEES ASSOCIATES
69.00 | Supplying , Installation, Testing and Commissioning of Air Cooled Hi Wall mounted Inverter type split Air conditioners complete with Indoor unit(IDU), Out door unit (ODU) with copper condenser coil, surface / concealed copper Refrigerant piping with insulation (closed cell elastomeric nitrile rubber tubular pipe section) upto 3.00 Mtr (IDU to ODU), copper power cable upto 3.5 Mtr (IDU to ODU) i/c drain pipe, suitable outdoor unit mounting stand,wireless Remote control, suitable for working between 180- 260V with low & high voltage cutoff and 50 hz ,1 phase AC supply capable of performing cooling, air circulation of following capacity with Scroll compressor. The system shall be able to deliver 100% of the rated capacity upto 42 degree C. Min 5 year Original Equipment Manufacturer (OEM) warranty on compressor. The system shall be able to operate up to 50 degreeC (out door ambient temperature).Including providing and fixing of 4kVA voltage stebilizer,full function cordless remote control, suitable condenser support etc. as required. 1.5 TR Inverter type split AC with 5 Star BEE Rating | 5.00 | Each | 10.00 | 37568.00 | 187840.00 | 55000.00 | 275000.00 | 37000.00 | 185000.00 | 185000.00 | PPS Saw Mill
70.00 | Extra for providing additional refrigerant piping for 1.5 TR split air conditioner, including liquid and suction lines, insulation, power and control cables, interconnections, and all necessary accessories, complete as required | 50.00 | Metre | 10.00 | 1293.00 | 64650.00 | 1260.00 | 63000.00 | 1450.00 | 72500.00 | 63000.00 | YASEES ASSOCIATES
71.00 | Supply and fixing of 32 mm dia PVC drain pipe conforming to relevant standards, including clamping, couplings, bends, supports, and all necessary accessories, complete in all respects as required | 50.00 | Metre | 10.00 | 190.00 | 9500.00 | 164.00 | 8200.00 | 215.00 | 10750.00 | 8200.00 | YASEES ASSOCIATES
72.00 | Supply of 4Core x 25 Sq mm XLPE insulated and PVC Sheathed Armoured Aluminium conductor cable of 1.1 KV grade as per IS 7098 (Part 1) with up to date amendments. | 200.00 | Metre | 10.00 | 425.00 | 85000.00 | 362.00 | 72400.00 | 425.00 | 85000.00 | 72400.00 | YASEES ASSOCIATES
73.00 | Laying of one number armoured XLPE insulated and PVC sheathed power cable of 1.1 KV grade of following size on wall surface as required. Up to 35 sq.mm | 200.00 | Metre | 10.00 | 55.00 | 11000.00 | 113.00 | 22600.00 | 65.00 | 13000.00 | 11000.00 | THREEKAY BUILDERS
| Total in Figures |  |  |  |  | 5656309.00 |  | 5792372.00 |  | 4604288.95
Lowest Amount Quoted BY: PPS Saw Mill(4604288.95)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of old Terminal Building for Cargo operations at Tuticorin Airport Tuticorin SH Civil and Electrical Works Tender ID: 2026_AAI_274675_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PPS Saw Mill (BID ID -1017479) | 4604288.95 | L1
| 2 | THREEKAY BUILDERS (BID ID -1018761) | 5656309.00 | L2
| 3 | YASEES ASSOCIATES (BID ID -1018765) | 5792372.00 | L3