## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 14-Jul-2026 05:13 PM Tender Title: Provision of Online Continuous Effluent Monitoring System OCEMS for 160 KLD and 112 KLD STP at MLCP East and West Block at Chennai Airport Tender ID: 2026_AAI_274868_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect), AMED-VI, Chennai Airport, Chennai-600 016.
Name of Work: Provision of Online Continuous Effluent Monitoring System (OCEMS) for 160 KLD & 112 KLD STP at MLCP East & West block at Chennai Airport.
Contract No: AAM/ENGG-E/AMED-VI/OCEMS/26-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Aadhav Intech (GSTN-NA) BID ID -1037046 |  | Chakr Innovation Private Limited (GSTN-NA) BID ID -1036735 |  | RAINBOW SOLUTIONS (GSTN-NA) BID ID -1035698
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of Online Continuous Effluent Monitoring System (OCEMS) which includes OCEMS Analyser, Data logger, Sensors & Adaptor Cable, Hardware & Software for Data Connectivity with CPCB and TNPCB Care Air Centre, UPS of 1KVA capacity, Alarm Hooters, Power Cabling, mounting arrangement for sensors, pipeline modifications in the existing pipelines for installation of sensors etc complete as required to complete the work at outlet of STP with data transfer to CPCB and TNPCB server for 160 KLD (MLCP-West) & 112 KLD (MLCP-EAST) STP for following parameters BOD, COD, TSS, pH, Temperature and any other additional parameters complying with TNPCB/CPCB norms. As per attached Technical specifications as required. Note:Agency has to provide mobile SIM based connectivity with CPCB and TNPCB for a period of 01 Year. | 2.00 | Job | 0.00 | 780000.00 | 1560000.00 | 545000.00 | 1090000.00 | 568825.00 | 1137650.00 | 1090000.00 | Chakr Innovation Private Limited
| Total in Figures |  |  |  |  | 1560000.00 |  | 1090000.00 |  | 1137650.00
Lowest Amount Quoted BY: Chakr Innovation Private Limited(1090000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Online Continuous Effluent Monitoring System OCEMS for 160 KLD and 112 KLD STP at MLCP East and West Block at Chennai Airport Tender ID: 2026_AAI_274868_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Chakr Innovation Private Limited (BID ID -1036735) | 1090000.00 | L1
| 2 | RAINBOW SOLUTIONS (BID ID -1035698) | 1137650.00 | L2
| 3 | Aadhav Intech (BID ID -1037046) | 1560000.00 | L3