## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 05-May-2026 01:09 PM Tender Title: Replacement of Carpet flooring, False ceiling, Painting, etc and ACP wall cladding in Terminal Building at LBSI Airport Varanasi Tender ID: 2026_AAI_275075_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Replacement of Carpet flooring, False ceiling, Painting, etc and ACP wall cladding in Terminal Building at LBSI Airport Varanasi.
Contract No: 2026_AAI_275075_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAMEER GLAZING SYSTEM PRIVATE LIMITED (GSTN-23AARCS0124P1Z3) BID ID -1014491 |  | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -1015343 |  | Rahul Constructions (GSTN-06AAFFR4603K1Z8) BID ID -1015538 |  | M/S OM GANGA HORTICULTURE (GSTN-09AIKPS3389N1Z7) BID ID -1015547 |  | KUMAR CONSTRUCTION (GSTN-NA) BID ID -1014566
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing, false ceiling and toilet cubicles including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 398.00 | sqm |  | 158.00 | 62884.00 | 120.00 | 47760.00 | 40.00 | 15920.00 | 42.84 | 17050.32 | 125.00 | 49750.00 | 15920.00 | Rahul Constructions
2.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x3Bx10 mm made of G. I steel 0. 7 mm thick from the soffit with the help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with the help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized@ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : Gl Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 60.00 | sqm |  | 1675.00 | 100500.00 | 3000.00 | 180000.00 | 1555.00 | 93300.00 | 1733.02 | 103981.20 | 2100.00 | 126000.00 | 93300.00 | Rahul Constructions
3.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module in existing Gl Clip in Metal Ceiling frame, Gl Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 338.00 | sqm |  | 1025.00 | 346450.00 | 3200.00 | 1081600.00 | 1111.00 | 375518.00 | 1132.66 | 382839.08 | 2000.00 | 676000.00 | 346450.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
4.00 | Removing of existing carpet flooring in aerobridges of any thickness including cleaning the surface i.e scrapping of floor, adhesive etc. for laying fresh carpet flooring all complete as per satisfaction of Engineer-in-charge. (Note: The rate is inclusive of disposal of rubbish to the out side of New Terminal Building in Airport permises). | 305.00 | sqm |  | 70.00 | 21350.00 | 130.00 | 39650.00 | 111.00 | 33855.00 | 104.74 | 31945.70 | 150.00 | 45750.00 | 21350.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
5.00 | Providing & Fixing of carpet tiles of available size of Indian make with manufacturer specification, nylon 6, Tufted , Textured loop pile, tiles with protective treatment soil/stain resistant(AATCC 175-2008/ITTS 002, Smoke Density Test ASTM E662, with PVC Backing, 1/10, Loop Infinity, Pile Thickness 3 to 3.5 mm, SPI 10, density 5200-5500 gsm/cubic yard, 100% solution dyed, total thickness 5 mm((± 0.5 mm), Tufted Pile Weight 18 OZ/Sqyd, Light Fastness (AATCC 16 E), Static Electricity (AATCC 134 -1996), green label plus for indoor air quality (CA 01350), CRI Green label plus certificate, NSF 140 Gold Certified, Manufacturer should be USGBC LEED V4 GOLD for factory. Carpet tiles to be installed over existing cement based smooth surface. The carpet tiles shall be laid completely by using adhesive like SR 505 or equivalent consumption @ 2.00 Kg/sqm which a synthetic rubber based solvent containing contact adhesive for multipurpose application. The carpet tiles make, size, pattern, colour etc. and adhesive as approved by EIC based on specification of this item, shall be supplied, installed etc. in all respect complete as per satisfaction of Engineer-in-Charge. | 305.00 | sqm |  | 3350.00 | 1021750.00 | 2500.00 | 762500.00 | 3999.00 | 1219695.00 | 3757.36 | 1145994.80 | 2500.00 | 762500.00 | 762500.00 | KUMAR CONSTRUCTION, S.K. CONSTRUCTION
6.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4758.00 | Kg |  | 145.00 | 689910.00 | 130.00 | 618540.00 | 111.00 | 528138.00 | 102.14 | 485982.12 | 200.00 | 951600.00 | 485982.12 | M/S OM GANGA HORTICULTURE
7.00 | Providing and fixing carbon steel galvanised (minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame • concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 120 mm | 500.00 | each |  | 177.00 | 88500.00 | 1240.00 | 620000.00 | 149.00 | 74500.00 | 131.28 | 65640.00 | 200.00 | 100000.00 | 65640.00 | M/S OM GANGA HORTICULTURE
8.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 179.00 | Kg |  | 515.00 | 92185.00 | 440.00 | 78760.00 | 449.00 | 80371.00 | 380.19 | 68054.01 | 550.00 | 98450.00 | 68054.01 | M/S OM GANGA HORTICULTURE
9.00 | Providing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including a) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. The item includes cost of all material & labour component, the cost of all mock ups at site, Base frame work for ACP cladding is payable under the relevant aluminium item. The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per item description, as specified, as per the approved shade and color and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 669.00 | sqm |  | 3540.00 | 2368260.00 | 2700.00 | 1806300.00 | 3999.00 | 2675331.00 | 3834.76 | 2565454.44 | 3000.00 | 2007000.00 | 1806300.00 | S.K. CONSTRUCTION
10.00 | Providing and fixing 50x50x1mm thick stainless steel L section strip (golden clour) in wall lining/egdes with structural steel adhisive etc, all complete as per direction of the Engineer in-charge. | 182.00 | meter |  | 450.00 | 81900.00 | 1780.00 | 323960.00 | 799.00 | 145418.00 | 706.10 | 128510.20 | 1000.00 | 182000.00 | 81900.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
11.00 | Design, fabrication, and installation of IMP - Metal , Plain & impossed stainless steel sheet SS 316L in N3D- 06 Gold (Austeneid empossed Pattern) 316 Superior grade finish of Naman Steel or approved equivalent make with 1mm thickness and both edges bending with 90 degree right angle sharp V grooving bending without radius and as per approval including 18mm thick water proof plywood framework as per design. Metal to be cladded on 18mm water proof plywood with apprpriate make silicone for neat and clean appearance no where screws should be visible. Metal panel shall be completed in all aspects as shown in drawing including all other necesary related works as specified and as directed by Engineer in Charge. Note:-Necessary cutout to be provided as specified. | 75.00 | sqm |  | 15205.00 | 1140375.00 | 1600.00 | 120000.00 | 7999.00 | 599925.00 | 6693.98 | 502048.50 | 2000.00 | 150000.00 | 120000.00 | S.K. CONSTRUCTION
12.00 | Providing and fixing 6 mm thick moulded Acryllic solid surface table/counters i.c slab tops of Dupont/Samsung Staron/Avonite or approved equivalent of required size of approved shade, colour and texture fixed over 12 mm thick water proof plywood base with seamless joints through thermoforming process including all fixing, sticking, moulding, bending, use of flexible ply (if required) as per requirements of the approved drawings etc all complete as per the directions of the Engineer in charge. (Note: Acrylic solid surface area, which will be pasted on both sides of Plywood and edges will be measure for payment purpose) | 63.00 | sqm |  | 5395.00 | 339885.00 | 2000.00 | 126000.00 | 9599.00 | 604737.00 | 7783.43 | 490356.09 | 5000.00 | 315000.00 | 126000.00 | S.K. CONSTRUCTION
13.00 | Finishing with PU paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications, preparation of surface like scraping,cleaning etc. complete. On steel work | 583.00 | sqm |  | 205.00 | 119515.00 | 400.00 | 233200.00 | 177.00 | 103191.00 | 143.15 | 83456.45 | 1000.00 | 583000.00 | 83456.45 | M/S OM GANGA HORTICULTURE
14.00 | Providing and fixing 2mm thick flexible expansion joint sealing tape of STP (Shali tape flex) or equivalent over expansion joint of required width including preparation of surface and appling prime coat of Shali bond TPE at clean, dust free and dry surface before applying of sealing tape including all tools and material at all height etc all complete as per the directions of the Engineer in charge. | 32.00 | sqm |  | 150.00 | 4800.00 | 950.00 | 30400.00 | 3900.00 | 124800.00 | 3991.06 | 127713.92 | 2000.00 | 64000.00 | 4800.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
15.00 | Credit to AAI for taking away existing old Gl Clip in Metal false ceiling and G. I. channel removed under item no.-1 . The material so received shall be the property of contractor. Derived amount shall be deducted from firm's bill amount). | 418.00 | sqm |  | 93.00 | -38874.00 | 90.00 | -37620.00 | 32.00 | -13376.00 | 20.00 | -8360.00 | 20.00 | -8360.00 | -38874.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
16.00 | Credit to AAI for taking away existing old carpet tile removed under item no.-4 . The material so received shall be the property of contractor. Derived amount shall be deducted from firm's bill amount). | 305.00 | sqm |  | 24.00 | -7320.00 | 80.00 | -24400.00 | 200.00 | -61000.00 | 120.00 | -36600.00 | 20.00 | -6100.00 | -61000.00 | Rahul Constructions
| Total in Figures |  |  |  |  | 6432070.00 |  | 6006650.00 |  | 6600323.00 |  | 6154066.83 |  | 6096590.00
Lowest Amount Quoted BY: S.K. CONSTRUCTION(6006650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Carpet flooring, False ceiling, Painting, etc and ACP wall cladding in Terminal Building at LBSI Airport Varanasi Tender ID: 2026_AAI_275075_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION (BID ID -1015343) | 6006650.00 | L1
| 2 | KUMAR CONSTRUCTION (BID ID -1014566) | 6096590.00 | L2
| 3 | M/S OM GANGA HORTICULTURE (BID ID -1015547) | 6154066.83 | L3
| 4 | SAMEER GLAZING SYSTEM PRIVATE LIMITED (BID ID -1014491) | 6432070.00 | L4
| 5 | Rahul Constructions (BID ID -1015538) | 6600323.00 | L5