## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 14-May-2026 04:03 PM Tender Title: Replacement of existing Elevator on NITB and ATC Tower at Chh. Sambhaji Nagar Airport Tender ID: 2026_AAI_275479_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Chh. Sambhaji Nagar Airport - 431007.
Name of Work: Replacement of existing Elevator on NITB & ATC Tower at Chh. Sambhaji Nagar Airport.
Contract No: 2026_AAI_275479_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd (GSTN-27AAACE0977F1ZQ) BID ID -1018375 |  | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -1020533
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Fabrication, Supply, Installation, testing & commissioning of following capacity machine room less electric traction type elevators confirming to IS:17900 Part 1 & 2, with for 7 stops & 7 openings [Ground Floor + Six Upper Floor], entrance at front side and exit on same side, automatic centre opening door, car enclosure provided with anti scratching stainless steel panel, suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.00 Mtr/sec, electromagnetic brake system, simple operations. operating panel and Braille luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable to hook from AAI's EPABX, infrared ray sensing door protection for suitable height, reverse phase relay on controller, fireman's switch at ground floor, digital car positions and indicator in car and at all floors with UP/DOWN direction, suitable protocol for BMS connectivity, light fixtures, ventilation fan, automatic rescue device in the event of power failure, floor annunciation in local, hindi and english language,dismantling,shifting of existing elevator as per direction of EIC etc. complete with all accessories confirming to technical specification given in tender document. Minimum 6 Passenger (minimum capacity 408 kgs.) 20 meter travel height | 2.00 | Job |  | 1919000.00 | 3838000.00 | 1522000.00 | 3044000.00 | 3044000.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 3838000.00 |  | 3044000.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(3044000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing Elevator on NITB and ATC Tower at Chh. Sambhaji Nagar Airport Tender ID: 2026_AAI_275479_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS (BID ID -1020533) | 3044000.00 | L1
| 2 | Escon elevators Pvt Ltd (BID ID -1018375) | 3838000.00 | L2