## BoQ1
Government eProcurement System Created By: Suman Biswas Created Date/Time: 09-Jun-2026 03:31 PM Tender Title: Procurement of ILS DME Sub Head Electrical Works for 19R Localizer and 19 R Glide Path for installation of ILS 19R Cat I at Kolkata Airport Tender ID: 2026_AAI_275548_1
Tender Inviting Authority: Airports Authority of India, RHQ-ER.
Name of Work: Procurement of ILS/DME; Sub Head :- Electrical Works for 19R Localizer and 19 R Glide Path for installation of ILS-19R (Cat-I ) at Kolkata Airport
Contract No: 2026_AAI_275548_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER TASK (GSTN-19AADFP9412A1ZH) BID ID -1021722
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 110 mm outer dia HDPE (high density polyethylene) pipe confirming to IS 4984: 2016 and upto date ammendments along with its necessary accessories like coupler, end plugs etc. PE-80, PN-6. | 40.00 | Mtr. |  | 335.00 | 13400.00 | 13400.00 | POWER TASK
2.00 | Supply of following sizes XLPE insulated PVC sheathed armoured aluminium conductor cable of grade 1.1 KV with FRLSH outer sheathed, confirming to IS 7098 Part-I with up to date amendments. (a) 4c x 25 sq.mm. | 200.00 | Mtr. |  | 325.00 | 65000.00 | 65000.00 | POWER TASK
3.00 | Supply of following sizes XLPE insulated PVC sheathed unarmoured aluminium conductor cable of grade 1.1 KV with FRLSH outer sheathed, confirming to IS 7098 Part-I with up to date amendments. (a) 2c X 6 sq.mm. | 70.00 | Mtr. |  | 38.00 | 2660.00 | 2660.00 | POWER TASK
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. | 10.00 | Mtr. |  | 150.00 | 1500.00 | 1500.00 | POWER TASK
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm in the existing RCC/ HUME/ METAL/ HDPE pipe as required. | 80.00 | Mtr. |  | 45.00 | 3600.00 | 3600.00 | POWER TASK
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm (clamped with 1mm thick saddle) on wall surface as required. | 180.00 | Mtr. |  | 60.00 | 10800.00 | 10800.00 | POWER TASK
7.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
7.10 | 4 X 25 sq. mm. | 20.00 | Each |  | 265.00 | 5300.00 | 5300.00 | POWER TASK
7.20 | 2 X 6 sq. mm | 12.00 | Each |  | 160.00 | 1920.00 | 1920.00 | POWER TASK
8.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each |  | 5600.00 | 22400.00 | 22400.00 | POWER TASK
9.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. | 60.00 | Mtr. |  | 140.00 | 8400.00 | 8400.00 | POWER TASK
10.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 10.00 | Mtr. |  | 132.00 | 1320.00 | 1320.00 | POWER TASK
11.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 10.00 | Mtr. |  | 22.00 | 220.00 | 220.00 | POWER TASK
12.00 | Providing, laying and fixing of 50 mm nominal dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | 70.00 | Mtr. |  | 640.00 | 44800.00 | 44800.00 | POWER TASK
13.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 20.00 | Each |  | 875.00 | 17500.00 | 17500.00 | POWER TASK
14.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 20.00 | Each |  | 1675.00 | 33500.00 | 33500.00 | POWER TASK
15.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
15.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 60.00 | Mtr. |  | 198.00 | 11880.00 | 11880.00 | POWER TASK
15.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 400.00 | Mtr. |  | 305.00 | 122000.00 | 122000.00 | POWER TASK
16.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 60.00 | Each |  | 875.00 | 52500.00 | 52500.00 | POWER TASK
17.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
17.10 | 16 A switch | 6.00 | Each |  | 130.00 | 780.00 | 780.00 | POWER TASK
17.20 | 6 pin 6/16 A socket outlet | 6.00 | Each |  | 225.00 | 1350.00 | 1350.00 | POWER TASK
18.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 6.00 | Each |  | 50.00 | 300.00 | 300.00 | POWER TASK
19.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . 4 way (4 + 12), Double door | 2.00 | Each |  | 8650.00 | 17300.00 | 17300.00 | POWER TASK
20.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
20.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 2.00 | Each |  | 2000.00 | 4000.00 | 4000.00 | POWER TASK
20.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 2.00 | Each |  | 2900.00 | 5800.00 | 5800.00 | POWER TASK
21.00 | Supplying and fixing of following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
21.10 | 5A to 32A SPMCB | 60.00 | Each |  | 156.00 | 9360.00 | 9360.00 | POWER TASK
21.20 | 5A to 32A DP MCB | 2.00 | Each |  | 552.00 | 1104.00 | 1104.00 | POWER TASK
21.30 | 40A TPN MCB | 4.00 | Each |  | 1700.00 | 6800.00 | 6800.00 | POWER TASK
21.40 | 63A TPN MCB | 2.00 | Each |  | 1700.00 | 3400.00 | 3400.00 | POWER TASK
22.00 | Supplying and fixing TPN sheet steel enclosure on surface/ recess along with 63 A 415 V "C" curve TPN MCB complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 2375.00 | 14250.00 | 14250.00 | POWER TASK
23.00 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as req | 2.00 | Each |  | 3745.00 | 7490.00 | 7490.00 | POWER TASK
24.00 | Installation, Testing & Commissioning of wall mountable 35 Watt LED Emergency Light (Emergency Light shall be supplied departmentally) | 4.00 | Each |  | 250.00 | 1000.00 | 1000.00 | POWER TASK
25.00 | Supply of portable (hand held type) rechargeable 3-5 Watt LED searh light /emergency light (efficacy not less than 100 lm/watt), CCT 4000-6500 K, minimum IP 65 along with all its battery (Li-Ion) , driver, circuit etc suitable for charging directly from 230 V , 50 Hz AC Power Supply. The light shall possess all relevant BIS standards and should possess all required certifications as per Technical Specifications. | 2.00 | Each |  | 724.00 | 1448.00 | 1448.00 | POWER TASK
26.00 | Supply of 1 x 18-20W LED fitting with G13 lamp holder including retrofit batten type LED tube light, with minimum glare. It has a system level luminaire efficacy of not less than 100 lm/W. CCT atleast 5700K, suitable for indoor applications complete as per technical specifications. | 30.00 | Each |  | 149.00 | 4470.00 | 4470.00 | POWER TASK
27.00 | Supply of 10W LED Bulkhead luminaire with Vandal resistant Polycarbonate diffuser having system efficacy of luminaire not less than 110 lm/W, CCT from 5700K, complete with driver and other accessories suitable for residential applications complete as per the technical specifications. (Similar to Havells CAT No. HEXAFT10WLED or equivalent) | 4.00 | Each |  | 597.00 | 2388.00 | 2388.00 | POWER TASK
28.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 30.00 | Each |  | 70.00 | 2100.00 | 2100.00 | POWER TASK
29.00 | Supply of 90 W LED street light fitting having system efficacy of not less than 110 lumens per watt, CCT atleast 5700K, Complete with electronic driver and accessories etc, suitable for outdoor applications complete as per technical specifications. (Similar to Havells CAT No. ENDURA PEARL PLUS SL90W or equivalent). | 8.00 | Each |  | 3148.00 | 25184.00 | 25184.00 | POWER TASK
30.00 | Installation ,Testing, Commissioning of streetlight by providing suitable shape and size wall mounted bracket complete with all accessories including connections etc. as required. | 8.00 | Each |  | 1200.00 | 9600.00 | 9600.00 | POWER TASK
31.00 | Supply, Installation, Testing and Commissioning of Outdoor type IP 66/IP 67 rating Junction Box with 6 nos. 16 sqmm terminal & SP 6A MCB 01 no. | 8.00 | Each |  | 3988.00 | 31904.00 | 31904.00 | POWER TASK
32.00 | Supply of 1 Phase, 2.0 TR HIghwall split AC of 5 star rating Inverter type Air-conditioners along with high wall type indoor unit suitable to operate from 230±10%, 50 Hz, 1 phase power supply (along with necessary wiring from nearest power source to the required outdoor and indoor units) having high EER Compressor with Indoor & Outdoor Copper coil refrigeration having aluminum fins firmly bonded to copper tubes assembled in zinc coated steel frame with Eco friendly R-32 or equivalent Refregiration Gas alongwith copper conductor PVC insulated PVC sheathed multicore power cable from indoor to outdoor unit (i/c 3 mtr copper refrigerent pipe). The indoor unit should have real time clock, operating facility from cordless remote, along with time and temperature display. Outdoor unit to be installed as Directed by Engineer-in-Charge. The Cooling Capacity of the machine shall be 5000 W / 17100 BTU/Hr (Minimum). | 8.00 | Each |  | 55800.00 | 446400.00 | 446400.00 | POWER TASK
33.00 | ITC of the 2.0 TR split type Air-conditioners along with Outdoor and Indoor unit suitable to operate on 1 Phase Power supply. Indoor of the AC are to fixed on frangible wall by the providing separate suitable size GI Stips on or both sides of the wall for support or other arrangement as per the site requirement and instruction of the EIC. | 12.00 | Each |  | 1500.00 | 18000.00 | 18000.00 | POWER TASK
34.00 | Supply and fixing of Table type AC outdoor stand (frangible in nature) of suitable size made out of suitable size of MS angle/ frame/ hollow pipe as per site requirement etc. for installation of outdoor compressor units (up to 2 TR) as per direction of Engineer-in-Charge. | 12.00 | Each |  | 400.00 | 4800.00 | 4800.00 | POWER TASK
35.00 | Supply and fixing of extra copper refrigerant piping complete with suction / liquid line, insulation (i.e. cunifoam with neoprene / rubber lining), and all the accessories i/c copper Control Cable as per site requirement as directed by Engineer-in-Charge including additional gas charging as required. (a) Suitable for 2.0 TR Highwall Split Inverter AC along with its Control Cable | 10.00 | Meter |  | 495.00 | 4950.00 | 4950.00 | POWER TASK
36.00 | Supply and laying of 25 mm dia cotton braided PVC pipe to be used for drainage of condensate from indoor units to the nearest drain-port as directed by Engineer-in-Charge. | 40.00 | Meter |  | 65.00 | 2600.00 | 2600.00 | POWER TASK
37.00 | Supply installation testing and commissioning of the timer for auto/manual operation of the Air Conditions upto 2Tr. The Timer shall have provision for 02 nos. of AC as input and 01 no. as output with provision for switching of ACs as per the user requirement in the time interval of 4/6/12 Hr. | 6.00 | Each |  | 3500.00 | 21000.00 | 21000.00 | POWER TASK
38.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 415 V "C" curve DP MCB complete with connections, testing and commissioning etc. for AC power supply box. | 8.00 | Each |  | 1261.00 | 10088.00 | 10088.00 | POWER TASK
39.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 12.00 | Each |  | 1778.00 | 21336.00 | 21336.00 | POWER TASK
40.00 | Supply and laying of 2c x 1.5 Sq. mm. XLPE insulated PVC sheathed armoured Copper conductor cable of grade 1.1 KV, confirming to IS 7098 Part-I with upto date amendments etc. complete as required on surface with 1 mm thick saddle. | 70.00 | Mtr. |  | 141.00 | 9870.00 | 9870.00 | POWER TASK
41.00 | SITC of IP based Addressable type Fire Alarm control panel of minimum 2 loops (each Loop card having capacity to accommodate minimum 99 detectors and 99 modules) with the following facilities like 80 character display unit, power supply unit, built in battery charger, including 24 Volts sealed maintenance free lead acid batteries for 02 hours backup, Auto dialer facility with 20 nos. dialer, web server PCB for IP connectivity etc. complete as required | 2.00 | Job |  | 186368.00 | 372736.00 | 372736.00 | POWER TASK
42.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } ( Base Included) with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF/ Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 8.00 | Each |  | 2173.00 | 17384.00 | 17384.00 | POWER TASK
43.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 2.00 | Each |  | 3047.00 | 6094.00 | 6094.00 | POWER TASK
44.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cumstrobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | Each |  | 6210.00 | 12420.00 | 12420.00 | POWER TASK
45.00 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels finished with a floating coat of neat cement. | 5.00 | Sq.m. |  | 350.00 | 1750.00 | 1750.00 | POWER TASK
46.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation etc including form work etc as required. | 1.00 | Cum |  | 5200.00 | 5200.00 | 5200.00 | POWER TASK
47.00 | Excavation and refilling in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 10.00 | Cum |  | 200.00 | 2000.00 | 2000.00 | POWER TASK
48.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 2.00 | Cum |  | 1200.00 | 2400.00 | 2400.00 | POWER TASK
49.00 | Supply and fixing of Polycarbonate Loop-in Loop out box, IP-66, UV Ray protected, dust proof, water tight, acid resistant, corrossion proof, insulated and shock proof, fire retardent, self extinguishing, Halogen & Silica free, Non-Toxic material with polyurethene internally embedded gasket, suitable for wall/outdoor mounted type , cable entry - bottom suitable for 4C X 16 /25 Sq mm i/c (i) 24 hrs Digital Timer with switch for automatic switching On & OFF of in Auto ON, Auto OFF, Auto ON and By Pass mode - 01 No. (ii) 3P Contactor 16A with 01 no. NO contact. (iii) 10A SP MCB - 1 Nos. | 2.00 | Each |  | 4500.00 | 9000.00 | 9000.00 | POWER TASK
| Total in Figures |  |  |  |  | 1536756.00
Lowest Amount Quoted BY: POWER TASK(1536756.00)

## BOQ Summary
BOQ Summary Details Tender Title: Procurement of ILS DME Sub Head Electrical Works for 19R Localizer and 19 R Glide Path for installation of ILS 19R Cat I at Kolkata Airport Tender ID: 2026_AAI_275548_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWER TASK (BID ID -1021722) | 1536756.00 | L1