## BoQ1
Government eProcurement System Created By: VIVEK SHRIVASTAVA Created Date/Time: 17-Jun-2026 02:30 PM Tender Title: Misc. Electrical work related to NITB at R.B. Airport, Bhopal. SH Replacement of Existing 02 Nos. Outside Elevator No. 06 and 07. Tender ID: 2026_AAI_275717_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Misc. Electrical work related to NITB at R.B. Airport, Bhopal. SH: Replacement of Existing 02 Nos. Outside Elevator No. 06 & 07.
Contract No: AAI/BPL/ENGG(E)/NIT-01/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd (GSTN-27AAACE0977F1ZQ) BID ID -1020033 |  | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -1023126 |  | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (GSTN-NA) BID ID -1019903
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SITC of Elevator (Location Lift No. 6 & 7) Supply, Installation, Testing & Commissioning of following capacity machine room less electric traction type passenger elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic centre opening door, car enclosure provided with scratch resistant finish stainless steel panel suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.50 Mtr/sec, electromagnetic brake system, Simplex full collective operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for suitable height, reverse phase relay on controller, fireman's switch at ground floor, digital car position indicator in car and landing at all floors with UP/DOWN direction, LED type light fixtures, ventilation fan complete with all accessories including automatic rescue device and suitable protocol for BMS etc. The traction motor of machine room less elevator shall be of gearless type and placed inside the elevator hoist way complete as per technical specifications. The elevator shall conform to the detailed specifications attached.
1.01 | 15 Passenger (minimum) capacity, approximate weight with 90 kg per person. having automatic center opening stainless steel doors with & stainless steel frame (car & landing doors), 6 mtr travel height (Approx), 2 stops & 2 opening (Ground & First Floor) on same side suitable for shaft size of 2600mm x 2100mm. | 2.00 | Each |  | 2041100.00 | 4082200.00 | 2102000.00 | 4204000.00 | 1980000.00 | 3960000.00 | 3960000.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
2.00 | Dismantling & Shifting of Existing Elevator, Speed: 1m/s, Capacity (Pax): 16, LM No. 5-85-S7704 (Non Standard Silver) Location : NITB International Arrival including shifting of Material, Scaffolding, Welding cutting and Minor Civil work etc. complete as required. | 2.00 | Job |  | 30000.00 | 60000.00 | 50000.00 | 100000.00 | 40000.00 | 80000.00 | 60000.00 | Escon elevators Pvt Ltd
3.00 | SH-II : All Inclusive Comprehensive Maintenance Contract (AICMC) AICMC of 15 passenger Elevator (as per item no. 1.01) which include routine, preventive, breakdown maintenance, monthly preventive maintenance visit of trained engineer / technician, attending any number of breakown calls during the month as and when required, and repair / replacement of wornout items with minimum downtime and carrying out renewal of lifts licenses (if applicable) etc as per special conditions / specifications enclosed.
3.01 | For First Year After 02 Year DLP | 2.00 | Each |  | 103555.00 | 207110.00 | 105100.00 | 210200.00 | 89100.00 | 178200.00 | 178200.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.02 | For Second Year | 2.00 | Each |  | 108732.75 | 217465.50 | 115610.00 | 231220.00 | 93555.00 | 187110.00 | 187110.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.03 | For Third Year | 2.00 | Each |  | 114169.39 | 228338.78 | 127171.00 | 254342.00 | 98232.75 | 196465.50 | 196465.50 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.04 | For Fourth Year | 2.00 | Each |  | 119877.86 | 239755.72 | 139888.00 | 279776.00 | 103144.39 | 206288.78 | 206288.78 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.05 | For Fifth Year | 2.00 | Each |  | 125871.75 | 251743.50 | 153877.00 | 307754.00 | 108301.61 | 216603.22 | 216603.22 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.06 | For Sixth Year | 2.00 | Each |  | 132165.34 | 264330.68 | 169265.00 | 338530.00 | 113716.69 | 227433.38 | 227433.38 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.07 | For Seventh Year | 2.00 | Each |  | 138773.60 | 277547.20 | 186191.00 | 372382.00 | 119402.52 | 238805.04 | 238805.04 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.08 | For Eighth Year | 2.00 | Each |  | 145712.28 | 291424.56 | 204810.00 | 409620.00 | 125372.65 | 250745.30 | 250745.30 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6119915.94 |  | 6707824.00 |  | 5741651.22
Lowest Amount Quoted BY: TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED(5741651.22)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Electrical work related to NITB at R.B. Airport, Bhopal. SH Replacement of Existing 02 Nos. Outside Elevator No. 06 and 07. Tender ID: 2026_AAI_275717_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (BID ID -1019903) | 5741651.22 | L1
| 2 | Escon elevators Pvt Ltd (BID ID -1020033) | 6119915.94 | L2
| 3 | OMEGA ELEVATORS (BID ID -1023126) | 6707824.00 | L3