## BoQ1
Government eProcurement System Created By: Asim Amitav Swain Created Date/Time: 23-Jun-2026 12:17 PM Tender Title: Special Repair to Terminal T2 at B.P.I. Airport, Bhubaneswar Tender ID: 2026_AAI_275942_1
Tender Inviting Authority: Sr. Manager Engg.(C), AAI, B.P.I. Airport, Bhubaneswar.
Name of Work:Special repair to Terminal T2 at B.P.I Airport, Bhubaneswar.
Contract No: 2026_AAI_275942_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMEET MOHANTY (GSTN-21AMSPM6002C1ZI) BID ID -1022529 |  | NARESH KUMAR BEHERA (GSTN-NA) BID ID -1022711
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | 100.00 | Mtr. | 1.25 | 50.00 | 5000.00 | 40.00 | 4000.00 | 4000.00 | NARESH KUMAR BEHERA
2.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | 100.00 | Mtr. | 0.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 20000.00 | NARESH KUMAR BEHERA
3.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | Cum | 100.00 | 6500.00 | 32500.00 | 7000.00 | 35000.00 | 32500.00 | SUMEET MOHANTY
4.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | Cum | 53.00 | 6800.00 | 34000.00 | 7200.00 | 36000.00 | 34000.00 | SUMEET MOHANTY
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 3.00 | Sqm | 10.00 | 600.00 | 1800.00 | 500.00 | 1500.00 | 1500.00 | NARESH KUMAR BEHERA
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 8.00 | Sqm | 11.00 | 400.00 | 3200.00 | 500.00 | 4000.00 | 3200.00 | SUMEET MOHANTY
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1500.00 | Kg | 12.00 | 72.00 | 108000.00 | 85.00 | 127500.00 | 108000.00 | SUMEET MOHANTY
8.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 5.00 | Sqm | 13.00 | 950.00 | 4750.00 | 900.00 | 4500.00 | 4500.00 | NARESH KUMAR BEHERA
9.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 5.00 | Sqm | 14.00 | 100.00 | 500.00 | 80.00 | 400.00 | 400.00 | NARESH KUMAR BEHERA
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 30.00 | Sqm | 15.00 | 3500.00 | 105000.00 | 3800.00 | 114000.00 | 105000.00 | SUMEET MOHANTY
11.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineerin- Charge. Granite work | 50.00 | Mtr. | 16.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 15000.00 | SUMEET MOHANTY
12.00 | Providing and laying brick tiles over mumty roofs, grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% of integral water proofing compound by weight of cement, over 12 mm layer of cement mortar 1:3 (1 cement : 3 fine sand) and finished neat: With common burnt clay F.P.S. (non modular) brick tiles of class designation 10 | 9030.00 | Sqm | 17.00 | 20.00 | 180600.00 | 500.00 | 4515000.00 | 180600.00 | SUMEET MOHANTY
13.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 19.00 | Each | 18.00 | 700.00 | 13300.00 | 600.00 | 11400.00 | 11400.00 | NARESH KUMAR BEHERA
14.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Sal wood | 1.00 | Cum | 19.00 | 80000.00 | 80000.00 | 90000.00 | 90000.00 | 80000.00 | SUMEET MOHANTY
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 10.00 | Sqm | 20.00 | 2500.00 | 25000.00 | 2900.00 | 29000.00 | 25000.00 | SUMEET MOHANTY
16.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) nondecorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 35.00 | Sqm | 21.00 | 1750.00 | 61250.00 | 1800.00 | 63000.00 | 61250.00 | SUMEET MOHANTY
17.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 30.00 | Sqm | 22.00 | 300.00 | 9000.00 | 300.00 | 9000.00 | 9000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
18.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 10.00 | Each | 23.00 | 800.00 | 8000.00 | 700.00 | 7000.00 | 7000.00 | NARESH KUMAR BEHERA
19.00 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | 12.00 | Each | 24.00 | 700.00 | 8400.00 | 600.00 | 7200.00 | 7200.00 | NARESH KUMAR BEHERA
20.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 10.00 | Each | 25.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 8000.00 | NARESH KUMAR BEHERA
21.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 30.00 | Each | 26.00 | 70.00 | 2100.00 | 45.00 | 1350.00 | 1350.00 | NARESH KUMAR BEHERA
22.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm | 22.00 | Each | 27.00 | 120.00 | 2640.00 | 80.00 | 1760.00 | 1760.00 | NARESH KUMAR BEHERA
23.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 10.00 | Each | 28.00 | 75.00 | 750.00 | 45.00 | 450.00 | 450.00 | NARESH KUMAR BEHERA
24.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture’s specification and direction of engineer in charge all complete. | 500.00 | Sqm | 29.00 | 1300.00 | 650000.00 | 1700.00 | 850000.00 | 650000.00 | SUMEET MOHANTY
25.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 120.00 | Mtr. | 30.00 | 300.00 | 36000.00 | 250.00 | 30000.00 | 30000.00 | NARESH KUMAR BEHERA
26.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 90.00 | Sqm | 31.00 | 690.00 | 62100.00 | 700.00 | 63000.00 | 62100.00 | SUMEET MOHANTY
27.00 | Providing and fixing cup board shutters with 25 mm thick veneered particle board IS : 3097 marked, exterior grade (Grade I), of approved make, including IInd class teak wood lipping of 25 mm wide x 12 mm thick with necessary screws and bright finished stainless steel piano hinges, complete as per direction of Engineer-in-Charge. With decorative veneering on one side and commercial veneering on other side | 65.00 | Sqm | 32.00 | 1500.00 | 97500.00 | 1650.00 | 107250.00 | 97500.00 | SUMEET MOHANTY
28.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds. 9.147.C2 Fixed window ventilator with mullion / transom 9.147.C2.2 Using R2 series with frame (39mm & above ) x (39mm & above) & mullion (39mm & above) x (60mm & above). (Height upto 1.2 metre) | 20.00 | Sqm | 33.00 | 7000.00 | 140000.00 | 6500.00 | 130000.00 | 130000.00 | NARESH KUMAR BEHERA
29.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1920.00 | Kg | 34.00 | 100.00 | 192000.00 | 100.00 | 192000.00 | 192000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
30.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete | 1700.00 | Kg | 35.00 | 80.00 | 136000.00 | 80.00 | 136000.00 | 136000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
31.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, platesetc., including welding, grinding, buffing, polishing and making curvature (wherever required)and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing therailing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc.,of required size, on the top of the floor or the side of waist slab with suitable arrangementas per approval of Engineer-in-charge, | 860.00 | Kg | 36.00 | 200.00 | 172000.00 | 600.00 | 516000.00 | 172000.00 | SUMEET MOHANTY
32.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete as per direction of Enginer in Charge. Size of Tile 600x600 mm | 540.00 | Sqm | 37.00 | 900.00 | 486000.00 | 1300.00 | 702000.00 | 486000.00 | SUMEET MOHANTY
33.00 | Providing and fixing machine cut, mirror / eggshell polished , Granite stone work for wall lining including dado, skirting, risers of steps etc., in required design and pattern wherever required, stones of different finished surface texture, on 12 mm (average) thickcement mortar1:3(1cement:3coarsesand) laid and jointed with white cement slurry @ 3.3 kg/sqm including pointing with white cement slurry admixed with pigment of matching shade, including rubbing, curing, polishing etc. all complete as per Architectural drawings, and as directed by the Engineer-in-Charge. 18 mm thick Granite stone slab of approved colour & shade(The sample of granite stone shall be got approved well in advance before execution by the Engineer-In-Charge). Granite stone slab of all colour and texture except black, Cherry/Ruby red.Area of slab over 0.50 sqm | 59.00 | Sqm | 38.00 | 2200.00 | 129800.00 | 2900.00 | 171100.00 | 129800.00 | SUMEET MOHANTY
34.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 1480.00 | Sqm | 39.00 | 900.00 | 1332000.00 | 1300.00 | 1924000.00 | 1332000.00 | SUMEET MOHANTY
35.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing ‘C’ wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : GI Metal Ceiling Clip in plain Beveled edge global white colour tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 390.00 | Sqm | 40.00 | 1600.00 | 624000.00 | 2100.00 | 819000.00 | 624000.00 | SUMEET MOHANTY
36.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 200.00 | Sqm | 41.00 | 80.00 | 16000.00 | 120.00 | 24000.00 | 16000.00 | SUMEET MOHANTY
37.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1510.00 | Sqm | 42.00 | 90.00 | 135900.00 | 90.00 | 135900.00 | 135900.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
38.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 2560.00 | Sqm | 43.00 | 100.00 | 256000.00 | 80.00 | 204800.00 | 204800.00 | NARESH KUMAR BEHERA
39.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 1323.00 | Sqm | 44.00 | 200.00 | 264600.00 | 200.00 | 264600.00 | 264600.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
40.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 2.00 | Cum | 45.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 3000.00 | SUMEET MOHANTY
41.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineerin- charge. | 5.00 | Sqm | 46.00 | 800.00 | 4000.00 | 1000.00 | 5000.00 | 4000.00 | SUMEET MOHANTY
42.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | Cum | 47.00 | 1500.00 | 7500.00 | 1600.00 | 8000.00 | 7500.00 | SUMEET MOHANTY
43.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 17.00 | Each | 48.00 | 250.00 | 4250.00 | 300.00 | 5100.00 | 4250.00 | SUMEET MOHANTY
44.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 212.00 | Sqm | 49.00 | 50.00 | 10600.00 | 60.00 | 12720.00 | 10600.00 | SUMEET MOHANTY
45.00 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 200.00 | Sqm | 50.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 10000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
46.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 14.00 | Each | 51.00 | 50.00 | 700.00 | 100.00 | 1400.00 | 700.00 | SUMEET MOHANTY
47.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 390.00 | Sqm | 52.00 | 20.00 | 7800.00 | 40.00 | 15600.00 | 7800.00 | SUMEET MOHANTY
48.00 | Dismantling aluminium/Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material within 50 meters lead as directed by Engineer-in-charge. | 602.00 | Sqm | 53.00 | 20.00 | 12040.00 | 40.00 | 24080.00 | 12040.00 | SUMEET MOHANTY
49.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/ making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS: 2095 part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 110.00 | Sqm | 54.00 | 1000.00 | 110000.00 | 1300.00 | 143000.00 | 110000.00 | SUMEET MOHANTY
50.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond Airport premises, for all leads including all lifts involved. | 100.00 | Cum | 55.00 | 150.00 | 15000.00 | 250.00 | 25000.00 | 15000.00 | SUMEET MOHANTY
51.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Each | 56.00 | 6000.00 | 24000.00 | 5500.00 | 22000.00 | 22000.00 | NARESH KUMAR BEHERA
52.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing &fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 15.00 | Each | 57.00 | 11000.00 | 165000.00 | 12000.00 | 180000.00 | 165000.00 | SUMEET MOHANTY
53.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 19.00 | Each | 58.00 | 290.00 | 5510.00 | 300.00 | 5700.00 | 5510.00 | SUMEET MOHANTY
54.00 | Providing and fixing toilet paper holder :C.P. brass | 19.00 | Each | 59.00 | 650.00 | 12350.00 | 600.00 | 11400.00 | 11400.00 | NARESH KUMAR BEHERA
55.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a Single 15 mm C.P. brass pillar taps | 11.00 | Each | 60.00 | 1800.00 | 19800.00 | 1900.00 | 20900.00 | 19800.00 | SUMEET MOHANTY
56.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board, 510x1040 mm bowl depth 250 mm. | 2.00 | Each | 61.00 | 6000.00 | 12000.00 | 5800.00 | 11600.00 | 11600.00 | NARESH KUMAR BEHERA
57.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including, P.V.C. waste fittings complete.Flexible pipe 40 mm dia | 32.00 | Each | 62.00 | 100.00 | 3200.00 | 100.00 | 3200.00 | 3200.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
58.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 11.00 | Each | 63.00 | 200.00 | 2200.00 | 120.00 | 1320.00 | 1320.00 | NARESH KUMAR BEHERA
59.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 2.00 | Each | 64.00 | 800.00 | 1600.00 | 700.00 | 1400.00 | 1400.00 | NARESH KUMAR BEHERA
60.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 2.00 | Each | 65.00 | 800.00 | 1600.00 | 650.00 | 1300.00 | 1300.00 | NARESH KUMAR BEHERA
61.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 4.00 | Each | 66.00 | 700.00 | 2800.00 | 550.00 | 2200.00 | 2200.00 | NARESH KUMAR BEHERA
62.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia of Sand cast iron S&S pipe as per IS: 1729 | 120.00 | Mtr. | 67.00 | 850.00 | 102000.00 | 950.00 | 114000.00 | 102000.00 | SUMEET MOHANTY
63.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 15 mm nominal dia Pipes | 265.00 | Mtr. | 68.00 | 400.00 | 106000.00 | 300.00 | 79500.00 | 79500.00 | NARESH KUMAR BEHERA
64.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 20 mm nominal dia Pipes | 22.00 | Mtr. | 69.00 | 430.00 | 9460.00 | 350.00 | 7700.00 | 7700.00 | NARESH KUMAR BEHERA
65.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 25 mm nominal dia Pipes | 265.00 | Mtr. | 70.00 | 490.00 | 129850.00 | 400.00 | 106000.00 | 106000.00 | NARESH KUMAR BEHERA
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 32 mm nominal dia Pipes | 114.00 | Mtr. | 71.00 | 600.00 | 68400.00 | 450.00 | 51300.00 | 51300.00 | NARESH KUMAR BEHERA
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 40 mm nominal dia Pipes | 114.00 | Mtr. | 72.00 | 400.00 | 45600.00 | 500.00 | 57000.00 | 45600.00 | SUMEET MOHANTY
68.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall ,40 mm dia nominal bore | 114.00 | Mtr. | 73.00 | 700.00 | 79800.00 | 700.00 | 79800.00 | 79800.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
69.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 110.00 | Kg | 74.00 | 350.00 | 38500.00 | 480.00 | 52800.00 | 38500.00 | SUMEET MOHANTY
70.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For movable portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 50.00 | Kg | 75.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 20000.00 | SUMEET MOHANTY
71.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 10.00 | Sqm | 76.00 | 1000.00 | 10000.00 | 950.00 | 9500.00 | 9500.00 | NARESH KUMAR BEHERA
72.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 290.00 | Sqm | 77.00 | 50.00 | 14500.00 | 530.00 | 153700.00 | 14500.00 | SUMEET MOHANTY
73.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 20.00 | Sqm | 78.00 | 1000.00 | 20000.00 | 1400.00 | 28000.00 | 20000.00 | SUMEET MOHANTY
74.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately | 60.00 | Sqm | 79.00 | 3500.00 | 210000.00 | 4800.00 | 288000.00 | 210000.00 | SUMEET MOHANTY
75.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermeticallysealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. (Payment for fixing of IGU Panels in the curtain glazing is included in cost of item No.25.2) For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 30.00 | Sqm | 80.00 | 3000.00 | 90000.00 | 3000.00 | 90000.00 | 90000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
76.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 280.00 | Cum | 81.00 | 500.00 | 140000.00 | 7000.00 | 1960000.00 | 140000.00 | SUMEET MOHANTY
77.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade,with cement based high polymer modified quickset tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness, jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 85.00 | Sqm | 82.00 | 1000.00 | 85000.00 | 1300.00 | 110500.00 | 85000.00 | SUMEET MOHANTY
78.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade,with cement based high polymer modified quickset tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness, jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles, Size of Tile 600 x 600 mm | 1370.00 | Sqm | 83.00 | 950.00 | 1301500.00 | 1350.00 | 1849500.00 | 1301500.00 | SUMEET MOHANTY
79.00 | Granite floor Providing and fixing 18 mm thick machine cut, mirror polished, superior quality granite stone of required size in approved shade, colour and texture laid over by fixing of stone with cement based high polymer modified quick stone adhesive (water based) conforming to IS:15477, in average 6 mm thickness, joints treated with matching pigment, epoxy touch ups, including rubbing, curing, and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone flooring with jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 65.00 | Sqm | 84.00 | 2200.00 | 143000.00 | 3000.00 | 195000.00 | 143000.00 | SUMEET MOHANTY
80.00 | Granite Impregnator Extra for providing and applying minimum two coats of Impregnator sealer of approved make with a brush / roller on the top surface and sides of the Granite to act as a barrier coat against stains, soling, discoloration and effloroscence including cleaning the surface with brush or roller, mopping with moist cloth and allowing it to dry before application all complete as per direction of Engineer-in-charge.(Polished Surface) Note : Granite stone flooring shall be paid for separately under respective item | 60.00 | Sqm | 85.00 | 60.00 | 3600.00 | 60.00 | 3600.00 | 3600.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
81.00 | Granite Sealer Extra for providing and applying minimum two coats of Sealer of approved make on the back surface and sides of the Granite with a brush or roller to act as a barrier coat against stains, soling, discoloration and effloroscence including cleaning the surface with brush or roller, mopping with moist cloth and allowing it to dry before application all complete as per direction of Engineer-in-charge.(Raw Surface) Note : Granite stone flooring shall be paid for separately under respective item. | 120.00 | Sqm | 86.00 | 100.00 | 12000.00 | 110.00 | 13200.00 | 12000.00 | SUMEET MOHANTY
82.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including widthof groove) shall be measured in sqm. up to two decimal places. | 210.00 | Sqm | 87.00 | 2200.00 | 462000.00 | 4600.00 | 966000.00 | 462000.00 | SUMEET MOHANTY
83.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer in-charge. 110mm dia | 200.00 | Mtr. | 88.00 | 700.00 | 140000.00 | 700.00 | 140000.00 | 140000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
84.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer in-charge. 75 mm dia | 200.00 | Mtr. | 89.00 | 600.00 | 120000.00 | 550.00 | 110000.00 | 110000.00 | NARESH KUMAR BEHERA
85.00 | Dismantling of Sanitary fixtures & fittings including WC, Urinals, Wash Basins etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 38.00 | Each | 90.00 | 200.00 | 7600.00 | 300.00 | 11400.00 | 7600.00 | SUMEET MOHANTY
86.00 | Dismantling wall tiles with mortar and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead complete in all respect as per direction of Engineer in charge. | 390.00 | Sqm | 91.00 | 100.00 | 39000.00 | 150.00 | 58500.00 | 39000.00 | SUMEET MOHANTY
87.00 | Providing and fixing modular toilet cubicles of approved make as per manufaturer's standard specifications.All intermediate panels, pilasters, doors shall be made up of Solid Compact Laminate (Phenolic Core Board) 12 mm thick as per IS 2046 based on thermosetting resins, homogeneously reinforced with cellulose fibers making cubicles impervious to Water, resistant to Fire, etc. Compact laminate should be Greenguard and IGBC certified. Hardware and Fixing All accessories shall be of 304 grade including all hardware/fittings. The pilaster are anchored to the flooring using adjustable SS legs.The SS SQUARE top rail shall be fixed on the top of the pilasters. Accessories Standard accessories include SS Hinges, SS Door knob, SS thumb turn indicator, SS coat hook, SS SQUARE top rail and SS channels (All accessories in SS 304 grade) SS legs in SS 316 Grade. Std Sizes (W x D x H)- 1000 mm x 1500/1050/1200/1000 mm x 2100 mm, (Height is including 100 mm gap from bottom) Door Size- 610 mm x 1925 mm. | 30.00 | Each | 92.00 | 28000.00 | 840000.00 | 33000.00 | 990000.00 | 840000.00 | SUMEET MOHANTY
88.00 | Providing and fixing in position Battery based white vitreous chinaware sensor Urinal with battery operated automatic pre and post flushing system rear inlet of (Jaquar Cat no.URS-WHT-13263 + Kohlar cat No.K-8791T-C01-CP or approved equivalent) appox. size 332X642mm)comprising of all plumbing,electronic and electrical items.C.P brass elbow, C.P. brass waste coupling, C.P brass spreader,C.P wall flange,infrared Photocells,eyes electrically operated solenold valve equipment and any other items required to provide satisfactory functioning including necessary wall cutting/chasing and making good as required for urinal flushing complete as per the direction of the Engineer in charge. | 9.00 | Each | 93.00 | 16000.00 | 144000.00 | 19000.00 | 171000.00 | 144000.00 | SUMEET MOHANTY
89.00 | Providing and fixing urinal partions of standard dimensions(Jaquar Cat no.JSE-CHR 810US450X or approved equivalent) made of 12 mm thick toughened frosted Glass, scracth & impact resistant. The urnial partions shall be fixed on walls with right angle brackets in stainless steel of grade 304 with necesary stainless steel screws of grade SS 304 complete as per the direction of Engineer incharge. a) Urinal partition of size 900 mm x 450 mm. | 11.00 | Each | 94.00 | 3800.00 | 41800.00 | 3800.00 | 41800.00 | 41800.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
90.00 | Providing and fixing brass CP Health faucet with 1 metre long Flexible Tube and CP wall hook with PVC rawl plug & SS Screws wherever required etc. complete as per the directions and to the satisfaction of Engineer-in-charge. Make: Jaquar-ALD-CHR-573GB / Queo- Q5031925/ Kohler 12927IN-CP or approved equivalent. | 19.00 | Each | 95.00 | 1200.00 | 22800.00 | 1350.00 | 25650.00 | 22800.00 | SUMEET MOHANTY
91.00 | Providing and fixing white vitreous Under-counter wash basin white with fixing supports including all accessories complete in all respect including cutting and making good the walls wherever required and as per the directions and to the satisfaction of Engineer-in-charge. Make: Jaquar-FNS-WHT-40701/ Queo-Elena-Q7571501 / Kohler- K- 2215IN-0 or approved equivalent. | 19.00 | Each | 96.00 | 9000.00 | 171000.00 | 12000.00 | 228000.00 | 171000.00 | SUMEET MOHANTY
92.00 | Providing and fixing Chromium Plated brass Waste Coupling of approved quality & make, with necessary accessories complete in all respect and as per the directions and to the satisfaction of Engineer-in-charge. Make: Jaquar ALD-CHR-709 / Kohler 45432IN-CP / Queo Q5031913 or approved equivalent. | 30.00 | Each | 97.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 12000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
93.00 | Providing and fixing in position Square stainless steel Cockroach floor Traps( Chilly Cat no CCT-SFC-127 or Approved Equivalent) make square size 127x127 mm with stainless steel floor drain grating, inner filter, outer filter, rim etc. complete including cast of cutting and making good the walls floors at all heights, levels, including cost of all material such as concrete/mortar etc. as per directions of the Engineer-incharge. | 61.00 | Each | 98.00 | 750.00 | 45750.00 | 800.00 | 48800.00 | 45750.00 | SUMEET MOHANTY
94.00 | Providing and fixing C.P. brass angle valve with flange complete of approved quality conforming to IS:8931, 15mm nominal bore with approved make & quality and as per the directions and to the satisfaction of Engineer-in-charge. Make: Jaquar ARI-CHR-39053/ QUEO-Q5031911/ Kohler 80158IN-9-CP or approved equivalent. | 63.00 | Each | 99.00 | 1000.00 | 63000.00 | 1000.00 | 63000.00 | 63000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
95.00 | Providing and Fixing 15 mm nominal bore CP Brass pillar cock with aerator, auto stop complete wherever required with approved make & quality and as per the directions and to the satisfaction of Engineer-in-charge. Make: Jaquar- PRS-CHR-031GE / Queo Q1131121/ Kohler 20747IN-8-CP or approved equivalent. | 30.00 | Each | 100.00 | 2500.00 | 75000.00 | 2700.00 | 81000.00 | 75000.00 | SUMEET MOHANTY
96.00 | Providing and fixing CP Brass Bottle Trap of approved quality & make and as per the directions and to the satisfaction of Engineer-in-charge. Make:Jaquar ALD-CHR-769L250X190 / Kohler 75823IN-CP / Queo Q5031952 or approved equivalent. | 41.00 | Each | 101.00 | 2000.00 | 82000.00 | 2000.00 | 82000.00 | 82000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
97.00 | Providing and fixing S.S. body tissue paper dispenser fixed to PVC cleats with C.P. brass screws wherever required of approved make & quality and as per the directions and to the satisfaction of the Engineer-in-charge.Make: Jaquar PTD-SAP-DT0106CS / / Euronics EP 01 or approved equivalent. | 11.00 | Each | 102.00 | 5000.00 | 55000.00 | 4800.00 | 52800.00 | 52800.00 | NARESH KUMAR BEHERA
98.00 | Providing and fixing 6mm thick extra clear bevelled edge mirror fixed on walls with stainless steel studs of appropriate size and dia at four corners of glass and 6mm thick waterproof ply/sheet backing complete as per direction of the Engineer-InCharge. | 25.00 | Sqm | 103.00 | 2000.00 | 50000.00 | 2300.00 | 57500.00 | 50000.00 | SUMEET MOHANTY
99.00 | ELECTRICAL WORKS Wiring for one point for light point/fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed Steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 126.00 | Each | 13.00 | 970.00 | 122220.00 | 1400.00 | 176400.00 | 122220.00 | SUMEET MOHANTY
100.00 | Wiring for group control points for light points with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed Steel conduit, and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable including all accessories etc. as required.(excluding switch & switch box). | 245.00 | Each | 13.00 | 590.00 | 144550.00 | 700.00 | 171500.00 | 144550.00 | SUMEET MOHANTY
101.00 | Supplying and fixing following modular switch / socket with suitable modular base & cover plate, GI box in recess and modular blanking plate including connections as per site requirements etc. as required.
101.10 | 5/6 amp switch with 3 pin 5/6 amp shuttered socket outlet (ISI marked). | 100.00 | Each | 10.00 | 270.00 | 27000.00 | 300.00 | 30000.00 | 27000.00 | SUMEET MOHANTY
101.20 | 15/16 amps switch with indicator with 3 pin 15/16 amp socket outlet (combined shuttered type). | 70.00 | Each | 22.00 | 340.00 | 23800.00 | 400.00 | 28000.00 | 23800.00 | SUMEET MOHANTY
102.00 | Supplying and fixing following modular switch / socket with suitable modular base & cover plate, GI box in recess and modular blanking plate including connections as per site requirements etc. as required.
102.10 | 2 x 2.5 Sq..mm. + 1 x 2.5 sq. mm. earth wire. | 3000.00 | Mtr | 10.00 | 150.00 | 450000.00 | 200.00 | 600000.00 | 450000.00 | SUMEET MOHANTY
102.20 | 2 x 4 Sq. mm+ 1 x 4 sq. mm earth wire. | 1700.00 | Mtr | 22.00 | 180.00 | 306000.00 | 250.00 | 425000.00 | 306000.00 | SUMEET MOHANTY
103.00 | Supplying and fixing of following sizes steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
103.10 | 25 mm dia | 150.00 | Mtr | 10.00 | 125.00 | 18750.00 | 100.00 | 15000.00 | 15000.00 | NARESH KUMAR BEHERA
103.20 | 32 mm dia | 50.00 | Mtr | 22.00 | 165.00 | 8250.00 | 150.00 | 7500.00 | 7500.00 | NARESH KUMAR BEHERA
104.00 | Supply and drawing of wires along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core in existing conduit/raceway as required.
104.10 | 2 x 1.5 sq. mm + 1 x 1.5 sq.mm earth wire | 200.00 | Mtr | 10.00 | 50.00 | 10000.00 | 70.00 | 14000.00 | 10000.00 | SUMEET MOHANTY
104.20 | 2 x 2.5 sq. mm + 1 x 2.5 sq.mm earth wire | 100.00 | Mtr | 22.00 | 72.00 | 7200.00 | 80.00 | 8000.00 | 7200.00 | SUMEET MOHANTY
104.30 | 2 x 4 sq. mm + 1 x 4 sq.mm earth wire | 100.00 | Mtr | 22.00 | 112.00 | 11200.00 | 120.00 | 12000.00 | 11200.00 | SUMEET MOHANTY
105.00 | Supplying and fixing following way, single/ three pole and neutral, pre-wired, sheet steel, MCB Distribution Board (per phase isolation type), 230/415 volts, on surface/recess, complete with loose wire box/ cable termination box, terminal blocks, duly prewired with suitable size FRLS PVC insulated copper conductor upto terminal blocks, tinned copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, blanking plates, phosphatized and powder painted including earthing etc. as required. (But without MCB/ RCCB/isolator).
105.10 | 8 way, SPN Double Door type, IP 43 ( suitable for DP RCBO Incomer). | 6.00 | Each | 10.00 | 1110.00 | 6660.00 | 1500.00 | 9000.00 | 6660.00 | SUMEET MOHANTY
105.20 | 8 Way, TPN, Double Door, Vertical type, IP 43 | 6.00 | Each | 22.00 | 4200.00 | 25200.00 | 5000.00 | 30000.00 | 25200.00 | SUMEET MOHANTY
106.00 | Supplying and fixing following way 415 V, three pole and neutral vertical MCCB incomer Distribution Board (per phase isolation type) of sheet steel, dust protected, duly powder painted, inclusive of 200As tinned copper busbars, common neutral link, earth bar , din bar for mounting MCB's( 3P and 1P type) , on surface/recess, complete with loose wire box/ cable termination box, terminal blocks, detachable gland plate, interconnections duly prewired with suitable size FRLS PVC insulated copper conductor upto terminal blocks , blanking plates, phosphatized and powder painted including earthing etc. as required. (But without MCCB/MCB/ RCCB/isolator).
106.10 | 12 Way, TPN, Double Door, Vertical type, IP 43 | 5.00 | Each | 10.00 | 6000.00 | 30000.00 | 7000.00 | 35000.00 | 30000.00 | SUMEET MOHANTY
107.00 | Supplying and fixing of following MCCB/ MCB/RCCB in the existing MCB/MCCB DB complete with connections, testing and commissioning etc. as required.
107.10 | 6-32A, 10kA, SP "C" Series MCB | 250.00 | Each | 10.00 | 200.00 | 50000.00 | 200.00 | 50000.00 | 50000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
107.20 | 25 A, DP, 10KA,RCBO | 6.00 | Each | 10.00 | 1560.00 | 9360.00 | 1800.00 | 10800.00 | 9360.00 | SUMEET MOHANTY
107.30 | 0-32 A, 3P, 10kA C Series MCB | 20.00 | Each | 10.00 | 468.00 | 9360.00 | 500.00 | 10000.00 | 9360.00 | SUMEET MOHANTY
107.40 | 40 A, 4P, 10kA C Series MCB | 6.00 | Each | 10.00 | 840.00 | 5040.00 | 800.00 | 4800.00 | 4800.00 | NARESH KUMAR BEHERA
107.50 | 63 A, 4P, 10kA C Series MCB | 5.00 | Each | 10.00 | 870.00 | 4350.00 | 850.00 | 4250.00 | 4250.00 | NARESH KUMAR BEHERA
107.60 | 40 A, 4P, 300mA, RCCB | 6.00 | Each | 10.00 | 1011.00 | 6066.00 | 1100.00 | 6600.00 | 6066.00 | SUMEET MOHANTY
107.70 | 160 A , 16 KA, TM/Microprocessor MCCB with OC, SC and Earth fault. | 5.00 | Each | 10.00 | 3600.00 | 18000.00 | 4500.00 | 22500.00 | 18000.00 | SUMEET MOHANTY
108.00 | Supply of 4 feet, Indoor type, minimum 4400 lumens Pendent linear LED luminaires with minimum lumen Efficency of minimum 110 Lm/watt, white CRCA powder coated LED luminaire covered by prismatic/Opal diffuser, extruded aluminium housing , CRI>80, THD<=10%, IP 20, IK 04, UGR ≤ 19 Shall have minimum 05 Years Warranty (For both Fitting & Driver), with Prewired electronic driver complete with all accessories including SS suspension wire(if required) to meeting AAI technical Specifications etc. and suitable for ceiling suspension /conduit mounting/ wall mounted / recess mounted as per site conditions etc. as required. | 30.00 | Each | 10.00 | 2220.00 | 66600.00 | 2500.00 | 75000.00 | 66600.00 | SUMEET MOHANTY
109.00 | Supply of Indoor type, 1980 Lumens, High efficient recess mounted round adjustable LED downlighter with COB LED with aluminium housing, System efficency shall be minimum 110 lumens /watt, High efficient clear glass technogly provides glare free light, CRI>80,THD<=10%, IP 20, IK 04, UGR ≤ 19 Shall have minimum 05 Years Warranty (For both Fitting & Driver) with Prewired electronic driver complete with all accessories to meeting AAI technical Specifications etc. as required. | 50.00 | Each | 10.00 | 522.00 | 26100.00 | 600.00 | 30000.00 | 26100.00 | SUMEET MOHANTY
110.00 | Supply of Indoor type, 2 feet x 2 feet, 3960 lumens, recess mounted preimum look LED Luminaires with Efficacy minimum 110 lm/W, White powder coated CRCA housing, white high transmission acrylic cover, CRI>80,THD<=10%, IP 20, IK 04, UGR ≤ 19 Shall have minimum 05 Years Warranty (For both Fitting & Driver) with Prewired electronic driver complete with all accessories to meeting AAI technical Specifications etc. as required. | 90.00 | Each | 10.00 | 1011.00 | 90990.00 | 1000.00 | 90000.00 | 90000.00 | NARESH KUMAR BEHERA
111.00 | Supply of Indoor type, Indoor type, 1980 lumens Recessed round downlighter with System efficacy of minimum 110 lm/W , operating in 50Hz frequency. Luminaire shall have aluminium pressure die cast housing in white with high transmittivity diffuser for uniform illumination and reduced glare,CRI>80,THD<=10%, Surge protection >= 4KV, IP 20, IK 04, UGR ≤ 19 Shall have minimum 05 Years Warranty, with Prewired electronic driver complete with all accessories to meeting AAI technical Specifications etc. as required. | 200.00 | Each | 10.00 | 591.00 | 118200.00 | 700.00 | 140000.00 | 118200.00 | SUMEET MOHANTY
112.00 | Supply of Indoor type, recess mounted 1200 Lumens Normal white, LED round adjustable down light with COB LED with System efficacy IP 20, IK 04, UGR ≤ 19 of minimum 110 lm/W , CRI>80,THD<=10%, Shall have minimum 05 Years Warranty with Prewired electronic driver complete with all accessories to meeting AAI technical Specifications etc. as required. | 20.00 | Each | 10.00 | 384.00 | 7680.00 | 400.00 | 8000.00 | 7680.00 | SUMEET MOHANTY
113.00 | Supply of Indoor type, minimum 2200 Lumens, 4 feet, extruded aluminium housing LED batten with PC diffuser, minimum 110 Lum/watt efficency, IP 20, IK 04, UGR ≤ 19, CRI>80,THD<=10%, Surge protection >= 4KV, Shall have minimum 05 Years Warranty with in build Prewired electronic driver complete with all accessories to meeting AAI technical Specifications and suitable for fixing on wall surface etc. as required. | 50.00 | Each | 10.00 | 225.00 | 11250.00 | 200.00 | 10000.00 | 10000.00 | NARESH KUMAR BEHERA
114.00 | Installation, testing and commissioning of pre-wired, all above LED luminaries etc. of all types (Surface/Recessed), complete with providing all supporting steel & structure accessories, cement concrete foundations wherever necessary etc. directly on recess/surface, including connection with 1.5 sq. mm FRLS PVC insulated, stranded, copper conductor, single core cable with steel flexible conduits and coupler and earthing etc. as required. | 440.00 | Each | 10.00 | 171.00 | 75240.00 | 180.00 | 79200.00 | 75240.00 | SUMEET MOHANTY
115.00 | Supply, installtion , testing and commissioning of 5 Meter length Flexible encapsulated LED Strip with Suitable 24 W Driver, LED rows to be applied on smooth, clean and dry surfaces with 3M adhesive mounting Tape. Fixture should be degree of Protection IP>= 20, uniform brightness with 430 lumens/meter, LED Burning hours shall be 20000 hours, CRI>80,THD<=20%, Shall have minimum 02 Years Warranty with Prewired electronic driver operateing with 230V, 50HZ power supply & output of 12 V DC. complete with all accessories to meeting Specifications etc. as required. | 16.00 | Set | 10.00 | 768.00 | 12288.00 | 800.00 | 12800.00 | 12288.00 | SUMEET MOHANTY
116.00 | Supply of 400 mm sweep, 2000 rpm wall mounted fan, having pull cord control for speed and oscillation suitable for 230 V/240 V 50 HZ, AC supply etc. as required. | 24.00 | Each | 10.00 | 1476.00 | 35424.00 | 1800.00 | 43200.00 | 35424.00 | SUMEET MOHANTY
117.00 | Supply of minimum 150mm sweep , 1980 rpm exhaust fan with Louver suitable for 230 V 50 HZ, AC supply etc. as required. | 5.00 | Each | 10.00 | 750.00 | 3750.00 | 900.00 | 4500.00 | 3750.00 | SUMEET MOHANTY
118.00 | Supply of 450 mm, sweep 900 RPM heavy duty exhaust fan suitable for single phase 230 volt, 50Hz AC supply complete with motor, capacitor, louvers/shutters and all accessories as required complete. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 12000.00 | SUMEET MOHANTY
119.00 | Installation, testing and commissioning of Wall mounted fan including providing all supproting and fixing accessories and connections etc. complete as required. | 24.00 | Each | 10.00 | 112.00 | 2688.00 | 80.00 | 1920.00 | 1920.00 | NARESH KUMAR BEHERA
120.00 | Installation of exhaust fans in the existing opening including making the holes to suit the size of the above fan making good connections, testing and commissioning etc. with 1.5 sq.mm PVC insulated copper conductor three core cable etc. complete as required. | 9.00 | Each | 10.00 | 204.00 | 1836.00 | 280.00 | 2520.00 | 1836.00 | SUMEET MOHANTY
121.00 | Supply of following size of 1.1 KV grade, Multistrands Aluminium conductor , XLPE insulated, PVC Innersheathed, Armoured ,Extruded PVC Type ST2 Outer Sheathed cable confirming to IS: 7098 part -I with upto Date Amendments.
121.10 | 4C x 50 sqmm | 500.00 | Mtr | 10.00 | 471.00 | 235500.00 | 500.00 | 250000.00 | 235500.00 | SUMEET MOHANTY
121.20 | 4C x 16 sqmm | 500.00 | Mtr | 10.00 | 231.00 | 115500.00 | 200.00 | 100000.00 | 100000.00 | NARESH KUMAR BEHERA
121.30 | 4C x10 Sq.mm | 300.00 | Mtr | 10.00 | 216.00 | 64800.00 | 200.00 | 60000.00 | 60000.00 | NARESH KUMAR BEHERA
122.00 | Supply of following size of 1.1 KV grade, multistrands Copper conductor,XLPE insulated, unarmoured, Extruded PVC Type ST2 Outer Sheathed cable confirming to IS: 7098 part -I with upto date Amendments.
122.10 | 3C x 6 sqmm | 400.00 | Mtr | 10.00 | 336.00 | 134400.00 | 350.00 | 140000.00 | 134400.00 | SUMEET MOHANTY
122.20 | 3Cx4 Sqmm | 200.00 | Mtr | 10.00 | 228.00 | 45600.00 | 200.00 | 40000.00 | 40000.00 | NARESH KUMAR BEHERA
123.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface/ cable tray etc. as required.
123.10 | Upto 35 sqmm | 700.00 | Mtr | 10.00 | 30.00 | 21000.00 | 30.00 | 21000.00 | 21000.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
123.20 | 50 Sqmm Cable | 370.00 | Mtr | 10.00 | 70.00 | 25900.00 | 70.00 | 25900.00 | 25900.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
124.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required.
124.10 | 4 C x 50 sqmm | 10.00 | Set | 10.00 | 228.00 | 2280.00 | 200.00 | 2000.00 | 2000.00 | NARESH KUMAR BEHERA
124.20 | 4 x 16 sqmm | 12.00 | Set | 10.00 | 170.00 | 2040.00 | 180.00 | 2160.00 | 2040.00 | SUMEET MOHANTY
124.30 | 4 x 10 sqmm | 10.00 | Set | 10.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 1500.00 | SUMEET MOHANTY
125.00 | Supplying and making end termination with heavy duty type brass single compression gland and copper lugs for following size of XLPE insulated copper conductor cable of 1.1 kV grade as required.
125.10 | 3C x 6 sqmm | 8.00 | Set | 10.00 | 137.00 | 1096.00 | 160.00 | 1280.00 | 1096.00 | SUMEET MOHANTY
126.00 | Supply, fabricating and installing of following size of perforated pre-galvanised cable trays including horizontal and vertical bends, reducers, tees, cross members and other accessories as required duly suspended from the ceiling/wall with M.S . Suspenders etc. as required.
126.10 | 150 mm width x 50 mm depth x 1.6 mm thickness | 50.00 | Mtr | 10.00 | 354.00 | 17700.00 | 350.00 | 17500.00 | 17500.00 | NARESH KUMAR BEHERA
126.20 | 300 mm width x 50 mm depth x 1.6 mm thickness | 50.00 | Mtr | 10.00 | 672.00 | 33600.00 | 800.00 | 40000.00 | 33600.00 | SUMEET MOHANTY
127.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 1070.00 | Meter | 10.00 | 40.00 | 42800.00 | 30.00 | 32100.00 | 32100.00 | NARESH KUMAR BEHERA
128.00 | Supply, installation, testing and commissioning of 22 gauage GSS sheet metal for toilet Exhaust air as per ducting specifications and with suitable supports using MS angles, channels, rods, anchor bolts, etc to roof /truss and as per specifications incuding sizing of ducts. | 60.00 | Sq.mtr | 10.00 | 690.00 | 41400.00 | 800.00 | 48000.00 | 41400.00 | SUMEET MOHANTY
129.00 | Supply, fixing, testing and commissioning of powder coated extruded aluminium section exhaust air grille with bird screen rain protection etc. complete as required with aluminium frame work. | 3.00 | Sq.mtr | 10.00 | 3030.00 | 9090.00 | 3500.00 | 10500.00 | 9090.00 | SUMEET MOHANTY
130.00 | Supply, fixing and commissioning of powder coated extruded aluminium grilles complete with black anodized extruded aluminum VCD , nuts, bolts, screws etc. as per approved drawings and specifications. Return air grilles | 3.00 | Sq.mtr | 10.00 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 13500.00 | SUMEET MOHANTY, NARESH KUMAR BEHERA
131.00 | Supply, installation, testing and commissioning of Single Inline fan suitable for 220±10% volts, 50 Hz,single phase AC supply and complete with all standard accessories such as motors, blades etc., the casing of inline fan shall be accoustically lined and shall be selected for lower noise level, fan motor shall have inbuilt speed controller, including connections with 1.5 sq. mm PVC insulated FR copper conductor wire from the point outlet to the fan as required etc. as required.
131.10 | 100 cfm, 12 mm external static pressure for exhaust | 4.00 | Each | 10.00 | 6540.00 | 26160.00 | 7000.00 | 28000.00 | 26160.00 | SUMEET MOHANTY
131.20 | 250 cfm, 20 mm external static pressure for exhaust | 4.00 | Each | 10.00 | 6540.00 | 26160.00 | 7000.00 | 28000.00 | 26160.00 | SUMEET MOHANTY
132.00 | Supply of premium quality, SS 304 grade body of 80 Ltrs storage capacity cooler cum 3 stage purifier including all accessories and one year comprehensive warranty etc. complete as required. | 1.00 | Each | 10.00 | 50000.00 | 50000.00 | 70000.00 | 70000.00 | 50000.00 | SUMEET MOHANTY
133.00 | Supply, Installation, Testing And Commissioning of fully automatic stainless steel sensor operated optimum hand dryers with safety thermal cut-off , operated on Single Phase 230 +/- 10 V, 50 HZ power supply etc. complete as required. | 12.00 | Each | 10.00 | 6300.00 | 75600.00 | 7000.00 | 84000.00 | 75600.00 | SUMEET MOHANTY
134.00 | Supply, Installation, Testing & Commissioning of intelligent Addressable Fire Alarm Panel with 12 loops with single panel (each loop accessing at least 198 detectors and devices ) including battery backup. The panel shall be microprocessor based with its own micro controller, memory, communication module and fire device loop interface cards for intelligent initiating and indicating devices and should also be networkable with other Addressable Fire Alarm Panels. The Panel shall be able to give pin point location of all Fire/Fault conditions of addressable units via the address codes for each unit. The Panel shall also be able to automatically switch off all control Switches when ever any alarm is triggered. The Panel shall have Keypad operation, LCD unit to indicate Fire/Fault Signal of individual unit, etc complete in all respects. Battery shall be SMF type or as per OEM recommonations.The panel shall also have logic hardware and software built into it for initiating specific AHU/VRF and lift tripping. Panel should have provision to connect PCs, external printer,auto dailer, support modbus and bacnet portocol. | 1.00 | job | 10.00 | 200000.00 | 200000.00 | 300000.00 | 300000.00 | 200000.00 | SUMEET MOHANTY
135.00 | Supply, installation, Testing & commissioning of intelleangent Addressable type Optical Smoke Detector complete with all accessories like base and base box (if required) etc., to be installed under/above false ceilling, roof and concealed space, etc., complete as required. | 100.00 | Each | 10.00 | 1500.00 | 150000.00 | 1800.00 | 180000.00 | 150000.00 | SUMEET MOHANTY
136.00 | Supply, installation, testing and commissioning of intelleangent Addressable type Optical Smoke cum heat Detector complete with all accessories like base, base box, etc to be installed under/above false ceiling, roof and concealed space etc. complete as required. | 6.00 | Each | 10.00 | 1890.00 | 11340.00 | 1900.00 | 11400.00 | 11340.00 | SUMEET MOHANTY
137.00 | Supply, installation, testing and commissioning of intelleangent Addressable type heat Detector complete with all accessories like base,basebox etc to be installed under/above false ceiling, roof and concealed space etc. interconnecting to loop cable complete as required. | 4.00 | Each | 10.00 | 1620.00 | 6480.00 | 1800.00 | 7200.00 | 6480.00 | SUMEET MOHANTY
138.00 | Supply, installation, testing and commissioning of Addressablve type Manual Call Point (break glass type) complete with input Module, Push Botton, enclosed in box with provision for cable or conduit coupling. The unit to be painted fire red outside, white inside and written 'Incase of fire break glass'. | 4.00 | Each | 10.00 | 3810.00 | 15240.00 | 5000.00 | 20000.00 | 15240.00 | SUMEET MOHANTY
139.00 | Supply, installation, testing and commissioning of fault Isolator with base with termination etc. as required. | 10.00 | Each | 10.00 | 2400.00 | 24000.00 | 3000.00 | 30000.00 | 24000.00 | SUMEET MOHANTY
140.00 | Supply, installation, testing and commissioning of Analogue addressable control module complete with termination etc. as required for VRF, AHUs, Dampers and lift control. Each control module suitable for 8 outputs for activation. | 10.00 | Each | 10.00 | 3180.00 | 31800.00 | 4000.00 | 40000.00 | 31800.00 | SUMEET MOHANTY
141.00 | Supply and fixing of Hooter cum Strobe complete with address switch including base plate, box, necessary accessories, etc. | 3.00 | Each | 10.00 | 3900.00 | 11700.00 | 5000.00 | 15000.00 | 11700.00 | SUMEET MOHANTY
142.00 | Supply, installation, testing and commissioning of response Indicators for getting fire indications of detectors installed above false ceiling area complete as required. | 50.00 | Each | 10.00 | 90.00 | 4500.00 | 70.00 | 3500.00 | 3500.00 | NARESH KUMAR BEHERA
143.00 | Supply and laying of PVC insulated FRLS/FRLSH 2C x 1.5sq.mm copper conductor armoured cable on wall surface /ceiling/above false ceiling/inside cable trunking/pipe etc. etc as required. (As per Approved makes list). | 1500.00 | Mtr | 10.00 | 85.00 | 127500.00 | 70.00 | 105000.00 | 105000.00 | NARESH KUMAR BEHERA
| Total in Figures |  |  |  |  | 14231038.00 |  | 24216210.00
Lowest Amount Quoted BY: SUMEET MOHANTY(14231038.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special Repair to Terminal T2 at B.P.I. Airport, Bhubaneswar Tender ID: 2026_AAI_275942_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUMEET MOHANTY (BID ID -1022529) | 14231038.00 | L1
| 2 | NARESH KUMAR BEHERA (BID ID -1022711) | 24216210.00 | L2