## BoQ1
Government eProcurement System Created By: Harpal Singh Daral Created Date/Time: 11-Sep-2026 05:00 PM Tender Title: Supply, Installation, Testing and Commissioning of Refrigerated Drinking Water Fountain with RO System and 05 Years AICMC at Srinagar International Airport Tender ID: 2026_AAI_276192_1
Tender Inviting Authority: SM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Supply, Installation, Testing and Commissioning of Refrigerated Drinking Water Fountain with RO System & 05 (Years) AICMC at Srinagar International Airport, Srinagar.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd. (GSTN-07AABCO6540R1ZX) BID ID -1057139
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:-1 SITC of refrigerated drinking water fountain with RO units Supply, Installation, Testing and commissioning of wall mounted refrigerated barrier free bi-level (double spout/ Bubbler) drinking water fountain with front / side mechanical push pads to activate the flow of water manually with Cooling Capacity of 60 LPH and sensor & mechnical based independently activated two bottle filler system with two taps for dispensing Hot (min 10 ltr storage tank) & cold water (min 100 ltr Hydro Pressure Tank (HPT) storage tank) i/c front panel made of stainless steel top and heavy duty galvanized steel / brushed stainless steel frame to deliver the water through spout, suitable for operation at 230V (+10%), 50HZ, AC supply i/c all required accessories, valves, inter connecting water & drain piping/hardware like stop valve, minimum 100 micron strainer, trap with suitable size etc complete as per actual site requirement having R.O filteration system of 2Nos X 50 LPH, 5 stage filtration system, Commercial grade filters, minimum 400 GPD RO Membrane with point of use UV sanitization. The water Fountain shall meets all current Federal regulations for the differently abled such as ADA/ANSI/ NSF-USA. Product should be certified to be lead free as defined by the safe drinking water act. Agency has to execute electrical work and piping work required for installing the Water Fountain for its proper functioning and as directed by the E-I-C without any extra cost. The power point and water connection shall be provided by AAI near the installation. | 9.00 | Nos |  | 286000.00 | 2574000.00 | 2574000.00 | Oasis WFS (P) Ltd.
2.00 | Dismantling of existing wall hanging non-refrigerated drinking water fountain unit of (Make: WAE, Model No. WAE-HTHB-OVLEBP-I) with booster/pressurising unit etc. complete in all respect as required. | 8.00 | JOB |  | 10000.00 | 80000.00 | 80000.00 | Oasis WFS (P) Ltd.
3.00 | SH:-II Supply of Consumable spares Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. RO Membrane (Minimum 400 GPD) - Set of 04
3.01 | For During defect liability period of 12 Months | 18.00 | JOB |  | 6400.00 | 115200.00 | 115200.00 | Oasis WFS (P) Ltd.
3.02 | For Ist year after defect liability period of 12 Months | 18.00 | JOB |  | 6600.00 | 118800.00 | 118800.00 | Oasis WFS (P) Ltd.
3.03 | For 2nd year after defect liability period of 12 Months | 18.00 | JOB |  | 6800.00 | 122400.00 | 122400.00 | Oasis WFS (P) Ltd.
3.04 | For 3rd year after defect liability period of 12 Months | 18.00 | JOB |  | 7000.00 | 126000.00 | 126000.00 | Oasis WFS (P) Ltd.
3.05 | For 4th year after defect liability period of 12 Months | 18.00 | JOB |  | 7200.00 | 129600.00 | 129600.00 | Oasis WFS (P) Ltd.
3.06 | For 5th year after defect liability period of 12 Months | 18.00 | JOB |  | 7400.00 | 133200.00 | 133200.00 | Oasis WFS (P) Ltd.
4.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Sediment Filter (20 inches)
4.01 | For During defect liability period of 12 Months | 36.00 | JOB |  | 400.00 | 14400.00 | 14400.00 | Oasis WFS (P) Ltd.
4.02 | For Ist year after defect liability period of 12 Months | 36.00 | JOB |  | 440.00 | 15840.00 | 15840.00 | Oasis WFS (P) Ltd.
4.03 | For 2nd year after defect liability period of 12 Months | 36.00 | JOB |  | 480.00 | 17280.00 | 17280.00 | Oasis WFS (P) Ltd.
4.04 | For 3rd year after defect liability period of 12 Months | 36.00 | JOB |  | 520.00 | 18720.00 | 18720.00 | Oasis WFS (P) Ltd.
4.05 | For 4th year after defect liability period of 12 Months | 36.00 | JOB |  | 560.00 | 20160.00 | 20160.00 | Oasis WFS (P) Ltd.
4.06 | For 5th year after defect liability period of 12 Months | 36.00 | JOB |  | 600.00 | 21600.00 | 21600.00 | Oasis WFS (P) Ltd.
5.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Activated Filter (20 inches)
5.01 | For During defect liability period of 12 Months | 72.00 | JOB |  | 650.00 | 46800.00 | 46800.00 | Oasis WFS (P) Ltd.
5.02 | For Ist year after defect liability period of 12 Months | 72.00 | JOB |  | 725.00 | 52200.00 | 52200.00 | Oasis WFS (P) Ltd.
5.03 | For 2nd year after defect liability period of 12 Months | 72.00 | JOB |  | 800.00 | 57600.00 | 57600.00 | Oasis WFS (P) Ltd.
5.04 | For 3rd year after defect liability period of 12 Months | 72.00 | JOB |  | 875.00 | 63000.00 | 63000.00 | Oasis WFS (P) Ltd.
5.05 | For 4th year after defect liability period of 12 Months | 72.00 | JOB |  | 950.00 | 68400.00 | 68400.00 | Oasis WFS (P) Ltd.
5.06 | For 5th year after defect liability period of 12 Months | 72.00 | JOB |  | 1025.00 | 73800.00 | 73800.00 | Oasis WFS (P) Ltd.
6.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Carbon Block (20 inches)
6.01 | For During defect liability period of 12 Months | 36.00 | JOB |  | 700.00 | 25200.00 | 25200.00 | Oasis WFS (P) Ltd.
6.02 | For Ist year after defect liability period of 12 Months | 36.00 | JOB |  | 750.00 | 27000.00 | 27000.00 | Oasis WFS (P) Ltd.
6.03 | For 2nd year after defect liability period of 12 Months | 36.00 | JOB |  | 800.00 | 28800.00 | 28800.00 | Oasis WFS (P) Ltd.
6.04 | For 3rd year after defect liability period of 12 Months | 36.00 | JOB |  | 850.00 | 30600.00 | 30600.00 | Oasis WFS (P) Ltd.
6.05 | For 4th year after defect liability period of 12 Months | 36.00 | JOB |  | 900.00 | 32400.00 | 32400.00 | Oasis WFS (P) Ltd.
6.06 | For 5th year after defect liability period of 12 Months | 36.00 | JOB |  | 950.00 | 34200.00 | 34200.00 | Oasis WFS (P) Ltd.
7.00 | SH:-III AICMC of refrigerated drinking water fountain with RO units All Inclusive Comprehensive Annual Maintenance (AICMC) of above Drinking Water Fountains with RO Unit for 05(Five) Years after Defect Liability Period of 01 (One) Year from date of completion of SITC work at site with good Engineering practice, as recommended by OEM and on the instructions of Engineer-in- charge for maintaining the drinking water system functional/operational and in serviceable working condition and ensuring all parameters i.e TDS, Hardness, Chlorine level, Turbidity etc within prescribed and desired values as per safe drinking water act. Scope of work includes: a) Mandatory quarterly PM visit for maintenace and servicing of entire system and attending any number of breakdowns which includes Cartridge replacement, Back wash of filters (carbon, sediment & pre filter) and replacement of Membrane and filters after 04months/ as per site requirement. Checking of other components i.e. LP switch, float valve, UV system etc. and replacement of defective components and parts. b) Complete checking of Electrical and Electronic system and wiring, solenoids, relay, sensors,push button, Hot switch, Thermostat etc. Defective components/parts shall be replaced. c) Checking of bubbler, piping, Hot tank, Drainage pipe, Push Fit etc. and other associated accessories and replacement of defective components and parts. Scope of work is illustrative not exhaustive and agency shall ensure serviceability as per site conditions for satisfactory operation of the complete system. (All Spares/parts required for CMC will be arranged by contractor. Nothing shall be paid extra by AAI in this regards. All tools and instruments for PM/service are to be arranged by OEM/agency. Note: The rates of BOQ item No. 7 (7.01 to 7.05) i.e. AICMC of refriegrated drinking water fountain with RO units are pre-decided percentage and shall be automatically filled as mentioned in the respective year.
7.01 | AICMC for Ist year after defect liability period of 12 Months @7.02% of total SITC cost of item no. 1 as per clause 8 page no. SCC-5 of Special Condition of Contract for SITC Work of tender document. | 1.00 | JOB |  | 180694.80 | 180694.80 | 180694.80 | Oasis WFS (P) Ltd.
7.02 | AICMC for 2nd year after defect liability period of 12 Months @7.42% of total SITC cost of item no. 1 as per clause 8 page no. SCC-5 of Special Condition of Contract for SITC Work of tender document. | 1.00 | JOB |  | 190990.80 | 190990.80 | 190990.80 | Oasis WFS (P) Ltd.
7.03 | AICMC for 3rd year after defect liability period of 12 Months @8.25% of total SITC cost of item no. 1 as per clause 8 page no. SCC-5 of Special Condition of Contract for SITC Work of tender document. | 1.00 | JOB |  | 212355.00 | 212355.00 | 212355.00 | Oasis WFS (P) Ltd.
7.04 | AICMC for 4th year after defect liability period of 12 Months @8.67% of total SITC cost of item no. 1 as per clause 8 page no. SCC-5 of Special Condition of Contract for SITC Work of tender document. | 1.00 | JOB |  | 223165.80 | 223165.80 | 223165.80 | Oasis WFS (P) Ltd.
7.05 | AICMC for 5th year after defect liability period of 12 Months @9.10% of total SITC cost of item no. 1 as per clause 8 page no. SCC-5 of Special Condition of Contract for SITC Work of tender document. | 1.00 | JOB |  | 234234.00 | 234234.00 | 234234.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 5088640.40
Lowest Amount Quoted BY: Oasis WFS (P) Ltd.(5088640.40)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of Refrigerated Drinking Water Fountain with RO System and 05 Years AICMC at Srinagar International Airport Tender ID: 2026_AAI_276192_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Oasis WFS (P) Ltd. (BID ID -1057139) | 5088640.40 | L1