## BoQ1
Government eProcurement System Created By: Disha Bhatt Created Date/Time: 30-Jun-2026 04:23 PM Tender Title: Construction of Emergency Medical Center at S.V. Airport, Raipur. SH Electrical Works Tender ID: 2026_AAI_276512_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Construction of Emergency Medical Center at S.V. Airport, Raipur. SH: Electrical Works.
Contract No : 2026_AAI_276512_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -1030025 |  | DUBEY TRADING COMPANY (GSTN-NA) BID ID -1020424
[5 empty] | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | (A) INTERNAL ELECTRIFICATION
2.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. Group C | 48.00 | Point | 1785.00 | 1200.00 | 57600.00 | 1700.00 | 81600.00 | 81600.00 | DUBEY TRADING COMPANY
3.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. Group C | 21.00 | Point | 1054.00 | 800.00 | 16800.00 | 1000.00 | 21000.00 | 21000.00 | DUBEY TRADING COMPANY
4.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit as required.
5.00 | 2 X 2.5 Sq. mm + 1 X 2.5 Sq. mm earth wire | 1647.00 | Meter | 395.00 | 250.00 | 411750.00 | 400.00 | 658800.00 | 658800.00 | DUBEY TRADING COMPANY
6.00 | 2 X 4 Sq. mm + 1 X 4 Sq. mm earth wire | 186.00 | Meter | 496.00 | 300.00 | 55800.00 | 500.00 | 93000.00 | 93000.00 | DUBEY TRADING COMPANY
7.00 | 4 X 6 Sq. mm + 2 X 6 Sq. mm earth wire | 72.00 | Meter | 1236.00 | 800.00 | 57600.00 | 1100.00 | 79200.00 | 79200.00 | DUBEY TRADING COMPANY
8.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the surface/ recessed PVC conduit as required | 300.00 | Meter | 55.00 | 70.00 | 21000.00 | 50.00 | 15000.00 | 21000.00 | surbhi association
9.00 | Supplying and fixing suitable size GI box with moudular plate and cover in front on surface or in recess, including providing and fixing 5 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 13.00 | Each | 556.00 | 350.00 | 4550.00 | 550.00 | 7150.00 | 7150.00 | DUBEY TRADING COMPANY
10.00 | Supplying and fixing suitable size GI box with moudular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 53.00 | Each | 720.00 | 450.00 | 23850.00 | 700.00 | 37100.00 | 37100.00 | DUBEY TRADING COMPANY
11.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/recessed steel/PVC conduit as required. | 100.00 | Meter | 40.00 | 60.00 | 6000.00 | 40.00 | 4000.00 | 6000.00 | surbhi association
12.00 | Supplying and fixing modular TV antenna socket outlet on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 2.00 | Each | 233.00 | 250.00 | 500.00 | 220.00 | 440.00 | 500.00 | surbhi association
13.00 | Supplying and fixing modular switch/ socket for telephone on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 2.00 | Each | 199.00 | 250.00 | 500.00 | 180.00 | 360.00 | 500.00 | surbhi association
14.00 | (B) Supply & Laying Cable
15.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required.
16.00 | 4C X 16 sq. mm | 20.00 | Meter | 416.00 | 200.00 | 4000.00 | 430.00 | 8600.00 | 8600.00 | DUBEY TRADING COMPANY
17.00 | 4C X 35 sq. mm | 80.00 | Meter | 674.00 | 290.00 | 23200.00 | 670.00 | 53600.00 | 53600.00 | DUBEY TRADING COMPANY
18.00 | 4C X 95 sq. mm | 200.00 | Meter | 1589.00 | 750.00 | 150000.00 | 1500.00 | 300000.00 | 300000.00 | DUBEY TRADING COMPANY
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
20.00 | upto 35 sq. mm (clamped with 1mm thick saddle) | 75.00 | Meter | 48.00 | 30.00 | 2250.00 | 40.00 | 3000.00 | 3000.00 | DUBEY TRADING COMPANY
21.00 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 190.00 | Meter | 124.00 | 50.00 | 9500.00 | 110.00 | 20900.00 | 20900.00 | DUBEY TRADING COMPANY
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing DWC HDPE/HDPE/RCC/ HUME/ METAL pipe as required.
23.00 | Above 35 sq. mm and upto 95 sq. mm | 20.00 | Meter | 56.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 1000.00 | DUBEY TRADING COMPANY, surbhi association
24.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
25.00 | Above 35 sq. mm and upto 95 sq. mm | 25.00 | Meter | 45.00 | 50.00 | 1250.00 | 40.00 | 1000.00 | 1250.00 | surbhi association
26.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
27.00 | 4 X 16 sq. mm (28mm) | 2.00 | Set | 485.00 | 300.00 | 600.00 | 470.00 | 940.00 | 940.00 | DUBEY TRADING COMPANY
28.00 | 4 X 35 sq. mm (32mm) | 8.00 | Set | 646.00 | 450.00 | 3600.00 | 650.00 | 5200.00 | 5200.00 | DUBEY TRADING COMPANY
29.00 | 4 X 95 sq. mm (35mm) | 4.00 | Set | 777.00 | 800.00 | 3200.00 | 750.00 | 3000.00 | 3200.00 | surbhi association
30.00 | (C) DISTRIBUTION BOARDS
31.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator).
32.00 | 6 Way (4 + 18), Double door | 1.00 | Each | 5826.00 | 8500.00 | 8500.00 | 5800.00 | 5800.00 | 8500.00 | surbhi association
33.00 | 8 Way (4 + 24), Double door | 3.00 | Each | 6924.00 | 9500.00 | 28500.00 | 6800.00 | 20400.00 | 28500.00 | surbhi association
34.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
35.00 | 8 way (4 + 24), Double door | 1.00 | Each | 14211.00 | 12000.00 | 12000.00 | 14000.00 | 14000.00 | 14000.00 | DUBEY TRADING COMPANY
36.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
37.00 | Single Pole | 80.00 | Each | 322.00 | 165.00 | 13200.00 | 300.00 | 24000.00 | 24000.00 | DUBEY TRADING COMPANY
38.00 | Triple Pole | 5.00 | Each | 1381.00 | 1200.00 | 6000.00 | 1350.00 | 6750.00 | 6750.00 | DUBEY TRADING COMPANY
39.00 | Triple Pole and neutral | 3.00 | Each | 1882.00 | 2000.00 | 6000.00 | 1800.00 | 5400.00 | 6000.00 | surbhi association
40.00 | Supplying and fixing cable End Box (Loose wire box) suitable for triple pole and neutral, sheet steel, Vertical/Horizontal MCB distribution boad, 415 V, on surface/recess, complete with testing and commissioning etc. as required. | 5.00 | Each | 2775.00 | 3000.00 | 15000.00 | 2800.00 | 14000.00 | 15000.00 | surbhi association
41.00 | Supplying and fixing 63A rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each | 2687.00 | 1000.00 | 5000.00 | 4000.00 | 20000.00 | 20000.00 | DUBEY TRADING COMPANY
42.00 | Supplying and fixing 63A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A. | 5.00 | Each | 4246.00 | 4500.00 | 22500.00 | 2000.00 | 10000.00 | 22500.00 | surbhi association
43.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 2071.00 | 1200.00 | 4800.00 | 2000.00 | 8000.00 | 8000.00 | DUBEY TRADING COMPANY
44.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 3074.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 30000.00 | surbhi association
45.00 | (D) SUPPLY OF LIGHT FIXTURES AND FANS
46.00 | Supply of recessed/surface type LED downlighter 15 Watt with powder coated die-cast aluminium housing and LEDs of approved make fixed on diecast housing and high eficiency diffuser. Specially designed flat opal diffuser fixed to housing with engg. Plastic front cover, In Built Driver. It has a system lumen output not less than 1500 lumens with luminaire efficacy of not less than 100Im/W and lumen maintainence of 70% at the end of 50000 burning hours with contant curent driver output, operating range 150 V - 270 V, 50 Hz AC supply, CCT of 5700K - 6500K with PF>0.95 and THD must be <10% & surge protection of >2.5 kv. The luminaire shall be IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. | 28.00 | Each | 1737.00 | 1250.00 | 35000.00 | 1650.00 | 46200.00 | 46200.00 | DUBEY TRADING COMPANY
47.00 | Supply of 600mm X 600mm recess Mounted LED 36 Watt fixture with CRCA powder coated housing, high efficiency diffuser complete with electronic ballast, PF > 0.95, THD < 10% & surge protection of > 2.5 kv, lumen maintainence of 70 % at the end of 50000 buring hours, having lumen output not less than 3600 Lumens with luminaire efficacy of not less than 125 Lumens/watt with CRI > 80, operating range 150 V - 270 V, 50Hz AC Supply, CCT 5700K-6500K. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. | 31.00 | Each | 6051.00 | 2500.00 | 77500.00 | 5700.00 | 176700.00 | 176700.00 | DUBEY TRADING COMPANY
48.00 | Supply of ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal( Aluminium alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion) less than 10%, suitable for operation with regulator for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 0C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC supply, Ceiling Fan compliant to IS 374:2019 fan i/c external connections with 1.5 sq.mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required.
49.00 | 1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum) | 7.00 | Each | 4635.00 | 3000.00 | 21000.00 | 4500.00 | 31500.00 | 31500.00 | DUBEY TRADING COMPANY
50.00 | 1400mm, service value ≥ 6.0 CM/Min/Watt, air delivery 245 CM/Min (Minimum) | 11.00 | Each | 4391.00 | 3250.00 | 35750.00 | 4200.00 | 46200.00 | 46200.00 | DUBEY TRADING COMPANY
51.00 | Supply of 300mm dia sweep metal body, 900 + 1% RPM heavy Exhaust fan with guard and mounting arrangement. (Make: CROMPTON EXHD300-6-1/HAVELLS Turbo Force SP 300mm or equivalent). | 3.00 | Each | 2167.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 9000.00 | surbhi association
52.00 | (E) INSTALLATIONS OF LIGHT FIXTURES AND FANS
53.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types and wattages, complete with all accessories etc. from false ceiling including GI chain/clutch wire support from slab/truss or directly hanged from truss and including connections with 1.5 sqmm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 59.00 | Each | 211.00 | 200.00 | 11800.00 | 180.00 | 10620.00 | 11800.00 | surbhi association
54.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sqmm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 18.00 | Each | 231.00 | 150.00 | 2700.00 | 210.00 | 3780.00 | 3780.00 | DUBEY TRADING COMPANY
55.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 3.00 | Each | 428.00 | 150.00 | 450.00 | 400.00 | 1200.00 | 1200.00 | DUBEY TRADING COMPANY
56.00 | (F) EARTHING SYSTEM
57.00 | Earthing with G.I. earth plate 600mm X 600mm X 6mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/coke and salt as required. | 2.00 | Set | 6244.00 | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 17000.00 | surbhi association
58.00 | Providing and fixing 25mm X 5mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Meter | 463.00 | 650.00 | 13000.00 | 4400.00 | 88000.00 | 88000.00 | DUBEY TRADING COMPANY
59.00 | (G) LT PANELS
60.00 | Fabrication, supply, Insallation testing & commissioning of Electrical control panel of cubical construction, floor mounted type, fabricated out of 2mm thick CRCA sheet, compartmentalised with hinged lockable doors, dust and vermin proof, powder coated of approved shade after 7 tank treatment process, cable alley, inter- connection with suitable size copper conductor cable/solid copper strip, having switchgears and accessories, mountings and internal wiring, earth terminals, numbering etc. complete in all respect, complete as per specification with following in coming and Outgoings, suitable for operation on 415V, 3 phase, 50Hz Ac Supply with enclosure protection class IP 42 as required : | 1.00 | Job | 289079.00 | 325000.00 | 325000.00 | 53125.00 | 53125.00 | 325000.00 | surbhi association
61.00 | Incomer: 2 Nos. 200 A, 25 kA, FP, MCCB, Ics=100% Icu, Thermal Magnetic release variable range, with extended rotary handle and all accessories including providing spreader terminals and auxiliary contacts.
62.00 | Instruments: 1 sets of digital multifunction meter for 3 phase, 4 wire operation alongwith 3 Nos. suitable range CTs and control MCB's. 3 Ph phase indicating lamps of LED type for RYB and breaker 'ON', 'OFF' indication with control MCB for individual lamp.
63.00 | Bus Bar: 1 set of 300 Amps FP bus bar of high conductivity electrolytic quality aluminium alloy.
64.00 | Outgoings: (i) 6 Nos. FP MCCB 63 Amps, directly connected to bus bar in separate compartment. (ii) 1 No. Contactor timer arrangement consisting of 25 A 4 pole contactor, 24 Hrs. Electro mechanical time switch and 32 Amps FP MCB i/c providing 3 point toggle switch on the compartment door and 2 Nos. ON/OFF LED Indication Lamps with control MCB for individual lamp.
65.00 | (H) Air-Conditioning
66.00 | Supplying, Installation, Testing and Commissioning of 5 star rated, 4TR Air Cooled Floor standing Tower type split Air conditioners complete with Indoor unit(IDU), Out door unit (ODU), surface / concealed copper Refrigerant piping with insulation (closed cell elastomeric nitrile rubber tubular pipe section) upto 5 Mtr (IDU to ODU), copper power cable upto 5.5 Mtr (IDU to ODU), i/c drain pipe of suitable length and size. R-32/R-410/R-407C Green Refrigerant, wireless Remote control, suitable for working between 380-440V with low & high voltage cutoff and 50 hz ,3 phase AC supply capable of performing cooling, dehumidification, air circulation of following capacity with Scroll / rotary compressor as per OEM. including installing the outdoor unit at a suitable location by providing floor mounting stand and PCC foundation for outdoor unit etc. complete as required. | 6.00 | Job | 82860.00 | 130000.00 | 780000.00 | 82000.00 | 492000.00 | 780000.00 | surbhi association
67.00 | Supplying , Installation, Testing and Commissioning of 5 star rated, 2TR Air Cooled Hi Wall split type Air conditioners complete with Indoor unit(IDU), Out door unit (ODU), surface / concealed copper Refrigerant piping with insulation (closed cell elastomeric nitrile rubber tubular pipe section) upto 3 Mtr (IDU to ODU), copper power cable upto 3.5 Mtr (IDU to ODU) i/c drain pipe R-32/R-410/ R-407 Green Refrigerant, wireless Remote control, suitable for working between 180 260V with low & high voltage cutoff and 50 hz ,1 phase AC supply capable of performing cooling, dehumidification, air circulation of following capacity with Scroll / rotary compressor. including installing the outdoor unit at a suitable location by providing wall mounting brackets/PCC foundation for outdoor unit etc. complete as required. | 4.00 | Job | 64146.00 | 62500.00 | 250000.00 | 62000.00 | 248000.00 | 250000.00 | surbhi association
68.00 | Providing & fixing of Copper Refrigerant piping, Control Cable suitable for R-32/R-410a (Supply and return) refrigerant with insulation tubing as per the manufacturer's standard size suitable for following Split type air conditioners complete as required. (Measurement of 1 running mtr. shall include both supply & return Cu. Piping with insulation beyond length supplied by OEM with AC unit).
69.00 | 2 TR, Hi Wall Split AC, 230 V, 50Hz, 1 Ph AC supply | 20.00 | Meter | 1411.00 | 1200.00 | 24000.00 | 1250.00 | 25000.00 | 25000.00 | DUBEY TRADING COMPANY
70.00 | 4 TR, Floor Standing AC, 415 V, 50Hz, 3 Ph AC supply | 96.00 | Meter | 3149.00 | 1500.00 | 144000.00 | 3000.00 | 288000.00 | 288000.00 | DUBEY TRADING COMPANY
71.00 | Supplying and laying of size 20mm dia rigid PVC pipe as drain pipe including all accessories such as bends, elbows, flexible connections etc. as required. | 96.00 | Meter | 217.00 | 150.00 | 14400.00 | 185.00 | 17760.00 | 17760.00 | DUBEY TRADING COMPANY
72.00 | Supplying and drawing 1.1 KV grade, 3 core 2.5 sq mm, FRLSH, PVC insulated, PVC sheathed flexible copper conductor round cable confirming to IS 694 in the existing surface/ recessed steel/ PVC conduit as required. (for casette AC units, from outdoor unit to indoor) | 96.00 | Meter | 280.00 | 150.00 | 14400.00 | 250.00 | 24000.00 | 24000.00 | DUBEY TRADING COMPANY
73.00 | Supplying and drawing 1.1 KV grade, 4 core 4 sq mm, FRLSH, PVC insulated, PVC sheathed flexible copper conductor round cable confirming to IS 694 in the existing surface/ recessed steel/ PVC conduit as required. (for Tower AC units, from outdoor unit to indoor) | 96.00 | Meter | 406.00 | 200.00 | 19200.00 | 230.00 | 22080.00 | 22080.00 | DUBEY TRADING COMPANY
74.00 | Supply of 225L refrigerator BEE 5 star rating suitable for operation on 230V single Phase AC supply complete as required. ( Similar to Make Sumsung, LG, Godraj or equivalent) | 1.00 | Each | 26750.00 | 25000.00 | 25000.00 | 24000.00 | 24000.00 | 25000.00 | surbhi association
75.00 | SITC of Portable Water cooler cum prifier, of Filteration capacity min 50LPH, Cooling capacity 60 litre, storage Capacity 80Ltr. with inbuilt RO Water Purification system having stainless steel body suitable for operation on 230V single Phase AC supply. along with a suitable size(as per purifier size & weight) MS Floor mounting stand(Duly painted 2 qotes of anti corrosion primer & 2 quote of paint of shade as approved by EIC) of min height 300 mm from floor level.( complete as required. ( Similar to Make/Model No - Aquaguard Purechill 80 SS) | 1.00 | Each | 86354.00 | 75000.00 | 75000.00 | 85000.00 | 85000.00 | 85000.00 | DUBEY TRADING COMPANY
76.00 | Supply of fixing 10 ltr. BEE 5 star rating (Energy efficient) Electric Geyser with provision of Multi-function safety valve and inlet / outlet water supply pipe.etc. completed as required.(Make:-Crompton Arno Supremus or equivalent) | 1.00 | Each | 10841.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 15000.00 | surbhi association
77.00 | Supply of Air Room Heater 1500W uitable for operation on 230V single Phase AC supply etc. complete as required.(Similar to that of Havells Cista Fan Room heateror equivalent) | 4.00 | Each | 2743.00 | 10000.00 | 40000.00 | 2800.00 | 11200.00 | 40000.00 | surbhi association
78.00 | (I) FADS & FIRE EXTINGUISHERS
79.00 | SITC of single loop fire alarm system control panel with loop card (each loop card having facility to accommodate at least 99 detectors and 99 modules), 80 character display unit, power supply unit, sealed maintenance free batteries for 30 Minutes backup, compitable to connect with GSM based Auto dialer facility with 20 nos dialer, web server PCB for lP connectivity etc. complete with all accessories as required. Make: Honeywell DXC1 Morley or equivalent | 1.00 | Each | 61644.00 | 95000.00 | 95000.00 | 60000.00 | 60000.00 | 95000.00 | surbhi association
80.00 | Supply and Installation of 2 Channel Wireless auto dialer (Telephone / GSM based) voice message. 40 (20+20) seconds voice recording. 9 nos. of tel./mobile 16 digit each. View numbers & user setting any time. Standard telephone key pads. Work with all types of GSM network. Easy menu based programming. 1 levels of password protected. Approved by various consultants.(Similar to Emergency speech dialer of make Macromanicie Agni India) | 1.00 | Each | 13817.00 | 15000.00 | 15000.00 | 12000.00 | 12000.00 | 15000.00 | surbhi association
81.00 | Supply, Installation, Testing & commissioning of intelligent addressable multisensor detector {Smoke + heat (fixed and rate of rise) } with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc.. (Cost of plug in common base shall deemed to be included in cost of detectors) | 14.00 | Each | 2844.00 | 3000.00 | 42000.00 | 2800.00 | 39200.00 | 42000.00 | surbhi association
82.00 | Supply, Installation, Testing & commissioning of intelligent addressable Manual Pull station (not break glass type) suitable for semi flush mounting with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications.. | 1.00 | Each | 3511.00 | 1000.00 | 1000.00 | 3300.00 | 3300.00 | 3300.00 | DUBEY TRADING COMPANY
83.00 | Supply, installation, testing and commissioning of Wall Mounted Hooter-cum- strobe with minimum 90dB output at a distance of 1 mtr. and with required power supply converter (230VAC to 12/24 VDC) complete with termination etc. as required and as per enclosed specification. | 1.00 | Each | 1803.00 | 12000.00 | 12000.00 | 1600.00 | 1600.00 | 12000.00 | surbhi association
84.00 | Supplying, installation, testing & commissioning response indicator on surface/ recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 7.00 | Each | 370.00 | 500.00 | 3500.00 | 350.00 | 2450.00 | 3500.00 | surbhi association
85.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 150.00 | Meter | 132.00 | 150.00 | 22500.00 | 120.00 | 18000.00 | 22500.00 | surbhi association
86.00 | Fire extinguisher with sprinkler head for spot type protection i/c mounting accessories etc complete as required.
87.00 | Carbon dioxide type of 6.5 Kg capacity cylinder | 2.00 | Each | 6644.00 | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 20000.00 | surbhi association
88.00 | Mechanical Foam Type 9 Ltr. | 2.00 | Each | 2603.00 | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 20000.00 | surbhi association
89.00 | ABC Powder type of 4 Kg. Capacity | 2.00 | Each | 3696.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 10000.00 | surbhi association
90.00 | (J) PA System
91.00 | Supply of PA Mixer Power Amplifier of 480 watt RMS , minimim 3 Microphone input suitable for operation on 230volt single AC power supply. Make BOSCH model LBD1938/00 Plena Booster or equiivalent from preferred make list. | 1.00 | Each | 46748.00 | 55000.00 | 55000.00 | 44000.00 | 44000.00 | 55000.00 | surbhi association
92.00 | Supply of XLR PA Microphone suitable for use with item no -1 along with standard micophone cable provided with Microphone.Make Bosch model LBC2900/20 or equiivalent from preferred make list. | 3.00 | Each | 3909.00 | 4000.00 | 12000.00 | 3700.00 | 11100.00 | 12000.00 | surbhi association
93.00 | Supply of wall speakers Make BOSCH Model LBD3902-D or equiivalent from preferred make list. | 10.00 | Each | 1638.00 | 2000.00 | 20000.00 | 1500.00 | 15000.00 | 20000.00 | surbhi association
94.00 | Supply of Horn Loudspeaker 20watt-30watt with drivers Make BOSCH Model LBC3492/12 or or equiivalent from preferred make list. | 2.00 | Each | 14526.00 | 40000.00 | 80000.00 | 13000.00 | 26000.00 | 80000.00 | surbhi association
95.00 | Supply and laying of 2 coreX 1.5 Sqmm Armoured copper cable for interconnection of seakers and Horn speaker with PA Amplifer with proper G.I Saddling on wall surface. | 150.00 | Meter | 171.00 | 150.00 | 22500.00 | 160.00 | 24000.00 | 24000.00 | DUBEY TRADING COMPANY
96.00 | Supply of Microphone cable suitable for connection with item no-1 and item no-2 | 92.00 | Meter | 54.00 | 100.00 | 9200.00 | 50.00 | 4600.00 | 9200.00 | surbhi association
97.00 | Installation of Wall speaker on wall wityh proper Fixing arrengement | 20.00 | Job | 90.00 | 200.00 | 4000.00 | 85.00 | 1700.00 | 4000.00 | surbhi association
98.00 | Installation , Testing and Commissioning of above system complete as required. | 1.00 | Job | 4476.00 | 25000.00 | 25000.00 | 4000.00 | 4000.00 | 25000.00 | surbhi association
| Total in Figures |  |  |  |  | 3423950.00 |  | 3555555.00
Highest Amount Quoted BY: DUBEY TRADING COMPANY(3555555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Emergency Medical Center at S.V. Airport, Raipur. SH Electrical Works Tender ID: 2026_AAI_276512_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DUBEY TRADING COMPANY (BID ID -1020424) | 3555555.00 | H1
| 2 | surbhi association (BID ID -1030025) | 3423950.00 | H2