## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 24-Jun-2026 06:24 PM Tender Title: Provision of lighting at T1,T2 terminal Car Parking Area,internal electrical works at T1 terminal public toilets at B.P.I Airport,Bhubaneswar.SH-ITC of Street Light Poles,Electrical Panels,laying of electrical power cables and associated Elect. works Tender ID: 2026_AAI_276844_1
Tender Inviting Authority: - Asst. General Manager (Engg.-Elect.), BPI Airport, Bhubaneswar.
Name of Work: - Provision of lighting at T1&T2 terminal Car Parking Area & internal electrical works at T1 terminal public toilets at B.P.I Airport, Bhubaneswar. SH: - ITC of Street light Poles, Electrical Panels, laying of electrical power cables and associated Electrical works.
Contract No: - 2026_AAI_276844_1.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BR Power Control and Automation Services (GSTN-06AREPS4024K1ZP) BID ID -1027809 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -1028069 |  | M/s CGPL ELECTROMECH PVT LTD (GSTN-07AAGCC8228F1ZO) BID ID -1028082 |  | NATIONAL SAFETY ENGINEERS (GSTN-07ADCPT3599E3Z6) BID ID -1028098 |  | Imperial Solar Solutions (GSTN-NA) BID ID -1027957 |  | EASTERN ENGINEERING (GSTN-NA) BID ID -1026407 |  | CHOUDHRY ELECTRIC (GSTN-NA) BID ID -1027477
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Provision of RCC foundation for erection of 5 meter length Octagonal G.I Street Light pole including design of RCC foundation shall be resistance capacity of 296 KM/Hr Wind Speed, by providing and laying in position specified grade of reinforced cement concrete as mentioned in design drawing and providing Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in this foundation as per vetted Design drawing including fixing of J bolts and providing suitable size HDPE pipe in the foundation for looping of cable, excavation and refilling etc. complete as required. (The foundation design shall be duly vetted by NIT/IIT/State Govt. institution). | 110.00 | Job | 8711.25 | 9227.00 | 1014970.00 | 9200.00 | 1012000.00 | 8200.00 | 902000.00 | 6000.00 | 660000.00 | 10084.55 | 1109300.50 | 12421.50 | 1366365.00 | 9600.00 | 1056000.00 | 660000.00 | NATIONAL SAFETY ENGINEERS
2.00 | Installation,testing & commissioning of 5mtr length Hot Dip Galvanized Octagonal street light pole with Single/ Double sided cross arm on existing R.C.C foundation along with installation, testing and commissioning of LED street light fixtures including supply & laying of 3Cx1.5 Sq.mm copper flexible PVC FR cable between fixture and Existing MCB complete etc., as required. | 110.00 | Job | 5226.75 | 1029.00 | 113190.00 | 1200.00 | 132000.00 | 2200.00 | 242000.00 | 2000.00 | 220000.00 | 5680.45 | 624849.50 | 3726.45 | 409909.50 | 1000.00 | 110000.00 | 110000.00 | CHOUDHRY ELECTRIC
3.00 | Installation, Testing and commissioning of MV cubicle Electrical Outdoor panel size of 2400x1975x500mm including required Civil work for RCC foundation, cutting , fixing, grouting, painting and sign writing etc. complete as required | 2.00 | Job | 11470.97 | 9775.00 | 19550.00 | 20000.00 | 40000.00 | 5500.00 | 11000.00 | 22000.00 | 44000.00 | 13350.45 | 26700.90 | 20702.50 | 41405.00 | 30000.00 | 60000.00 | 11000.00 | M/s CGPL ELECTROMECH PVT LTD
4.00 | Laying of 50mm Dia HDPE pipe Complete with all fitting & couplers direct in ground (upto 60 cm below ground level) including excavation and refilling the trench after laying Pipe etc., complete as required. | 1700.00 | Mtr | 169.68 | 196.00 | 333200.00 | 120.00 | 204000.00 | 190.00 | 323000.00 | 210.00 | 357000.00 | 142.24 | 241808.00 | 372.65 | 633505.00 | 200.00 | 340000.00 | 204000.00 | surbhi association
5.00 | Providing, laying and fixing of 50mm dia G.I. pipe (medium class) complete with G.I fittings in the existing excavated trench etc. complete as required. | 200.00 | Mtr | 644.63 | 648.00 | 129600.00 | 750.00 | 150000.00 | 160.00 | 32000.00 | 1200.00 | 240000.00 | 567.45 | 113490.00 | 993.72 | 198744.00 | 700.00 | 140000.00 | 32000.00 | M/s CGPL ELECTROMECH PVT LTD
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
6.10 | Up to 35 Sqmm Cable | 1900.00 | Mtr | 34.34 | 86.00 | 163400.00 | 40.00 | 76000.00 | 55.00 | 104500.00 | 65.00 | 123500.00 | 30.57 | 58083.00 | 165.62 | 314678.00 | 40.00 | 76000.00 | 58083.00 | Imperial Solar Solutions
6.20 | Above 35 sqmm to 95 sqmm cable | 150.00 | Mtr | 53.53 | 150.00 | 22500.00 | 50.00 | 7500.00 | 65.00 | 9750.00 | 95.00 | 14250.00 | 47.10 | 7065.00 | 248.43 | 37264.50 | 70.00 | 10500.00 | 7065.00 | Imperial Solar Solutions
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct/Cable trench as required. Above 35 sqmm to 95 sqmm cable | 200.00 | Mtr | 42.42 | 104.00 | 20800.00 | 50.00 | 10000.00 | 45.00 | 9000.00 | 65.00 | 13000.00 | 37.19 | 7438.00 | 248.43 | 49686.00 | 30.00 | 6000.00 | 6000.00 | CHOUDHRY ELECTRIC
8.00 | Supply and making end termination with brass compression gland and aluminium lugs for XLPE Insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade and sizes as required for the following. 3.5Cx50 Sqmm Cable | 4.00 | Set | 1045.35 | 1047.00 | 4188.00 | 400.00 | 1600.00 | 450.00 | 1800.00 | 700.00 | 2800.00 | 425.43 | 1701.72 | 1656.20 | 6624.80 | 600.00 | 2400.00 | 1600.00 | surbhi association
9.00 | Supply and making end termination with aluminium lugs for XLPE Insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade and sizes as required for the following. 4Cx10 Sqmm Cable | 200.00 | Set | 116.15 | 651.00 | 130200.00 | 300.00 | 60000.00 | 350.00 | 70000.00 | 450.00 | 90000.00 | 227.09 | 45418.00 | 414.05 | 82810.00 | 200.00 | 40000.00 | 40000.00 | CHOUDHRY ELECTRIC
10.00 | Earthing with G.I. earth pipe of 4.5 metre long, 40 mm dia including accessories, and providing 300x300x450(H) mm RCC earth pit chamber suitable to receive 6mm thick MS chequered plate with handle, strengthening & compaction of soil below the earth pit chamber including providing suitable ratio PCC, providing & laying Plain Cement Concrete (PCC) (1:2:4) of depth 50mm surrounding the earth pit chamber covering surface area of 0.5 SqMeter,including providing and fixing of reducer, water funnel with wire mesh arrangement for watering etc. with charcoal/coke and salt as required. | 4.00 | Job | 9445.52 | 11662.00 | 46648.00 | 9500.00 | 38000.00 | 10500.00 | 42000.00 | 12000.00 | 48000.00 | 15061.27 | 60245.08 | 14905.80 | 59623.20 | 8000.00 | 32000.00 | 32000.00 | CHOUDHRY ELECTRIC
11.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode at 0.5 meter below the ground including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Mtr | 630.24 | 297.00 | 8910.00 | 750.00 | 22500.00 | 165.00 | 4950.00 | 950.00 | 28500.00 | 681.26 | 20437.80 | 372.65 | 11179.50 | 700.00 | 21000.00 | 4950.00 | M/s CGPL ELECTROMECH PVT LTD
12.00 | Providing and fixing 25mm x 5mm GI strip on surface or in recess from earth electrode to electrical panel/Highmast as required. | 30.00 | Mtr | 226.24 | 182.00 | 5460.00 | 200.00 | 6000.00 | 150.00 | 4500.00 | 350.00 | 10500.00 | 201.63 | 6048.90 | 165.62 | 4968.60 | 200.00 | 6000.00 | 4500.00 | M/s CGPL ELECTROMECH PVT LTD
13.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 2000.00 | Mtr | 65.65 | 51.00 | 102000.00 | 32.00 | 64000.00 | 35.00 | 70000.00 | 90.00 | 180000.00 | 57.84 | 115680.00 | 124.22 | 248440.00 | 25.00 | 50000.00 | 50000.00 | CHOUDHRY ELECTRIC
14.00 | Excavation of existing Bituminous/ Concrete road to facilitate laying of GI pipe including disposal of material within 50 Meters lead and providing & layinjg in position 1:2:4 (1 cement : 2 Coarse sand : 4 Graded stone aggregated of 20 mm nominal size all works up to plinth level to fill up the excavated trenches after laying of the GI pipe complete above as required. | 8.00 | Cu. Mtr. | 8500.16 | 7475.00 | 59800.00 | 3500.00 | 28000.00 | 4500.00 | 36000.00 | 14000.00 | 112000.00 | 6509.89 | 52079.12 | 3726.45 | 29811.60 | 15000.00 | 120000.00 | 28000.00 | surbhi association
| Total in Figures |  |  |  |  | 2174416.00 |  | 1851600.00 |  | 1862500.00 |  | 2143550.00 |  | 2490345.52 |  | 3495014.70 |  | 2069900.00
Lowest Amount Quoted BY: surbhi association(1851600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of lighting at T1,T2 terminal Car Parking Area,internal electrical works at T1 terminal public toilets at B.P.I Airport,Bhubaneswar.SH-ITC of Street Light Poles,Electrical Panels,laying of electrical power cables and associated Elect. works Tender ID: 2026_AAI_276844_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association (BID ID -1028069) | 1851600.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD (BID ID -1028082) | 1862500.00 | L2
| 3 | CHOUDHRY ELECTRIC (BID ID -1027477) | 2069900.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS (BID ID -1028098) | 2143550.00 | L4
| 5 | BR Power Control and Automation Services (BID ID -1027809) | 2174416.00 | L5
| 6 | Imperial Solar Solutions (BID ID -1027957) | 2490345.52 | L6
| 7 | EASTERN ENGINEERING (BID ID -1026407) | 3495014.70 | L7