## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 19-May-2026 05:30 PM Tender Title: Development of centre for Perishable Cargo at Cargo Terminal, Varanasi Airport by modification of existing building. (SH- Electrical Work for extension of existing 5MT Cold Room) Tender ID: 2026_AAI_277047_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Development of centre for Perishable Cargo at Cargo Terminal, Varanasi Airport by modification of existing building. (SH: Electrical Work for extension of existing 5MT Cold Room)
Contract No: 2026_AAI_277047_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -1021735 |  | DUBEY TRADING COMPANY (GSTN-NA) BID ID -1021149 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -1021625
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Electrical Works
1.00 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments etc as required for the following sizes.(Make : As per preferred make list) 3.5 C x 50 Sqmm | 80.00 | Metre |  | 750.00 | 60000.00 | 495.00 | 39600.00 | 500.00 | 40000.00 | 39600.00 | DUBEY TRADING COMPANY
2.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 50 Sqmm (35 mm) | 1.00 | Set |  | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES, Manish Electricals
3.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 50 sq. mm | 75.00 | Metre |  | 50.00 | 3750.00 | 95.00 | 7125.00 | 100.00 | 7500.00 | 3750.00 | Manish Electricals
4.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 80.00 | Metre |  | 30.00 | 2400.00 | 30.00 | 2400.00 | 30.00 | 2400.00 | 2400.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES, Manish Electricals
5.00 | SITC of Puf Panel etc complete as required.-Wall & Ceiling - 100 mm thk-PPGS/PPGS | 62.00 | sqm |  | 2800.00 | 173600.00 | 1000.00 | 62000.00 | 1000.00 | 62000.00 | 62000.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES
6.00 | SITC of Puf Panel etc complete as required.-PCGI Bottom Outside Angle- 20 x 40mm | 15.00 | Mtr |  | 300.00 | 4500.00 | 498.00 | 7470.00 | 500.00 | 7500.00 | 4500.00 | Manish Electricals
7.00 | SITC of Puf Panel etc complete as required.-PCGI Top Outside Angle- 80 x 30mm | 15.00 | Mtr |  | 300.00 | 4500.00 | 498.00 | 7470.00 | 500.00 | 7500.00 | 4500.00 | Manish Electricals
8.00 | SITC of Puf Panel etc complete as required.-PCGI Inside Angle- 40 x 40mm | 15.00 | Mtr |  | 200.00 | 3000.00 | 498.00 | 7470.00 | 500.00 | 7500.00 | 3000.00 | Manish Electricals
9.00 | SITC of Puf Panel etc complete as required.-Thermally insulated Cold Room Door, with frame as required, of dimension 900 x 2100 mm (minimum) having PPGI Shutter | 1.00 | Set |  | 19250.00 | 19250.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES
10.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.(Group C) | 3.00 | Point |  | 1400.00 | 4200.00 | 3490.00 | 10470.00 | 3500.00 | 10500.00 | 4200.00 | Manish Electricals
11.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 3.00 | Point |  | 1450.00 | 4350.00 | 3500.00 | 10500.00 | 3500.00 | 10500.00 | 4350.00 | Manish Electricals
12.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire) | 20.00 | Mtr |  | 300.00 | 6000.00 | 280.00 | 5600.00 | 280.00 | 5600.00 | 5600.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES
13.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 4 sq. mm + 1 X 4 sq. mm earth wire) | 30.00 | Mtr |  | 400.00 | 12000.00 | 315.00 | 9450.00 | 320.00 | 9600.00 | 9450.00 | DUBEY TRADING COMPANY
14.00 | Supply of surface mounted full glow type LED square fitting of having efficiency of LED light fitting (Efficacy) not less than 100 lumens/watt,lumen output not less then 3600 lumens with extruded aluminium/ CRCA powder coated body, integrated driver and high efficiency diffuser suitable to operate on 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 2.00 | Each |  | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 12000.00 | 24000.00 | 6000.00 | Manish Electricals
15.00 | Supply and installation of LED street light luminaire having efficiency of LED light fitting (Efficacy) not less than 110 lumens/watt,lumen output not less then 4950 lumens with lenses consisting of high pressure die cast/extruded aluminum housing,heat resistant toughened glass/ polycarbonate cover, CRI>=80, THD<10%, life >= 50000 burning hours, integrated driver, IP category >=65, with surge protection conforming to relevant IS standard/IEC suitable for operation on 140V-270V, 50 Hz AC supply with all accessories complete as required & as specified. | 4.00 | Job |  | 6000.00 | 24000.00 | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 24000.00 | Manish Electricals
16.00 | Supply and fixing of analog timer for operation at 230 V, 50 Hz of suitable rating for automatic operation of street lights including suitable size DIN rail etc complete as required. | 1.00 | Job |  | 4000.00 | 4000.00 | 4780.00 | 4780.00 | 4800.00 | 4800.00 | 4000.00 | Manish Electricals
17.00 | Supplying and fixing of 32 mm dia, approx 600 mm long long GI Pipe (medium class) bracket for mounting of LED/florescent/HPMV/HPSV street light fitting on the wall/ pole including bending he pipe to the required shape, 2 nos. 40 mm x 3 mm flat iron clamps with nut bolts and washer, painting the flat iron with rimer and finish paint etc complete as required. | 4.00 | Job |  | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 6000.00 | Manish Electricals
18.00 | Installation, testing and commissioning of pre-wired, LED Recess, Surface Mounted etc of above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface/ cieling as including connection as per site requirement | 2.00 | Job |  | 2500.00 | 5000.00 | 795.00 | 1590.00 | 800.00 | 1600.00 | 1590.00 | DUBEY TRADING COMPANY
19.00 | Supplying and fixing following rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) Single pole , 5 amps to 32 amps | 4.00 | Each |  | 1200.00 | 4800.00 | 200.00 | 800.00 | 200.00 | 800.00 | 800.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES
20.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole andearth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steelenclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Job |  | 1400.00 | 2800.00 | 2995.00 | 5990.00 | 3000.00 | 6000.00 | 2800.00 | Manish Electricals
21.00 | Supply, installation, testing & commissioning of (BEE 5 Star) 2.0 TR high wall type split Inverter Air Conditioner unit with rotary compressor operating on refrigerant R-32/Non CFC & Copper condensor coil of outdoor unit & having cordless LCD remote alongwith remote holder, auto restart operation with copper refrigerant gas pipeline insulated with nitrile/polythene foam i/c electrical cable of suitable size copper conductor from indoor to outdoor unit ( both upto 3 mtr) i/c standard drain pipe, MS base frame / platform (approx. 1 m height) duly epoxy painted for outdoor units for operation on 230V , 50 Hz single phase AC supply and capable of performing such standard function like cooling, dehumidifying, air circulating, filtering etc complete as required including fixing of refrigerant piping with insulation, suitable size power cable between indoor and outdoor unit (upto length of 3 metre), initial charging of refrigerant gas etc as required. | 2.00 | Job |  | 62000.00 | 124000.00 | 123500.00 | 247000.00 | 124000.00 | 248000.00 | 124000.00 | Manish Electricals
22.00 | Supply Installation, Testing & commissioning of 5 KVA automatic voltage stabilizer for given output voltage of single phase 230+/- 10%, AC supply for the input single phase supply voltage range of 170 V to 270 V, single phase, 50 Hz, AC supply. | 2.00 | Job |  | 4500.00 | 9000.00 | 3980.00 | 7960.00 | 4000.00 | 8000.00 | 7960.00 | DUBEY TRADING COMPANY
23.00 | Supplying & installation of 25 mm dia PVC hard Drain pipe complete with all accessories and fittings etc as required. | 12.00 | Metre |  | 150.00 | 1800.00 | 150.00 | 1800.00 | 150.00 | 1800.00 | 1800.00 | DUBEY TRADING COMPANY, SAURABH ENTERPRISES, Manish Electricals
24.00 | Suply & fixing of Extra copper piping( beyond 3.0 meter) between the indoor and outdoor units with insulation, gas charging etc. complete as required. | 20.00 | Metre |  | 900.00 | 18000.00 | 1495.00 | 29900.00 | 1500.00 | 30000.00 | 18000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 503950.00 |  | 567375.00 |  | 569600.00
Lowest Amount Quoted BY: Manish Electricals(503950.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of centre for Perishable Cargo at Cargo Terminal, Varanasi Airport by modification of existing building. (SH- Electrical Work for extension of existing 5MT Cold Room) Tender ID: 2026_AAI_277047_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals (BID ID -1021735) | 503950.00 | L1
| 2 | DUBEY TRADING COMPANY (BID ID -1021149) | 567375.00 | L2
| 3 | SAURABH ENTERPRISES (BID ID -1021625) | 569600.00 | L3