## BoQ1
Government eProcurement System Created By: Anand Kumar Created Date/Time: 29-Jul-2026 04:08 PM Tender Title: Replacement and Installation of power backup for different type of UPS at Pakyong Airport Tender ID: 2026_AAI_277091_1
Tender Inviting Authority: AAI
Name of Work: Replacement and installation of power backup for different type of UPS at Pakyong Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VENTURE INDIA (GSTN-NA) BID ID -1040397
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Replacement and 12 Volt, 150 AH Stationary Valve Regulated Lead Acid (VRLA) Sealed Maintenance Free (SMF) battery for existing 120 KVA UPS installed at Pakyong Airport (Model No:- EXIDE POWERSAFE PLUS EP 150-12 or equivalent) as per approved make list as per Engineer-In-Charge | 36.00 | Each | 11.00 | 17584.00 | 633024.00 | 633024.00 | VENTURE INDIA
2.00 | Replacement of following batteries situated at Pakyong Airport as per approved make list as per Engineer-In-Charge
2.01 | 12 Volt, 18 AH SMF Battery for UPS | 20.00 | Each | 10.00 | 2710.00 | 54200.00 | 54200.00 | VENTURE INDIA
2.02 | 12 Volt, 26 AH SMF Battery for UPS | 20.00 | Each | 22.00 | 3580.00 | 71600.00 | 71600.00 | VENTURE INDIA
2.03 | 12 Volt, 65 AH SMF Battery for UPS | 48.00 | Each | 0.00 | 7300.00 | 350400.00 | 350400.00 | VENTURE INDIA
2.04 | 12 Volt, 84 AH SMF Battery for UPS | 48.00 | Each | 1.00 | 11540.00 | 553920.00 | 553920.00 | VENTURE INDIA
2.05 | 12 Volt, 28 AH SMF Battery for UPS | 3.00 | Each | 1.00 | 3580.00 | 10740.00 | 10740.00 | VENTURE INDIA
| Total in Figures |  |  |  |  | 1673884.00
Lowest Amount Quoted BY: VENTURE INDIA(1673884.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement and Installation of power backup for different type of UPS at Pakyong Airport Tender ID: 2026_AAI_277091_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VENTURE INDIA (BID ID -1040397) | 1673884.00 | L1