## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 09-Jun-2026 12:15 PM Tender Title: Development of Perishable Cargo facility at existing Cargo Complex of AAICLAS at Varanasi Airport. Tender ID: 2026_AAI_277107_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Development of Perishable Cargo facility at existing Cargo Complex of AAICLAS at Varanasi Airport.
Contract No: 2026_AAI_ 277107_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -1027397 |  | Rahul Constructions (GSTN-06AAFFR4603K1Z8) BID ID -1028086 |  | A.L.T. PROJECTS PRIVATE LIMITED (GSTN-NA) BID ID -1024118 |  | RRCONSTRUCTION (GSTN-NA) BID ID -1029603 |  | M/s Awadhesh Construction (GSTN-NA) BID ID -1024891
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 122.00 | cum |  | 725.00 | 88450.00 | 999.00 | 121878.00 | 1510.00 | 184220.00 | 1800.00 | 219600.00 | 1400.00 | 170800.00 | 88450.00 | S.K. CONSTRUCTION
2.00 | Demolishing brick work including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge a) In cement mortar | 3.00 | cum |  | 410.00 | 1230.00 | 700.00 | 2100.00 | 1274.00 | 3822.00 | 1000.00 | 3000.00 | 1100.00 | 3300.00 | 1230.00 | S.K. CONSTRUCTION
3.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: Of area 3 sq. metres and below | 1.00 | each |  | 500.00 | 500.00 | 200.00 | 200.00 | 227.00 | 227.00 | 1000.00 | 1000.00 | 400.00 | 400.00 | 200.00 | Rahul Constructions
4.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 500.00 | kg |  | 5.00 | 2500.00 | 3.00 | 1500.00 | 3.00 | 1500.00 | 25.00 | 12500.00 | 4.00 | 2000.00 | 1500.00 | A.L.T. PROJECTS PRIVATE LIMITED, Rahul Constructions
5.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 30.00 | sqm |  | 25.00 | 750.00 | 100.00 | 3000.00 | 102.00 | 3060.00 | 500.00 | 15000.00 | 95.00 | 2850.00 | 750.00 | S.K. CONSTRUCTION
6.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge All kinds of soil | 1651.00 | cum |  | 85.00 | 140335.00 | 99.00 | 163449.00 | 154.00 | 254254.00 | 115.00 | 189865.00 | 155.00 | 255905.00 | 140335.00 | S.K. CONSTRUCTION
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 826.00 | cum |  | 65.00 | 53690.00 | 99.00 | 81774.00 | 189.00 | 156114.00 | 90.00 | 74340.00 | 90.00 | 74340.00 | 53690.00 | S.K. CONSTRUCTION
8.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 75.34 | cum |  | 960.00 | 72326.40 | 1599.00 | 120468.66 | 1620.00 | 122050.80 | 1450.00 | 109243.00 | 1405.00 | 105852.70 | 72326.40 | S.K. CONSTRUCTION
9.00 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 298.00 | cum |  | 3900.00 | 1162200.00 | 4444.00 | 1324312.00 | 4700.00 | 1400600.00 | 4800.00 | 1430400.00 | 4295.00 | 1279910.00 | 1162200.00 | S.K. CONSTRUCTION
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 176.00 | sqm |  | 110.00 | 19360.00 | 299.00 | 52624.00 | 230.00 | 40480.00 | 303.00 | 53328.00 | 240.00 | 42240.00 | 19360.00 | S.K. CONSTRUCTION
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, piers, abutments, pillars, posts and struts | 146.00 | sqm |  | 180.00 | 26280.00 | 299.00 | 43654.00 | 603.00 | 88038.00 | 550.00 | 80300.00 | 450.00 | 65700.00 | 26280.00 | S.K. CONSTRUCTION
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 368.00 | sqm |  | 205.00 | 75440.00 | 299.00 | 110032.00 | 500.00 | 184000.00 | 505.00 | 185840.00 | 380.00 | 139840.00 | 75440.00 | S.K. CONSTRUCTION
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 8.00 | sqm |  | 360.00 | 2880.00 | 299.00 | 2392.00 | 460.00 | 3680.00 | 900.00 | 7200.00 | 375.00 | 3000.00 | 2392.00 | Rahul Constructions
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 32.00 | sqm |  | 360.00 | 11520.00 | 299.00 | 9568.00 | 575.00 | 18400.00 | 700.00 | 22400.00 | 480.00 | 15360.00 | 9568.00 | Rahul Constructions
15.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landings, beams and balconies (Plan area to be measured) | 90.00 | sqm |  | 105.00 | 9450.00 | 299.00 | 26910.00 | 240.00 | 21600.00 | 250.00 | 22500.00 | 295.00 | 26550.00 | 9450.00 | S.K. CONSTRUCTION
16.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size). | 161.00 | cum |  | 5600.00 | 901600.00 | 5999.00 | 965839.00 | 6150.00 | 990150.00 | 5800.00 | 933800.00 | 6500.00 | 1046500.00 | 901600.00 | S.K. CONSTRUCTION
17.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 12.00 | cum |  | 6880.00 | 82560.00 | 5999.00 | 71988.00 | 7639.00 | 91668.00 | 6300.00 | 75600.00 | 6500.00 | 78000.00 | 71988.00 | Rahul Constructions
18.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 30.00 | cum |  | 6440.00 | 193200.00 | 5999.00 | 179970.00 | 8000.00 | 240000.00 | 6300.00 | 189000.00 | 7400.00 | 222000.00 | 179970.00 | Rahul Constructions
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 19320.00 | kg |  | 68.00 | 1313760.00 | 69.00 | 1333080.00 | 65.00 | 1255800.00 | 74.00 | 1429680.00 | 81.00 | 1564920.00 | 1255800.00 | A.L.T. PROJECTS PRIVATE LIMITED
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5040.00 | kg |  | 69.00 | 347760.00 | 69.00 | 347760.00 | 63.00 | 317520.00 | 78.00 | 393120.00 | 82.00 | 413280.00 | 317520.00 | A.L.T. PROJECTS PRIVATE LIMITED
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 9.00 | Cum |  | 5265.00 | 47385.00 | 4900.00 | 44100.00 | 5160.00 | 46440.00 | 5000.00 | 45000.00 | 5800.00 | 52200.00 | 44100.00 | Rahul Constructions
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 28.00 | Cum |  | 5280.00 | 147840.00 | 5499.00 | 153972.00 | 6384.00 | 178752.00 | 5500.00 | 154000.00 | 5900.00 | 165200.00 | 147840.00 | S.K. CONSTRUCTION
23.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 167.00 | Sqm |  | 225.00 | 37575.00 | 249.00 | 41583.00 | 212.00 | 35404.00 | 280.00 | 46760.00 | 290.00 | 48430.00 | 35404.00 | A.L.T. PROJECTS PRIVATE LIMITED
24.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 172.00 | Sqm |  | 265.00 | 45580.00 | 249.00 | 42828.00 | 255.00 | 43860.00 | 303.00 | 52116.00 | 295.00 | 50740.00 | 42828.00 | Rahul Constructions
25.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 410.00 | sqm |  | 160.00 | 65600.00 | 199.00 | 81590.00 | 190.00 | 77900.00 | 270.00 | 110700.00 | 260.00 | 106600.00 | 65600.00 | S.K. CONSTRUCTION
26.00 | Providing and fixing bolts including nuts and washers complete. | 100.00 | kg |  | 105.00 | 10500.00 | 99.00 | 9900.00 | 105.00 | 10500.00 | 200.00 | 20000.00 | 130.00 | 13000.00 | 9900.00 | Rahul Constructions
27.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 83940.00 | kg |  | 81.00 | 6799140.00 | 80.00 | 6715200.00 | 82.00 | 6883080.00 | 108.00 | 9065520.00 | 96.00 | 8058240.00 | 6715200.00 | Rahul Constructions
28.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fiXing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 4312.00 | kg |  | 92.00 | 396704.00 | 91.10 | 392823.20 | 110.00 | 474320.00 | 101.00 | 435512.00 | 105.00 | 452760.00 | 392823.20 | Rahul Constructions
29.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1127.00 | sqm |  | 445.00 | 501515.00 | 599.00 | 675073.00 | 500.00 | 563500.00 | 606.00 | 682962.00 | 650.00 | 732550.00 | 501515.00 | S.K. CONSTRUCTION
30.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 502.00 | sqm |  | 1610.00 | 808220.00 | 1333.00 | 669166.00 | 2050.00 | 1029100.00 | 1700.00 | 853400.00 | 2100.00 | 1054200.00 | 669166.00 | Rahul Constructions
31.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 530.00 | cum |  | 5400.00 | 2862000.00 | 5899.00 | 3126470.00 | 5300.00 | 2809000.00 | 5005.00 | 2652650.00 | 6090.00 | 3227700.00 | 2652650.00 | RRCONSTRUCTION
32.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 500.00 | Sqm |  | 55.00 | 27500.00 | 79.00 | 39500.00 | 84.00 | 42000.00 | 205.00 | 102500.00 | 70.00 | 35000.00 | 27500.00 | S.K. CONSTRUCTION
33.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 500.00 | Sqm |  | 74.00 | 37000.00 | 79.00 | 39500.00 | 87.00 | 43500.00 | 190.00 | 95000.00 | 80.00 | 40000.00 | 37000.00 | S.K. CONSTRUCTION
34.00 | Dismantling and Re-fixing of existing rolling shutters after cutting and making of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and and M.S. top cover of required size rolling shutters, as per specification and direction of EIC. | 1.00 | Each |  | 12500.00 | 12500.00 | 19997.55 | 19997.55 | 2266.20 | 2266.20 | 18000.00 | 18000.00 | 6000.00 | 6000.00 | 2266.20 | A.L.T. PROJECTS PRIVATE LIMITED
35.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 1961.00 | sqm |  | 90.00 | 176490.00 | 99.00 | 194139.00 | 144.00 | 282384.00 | 145.00 | 284345.00 | 100.00 | 196100.00 | 176490.00 | S.K. CONSTRUCTION
36.00 | Providing and fixing 12 mm thick frameless toughened glass of approved brand and manufacture, including providing and fixing top & bottom pivot & fixing necessary arrangement and making necessary holes etc, all complete as per direction of Engineer-in-charge. | 12.00 | sqm |  | 1680.00 | 20160.00 | 3499.00 | 41988.00 | 3405.00 | 40860.00 | 9000.00 | 108000.00 | 3100.00 | 37200.00 | 20160.00 | S.K. CONSTRUCTION
37.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 4.00 | Mtr |  | 650.00 | 2600.00 | 499.00 | 1996.00 | 340.00 | 1360.00 | 9000.00 | 36000.00 | 500.00 | 2000.00 | 1360.00 | A.L.T. PROJECTS PRIVATE LIMITED
38.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.1)With cement mortar 1:4 (1cement: 4 coarse sand) | 200.00 | sqm |  | 315.00 | 63000.00 | 322.00 | 64400.00 | 350.00 | 70000.00 | 303.00 | 60600.00 | 305.00 | 61000.00 | 60600.00 | RRCONSTRUCTION
39.00 | Providing and laying marble chipps/gravel of required size, shape and color for epoxy flooring all complete as per specification and direction of Engineer-in-charge. | 7500.00 | Kg |  | 35.00 | 262500.00 | 59.00 | 442500.00 | 55.00 | 412500.00 | 50.00 | 375000.00 | 70.00 | 525000.00 | 262500.00 | S.K. CONSTRUCTION
40.00 | Providing and laying epoxy flooring by Two component Epoxy (Resin+Hardner) of approved color and texture including primming coat after cleaning, chipping of existing floor etc all complete as per specification and direction of Engineer-in-charge. | 3000.00 | Kg |  | 465.00 | 1395000.00 | 300.00 | 900000.00 | 470.00 | 1410000.00 | 550.00 | 1650000.00 | 550.00 | 1650000.00 | 900000.00 | Rahul Constructions
41.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 125.00 | cum |  | 165.00 | 20625.00 | 199.00 | 24875.00 | 310.00 | 38750.00 | 550.00 | 68750.00 | 200.00 | 25000.00 | 20625.00 | S.K. CONSTRUCTION
42.00 | Extra for providing and fixing expanded metal mesh of size 20x60 mm and strands 3.25 mm wide 1.6 mm thick weighing 3.64 kg per sqm for encasing of rolled steel sections in beams, columns and grillages, excluding cost of hangers. | 25.00 | sqm |  | 465.00 | 11625.00 | 349.00 | 8725.00 | 336.00 | 8400.00 | 3000.00 | 75000.00 | 350.00 | 8750.00 | 8400.00 | A.L.T. PROJECTS PRIVATE LIMITED
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent ordyed to required shade according to IS: 1868,Minimum anodic coating of grade AC 15) | 20.00 | kg |  | 490.00 | 9800.00 | 499.00 | 9980.00 | 325.00 | 6500.00 | 900.00 | 18000.00 | 550.00 | 11000.00 | 6500.00 | A.L.T. PROJECTS PRIVATE LIMITED
44.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 10.00 | kg |  | 495.00 | 4950.00 | 449.00 | 4490.00 | 399.00 | 3990.00 | 900.00 | 9000.00 | 560.00 | 5600.00 | 3990.00 | A.L.T. PROJECTS PRIVATE LIMITED
45.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination onone side and balancing lamination on other side | 5.00 | sqm |  | 960.00 | 4800.00 | 999.00 | 4995.00 | 724.00 | 3620.00 | 2000.00 | 10000.00 | 1000.00 | 5000.00 | 3620.00 | A.L.T. PROJECTS PRIVATE LIMITED
46.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 5.00 | sqm |  | 1010.00 | 5050.00 | 799.00 | 3995.00 | 994.00 | 4970.00 | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 3995.00 | Rahul Constructions
47.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.80x0.90 mm M.S. laths with 0.90 mm thick top cover | 15.00 | sqm |  | 1650.00 | 24750.00 | 2999.00 | 44985.00 | 2040.00 | 30600.00 | 9000.00 | 135000.00 | 3100.00 | 46500.00 | 24750.00 | S.K. CONSTRUCTION
48.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 5.00 | each |  | 500.00 | 2500.00 | 999.00 | 4995.00 | 244.00 | 1220.00 | 6000.00 | 30000.00 | 295.00 | 1475.00 | 1220.00 | A.L.T. PROJECTS PRIVATE LIMITED
49.00 | Providing Engineering Consultancy Services for Steel structure for profile sheet roofing structure ,RCC foundation work, RCC lift wall and other repair work i/c design vetted by I.I.T/NIT, detailed Construction drawings and revision of drawing if required during execution etc. as specified in tender document and any other details related to consultancy work which are essential for successful execution of works etc complete as per particular specification and direction of EIC. | 1.00 | job |  | 125000.00 | 125000.00 | 149999.00 | 149999.00 | 68039.00 | 68039.00 | 260000.00 | 260000.00 | 205000.00 | 205000.00 | 68039.00 | A.L.T. PROJECTS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 18433700.40 |  | 18916263.41 |  | 19999999.00 |  | 22914031.00 |  | 22340992.70
Lowest Amount Quoted BY: S.K. CONSTRUCTION(18433700.40)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Perishable Cargo facility at existing Cargo Complex of AAICLAS at Varanasi Airport. Tender ID: 2026_AAI_277107_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION (BID ID -1027397) | 18433700.40 | L1
| 2 | Rahul Constructions (BID ID -1028086) | 18916263.41 | L2
| 3 | A.L.T. PROJECTS PRIVATE LIMITED (BID ID -1024118) | 19999999.00 | L3
| 4 | M/s Awadhesh Construction (BID ID -1024891) | 22340992.70 | L4
| 5 | RRCONSTRUCTION (BID ID -1029603) | 22914031.00 | L5