## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 15-Jun-2026 02:40 PM Tender Title: FMC of Internal and External Electrical Installations at AAI Operational Office, CISF Accommodations and All Ancillary Buildings at Chennai International Airport (2026-2028) Tender ID: 2026_AAI_277568_1
Tender Inviting Authority: AGM (E-E), Chennai Airport, Chennai.
Name of Work: FMC of Internal & External Electrical Installations at AAI Operational Office, CISF Accommodations and All Ancillary Buildings at Chennai International Airport (2026-2028)
E BID No : 2026_AAI_277568_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -1030216 |  | LAKSHMI ELECTRICAL ENTERPRISES (GSTN-33AACFL6352N1Z4) BID ID -1029975 |  | PREMIER ENGINEERING TECHNICS PVT. LTD. (GSTN-27AADCP1420F1ZW) BID ID -1031079 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -1030945
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I - FMC of Internal and External Electrical Installations
1.01 | Monitoring and Maintenance of Internal and External Electrical Installations at Various Locations (As per List of Inventories) as per Duty Roaster approved by Engineer-In-Charge (Duty Timing - 8 Hours For One Shift) for 100% Serviceability i/c providing consumable material like cotton waste, oil, grease, LT and HT Insulation Tapes and other Sundry Material required for cleaning etc., providing required Tools and Plants, Instruments for Measuring/Testing etc., attending Faults / Breakdown of Equipment / Repairs / Replacement of defective components of Electrical Installations / Wiring /Rewiring with AAI Supplied Components, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge (EIC) as required.
1.02 | AAI Buildings / Offices as per Techno Commercial Specifications | 24.00 | Month |  | 722139.00 | 17331336.00 | 696800.00 | 16723200.00 | 704000.00 | 16896000.00 | 697424.60 | 16738190.40 | 16723200.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | CISF Buildings / Offices / Accommodations as per Techno Commercial Specifications | 24.00 | Month |  | 250599.00 | 6014376.00 | 242450.00 | 5818800.00 | 328000.00 | 7872000.00 | 295707.35 | 7096976.40 | 5818800.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | SH:II - Painting, Repainting, Rewinding & Miscellaneous Works
3.00 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in two coats with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 100.00 | Sq Mtr |  | 199.00 | 19900.00 | 110.00 | 11000.00 | 200.00 | 20000.00 | 400.00 | 40000.00 | 11000.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Re-painting of Street light pole of following height with approved quality enamel paint of required colour in two coats i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C.
4.01 | Poles of height Upto 5 Meter | 10.00 | Job |  | 499.00 | 4990.00 | 450.00 | 4500.00 | 250.00 | 2500.00 | 15000.00 | 150000.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
4.02 | Poles of height from 6 Meter to 12 Meter | 10.00 | Job |  | 699.00 | 6990.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 15000.00 | 150000.00 | 6990.00 | CHENNAI ENGINEERING SERVICES
5.00 | Rewinding of following fans as per original characteristics with super enamelled copper wire and `E' class insulation material, replacement of the worn out bearing etc., as required i/c dismantling, making arrangement for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required basis).
5.01 | Exhaust fan ( 300mm/450mm Sweep) | 10.00 | Each |  | 699.00 | 6990.00 | 550.00 | 5500.00 | 1000.00 | 10000.00 | 200.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
5.02 | Ceiling fan (1050mm /1200mm Sweep) | 50.00 | Each |  | 599.00 | 29950.00 | 650.00 | 32500.00 | 1000.00 | 50000.00 | 2000.00 | 100000.00 | 29950.00 | CHENNAI ENGINEERING SERVICES
5.03 | Wall mounted fan/pedestal fan (300mm/450 mm Sweep) | 10.00 | Each |  | 899.00 | 8990.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 8000.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.04 | Air Circulator (450mm/600mm Sweep) | 10.00 | Each |  | 999.00 | 9990.00 | 1050.00 | 10500.00 | 1250.00 | 12500.00 | 2000.00 | 20000.00 | 9990.00 | CHENNAI ENGINEERING SERVICES
6.00 | Providing Labour and Hire Charges for deploying Excavator (JCB) i/c Operator for tracing the cable faults, excavation and refilling of Cable trench after work etc., as required. | 10.00 | Hrs |  | 1999.00 | 19990.00 | 1200.00 | 12000.00 | 1250.00 | 12500.00 | 1200.00 | 12000.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
7.00 | Providing Labour and Hire Charges for deploying Gas Cutting MACHINE i/c Cutter, Gases in Cylinder etc., for cutting of Chequered Plates, MS Angles as required. | 10.00 | Hrs |  | 1999.00 | 19990.00 | 2000.00 | 20000.00 | 1250.00 | 12500.00 | 5000.00 | 50000.00 | 12500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.00 | Providing labour and hire charges for deploying Crane (upto 10 Ton) i/c operator for lifting/shifting of Equipments/Cable Drums etc., as required. | 5.00 | Hrs |  | 2499.00 | 12495.00 | 2000.00 | 10000.00 | 1250.00 | 6250.00 | 1500.00 | 7500.00 | 6250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.00 | Locating the Cable fault on LT feeder cables laid directly in ground / duct / pipe including providing Cable Fault Tracer (Rental), Technical Manpower etc., as required. | 2.00 | Job |  | 29999.00 | 59998.00 | 35000.00 | 70000.00 | 25000.00 | 50000.00 | 75000.00 | 150000.00 | 50000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
10.00 | SH: III - SUPPLY OF SPARE PARTS FOR MAINTENANCE & REPAIR WORKS (AS AND WHEN REQUIRED BASIS ONLY)
11.00 | Supply of 200mm sweep, PVC exhaust fan of minimum 1350 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 5.00 | Each |  | 1399.00 | 6995.00 | 1015.00 | 5075.00 | 1100.00 | 5500.00 | 2200.00 | 11000.00 | 5075.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Supply of 300mm sweep, metallic exhaust fan of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 20.00 | Each |  | 1699.00 | 33980.00 | 1450.00 | 29000.00 | 2500.00 | 50000.00 | 4299.00 | 85980.00 | 29000.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supply of 450mm sweep, metallic exhaust fan of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 10.00 | Each |  | 4999.00 | 49990.00 | 4950.00 | 49500.00 | 4000.00 | 40000.00 | 7700.00 | 77000.00 | 40000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.00 | Supply of 450mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 150 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 5.00 | Each |  | 7999.00 | 39995.00 | 7290.00 | 36450.00 | 6000.00 | 30000.00 | 9000.00 | 45000.00 | 30000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
15.00 | Supply of 600mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 250 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 5.00 | Each |  | 9999.00 | 49995.00 | 9845.00 | 49225.00 | 7000.00 | 35000.00 | 14999.00 | 74995.00 | 35000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
16.00 | Supply of 400mm sweep Pedestal fan with minimum 1350 RPM suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 10.00 | Each |  | 2999.00 | 29990.00 | 7640.00 | 76400.00 | 2800.00 | 28000.00 | 3500.00 | 35000.00 | 28000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
17.00 | Supply of 400mm sweep wall mounted fan with minimum 1350 RPM suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 10.00 | Each |  | 2899.00 | 28990.00 | 2030.00 | 20300.00 | 2250.00 | 22500.00 | 7000.00 | 70000.00 | 20300.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | Supply of 2.5 MFD Capacitor for Fan operated on single phase, 230 V AC Supply as required. | 500.00 | Each |  | 29.00 | 14500.00 | 30.00 | 15000.00 | 25.00 | 12500.00 | 150.00 | 75000.00 | 12500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
19.00 | Supply of following sizes PVC Casing and Capping of 1.2 mm thick as required.
19.01 | 20 X 12mm | 300.00 | Mtr |  | 29.00 | 8700.00 | 35.00 | 10500.00 | 40.00 | 12000.00 | 99.00 | 29700.00 | 8700.00 | CHENNAI ENGINEERING SERVICES
19.02 | 25 X 16 mm | 200.00 | Mtr |  | 49.00 | 9800.00 | 55.00 | 11000.00 | 50.00 | 10000.00 | 199.00 | 39800.00 | 9800.00 | CHENNAI ENGINEERING SERVICES
20.00 | Supply of 3 kW high-grade magnesium oxide insulated copper element Instant Electric Water Geyser of minimum 3 litres storage capacity made of inner tank of high-grade 304 Stainless Steel and Rust-proof high-quality polymer constituents outer body with all standard accessories such as pressure release valve, ISI marked thermostat, disc type snap action safety device and anti-siphon protection etc., as required. | 3.00 | Each |  | 3999.00 | 11997.00 | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 9999.00 | 29997.00 | 7500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
21.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
21.01 | 3 X 10 sq. mm | 100.00 | Mtr |  | 159.00 | 15900.00 | 135.00 | 13500.00 | 146.00 | 14600.00 | 200.00 | 20000.00 | 13500.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.02 | 3 X 16 sq. mm | 100.00 | Mtr |  | 179.00 | 17900.00 | 150.00 | 15000.00 | 163.00 | 16300.00 | 200.00 | 20000.00 | 15000.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.03 | 4 X 10 sq. mm | 100.00 | Mtr |  | 199.00 | 19900.00 | 177.00 | 17700.00 | 191.00 | 19100.00 | 400.00 | 40000.00 | 17700.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.04 | 4 X 16 sq. mm | 100.00 | Mtr |  | 249.00 | 24900.00 | 192.00 | 19200.00 | 207.00 | 20700.00 | 400.00 | 40000.00 | 19200.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.05 | 4 X 25 sq. mm | 100.00 | Mtr |  | 259.00 | 25900.00 | 227.00 | 22700.00 | 247.00 | 24700.00 | 600.00 | 60000.00 | 22700.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.06 | 3½ X 35 sq. mm | 100.00 | Mtr |  | 299.00 | 29900.00 | 274.00 | 27400.00 | 295.00 | 29500.00 | 600.00 | 60000.00 | 27400.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.07 | 3½ X 50 sq. mm | 100.00 | Mtr |  | 449.00 | 44900.00 | 365.00 | 36500.00 | 394.00 | 39400.00 | 900.00 | 90000.00 | 36500.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.08 | 3½ X 95 sq. mm | 100.00 | Mtr |  | 749.00 | 74900.00 | 630.00 | 63000.00 | 683.00 | 68300.00 | 1200.00 | 120000.00 | 63000.00 | LAKSHMI ELECTRICAL ENTERPRISES
22.00 | Supply of Copper Conductor, FR PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required.
22.01 | 3 x 1.5 sq.mm | 500.00 | Mtr |  | 99.00 | 49500.00 | 95.00 | 47500.00 | 97.00 | 48500.00 | 150.00 | 75000.00 | 47500.00 | LAKSHMI ELECTRICAL ENTERPRISES
22.02 | 3 x 2.5 sq.mm | 500.00 | Mtr |  | 149.00 | 74500.00 | 150.00 | 75000.00 | 152.00 | 76000.00 | 199.00 | 99500.00 | 74500.00 | CHENNAI ENGINEERING SERVICES
22.03 | 3 x 4.0 sq.mm | 300.00 | Mtr |  | 229.00 | 68700.00 | 231.00 | 69300.00 | 204.00 | 61200.00 | 299.00 | 89700.00 | 61200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
22.04 | 3 x 6.0 sq.mm | 200.00 | Mtr |  | 349.00 | 69800.00 | 341.00 | 68200.00 | 342.00 | 68400.00 | 499.00 | 99800.00 | 68200.00 | LAKSHMI ELECTRICAL ENTERPRISES
22.05 | 4 x 4.0 sq.mm | 200.00 | Mtr |  | 309.00 | 61800.00 | 303.00 | 60600.00 | 304.00 | 60800.00 | 499.00 | 99800.00 | 60600.00 | LAKSHMI ELECTRICAL ENTERPRISES
23.00 | Supply of following sizes Single core flexible copper conductor Flame Retardent Low Smoke (FRLS) PVC insulated wires of 1.1 K Grade conforming to IS:694 as required.
23.01 | 1.5 sq.mm | 500.00 | Mtr |  | 29.00 | 14500.00 | 29.00 | 14500.00 | 25.00 | 12500.00 | 50.00 | 25000.00 | 12500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
23.02 | 2.5 sq.mm | 500.00 | Mtr |  | 39.00 | 19500.00 | 46.00 | 23000.00 | 40.00 | 20000.00 | 60.00 | 30000.00 | 19500.00 | CHENNAI ENGINEERING SERVICES
23.03 | 4 sq.mm | 300.00 | Mtr |  | 69.00 | 20700.00 | 72.00 | 21600.00 | 50.00 | 15000.00 | 79.00 | 23700.00 | 15000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
23.04 | 6 sq.mm | 100.00 | Mtr |  | 99.00 | 9900.00 | 107.00 | 10700.00 | 60.00 | 6000.00 | 99.00 | 9900.00 | 6000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
24.00 | Supply of following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load and suitable to fix in the existing MCB DB as required.
24.01 | (0-32) A SP | 100.00 | Each |  | 199.00 | 19900.00 | 127.00 | 12700.00 | 154.00 | 15400.00 | 499.00 | 49900.00 | 12700.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.02 | 40A DP | 10.00 | Each |  | 999.00 | 9990.00 | 651.00 | 6510.00 | 882.00 | 8820.00 | 999.00 | 9990.00 | 6510.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.03 | 63A DP | 10.00 | Each |  | 1029.00 | 10290.00 | 718.00 | 7180.00 | 882.00 | 8820.00 | 999.00 | 9990.00 | 7180.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.04 | 40A TP | 10.00 | Each |  | 1999.00 | 19990.00 | 1010.00 | 10100.00 | 1331.00 | 13310.00 | 1499.00 | 14990.00 | 10100.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.05 | 40A FP | 10.00 | Each |  | 2399.00 | 23990.00 | 1194.00 | 11940.00 | 1672.00 | 16720.00 | 2000.00 | 20000.00 | 11940.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.06 | 63A FP | 10.00 | Each |  | 2399.00 | 23990.00 | 1263.00 | 12630.00 | 1672.00 | 16720.00 | 2000.00 | 20000.00 | 12630.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.00 | Supply of following Modular switches, Modular sockets, PVC boxes, Modular base & cover plates etc. as required.
25.01 | Supply of 10A Modular Switch, Anchor Roma make code No. 21011 or equivalent. | 200.00 | Each |  | 39.00 | 7800.00 | 39.00 | 7800.00 | 35.00 | 7000.00 | 79.00 | 15800.00 | 7000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.02 | Supply of 20A Modular Switch, Anchor Roma make code No. 21066 or equivalent. | 150.00 | Each |  | 119.00 | 17850.00 | 104.00 | 15600.00 | 149.00 | 22350.00 | 99.00 | 14850.00 | 14850.00 | DElite System Engineering (India) Pvt. Ltd.
25.03 | Supply of 10A Modular Socket, Anchor Roma make code No. 21102 or equivalent. | 200.00 | Each |  | 99.00 | 19800.00 | 95.00 | 19000.00 | 99.00 | 19800.00 | 150.00 | 30000.00 | 19000.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.04 | Supply of 25A & 10A Modular Twin Socket, Anchor Roma make code No. 30828 or equivalent. | 150.00 | Each |  | 199.00 | 29850.00 | 168.00 | 25200.00 | 176.00 | 26400.00 | 229.00 | 34350.00 | 25200.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.05 | Supply of 6A Plug Top, Anchor make code No. 38626 / 3982 or equivalent. | 20.00 | Each |  | 49.00 | 980.00 | 50.00 | 1000.00 | 65.00 | 1300.00 | 60.00 | 1200.00 | 980.00 | CHENNAI ENGINEERING SERVICES
25.06 | Supply of 16A Plug Top, Anchor make code No. 38637 / 3993 or equivalent. | 20.00 | Each |  | 69.00 | 1380.00 | 60.00 | 1200.00 | 86.00 | 1720.00 | 99.00 | 1980.00 | 1200.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.07 | Dummy plate, Anchor Roma make code No. 21598 or equivalent. | 50.00 | Each |  | 19.00 | 950.00 | 24.00 | 1200.00 | 25.00 | 1250.00 | 40.00 | 2000.00 | 950.00 | CHENNAI ENGINEERING SERVICES
25.08 | 1 or 2 Module PVC box, Anchor Roma make code No. 21281or equivalent. | 50.00 | Each |  | 69.00 | 3450.00 | 77.00 | 3850.00 | 32.00 | 1600.00 | 399.00 | 19950.00 | 1600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.09 | 3 Module PVC box, Anchor Roma make code No. 20449 or equivalent. | 100.00 | Each |  | 89.00 | 8900.00 | 80.00 | 8000.00 | 55.00 | 5500.00 | 399.00 | 39900.00 | 5500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.10 | 4 Module PVC box, Anchor Roma make code No. 21292 or equivalent. | 100.00 | Each |  | 99.00 | 9900.00 | 90.00 | 9000.00 | 61.00 | 6100.00 | 599.00 | 59900.00 | 6100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.11 | 6 Module PVC box, Anchor Roma make code No. 30511 or equivalent. | 150.00 | Each |  | 149.00 | 22350.00 | 120.00 | 18000.00 | 84.00 | 12600.00 | 599.00 | 89850.00 | 12600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.12 | 9 Module PVC box, Anchor Roma make code No. 30704 or equivalent. | 100.00 | Each |  | 189.00 | 18900.00 | 160.00 | 16000.00 | 118.00 | 11800.00 | 799.00 | 79900.00 | 11800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.13 | 12 Module PVC box, Anchor Roma make code No. 20347 or equivalent. | 20.00 | Each |  | 239.00 | 4780.00 | 215.00 | 4300.00 | 149.00 | 2980.00 | 999.00 | 19980.00 | 2980.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.14 | Supply of 1 or 2 Module base & cover plate, Anchor Roma make code No. 30227 WH or equivalent for modular boxes. | 50.00 | Each |  | 99.00 | 4950.00 | 85.00 | 4250.00 | 83.00 | 4150.00 | 599.00 | 29950.00 | 4150.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.15 | Supply of 3 Module base & cover plate, Anchor Roma make code No. 30238 WH or equivalent for modular boxes. | 100.00 | Each |  | 109.00 | 10900.00 | 95.00 | 9500.00 | 106.00 | 10600.00 | 599.00 | 59900.00 | 9500.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.16 | Supply of 4 Module base & cover plate, Anchor Roma make code No. 30249 WH or equivalent for modular boxes. | 100.00 | Each |  | 129.00 | 12900.00 | 115.00 | 11500.00 | 123.00 | 12300.00 | 699.00 | 69900.00 | 11500.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.17 | Supply of 6 Module base & cover plate, Anchor Roma make code No. 30250 WH or equivalent for modular boxes. | 150.00 | Each |  | 179.00 | 26850.00 | 160.00 | 24000.00 | 168.00 | 25200.00 | 699.00 | 104850.00 | 24000.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.18 | Supply of 8/9 Module base & cover plate, Anchor Roma make code No. 30384 or equivalent for modular boxes. | 100.00 | Each |  | 239.00 | 23900.00 | 220.00 | 22000.00 | 237.00 | 23700.00 | 699.00 | 69900.00 | 22000.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.19 | Supply of 12 Module base & cover plate, Anchor Roma make code No. 30271 or equivalent for modular boxes. | 20.00 | Each |  | 279.00 | 5580.00 | 280.00 | 5600.00 | 267.00 | 5340.00 | 699.00 | 13980.00 | 5340.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
26.00 | SH: IV - CMC and Lift License Works
27.00 | Liaisoning with Tamilnadu Electrical Inspectorate for getting Lift License including submission of application, Payment of Fee, co-ordination with Lift Inspector, Receipt of License, submission to EIC etc., as required. | 1.00 | Job |  | 19999.00 | 19999.00 | 15000.00 | 15000.00 | 10500.00 | 10500.00 | 20000.00 | 20000.00 | 10500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
28.00 | Renewal of lift insurance including submission of application, Payment of premium, co-ordination with insurance company, submission of Insurance to EIC etc., as required. | 1.00 | Job |  | 19999.00 | 19999.00 | 16000.00 | 16000.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd., PREMIER ENGINEERING TECHNICS PVT. LTD.
29.00 | All Inclusive Comprehensive Annual Maintenance Contract of 10 KVA 3 Phase Numeric Make UPS System installed at Ceremonial Lounge, including providing preventive maintenances as per OEM Standards and Recommendations, carrying out Breakdown Maintenance, Emergency Service etc., including supply and replacement of all necessary spares and consumables, providing technical and supporting labour, maintenance of Records, meeting the requirement of AAI to ensure 100% Serviceability etc., complete as required. | 24.00 | Month |  | 5999.00 | 143976.00 | 2900.00 | 69600.00 | 5250.00 | 126000.00 | 7500.00 | 180000.00 | 69600.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.00 | SH: V - DSR E&M 2025 ITEMS
31.00 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2025 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of Internal and External Electrical Installations as per Direction of Engineer-In-Charge at All Locations under Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2023, Part-II (External) 2023 and Part-IV (Substation) 2013 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 15,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure - E).
31.01 | For Year - I & II | 1.00 | Job |  | 1350000.00 | 1350000.00 | 1125000.00 | 1125000.00 | 1400000.00 | 1400000.00 | 1200000.00 | 1200000.00 | 1125000.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 26348111.00 |  | 25149510.00 |  | 27635230.00 |  | 28397048.80
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(25149510.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC of Internal and External Electrical Installations at AAI Operational Office, CISF Accommodations and All Ancillary Buildings at Chennai International Airport (2026-2028) Tender ID: 2026_AAI_277568_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES (BID ID -1029975) | 25149510.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES (BID ID -1030216) | 26348111.00 | L2
| 3 | PREMIER ENGINEERING TECHNICS PVT. LTD. (BID ID -1031079) | 27635230.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. (BID ID -1030945) | 28397048.80 | L4