## BoQ1
Government eProcurement System Created By: Narender Kumar Created Date/Time: 23-Jun-2026 04:43 PM Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH Electrical Works PHASE III Tender ID: 2026_AAI_277702_1
Tender Inviting Authority: Senior Manager, Airports Authority of India, Safdarjung Airport, New Delhi.
Name of Work:Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-III.
Contract No: AAI/SAP/ENGG.(E)/ INAqtrs/26-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MOHANS ENTERPRISES (GSTN-06AAGFM6636C1ZG) BID ID -1030979 |  | O. P. CONSTRUCTIONS (GSTN-NA) BID ID -1029873
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DSR WORKS DSR(Electrical) - 2025 Item for Rs 50,00,000/- (Rupees Fifty Lakhs Only) [NOTE: The rate shall be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.50,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 50,00,000/- of DSR 2025 (electrical) and same shall be converted into percentage above/below on the DSR 2025 (considering the rates of DSR 2025 as base rates). 2. For Example if bidder quotes Rs.45,00,000/- in rates column then same shall be converted into percentage of DSR 2025 as under ((5000000 - 4500000) / 5000000) i.e. 10% below on DSR 2025 and accordingly payment shall be made by applying the percentage i.e. 10% below on DSR 2025 rates for items covered in DSR 2025. Note- The basisc rate shall be derived as below- Rate of item as per DSR = X Basic Rate to be considered for payment = (X/1.18)*(100 ± Quoted percentage rate)/100 Note:- Bidder are requested to read the ATC before quoting the rates. | 1.00 | Job | 1.25 | 4475000.00 | 4475000.00 | 4400000.00 | 4400000.00 | 4400000.00 | O. P. CONSTRUCTIONS
2.00 | Supply of 5 star rating, 1200 mm BLDC fan suitable for operation on single phase 240V, 50 Hz supply, complete as required (Make: Havells, Model: Stealth BLDC) | 5.00 | Each | 0.00 | 5500.00 | 27500.00 | 7000.00 | 35000.00 | 27500.00 | MOHANS ENTERPRISES
3.00 | Supply of 20W, 4 feet long wall mounted tube batten (excluding lamp) with integral LED driver suitable for 4 feet long retrofit type T8 LED tube light lamp complete with all accessories, connections as required. | 10.00 | Each | 100.00 | 100.00 | 1000.00 | 1000.00 | 10000.00 | 1000.00 | MOHANS ENTERPRISES
4.00 | Supply of wall mounting decorative type fitting (excluding lamp) complete with all accessories as required at site. (Make: Jaquar, Model : DWL-NKL-WLBPGG001E27) | 10.00 | Each | 53.00 | 1500.00 | 15000.00 | 2200.00 | 22000.00 | 15000.00 | MOHANS ENTERPRISES
5.00 | Supply of wall mounting decorative type fitting (excluding lamp) complete with all accessories as required at site. (Make: Jaquar, Model : DWL-CHR-MB160275531B) | 5.00 | Each | 10.00 | 1500.00 | 7500.00 | 3500.00 | 17500.00 | 7500.00 | MOHANS ENTERPRISES
6.00 | Supply of 18W surface mounted downlighter complete with all accessories as required at site. (Make: Havells, cat no. LHEAABP7IL1W018 or Similar as per AAI Preffered make list) | 20.00 | Each | 11.00 | 500.00 | 10000.00 | 1500.00 | 30000.00 | 10000.00 | MOHANS ENTERPRISES
7.00 | Supply of 12W surface mounted downlighter complete with all accessories as required at site. (Make: Havells, cat no. LHEAABP7IL1W012 or Similar as per AAI Preffered make list) | 40.00 | Each | 0.00 | 400.00 | 16000.00 | 1100.00 | 44000.00 | 16000.00 | MOHANS ENTERPRISES
8.00 | Supply of Exhaust Fan 200 mm sweep, 1200-1400 rpm, plastic body, suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Ventil Air DX or Similar as per AAI Preffered make list). | 10.00 | Each | 100.00 | 950.00 | 9500.00 | 1750.00 | 17500.00 | 9500.00 | MOHANS ENTERPRISES
9.00 | Supply of Exhaust Fan 250 mm sweep, 1200-1400 rpm, plastic body, suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Ventil Air DX or Similar as per AAI Preffered make list). | 1.00 | Each | 53.00 | 1050.00 | 1050.00 | 1750.00 | 1750.00 | 1050.00 | MOHANS ENTERPRISES
10.00 | Supply and fixing door bell ding- dong type, 240V, 50Hz suitable for single phase, 230 volts, complete as required. (Make: Havells, Anchor or Similar as per AAI Preffered make list). | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 10000.00 | MOHANS ENTERPRISES
11.00 | Providing and fixing 25Amp modular SP MCB, "C" curve on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 230.00 | Each | 10.00 | 250.00 | 57500.00 | 175.00 | 40250.00 | 40250.00 | O. P. CONSTRUCTIONS
12.00 | Supplying and fixing following rating, double pole, 240 volts, 'C' Curve MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.
12.01 | 40 amps | 40.00 | Each | 10.00 | 1000.00 | 40000.00 | 360.00 | 14400.00 | 14400.00 | O. P. CONSTRUCTIONS
12.02 | 63 amps | 10.00 | Each | 22.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 5000.00 | O. P. CONSTRUCTIONS
13.00 | Supply of 35-40W LED post top fitting having high pressure powder coated die cast aluminium housing with top cover and high impact poly corbonate or acrylic protector/ diffuser and suitable built in LED Driver etc as required. | 40.00 | Each | 0.00 | 7000.00 | 280000.00 | 5000.00 | 200000.00 | 200000.00 | O. P. CONSTRUCTIONS
14.00 | Supply and fixing of pole mounted SMC cable junction box with cover (IP 55) suitable for termination upto 4 x 25 sqmm Aluminium armoured cable including 04 nos. Al bus bar of suitable rating, 01 No. 6A SP MCB, with mounting arrangement, pole mounting accessories, along with end termination for cable (one incoming + one / two outgoings) etc. complete as per site requirement. (for existing tubular type pole) | 20.00 | Each | 0.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 40000.00 | O. P. CONSTRUCTIONS, MOHANS ENTERPRISES
15.00 | Supply and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting, cutting, jointing etc. through moling at a depth of 75 cms including excavation and refilling as required. | 20.00 | Meter | 1.00 | 800.00 | 16000.00 | 289.00 | 5780.00 | 5780.00 | O. P. CONSTRUCTIONS
16.00 | Supply of 1.5 TR (Hot & Cool) Inverter type, 3 star or better BEE rating, Hi- wall, Split air-conditioner with rotary/ scroll compressor operating on refrigerant R-32/ R-410A, minimum rated cooling capacity 5kW. The body of indoor unit shall be made of ABS/HIPS/GS, condensing unit should be of 100% copper condenser & evaporator coil & having all safety, air filters, evaporator, condenser, cordless remote, electronic operation control & all accessories supplied with the unit by OEM etc as per manufacturer standards suitable for operation on 230 volts, 50 Hz, Single phase, AC supply, complete as required at site. | 6.00 | Each | 0.00 | 45000.00 | 270000.00 | 46000.00 | 276000.00 | 270000.00 | MOHANS ENTERPRISES
17.00 | Installation, testing, commissioning of hi-wall A/C units etc. and making of necessary hole on concrete/brick wall and making good the damages i/c drawing the gas/drain pipe and wire etc through the concrete/brick wall as required. | 6.00 | Each | 0.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 9000.00 | MOHANS ENTERPRISES
18.00 | Supply of 2 TR, Floor mounted Tower type air-conditioner with rotary/ scroll compressor operating on refrigerant R-32/ R-410A, minimum rated cooling capacity 7kW. The body of indoor unit shall be made of ABS/HIPS/GS, condensing unit should be of 100% copper condenser & evaporator coil & having all safety, air filters, evaporator, condenser, cordless remote, electronic operation control & all accessories supplied with the unit by OEM etc as per manufacturer standards suitable for operation on 230 volts, 50 Hz, Single phase, AC supply, complete as required at site. | 1.00 | Each | 1.00 | 90000.00 | 90000.00 | 70000.00 | 70000.00 | 70000.00 | O. P. CONSTRUCTIONS
19.00 | Installation, testing, commissioning of Floor mounted Tower type A/C units etc. and making of necessary hole on concrete/brick wall and making good the damages i/c drawing the gas/drain pipe and wire etc through the concrete/brick wall as required. | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | MOHANS ENTERPRISES
20.00 | Supply of storage type Electric water heater having Tank Capacity of min. 25 litres, rust proof body, heating element 2kW suitable for 230V, single phase, 50Hz supply, complete as required at site. (Make: Havells, Model: Adonia R). | 4.00 | Each | 0.00 | 16000.00 | 64000.00 | 16800.00 | 67200.00 | 64000.00 | MOHANS ENTERPRISES
21.00 | Supply of instant type Electric water heater having Tank Capacity of min. 03 litres, rust proof body, heating element 3kW suitable for 230V, single phase, 50Hz supply, complete as required at site. (Make: Havells, Model: Instanio). | 1.00 | Each | 1.00 | 3500.00 | 3500.00 | 3700.00 | 3700.00 | 3500.00 | MOHANS ENTERPRISES
22.00 | Supply of Single phase 1.5HP, 14 stage, 100mm (4inch) borewell Submersible pump set, head 39-101 m, flow rate 90-35 LPM. | 1.00 | Each | 0.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 20000.00 | O. P. CONSTRUCTIONS
23.00 | Supply of 1200 mm ceiling fan with Electroplated finish and minimum air delivery 225 m3/min. suitable for 220 V, 50 Hz single phase supply. (Make: Havells, Model: EP Trendy ES). | 1.00 | Each | 0.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 3000.00 | MOHANS ENTERPRISES
24.00 | Supply, installation, testing & comissioning of Built in Gas Hob; 8mm matte black glass finish; 3 brass burners 4.5kW, 3kW & 1.5kW; in-built auto electric, 220V AC operated; flame failure safety device; all other accessories as per OEM complete as req. at site (Make: FABER, Model: Verona HD 783 CI FFD AI) | 1.00 | Job | 1.00 | 30000.00 | 30000.00 | 36670.00 | 36670.00 | 30000.00 | MOHANS ENTERPRISES
25.00 | Supply, installation, testing & comissioning of Kitchen Hood; matte black finish; filterless; Suction 1500m3/h; autoclean function; all other accessories as per OEM complete as req. at site (Make: FABER, Model: Hood Cosmic FL HC BK 75) | 1.00 | Job | 0.00 | 30000.00 | 30000.00 | 38800.00 | 38800.00 | 30000.00 | MOHANS ENTERPRISES
26.00 | Supply, installation, testing & comissioning of Electric Multifunction Built in Oven of capacity 83L; multiple Cooking Functions; Sensor Touch Control; digital timer; 3D hot air circulation system; anti-scalding cold door technology; full black glass appearance; all other accessories as per OEM complete as req. at site (Make: FABER, Model: Fbio 83L 15F BK) | 1.00 | Job | 0.00 | 27000.00 | 27000.00 | 71120.00 | 71120.00 | 27000.00 | MOHANS ENTERPRISES
27.00 | Supply, installation, testing & comissioning of Built in microwave oven of capacity 25L; Grill + Convection; multiple auto cook menus; defrost; digital timer; electronic control; Black finish; all other accessories as per OEM complete as req. at site (Make: FABER, Model: Fbimwo 25L CGS BK) | 1.00 | Job | 1.00 | 27000.00 | 27000.00 | 52180.00 | 52180.00 | 27000.00 | MOHANS ENTERPRISES
| Total in Figures |  |  |  |  | 5601550.00 |  | 5555850.00
Lowest Amount Quoted BY: O. P. CONSTRUCTIONS(5555850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH Electrical Works PHASE III Tender ID: 2026_AAI_277702_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | O. P. CONSTRUCTIONS (BID ID -1029873) | 5555850.00 | L1
| 2 | MOHANS ENTERPRISES (BID ID -1030979) | 5601550.00 | L2