## BoQ1
Government eProcurement System Created By: Vinay Gangele Created Date/Time: 17-Jun-2026 11:24 AM Tender Title: Construction of N. D. B. (Non - Directional Beacon) at Datia Airport, Datia. Tender ID: 2026_AAI_277968_1
Tender Inviting Authority: Vinay Gangele, Sr. Mgr. (Engg. - Civil), Raja Bhoj Airport, Bhopal
Name of Work: Construction of N. D. B. (Non - Directional Beacon) at Datia Airport, Datia.
Contract No: AAI/DATIA/ENGGC/NDB/26-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MINOCHA CONSTRUCTION COMPANY (GSTN-09AFMPM2502A1ZW) BID ID -1027070 |  | J S KANAKAM AND COMPANY (GSTN-NA) BID ID -1026849 |  | KOREARCH INFRASTRUCTURE PRIVATE LIMITED (GSTN-NA) BID ID -1026837 |  | KUSHWAH CONSTRUCTION COMPANY (GSTN-NA) BID ID -1025833
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means over areas (exceeding 30cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead upto 50m and lift upto 1.5m, as directed by Engineer In Charge. a) All kinds of soil. | 197.00 | Cum | 1.25 | 100.00 | 19700.00 | 150.00 | 29550.00 | 190.00 | 37430.00 | 200.00 | 39400.00 | 19700.00 | MINOCHA CONSTRUCTION COMPANY
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 165.00 | Cum | 0.00 | 120.00 | 19800.00 | 150.00 | 24750.00 | 270.00 | 44550.00 | 200.00 | 33000.00 | 19800.00 | MINOCHA CONSTRUCTION COMPANY
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc, not exceeding 80 mm dia. | 214.00 | Mtr | 100.00 | 120.00 | 25680.00 | 180.00 | 38520.00 | 192.00 | 41088.00 | 250.00 | 53500.00 | 25680.00 | MINOCHA CONSTRUCTION COMPANY
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 100.00 | Cum | 53.00 | 60.00 | 6000.00 | 120.00 | 12000.00 | 143.00 | 14300.00 | 100.00 | 10000.00 | 6000.00 | MINOCHA CONSTRUCTION COMPANY
5.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 50.00 | Mtr | 10.00 | 120.00 | 6000.00 | 300.00 | 15000.00 | 450.00 | 22500.00 | 550.00 | 27500.00 | 6000.00 | MINOCHA CONSTRUCTION COMPANY
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (Zone-III) derived from natural sources: 10 graded stone aggregate 40 mm nominal size derived natural sources). | 40.00 | Cum | 11.00 | 4500.00 | 180000.00 | 3800.00 | 152000.00 | 5800.00 | 232000.00 | 3000.00 | 120000.00 | 120000.00 | KUSHWAH CONSTRUCTION COMPANY
7.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (a ) Foundations, footings, bases of columns, etc. for mass concrete | 103.00 | Sqm | 1.25 | 350.00 | 36050.00 | 350.00 | 36050.00 | 513.00 | 52839.00 | 300.00 | 30900.00 | 30900.00 | KUSHWAH CONSTRUCTION COMPANY
8.00 | Centering and shuttering including strutting, propping etc. and removal of form work for: Suspended floors, roofs, landings, balconies and access platform. | 109.00 | Sqm | 0.00 | 400.00 | 43600.00 | 350.00 | 38150.00 | 523.00 | 57007.00 | 670.00 | 73030.00 | 38150.00 | J S KANAKAM AND COMPANY
9.00 | Centering and shuttering including strutting, propping etc. and removal of form work for: Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 127.00 | Sqm | 100.00 | 450.00 | 57150.00 | 350.00 | 44450.00 | 570.00 | 72390.00 | 300.00 | 38100.00 | 38100.00 | KUSHWAH CONSTRUCTION COMPANY
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for: Edges of slabs and breaks in floors and walls. Under 20 cm wide | 85.00 | Mtr | 53.00 | 450.00 | 38250.00 | 150.00 | 12750.00 | 570.00 | 48450.00 | 200.00 | 17000.00 | 12750.00 | J S KANAKAM AND COMPANY
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars | 7385.00 | Kg | 10.00 | 81.00 | 598185.00 | 81.00 | 598185.00 | 81.00 | 598185.00 | 70.00 | 516950.00 | 516950.00 | KUSHWAH CONSTRUCTION COMPANY
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars | 3115.00 | Kg | 11.00 | 81.00 | 252315.00 | 81.00 | 252315.00 | 81.00 | 252315.00 | 70.00 | 218050.00 | 218050.00 | KUSHWAH CONSTRUCTION COMPANY
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 62.00 | Cum | 1.25 | 6300.00 | 390600.00 | 6500.00 | 403000.00 | 8800.00 | 545600.00 | 4000.00 | 248000.00 | 248000.00 | KUSHWAH CONSTRUCTION COMPANY
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level . Concrete of M30 grade with minimum cement content of 350 kg /cum | 26.00 | Cum | 0.00 | 6700.00 | 174200.00 | 6500.00 | 169000.00 | 8800.00 | 228800.00 | 4000.00 | 104000.00 | 104000.00 | KUSHWAH CONSTRUCTION COMPANY
15.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 31.00 | Qtl | 100.00 | 800.00 | 24800.00 | 650.00 | 20150.00 | 452.00 | 14012.00 | 500.00 | 15500.00 | 14012.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 140.00 | Cum | 53.00 | 6300.00 | 882000.00 | 5800.00 | 812000.00 | 6800.00 | 952000.00 | 5000.00 | 700000.00 | 700000.00 | KUSHWAH CONSTRUCTION COMPANY
17.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 28.00 | Cum | 10.00 | 6400.00 | 179200.00 | 6500.00 | 182000.00 | 7800.00 | 218400.00 | 5000.00 | 140000.00 | 140000.00 | KUSHWAH CONSTRUCTION COMPANY
18.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V Cement mortar 1:4 (1 cement :4 coarse sand) | 24.00 | Sqm | 11.00 | 800.00 | 19200.00 | 700.00 | 16800.00 | 1012.00 | 24288.00 | 1000.00 | 24000.00 | 16800.00 | J S KANAKAM AND COMPANY
19.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 9.00 | Sqm | 1.25 | 4000.00 | 36000.00 | 2500.00 | 22500.00 | 7200.00 | 64800.00 | 2000.00 | 18000.00 | 18000.00 | KUSHWAH CONSTRUCTION COMPANY
20.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564,embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 2000.00 | KUSHWAH CONSTRUCTION COMPANY
21.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :250x16 mm | 8.00 | Each | 100.00 | 200.00 | 1600.00 | 450.00 | 3600.00 | 525.00 | 4200.00 | 400.00 | 3200.00 | 1600.00 | MINOCHA CONSTRUCTION COMPANY
22.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :250x10 mm | 5.00 | Each | 53.00 | 200.00 | 1000.00 | 250.00 | 1250.00 | 310.00 | 1550.00 | 200.00 | 1000.00 | 1000.00 | KUSHWAH CONSTRUCTION COMPANY, MINOCHA CONSTRUCTION COMPANY
23.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 8.00 | Each | 10.00 | 150.00 | 1200.00 | 200.00 | 1600.00 | 285.00 | 2280.00 | 200.00 | 1600.00 | 1200.00 | MINOCHA CONSTRUCTION COMPANY
24.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | Each | 11.00 | 80.00 | 240.00 | 150.00 | 450.00 | 470.00 | 1410.00 | 200.00 | 600.00 | 240.00 | MINOCHA CONSTRUCTION COMPANY
25.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 273.00 | Kg | 1.25 | 135.00 | 36855.00 | 175.00 | 47775.00 | 125.00 | 34125.00 | 200.00 | 54600.00 | 34125.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
26.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 46.00 | Sqm | 0.00 | 325.00 | 14950.00 | 500.00 | 23000.00 | 594.00 | 27324.00 | 415.00 | 19090.00 | 14950.00 | MINOCHA CONSTRUCTION COMPANY
27.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 19.00 | Sqm | 100.00 | 1000.00 | 19000.00 | 1000.00 | 19000.00 | 1380.00 | 26220.00 | 800.00 | 15200.00 | 15200.00 | KUSHWAH CONSTRUCTION COMPANY
28.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption's less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 60x60 cm | 58.00 | Sqm | 53.00 | 1400.00 | 81200.00 | 1400.00 | 81200.00 | 1900.00 | 110200.00 | 1051.00 | 60958.00 | 60958.00 | KUSHWAH CONSTRUCTION COMPANY
29.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 10.00 | Mtr | 10.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 475.00 | 4750.00 | 255.00 | 2550.00 | 2550.00 | KUSHWAH CONSTRUCTION COMPANY
30.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Shoe (Plain) . 110 mm diameter | 2.00 | Each | 11.00 | 500.00 | 1000.00 | 200.00 | 400.00 | 385.00 | 770.00 | 100.00 | 200.00 | 200.00 | KUSHWAH CONSTRUCTION COMPANY
31.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /seIf tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 9.00 | Sqm | 1.25 | 950.00 | 8550.00 | 900.00 | 8100.00 | 1000.00 | 9000.00 | 500.00 | 4500.00 | 4500.00 | KUSHWAH CONSTRUCTION COMPANY
32.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 630.00 | Sqm | 0.00 | 160.00 | 100800.00 | 300.00 | 189000.00 | 310.00 | 195300.00 | 240.00 | 151200.00 | 100800.00 | MINOCHA CONSTRUCTION COMPANY
33.00 | 15 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 505.00 | Sqm | 100.00 | 185.00 | 93425.00 | 300.00 | 151500.00 | 320.00 | 161600.00 | 260.00 | 131300.00 | 93425.00 | MINOCHA CONSTRUCTION COMPANY
34.00 | Finishing walls with Acrylic Smooth exterior paint of required shade New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 kg/ 10 sqm) | 546.00 | Sqm | 53.00 | 115.00 | 62790.00 | 150.00 | 81900.00 | 181.00 | 98826.00 | 150.00 | 81900.00 | 62790.00 | MINOCHA CONSTRUCTION COMPANY
35.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 150.00 | Sqm | 10.00 | 100.00 | 15000.00 | 150.00 | 22500.00 | 152.00 | 22800.00 | 160.00 | 24000.00 | 15000.00 | MINOCHA CONSTRUCTION COMPANY
36.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1176.00 | Sqm | 11.00 | 80.00 | 94080.00 | 90.00 | 105840.00 | 67.00 | 78792.00 | 110.00 | 129360.00 | 78792.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
37.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 671.00 | Sqm | 1.25 | 110.00 | 73810.00 | 130.00 | 87230.00 | 152.00 | 101992.00 | 110.00 | 73810.00 | 73810.00 | KUSHWAH CONSTRUCTION COMPANY, MINOCHA CONSTRUCTION COMPANY
38.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in-Charge. 80mm thick Cement concrete paver block of M-30 grade with approved colour, design & pattern. | 90.00 | Sqm | 0.00 | 830.00 | 74700.00 | 800.00 | 72000.00 | 850.00 | 76500.00 | 740.00 | 66600.00 | 66600.00 | KUSHWAH CONSTRUCTION COMPANY
39.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 100.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 6650.00 | 6650.00 | 2000.00 | 2000.00 | 2000.00 | KUSHWAH CONSTRUCTION COMPANY
40.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 1.00 | Each | 53.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 7410.00 | 7410.00 | 2000.00 | 2000.00 | 2000.00 | KUSHWAH CONSTRUCTION COMPANY
41.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar taps | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | KUSHWAH CONSTRUCTION COMPANY
42.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe. 32 mm dia | 2.00 | Each | 11.00 | 100.00 | 200.00 | 250.00 | 500.00 | 172.00 | 344.00 | 100.00 | 200.00 | 200.00 | KUSHWAH CONSTRUCTION COMPANY, MINOCHA CONSTRUCTION COMPANY
43.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each | 1.25 | 600.00 | 600.00 | 1500.00 | 1500.00 | 1670.00 | 1670.00 | 1100.00 | 1100.00 | 600.00 | MINOCHA CONSTRUCTION COMPANY
44.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 1.00 | Each | 0.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 620.00 | 620.00 | 120.00 | 120.00 | 120.00 | KUSHWAH CONSTRUCTION COMPANY
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. : 32 mm nominal outer dia .Pipes. | 25.00 | Mtr | 100.00 | 800.00 | 20000.00 | 275.00 | 6875.00 | 675.00 | 16875.00 | 500.00 | 12500.00 | 6875.00 | J S KANAKAM AND COMPANY
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. : 15 mm nominal outer dia .Pipes. | 25.00 | Mtr | 53.00 | 500.00 | 12500.00 | 140.00 | 3500.00 | 437.00 | 10925.00 | 340.00 | 8500.00 | 3500.00 | J S KANAKAM AND COMPANY
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. : 20 mm nominal outer dia .Pipes. | 25.00 | Mtr | 10.00 | 600.00 | 15000.00 | 175.00 | 4375.00 | 495.00 | 12375.00 | 400.00 | 10000.00 | 4375.00 | J S KANAKAM AND COMPANY
48.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. : 25 mm nominal outer dia .Pipes. | 25.00 | Mtr | 11.00 | 700.00 | 17500.00 | 200.00 | 5000.00 | 570.00 | 14250.00 | 450.00 | 11250.00 | 5000.00 | J S KANAKAM AND COMPANY
49.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work :50 mm nominal outer dia. Pipes. | 25.00 | Mtr | 1.25 | 1000.00 | 25000.00 | 480.00 | 12000.00 | 461.00 | 11525.00 | 537.00 | 13425.00 | 11525.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
50.00 | Providing and fixing brass bib cock of approved quality : 15 mm nominal bore | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 480.00 | 960.00 | 240.00 | 480.00 | 480.00 | KUSHWAH CONSTRUCTION COMPANY
51.00 | Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 2.00 | Each | 100.00 | 850.00 | 1700.00 | 1200.00 | 2400.00 | 480.00 | 960.00 | 240.00 | 480.00 | 480.00 | KUSHWAH CONSTRUCTION COMPANY
52.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : (a) 25 mm nominal bore | 2.00 | Each | 53.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 815.00 | 1630.00 | 350.00 | 700.00 | 700.00 | KUSHWAH CONSTRUCTION COMPANY
53.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : (a) 45 cm length : 15 mm nominal bore | 2.00 | Each | 10.00 | 100.00 | 200.00 | 250.00 | 500.00 | 145.00 | 290.00 | 100.00 | 200.00 | 200.00 | KUSHWAH CONSTRUCTION COMPANY, MINOCHA CONSTRUCTION COMPANY
54.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Ltr | 11.00 | 14.00 | 14000.00 | 13.00 | 13000.00 | 15.00 | 15000.00 | 9.00 | 9000.00 | 9000.00 | KUSHWAH CONSTRUCTION COMPANY
55.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore | 3.00 | Each | 1.25 | 850.00 | 2550.00 | 1000.00 | 3000.00 | 523.00 | 1569.00 | 400.00 | 1200.00 | 1200.00 | KUSHWAH CONSTRUCTION COMPANY
56.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : (a) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg ). With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | Each | 0.00 | 11500.00 | 46000.00 | 15000.00 | 60000.00 | 19000.00 | 76000.00 | 10000.00 | 40000.00 | 40000.00 | KUSHWAH CONSTRUCTION COMPANY
57.00 | Extra for depth for manholes : Size 90 x 80 cm. (a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 6.00 | Mtr | 100.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 2850.00 | 17100.00 | 6000.00 | 36000.00 | 17100.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
58.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 30.00 | Kg | 53.00 | 595.00 | 17850.00 | 800.00 | 24000.00 | 665.00 | 19950.00 | 400.00 | 12000.00 | 12000.00 | KUSHWAH CONSTRUCTION COMPANY
59.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 60.00 | Kg | 10.00 | 610.00 | 36600.00 | 800.00 | 48000.00 | 704.00 | 42240.00 | 400.00 | 24000.00 | 24000.00 | KUSHWAH CONSTRUCTION COMPANY
60.00 | Providing and fixing of external wall system on Light gauge steel frame work with outer face cement boards as per standard sizes fixed with self- drilling / taping screws / fasteners @ 60cm c/c of approved make. A groove of 2 mm to 3mm shall be maintained and grooves shall be sealed with silicon based sealant. The board shall be fixed in a staggered pattern. Screws shall be of counter sunk rib head of 1.60mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm and. Internal face 12.5 mm thick gypsum plaster board fixed on cement board as per standard sizes fixed with selfdrilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately) Outer face: Outer face having 8 mm thick cement bonded particle Board fixed on 10 mm thick cement bonded particle board. (Termite, Fire and Moisture Resistance) as per IS 14276:1995. Inner face:-12.5 mm thick gypsum plaster board conforming to IS 2095:2011 fixed on 8 mm thick cement bonded particle board (Termite, fire and moisture resistance) confirming to IS:14276:1995) | 39.00 | Sqm | 11.00 | 4100.00 | 159900.00 | 1500.00 | 58500.00 | 4500.00 | 175500.00 | 2000.00 | 78000.00 | 58500.00 | J S KANAKAM AND COMPANY
61.00 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 7.00 | Each | 1.25 | 14000.00 | 98000.00 | 11900.00 | 83300.00 | 1400.00 | 9800.00 | 30000.00 | 210000.00 | 9800.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
62.00 | Providing and laying 50mm GI pipes at required and location as oer the direction of EIC. Trenching will be paid extra | 500.00 | Meter | 0.00 | 490.00 | 245000.00 | 600.00 | 300000.00 | 475.00 | 237500.00 | 500.00 | 250000.00 | 237500.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
63.00 | Providing and laying 50mm GI pipes at required and location as oer the direction of EIC. Trenching will be paid extra | 60.00 | Meter | 100.00 | 1400.00 | 84000.00 | 600.00 | 36000.00 | 475.00 | 28500.00 | 500.00 | 30000.00 | 28500.00 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4525530.00 |  | 4491365.00 |  | 5200636.00 |  | 4007753.00
Lowest Amount Quoted BY: KUSHWAH CONSTRUCTION COMPANY(4007753.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of N. D. B. (Non - Directional Beacon) at Datia Airport, Datia. Tender ID: 2026_AAI_277968_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KUSHWAH CONSTRUCTION COMPANY (BID ID -1025833) | 4007753.00 | L1
| 2 | J S KANAKAM AND COMPANY (BID ID -1026849) | 4491365.00 | L2
| 3 | MINOCHA CONSTRUCTION COMPANY (BID ID -1027070) | 4525530.00 | L3
| 4 | KOREARCH INFRASTRUCTURE PRIVATE LIMITED (BID ID -1026837) | 5200636.00 | L4