## BoQ1
Government eProcurement System Created By: Bhavesh P Mehta Created Date/Time: 13-Jul-2026 05:51 PM Tender Title: Refurbishing of VIP CIP Lounges, False Ceiling of part of SHA and Arrival at ground floor, flooring and false ceiling of aerobridge corridor and fixed finger at NITB, S.V. Airport, Raipur. (Civil and Electrical Works) Tender ID: 2026_AAI_278418_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Refurbishing of VIP/CIP Lounges, False Ceiling of part of SHA & Arrival at ground floor, flooring & false ceiling of aerobridge corridor and fixed finger at NITB, S.V. Airport, Raipur. (Civil & Electrical Works)
Contract No: 2026_AAI_278418_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DY Infra & Projects Private Limited (GSTN-NA) BID ID -1033591 |  | GOEL & ASSOCIATES (GSTN-NA) BID ID -1037822 |  | E-VERVE DESIGN (GSTN-NA) BID ID -1032455 |  | THAR INTERIORS (GSTN-NA) BID ID -1032069 |  | SWAGATAMA ENTERPRISES (GSTN-NA) BID ID -1037430 |  | Tayal Construction (GSTN-NA) BID ID -1037630
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works:
1.01 | Providing, Laying & Installing 100% Nylon Cut-pile wall-to-wall Carpet of Divine Valencio make or equivalent with Pile Height ≥ 8 mm, Total height ≥ 10mm, Pile Weight ≥ 850 GSM, Total Weight ≥ 1630 GSM, Number of Turfs ≥ 146150/m² Thermal Resistance ≥ 0.12 m2.k/w, Confirming to Fire Classification Cfl-s1, in any color, shade and texture along with EPE Sheet of 6-8 mm, complete with Adhesive, Jointing, Cutting, providing Grooves/Slots required , if any, as per the insuctions of EIC. (Note:- For the purpose of Payment , the actual area of Carpet Laid will be measured) | 210.00 | Sqm |  | 2150.00 | 451500.00 | 2835.00 | 595350.00 | 2010.00 | 422100.00 | 3300.00 | 693000.00 | 3400.00 | 714000.00 | 4916.00 | 1032360.00 | 422100.00 | E-VERVE DESIGN
1.02 | Providing, Laying & Installing 100% Nylon Plain Loop-pile wall-to-wall Carpet of Divine Grinta make or equivalent with Pile Height ≥ 8 mm, Total height ≥ 10mm, Pile Weight ≥ 850 GSM, Total Weight ≥ 1620 GSM, Number of Knots ≥ 50100/m², Thermal Resistance ≥ 0.12 m2.k/w, Confirming to Fire Classification Cfl-s1, in any color, shade and texture along with EPE Sheet of 6-8 mm, complete with Adhesive, Jointing, Cutting, providing Grooves/Slots required , if any, as per the insuctions of EIC. (Note:- For the purpose of Payment , the actual area of Carpet Laid will be measured) | 430.00 | Sqm |  | 1950.00 | 838500.00 | 2775.00 | 1193250.00 | 2010.00 | 864300.00 | 3005.00 | 1292150.00 | 3000.00 | 1290000.00 | 4628.00 | 1990040.00 | 838500.00 | DY Infra & Projects Private Limited
1.03 | Providing and Fixing GI Baffle Ceiling system comprises of 100x25x100mm (25mm width & 100mm Height) U shaped panels. Panels shall be made of 0.5mm thick GI with polyester powder coating of 60-70 microns as per approved shade and length up to 3000mm. Panels shall be high corrosion resistance and good colour stability. The baffles shall be made on high speed, high precision roll forming machine to ensure the flatness and to avoid the failure of metal at corners. Center to center panel gap shall be 125mm. Panels are fixed on roll formed C shaped carriers 40x20x40mm made of 0.65mm GI sheet powder coated with special slots and cut outs to hold the panels in module of 100mm at maximum 1000mm c/c. Carriers are suspended from the roof or truss by 6mm dia. galvanized steel thread rod hanger with special height adjustment nut bolts at Max. 1000mm c/c. Hangers are fixed to the roof by Manufacturer recommended hanger system. Panels are factory cut in lengths up to maximum 3000mm to suit the site dimensions or shop drawings. Center caps & End caps (GI 100x25x100 RAL Shade) are used to join the baffles and to cover the edges of the panels. (a) The item includes cost of GI Carrier Coupler, SS Big Clip, GI Soffit Clit, GI Rawl Plug (8x45), complete as per the manufacturer's specification and recommendation. (b) The Baffles Ceiling System needs to be placed in lengths as per the site requirement , architectural drawings, to accomodate all lightings, Fire Systems, ACs, etc and to make necessary provisions for the same complete as per the instructions of EIC. | 2305.00 | Sqm |  | 4350.00 | 10026750.00 | 4010.00 | 9243050.00 | 4450.00 | 10257250.00 | 2750.00 | 6338750.00 | 3500.00 | 8067500.00 | 2132.00 | 4914260.00 | 4914260.00 | Tayal Construction
1.04 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. a) Polished Granite stone slab of all colour and texture except Black, Cherry/Ruby Red | 746.00 | Sqm |  | 3440.00 | 2566240.00 | 2600.00 | 1939600.00 | 4150.00 | 3095900.00 | 2155.00 | 1607630.00 | 3900.00 | 2909400.00 | 2897.00 | 2161162.00 | 1607630.00 | THAR INTERIORS
1.05 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 2305.00 | Sqm |  | 102.00 | 235110.00 | 50.00 | 115250.00 | 200.00 | 461000.00 | 70.00 | 161350.00 | 55.00 | 126775.00 | 118.00 | 271990.00 | 115250.00 | GOEL & ASSOCIATES
1.06 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 860.00 | Sqm |  | 120.00 | 103200.00 | 120.00 | 103200.00 | 200.00 | 172000.00 | 125.00 | 107500.00 | 200.00 | 172000.00 | 135.00 | 116100.00 | 103200.00 | DY Infra & Projects Private Limited, GOEL & ASSOCIATES
1.07 | Providing, Fixing and Installing Charcoal Louvers Panels of 12 mm thickness including preparation of surface , in any color, shade and texture, complete with Adhesive, Jointing, Cutting, providing Grooves/Slots required , if any, as per the instructions of EIC. | 103.00 | Sqm |  | 2340.00 | 241020.00 | 3680.00 | 379040.00 | 3100.00 | 319300.00 | 3700.00 | 381100.00 | 3400.00 | 350200.00 | 3510.00 | 361530.00 | 241020.00 | DY Infra & Projects Private Limited
1.08 | Providing, Fixing and Installing 1 mm thick Fluted/ Texture/etc Laminate including preparation of surface , in any color, shade and texture, complete with Adhesive, Jointing, Cutting, providing Grooves/Slots required , if any, as per the instructions of EIC. | 103.00 | Sqm |  | 1440.00 | 148320.00 | 1100.00 | 113300.00 | 2100.00 | 216300.00 | 1700.00 | 175100.00 | 3400.00 | 350200.00 | 1452.00 | 149556.00 | 113300.00 | GOEL & ASSOCIATES
1.09 | Providing and fixing plywood 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface with : Decorative veneer facings of approved manufacture | 103.00 | Sqm |  | 3540.00 | 364620.00 | 1700.00 | 175100.00 | 3100.00 | 319300.00 | 1750.00 | 180250.00 | 3400.00 | 350200.00 | 2014.00 | 207442.00 | 175100.00 | GOEL & ASSOCIATES
1.10 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 9.00 | Sqm |  | 6580.00 | 59220.00 | 3500.00 | 31500.00 | 9500.00 | 85500.00 | 8800.00 | 79200.00 | 7400.00 | 66600.00 | 6836.00 | 61524.00 | 31500.00 | GOEL & ASSOCIATES
1.11 | Providing and fixing Assa Abloy YEH-01A /DORMA pull Handle TGDI-H 600back to back (in pair) with 500mm CTC, adjustable fixing for glass, wood and metal doors in satin stainless steel. The pull handles should have supporting washer with raised bevelling on the outer surface. Length =600mm, 32mm dia, -SS304 etc. complete as per direction of Engineer-in-Charge. | 4.00 | Each Pair |  | 8560.00 | 34240.00 | 12000.00 | 48000.00 | 4500.00 | 18000.00 | 5600.00 | 22400.00 | 2100.00 | 8400.00 | 7990.00 | 31960.00 | 8400.00 | SWAGATAMA ENTERPRISES
1.12 | Providing and fixing Glass Door Lock with Strike Box of Ozone OPL-4A/4B-N-STD-SSS make or equivalent make, Operates with key on one side other side blind, with cover made of SS Grade 304 with Aluminum Alloy as Base Material Casting and SSS Finish adjustable fixing for glass, wood and metal doors complete as per direction of Engineer-in-Charge. | 4.00 | Each |  | 3250.00 | 13000.00 | 2000.00 | 8000.00 | 1850.00 | 7400.00 | 4200.00 | 16800.00 | 2000.00 | 8000.00 | 1802.00 | 7208.00 | 7208.00 | Tayal Construction
1.13 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :12.5 mm thick tapered edge gypsum moisture resistant board | 120.00 | Sqm |  | 820.00 | 98400.00 | 1150.00 | 138000.00 | 1850.00 | 222000.00 | 1600.00 | 192000.00 | 1700.00 | 204000.00 | 1193.00 | 143160.00 | 98400.00 | DY Infra & Projects Private Limited
1.14 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 120.00 | Sqm |  | 108.00 | 12960.00 | 90.00 | 10800.00 | 100.00 | 12000.00 | 220.00 | 26400.00 | 250.00 | 30000.00 | 100.00 | 12000.00 | 10800.00 | GOEL & ASSOCIATES
1.15 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 120.00 | Sqm |  | 162.00 | 19440.00 | 110.00 | 13200.00 | 200.00 | 24000.00 | 240.00 | 28800.00 | 150.00 | 18000.00 | 135.00 | 16200.00 | 13200.00 | GOEL & ASSOCIATES
1.16 | Providing and Fixing 6mm thick Laquered Glass of approved brand with suitable adhesive/silicon over already prepared surface along with mounding of edges with finishing complete as per requirements and the instructions of EIC. | 34.00 | Sqm |  | 2520.00 | 85680.00 | 3900.00 | 132600.00 | 4950.00 | 168300.00 | 5000.00 | 170000.00 | 5500.00 | 187000.00 | 4849.00 | 164866.00 | 85680.00 | DY Infra & Projects Private Limited
1.17 | Providing and fixing Plywood with screws, adhesive, etc to the walls/ existing frame work, etc all complete as per direction and satisfaction of the EIC. a) 6 mm thick plywood | 34.00 | Sqm |  | 2780.00 | 94520.00 | 700.00 | 23800.00 | 2100.00 | 71400.00 | 1800.00 | 61200.00 | 1100.00 | 37400.00 | 926.00 | 31484.00 | 23800.00 | GOEL & ASSOCIATES
1.18 | Dismantling tile work in floors and roofs laid in cement mortar including tacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 210.00 | Sqm |  | 120.00 | 25200.00 | 70.00 | 14700.00 | 200.00 | 42000.00 | 150.00 | 31500.00 | 150.00 | 31500.00 | 134.00 | 28140.00 | 14700.00 | GOEL & ASSOCIATES
1.19 | Providing and Fixing of 1(±0.2) mm thick,Soffit Infratop PVC Panels (Vox or equivalent) (Light weight, digital thermal printed, PB≤1ppm, click system, weather resistance, Size: Width: 300mm & Length: 2.70 mtr, 3.05 mtr & 3.85 Mtr) including frame work made of power pressed MS sheets and galvanized with Zink coting of 120gsm/ sqm, as per IS:277, Consisting of angle clits of size 25mm wide x 1.6mm thick with flange of 27mm and 37mm, at 1000mm Center to Centre, one flange fixed to the ceiling with dash fastener 8mm dia and 45 mm long with 6mm dia bolts, other flange of clits fixed to the angle hanger size: 25mm x10mm x0.5mm of required length, with nut bolt of required size, and other end of the angle hanger fixed with the intermediate G.I. Channels Size: 45mm x15mm x0.9mm 150 gsm all section running at the spacing of 1000mm Centre to Centre, to with the ceiling section 0.5 mm thick bottom width 80mm with tapered flange of 26mm each having lips of 10.5mm at 400mm distance Center to center, shall be fixed in direction of perpendicular to G.I. intermediate channel with connecting clips made by 2.6mm dia x 230mm long G.I. wire at every junction, including fixing of perimeter channel 0.5 mm thick 27mm high having flange of 20mm and 30mm long, the perimeter channel fix to the wall with the help of rawl pluge at 450 mm centre to centre with 50 mm long dry wall screw. The J TRIM will fix with the perimeter channel by 1mm self-drill screw with washer or self-taping pan head screw. Fixing of polymer base INFRATOP SOFFIT profile to ceiling section with help of drywall screw with washer or self-taping pan head screw @300 mm Centre to Centre. For extend the ceiling T TRIM will fix at the end of INFRATOP SOFFIT Profile with self-tapping pan head screw or self-drill screw with washer. When installing the panels, never tighten the screw to the end (so the head directly touches the panel surface), as this may limit the possibility of expansion/contraction. complete as per manufacturer's specifications, in any shade, color, texture as per the satisfaction of Engineer In-charge. | 117.00 | Sqm |  | 2250.00 | 263250.00 | 2700.00 | 315900.00 | 3950.00 | 462150.00 | 3000.00 | 351000.00 | 3000.00 | 351000.00 | 4021.00 | 470457.00 | 263250.00 | DY Infra & Projects Private Limited
1.20 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 150.00 | Sqm |  | 170.00 | 25500.00 | 55.00 | 8250.00 | 200.00 | 30000.00 | 280.00 | 42000.00 | 100.00 | 15000.00 | 300.00 | 45000.00 | 8250.00 | GOEL & ASSOCIATES
1.21 | Providing Comprehensive Architectural Design, Site Planning, and 3D Visualization Services of all sites and items of the work involving following :- (a) The work involves the preparation of a complete Architectural Design Package for the entire site, ensuring adherence to local building bylaws. (b) Site Layout & Master Planning (c) Detailed Architectural Drawings: Production of all "Good for Construction" (GFC) drawings including floor plans, sections, elevations, and roof plans, (d) 3D Modeling: Creation of a high-resolution 3D digital model of the entire project to verify spatial coordination and clash detection. (e) Visual Deliverables: Minimum of four (4) photorealistic 3D perspectives and a HD virtual walkthrough video of the proposed facility. | 1.00 | Job |  | 180000.00 | 180000.00 | 121222.32 | 121222.32 | 80000.00 | 80000.00 | 350000.00 | 350000.00 | 75000.00 | 75000.00 | 800000.00 | 800000.00 | 75000.00 | SWAGATAMA ENTERPRISES
1.22 | Providing and fixing in position Plain Flex of required size with MS square hollow section frame (25mm x 25mm x 1mm). compatible with the brand complete as per direction of Engineer inCharge. | 64.00 | Sqm |  | 95.00 | 6080.00 | 400.00 | 25600.00 | 1000.00 | 64000.00 | 1550.00 | 99200.00 | 1520.00 | 97280.00 | 937.00 | 59968.00 | 6080.00 | DY Infra & Projects Private Limited
1.23 | Providing , Fixing and Installing Fluted MDF Wall Panels of 16.5 mm thickness in any color, shade and texture, complete with Adhesive, screws, Jointing, Cutting, providing Grooves/Slots (required , if any), etc, as per the instructions of EIC. | 48.00 | Sqm |  | 7640.00 | 366720.00 | 2300.00 | 110400.00 | 4000.00 | 192000.00 | 2600.00 | 124800.00 | 3200.00 | 153600.00 | 3021.00 | 145008.00 | 110400.00 | GOEL & ASSOCIATES
1.24 | Providing , Fixing and Installing Fluted Decorative Laminate of 1 mm thickness over and above MDF/Plywood/etc in any color, shade and texture, complete with Adhesive, screws, Jointing, Cutting, providing Grooves/Slots (required , if any), etc, as per the instructions of EIC. | 48.00 | Sqm |  | 1380.00 | 66240.00 | 1100.00 | 52800.00 | 1500.00 | 72000.00 | 2020.00 | 96960.00 | 3200.00 | 153600.00 | 1511.00 | 72528.00 | 52800.00 | GOEL & ASSOCIATES
1.25 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 142.00 | Sqm |  | 1320.00 | 187440.00 | 1050.00 | 149100.00 | 1500.00 | 213000.00 | 1500.00 | 213000.00 | 1800.00 | 255600.00 | 1511.00 | 214562.00 | 149100.00 | GOEL & ASSOCIATES
1.26 | Providing fixing and supplying Tables, Cupboards, partitions, drawers, racks, shutters, etc with 12 mm thick Marine plywood conforming to IS: 710 complete with all tools, accessories, etc as per the instructions of EIC. Note:- For billing purpose , total area of plywood used with be measured) | 95.00 | Sqm |  | 11250.00 | 1068750.00 | 2000.00 | 190000.00 | 3100.00 | 294500.00 | 3050.00 | 289750.00 | 4000.00 | 380000.00 | 2020.00 | 191900.00 | 190000.00 | GOEL & ASSOCIATES
1.27 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .30 | Cum |  | 124480.00 | 37344.00 | 128000.00 | 38400.00 | 210000.00 | 63000.00 | 285000.00 | 85500.00 | 400000.00 | 120000.00 | 171203.00 | 51360.90 | 37344.00 | DY Infra & Projects Private Limited
1.28 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 2053.72 | Kg |  | 115.00 | 236177.80 | 119.00 | 244392.68 | 160.00 | 328595.20 | 150.00 | 308058.00 | 170.00 | 349132.40 | 111.00 | 227962.92 | 227962.92 | Tayal Construction
1.29 | Rubber sheet flooring plain or design of required colour on a smooth and damp proof base using rubber adhesive of approved quality including pressing the sheets/tiles with a suitable tool and welding the joints with specilized manpower to get a smooth surface all complete as directed by Engineer-in-charge. a) 6.5mm thick | 125.00 | Sqm |  | 1010.00 | 126250.00 | 1950.00 | 243750.00 | 1200.00 | 150000.00 | 2260.00 | 282500.00 | 1800.00 | 225000.00 | 2573.00 | 321625.00 | 126250.00 | DY Infra & Projects Private Limited
2.00 | Electricals Works
2.01 | Supply of 4ft Stand alone/ continuous Suspended/Surface/recessed slim Linear LED light fixture having minimum wattage 20W to 25W which is made of extruded Aluminum housing 4ft connecting LED Channel in approved finish with high efficiency Poly carbonate/prismatic diffuser. LED used shall be SMD type with Minimum Lumens efficacy 100lm/W, THD<10%, Life of fixture : 50000 burning Hrs. @ L70, CCT range 3000K to 6500K as per approval at site, SDCM <5, CRI Ra > 80, PF >0.95, & operating Voltage Range of 140-270 V AC. Minimum Internal Surge Protection more than 3.5KV. Certification of LM 79 and LM 80, IP & IK Test Report need to be submitted from a NABL accredited lab to verify the above parameters. The fixture and Driver shall have separate BIS approval/certification. 4ft continuous Suspended/Surface/recessed slim Linear LED light fixture included with suitable seamless connector for the appearance of joint less or continuous fittings as per design complete as required and as per technical specification of the tender document or direction of Engineer-In-Charge. Dimension as specified in tender document. Note: Agency has to submit two set of Lux Level Calculation as per IS:3646 by OEM for approval and before supply of material and after installation agency has to submit test report against given Lux Level Calculation as per IS:3646. | 207.00 | Nos |  | 3250.00 | 672750.00 | 8200.00 | 1697400.00 | 6500.00 | 1345500.00 | 4900.00 | 1014300.00 | 6900.00 | 1428300.00 | 3965.00 | 820755.00 | 672750.00 | DY Infra & Projects Private Limited
2.02 | Supply of Round Light Suspended/Surface/recessed fixture suitable as per requirement of minimum wattage 70W to 85W having approx. 900MM Dia and depth 75mm (Dimension as specified in tender document) Suspended/Surface mounted Luminaire Fixture made of extruded Aluminium housing in approved finish with high efficiency polycarbonate diffuser. LED Used shall be SMD type. Life of fixture : 50000 burning Hrs. @ L70, CCT range 3000K to 6500K as per approval on site, SDCM<5, CRI Ra >80, & operating Voltage Range of 140-270 V AC. Minimum Internal Surge Protection 4KV. THD <10%. Certification of LM 79 and LM 80, IP & IK Test Report of Luminaire need to be submitted from a NABL accredited lab to verify the above parameters. The fixture and Driver shall have separate BIS approval/certification complete as required and as per technical specification of the tender document. Note: Agency has to submit two set of Lux Level Calculation as per IS:3646 by OEM for approval and before supply of material and after installation agency has to submit test report against given Lux Level Calculation as per IS:3646. | 68.00 | Nos |  | 15240.00 | 1036320.00 | 37000.00 | 2516000.00 | 5680.00 | 386240.00 | 16500.00 | 1122000.00 | 26900.00 | 1829200.00 | 21352.00 | 1451936.00 | 386240.00 | E-VERVE DESIGN
2.03 | Supply of Suspended/Surface/recessed round low glare LED minimum wattage 12W to 15W Downlighter made of pressure die cast aluminium housing with high quality glossy white powder coating finish Aluminium external Rim. The luminaire shall have minimum system Lumens of 1200lm, Life of fixture : 50000 burning Hrs. @ L70 Lumen maintenance, CCT range (3000K-6500K) as per approval at site, CRI Ra >80, PF ≥0.95, operating Voltage Range of 140-270 V AC, 50Hz, Minimum Internal Surge Protection 3.5KV, THD<10%. The product should have beam angle option as per approval and site requirement. Certification of LM 79 and LM 80, IP & IK Test Report of Luminaire need to be submitted from a NABL accredited lab to verify the above parameters. The fixture and Driver shall have separate BIS approval/certification complete as required and as per technical specification of the tender document. Dimension as specified in tender document. Note: Agency has to submit two set of Lux Level Calculation as per IS:3646 by OEM for approval and before supply of material and after installation agency has to submit test report against given Lux Level Calculation as per IS:3646. | 28.00 | Nos |  | 895.00 | 25060.00 | 1300.00 | 36400.00 | 2450.00 | 68600.00 | 1500.00 | 42000.00 | 2400.00 | 67200.00 | 2496.00 | 69888.00 | 25060.00 | DY Infra & Projects Private Limited
2.04 | Supply of Suspended/Surface/recessed mounted Cylindrical Downlight of minimum wattage 12W to 15W, SDCM<5, CRI>80, Efficacy ≥100 lm/W, CCT range 3000K to 6500K as per approval at site, surge protection 3.5kV internal, THD <10% pf ≥0.95. The luminaire housing shall be Extruded aluminium housing, finish as per approval. Product Dia approx. 100mm, Height 205mm (Dimension as specified in tender document), burning hours 50000 Hrs. @ L70. The product should have beam angle option as per approval and site requirement. Operating voltage range shall be 140-270V. Certification of LM 79 and LM 80, IP & IK Test Report of Luminaire need to be submitted Luminaire from a NABL accredited lab to verify the above parameters. The fixture and Driver shall have separate BIS approval/certification complete as required and as per technical specification of the tender document. Dimension as specified in tender document Note: Agency has to submit two set of Lux Level Calculation as per IS:3646 by OEM for approval and before supply of material and after installation agency has to submit test report against given Lux Level Calculation as per IS:3646. | 288.00 | Nos |  | 3640.00 | 1048320.00 | 5750.00 | 1656000.00 | 2250.00 | 648000.00 | 2600.00 | 748800.00 | 2400.00 | 691200.00 | 2583.00 | 743904.00 | 648000.00 | E-VERVE DESIGN
2.05 | Installation, Testing, Commissioning of LED ceiling fittings of all sizes and shapes containing LED lamps, complete with all accessories including connections for supply and programming cable etc. as required. | 563.00 | Each |  | 50.00 | 28150.00 | 125.00 | 70375.00 | 180.00 | 101340.00 | 200.00 | 112600.00 | 1150.00 | 647450.00 | 382.00 | 215066.00 | 28150.00 | DY Infra & Projects Private Limited
2.06 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. Group C | 25.00 | Each |  | 1500.00 | 37500.00 | 1230.00 | 30750.00 | 2050.00 | 51250.00 | 1800.00 | 45000.00 | 1150.00 | 28750.00 | 1254.00 | 31350.00 | 28750.00 | SWAGATAMA ENTERPRISES
2.07 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. Group C | 25.00 | Each |  | 1500.00 | 37500.00 | 1035.00 | 25875.00 | 1750.00 | 43750.00 | 2250.00 | 56250.00 | 1150.00 | 28750.00 | 828.00 | 20700.00 | 20700.00 | Tayal Construction
2.08 | Supplying and fixing of 4 way (4 + 12), Double door ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note: Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | 4.00 | Each |  | 5470.00 | 21880.00 | 7150.00 | 28600.00 | 6500.00 | 26000.00 | 26000.00 | 104000.00 | 7900.00 | 31600.00 | 11397.00 | 45588.00 | 21880.00 | DY Infra & Projects Private Limited
2.09 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single pole | 48.00 | Each |  | 450.00 | 21600.00 | 180.00 | 8640.00 | 150.00 | 7200.00 | 350.00 | 16800.00 | 1150.00 | 55200.00 | 277.00 | 13296.00 | 7200.00 | E-VERVE DESIGN
2.10 | b) Triple pole and neutral | 4.00 | Each |  | 1510.00 | 6040.00 | 1740.00 | 6960.00 | 450.00 | 1800.00 | 2400.00 | 9600.00 | 2400.00 | 9600.00 | 1179.00 | 4716.00 | 1800.00 | E-VERVE DESIGN
2.11 | Wiring for circuit/ submain wiring along with earth wire with the 2 X 2.5 sq. mm + 1 X 2.5 sq. mm sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | 200.00 | Mtrs |  | 242.00 | 48400.00 | 220.00 | 44000.00 | 275.00 | 55000.00 | 265.00 | 53000.00 | 250.00 | 50000.00 | 230.00 | 46000.00 | 44000.00 | GOEL & ASSOCIATES
2.12 | Dismantling of existing LED light fixture installed at roof ceiling/false ceiling including disconnecting supply wires and other associated accessories related to electrical internal wiring system transporting it to AAI dismantled store complete as required as directed by EIC. | 338.00 | Job |  | 35.00 | 11830.00 | 80.00 | 27040.00 | 100.00 | 33800.00 | 110.00 | 37180.00 | 125.00 | 42250.00 | 132.00 | 44616.00 | 11830.00 | DY Infra & Projects Private Limited
| Total in Figures |  |  |  |  | 20977021.80 |  | 21925595.00 |  | 21495775.20 |  | 17169428.00 |  | 22005887.40 |  | 17809168.82
Lowest Amount Quoted BY: THAR INTERIORS(17169428.00)

## BOQ Summary
BOQ Summary Details Tender Title: Refurbishing of VIP CIP Lounges, False Ceiling of part of SHA and Arrival at ground floor, flooring and false ceiling of aerobridge corridor and fixed finger at NITB, S.V. Airport, Raipur. (Civil and Electrical Works) Tender ID: 2026_AAI_278418_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | THAR INTERIORS (BID ID -1032069) | 17169428.00 | L1
| 2 | Tayal Construction (BID ID -1037630) | 17809168.82 | L2
| 3 | DY Infra & Projects Private Limited (BID ID -1033591) | 20977021.80 | L3
| 4 | E-VERVE DESIGN (BID ID -1032455) | 21495775.20 | L4
| 5 | GOEL & ASSOCIATES (BID ID -1037822) | 21925595.00 | L5
| 6 | SWAGATAMA ENTERPRISES (BID ID -1037430) | 22005887.40 | L6