## BoQ1
Government eProcurement System Created By: BALAKRISHNA PALLA Created Date/Time: 28-Jul-2026 12:11 PM Tender Title: Project SITC of 20nos Radar and Accessories. SH Civil works at Yarada Visakhapatnam Phase-II Tender ID: 2026_AAI_278628_1
Tender Inviting Authority: <Asst General manager Engg(C) >
Name of Work: "Project SITC of 20nos Radar & Accessories. SH: Civil works at Yarada Visakhapatnam (Phase-II)”
BID No: 2026_AAI_278628_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ARP ENTERPRISES (GSTN-37ABKFA0649Q1ZV) BID ID -1032221 |  | ASR CONSTRUCTIONS (GSTN-37ABCFA5756G1ZE) BID ID -1036261
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Extra for concrete work in superstructure above floor V level for each four floors or part thereof by mechnical means. | 7.95 | Cum | 100.00 | 2450.00 | 19477.50 | 3600.00 | 28620.00 | 19477.50 | ARP ENTERPRISES
2.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 7.95 | Cum | 100.00 | 12000.00 | 95400.00 | 10850.00 | 86257.50 | 86257.50 | ASR CONSTRUCTIONS
3.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo- Mechanically Treated bars of grade Fe-500D or more. | 1500.00 | kg | 100.00 | 106.50 | 159750.00 | 120.00 | 180000.00 | 159750.00 | ARP ENTERPRISES
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 31.80 | Sqm | 100.00 | 965.00 | 30687.00 | 1200.00 | 38160.00 | 30687.00 | ARP ENTERPRISES
5.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in :Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.79 | Cum | 100.00 | 9400.00 | 54426.00 | 12000.00 | 69480.00 | 54426.00 | ARP ENTERPRISES
6.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 168.00 | sqm | 100.00 | 1450.00 | 243600.00 | 1900.00 | 319200.00 | 243600.00 | ARP ENTERPRISES
7.00 | Float glass panes 4 mm thick glass pane (weight not less than 10kg/sqm). | 30.00 | Sqm | 100.00 | 1200.00 | 36000.00 | 1500.00 | 45000.00 | 36000.00 | ARP ENTERPRISES
8.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 7.00 | Each | 100.00 | 1650.00 | 11550.00 | 1300.00 | 9100.00 | 9100.00 | ASR CONSTRUCTIONS
9.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete :125x64x1.90 mm | 28.00 | each | 100.00 | 185.00 | 5180.00 | 120.00 | 3360.00 | 3360.00 | ASR CONSTRUCTIONS
10.00 | Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | 100.00 | kg | 100.00 | 300.00 | 30000.00 | 155.00 | 15500.00 | 15500.00 | ASR CONSTRUCTIONS
11.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Frame size 45 x 70 mm | 36.40 | meter | 100.00 | 1050.00 | 38220.00 | 1000.00 | 36400.00 | 36400.00 | ASR CONSTRUCTIONS
12.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 16.80 | sqm | 100.00 | 4950.00 | 83160.00 | 6200.00 | 104160.00 | 83160.00 | ARP ENTERPRISES
13.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Three track three panels sliding window with two glazed & one wire mesh panels with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Using R3 series with frame (98mm & above) x (40mm & above) & both glazed and fly screen sash (30mm & above) x (55mm & above) with zinc alloy (zamak) powder coated handle on every glazed panel along with multi-point locking system. (Height upto 1.8m). | 48.00 | Sqm | 100.00 | 14500.00 | 696000.00 | 13000.00 | 624000.00 | 624000.00 | ASR CONSTRUCTIONS
14.00 | Providing and fixing fire resistant door frame of section 50 x 60 mm on horizontal side & 35 x 60 mm on vertical sides having built in rebate made out of 1.6 mm thick GI sheet ( Zinc coating not less than 120gm/ sqm) suitable for mounting 120 minutes Fire Rated Glazed Door Shutters. The frame shall be filled with mineral wool Insulation having density minimum 96Kg/cum. The frame will have a provision of G.I. anchor fastners 14 nos ( 5 each on vertical style & 4 on horizontal style of size M10 x 80 ) suitable for fixing in the opening along with factory made template for SS ball bearing hinges of Size 100x89x3mm for fixing of fire rated glazed shutter . The frame shall be finished with a approved fire resistant primer or powder coating of not less than 30 micron in desired shade as per the directions of Engineer - in- Charge . (Cost of SS ball bearing hinges is excluded). | 20.00 | Meter | 100.00 | 3000.00 | 60000.00 | 3800.00 | 76000.00 | 60000.00 | ARP ENTERPRISES
15.00 | Providing and fixing 60 mm thick glazed fire resistant door shutters of 120 minutes fire rating confirming to IS:3614 (Part II) or EN1634-1:1999, tested and certified as per laboratory approved by Engineer-in-Charge, with suitable mounting on door frame, consisting of vertical styles, top rail & side rail 60 mm x 60 mm wide and bottom rail of 110 mm x 60 mm made out of 1.6mm thick G.I. sheet (zinc coating not less than 120gm/sqm) duly filled mineral wool insulation having density minimum 96 kg/cum and fixing with necessary stainless steel ball bearing hinges of size 100x89x3mm of approved make, including applying a coat of approved fire resistant primer or powder coating not less than 30 micron etc all complete as per direction of Engineer-in- charge (panelling to be paid for seperately). | 14.02 | sqm | 100.00 | 20000.00 | 280400.00 | 18700.00 | 262174.00 | 262174.00 | ASR CONSTRUCTIONS
16.00 | Providing and fixing non load bearing fixed frame for fire resistant glazed partition for 120 minutes Fire Rating, made out to a profile of dimension 60mm x 70 mm of 1.6 mm thick galvanised steel sheet as per test evidence suitable for fixing fire rated glass for 120 minutes of both integrity & radiation control (EW120) & minimum 20 minutes of insulation (EI20).The profile has to be fixed to the supporting construction by means of anchor fasteners of size M10 x 80, every 150 mm from the edges and every 500 mm (approx) c/c. Linear measurement of frame shall be measured for payment. The frame shall be filled with mineral wool insulation of density minimum 96kg/ cum. and finished with a approved fire resistant primer or Powder coating of not less than 30 micron in desired shade as per NBC 2016, IS 16231 (Part 3):2016 and directions of Engineer - in- Charge. | 153.05 | Mtr | 100.00 | 4200.00 | 642810.00 | 4200.00 | 642810.00 | 642810.00 | ARP ENTERPRISES, ASR CONSTRUCTIONS
17.00 | Providing and fixing glazing in fire resistant door shutters, fixed panels & partitions etc., with G.I. beading made out of 1.6 mm thick G.I. sheet (zinc coating not less than 120 gm/m²) of size 20 x 33 mm screwed with M4 x 38 mm SS screws at distance 75 mm from the edges and 150 mm c/c , including applying a coat of approved fire resistant primer/ powder coating of not less than 30 micron on G.I. beading, & special ceramic tape of 5 x 20 mm size etc complete in all respect as per NBC 2016, IS 16231 (Part 3):2016 and as per direction of Engineer-in-charge with glass of required thickness having 120 minutes of fire resistance both integrity & radiation control (EW120) and minimum 20 minutes of insulation (EI20). The manufacturer have to give test report/certification of fire glass and the glass should have the stamp showing the value of E, EW & EI. The glass shall be tested in approved NABL accredited labor by any other accreditation body which operates in accordance with ISO/IEC 17011 and accredits labs as per ISO/IEC 17025 for testing and calibration scopes shall be eligible. The maximum glazing size shall not be more than 1100x2200 mm (w x h) or 2.42 sqm. | 64.35 | Sqm | 100.00 | 20000.00 | 1287000.00 | 21800.00 | 1402830.00 | 1287000.00 | ARP ENTERPRISES
18.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2939.09 | Kg | 100.00 | 180.00 | 529036.20 | 160.00 | 470254.40 | 470254.40 | ASR CONSTRUCTIONS
19.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size ;Size of Tile 600 x 600 mm. | 61.25 | Sqm | 100.00 | 2000.00 | 122500.00 | 2150.00 | 131687.50 | 122500.00 | ARP ENTERPRISES
20.00 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, comprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge consisting of: (a) Providing at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mm x 100mm x 3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug. (b) Stringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge. (c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones. The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure the quality of the product. 450 mm Finished Floor Height (FFH). | 97.99 | sqm | 100.00 | 7915.00 | 775590.85 | 8500.00 | 832915.00 | 775590.85 | ARP ENTERPRISES
21.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,Single socketed pipes. 75 mm diameter | 40.00 | Mtr | 100.00 | 420.00 | 16800.00 | 400.00 | 16000.00 | 16000.00 | ASR CONSTRUCTIONS
22.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,Single socketed pipes. 110 mm diameter | 40.00 | Mtr | 100.00 | 550.00 | 22000.00 | 500.00 | 20000.00 | 20000.00 | ASR CONSTRUCTIONS
23.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 75x75x75 mm | 20.00 | Each | 100.00 | 320.00 | 6400.00 | 400.00 | 8000.00 | 6400.00 | ARP ENTERPRISES
24.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 20.00 | Each | 100.00 | 570.00 | 11400.00 | 500.00 | 10000.00 | 10000.00 | ASR CONSTRUCTIONS
25.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 400.00 | sqm | 100.00 | 1865.00 | 746000.00 | 2250.00 | 900000.00 | 746000.00 | ARP ENTERPRISES
26.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 114.80 | sqm | 100.00 | 130.00 | 14924.00 | 128.00 | 14694.40 | 14694.40 | ASR CONSTRUCTIONS
27.00 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. One or more coats on old work | 2491.33 | Sqm | 100.00 | 110.00 | 274046.30 | 125.00 | 311416.25 | 274046.30 | ARP ENTERPRISES
28.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1000.00 | Kg | 100.00 | 15.00 | 15000.00 | 10.00 | 10000.00 | 10000.00 | ASR CONSTRUCTIONS
29.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material within 50 Metres lead. For thickness of tiles 10 mm to 25 mm | 49.00 | Sqm | 100.00 | 55.00 | 2695.00 | 40.00 | 1960.00 | 1960.00 | ASR CONSTRUCTIONS
30.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 260.85 | sqm | 100.00 | 60.00 | 15651.00 | 40.00 | 10434.00 | 10434.00 | ASR CONSTRUCTIONS
31.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 6.00 | Each | 100.00 | 6450.00 | 38700.00 | 8000.00 | 48000.00 | 38700.00 | ARP ENTERPRISES
32.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required :Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 6.00 | Each | 100.00 | 5000.00 | 30000.00 | 7000.00 | 42000.00 | 30000.00 | ARP ENTERPRISES
33.00 | Providing and fixing wash basin with C.I. brackets, 15 mm PTMT pillar cock, 32 mm PTMT waste coupling of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm PTMT pillar cock. | 6.00 | Each | 100.00 | 6400.00 | 38400.00 | 5000.00 | 30000.00 | 30000.00 | ASR CONSTRUCTIONS
34.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto metre long with S.S. triangular plate to Eureopean type W.C. quality and make as approved by Engineer - in - charge | 6.00 | Each | 100.00 | 1500.00 | 9000.00 | 1800.00 | 10800.00 | 9000.00 | ARP ENTERPRISES
35.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 6.00 | Each | 100.00 | 1850.00 | 11100.00 | 2100.00 | 12600.00 | 11100.00 | ARP ENTERPRISES
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal outer dia Pipes | 40.00 | Mtr | 100.00 | 385.00 | 15400.00 | 450.00 | 18000.00 | 15400.00 | ARP ENTERPRISES
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal outer dia Pipes | 40.00 | Mtr | 100.00 | 470.00 | 18800.00 | 550.00 | 22000.00 | 18800.00 | ARP ENTERPRISES
38.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 32 mm nominal outer dia Pipes | 40.00 | Mtr | 100.00 | 710.00 | 28400.00 | 900.00 | 36000.00 | 28400.00 | ARP ENTERPRISES
39.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 40.00 | Mtr | 100.00 | 120.00 | 4800.00 | 180.00 | 7200.00 | 4800.00 | ARP ENTERPRISES
40.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 40.00 | Each | 100.00 | 1400.00 | 56000.00 | 1900.00 | 76000.00 | 56000.00 | ARP ENTERPRISES
41.00 | Dismantling of old C.I./S.W pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps : 100 mm diameter | 10.00 | Mtr | 100.00 | 60.00 | 600.00 | 80.00 | 800.00 | 600.00 | ARP ENTERPRISES
42.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1090.00 | Kg | 100.00 | 800.00 | 872000.00 | 900.00 | 981000.00 | 872000.00 | ARP ENTERPRISES
43.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 125.00 | Sqm | 100.00 | 1400.00 | 175000.00 | 1500.00 | 187500.00 | 175000.00 | ARP ENTERPRISES
44.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6mm reveal profile (white/black),comprising of main-T runners of size 15x42mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate cross- T of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles.(MTC: Manufacturers test certificate/ report of invoice to be submitted for every delivery challan by suppliers.) | 165.18 | Sqm | 100.00 | 1940.00 | 320449.20 | 2200.00 | 363396.00 | 320449.20 | ARP ENTERPRISES
45.00 | Providing and fixing in position wall panelling at all heights with integraldensified calcium silicate panels/tiles of size 595 x 595mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600mm center to center in a floor and ceiling channel section of size 50 x 32m fixed to the floor and soffit at 600mm centers using 12mm dia,50mm long wedge type expanded zinc alloy dash fastner with 10mm bolt. This same channel is then to be fixed in horiziontal direction at 600mm center to center so as to form a grid of 600mm x 600mm. Glasswool of 50mm thickness is then to be inserted in the slots and finally calcium silicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2mm on to this grid leaving an even groove of 1 mm between the panels. The joints between the panels are to be duly jointed and finished using recommended jointing calcium silicate based compound and fiber joint tape roll 50mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer's specification as per direction of Engineer-in-Charge all complete. With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles | 183.02 | Sqm | 100.00 | 5000.00 | 915100.00 | 5500.00 | 1006610.00 | 915100.00 | ARP ENTERPRISES
46.00 | Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine to a minimum depth of 100mm upto 200mm in RCC beams, lintels, columns and slabs to introduce steel bars for sunshades/balconies including fixing the steel bars in position using epoxy resin anchor grout of approved make but excluding the cost of reinforcement, all complete as per direction of Engineer-In-Charge. Upto and including 12mm dia. | 128.00 | Each | 100.00 | 550.00 | 70400.00 | 650.00 | 83200.00 | 70400.00 | ARP ENTERPRISES
47.00 | Designing and providing structural drawings for radar base for New radar (dynamic weight upto 6 tonnes) on the existing terrece of the MSSR radar Tower and neccecary bracings to columns as per the site conditions, drawings duly vetted by the government institutions as approved by Engineer-In-Charge. | 1.00 | Job | 100.00 | 20000.00 | 20000.00 | 29785.00 | 29785.00 | 20000.00 | ARP ENTERPRISES
48.00 | Providing and fixing SS anchor Fasteners (RCC / Brick) – M-10x100mm as per the direction of EIC. | 100.00 | each | 100.00 | 200.00 | 20000.00 | 220.00 | 22000.00 | 20000.00 | ARP ENTERPRISES
| Total in Figures |  |  |  |  | 8969853.05 |  | 9657304.05
Lowest Amount Quoted BY: ARP ENTERPRISES(8969853.05)

## BOQ Summary
BOQ Summary Details Tender Title: Project SITC of 20nos Radar and Accessories. SH Civil works at Yarada Visakhapatnam Phase-II Tender ID: 2026_AAI_278628_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARP ENTERPRISES (BID ID -1032221) | 8969853.05 | L1
| 2 | ASR CONSTRUCTIONS (BID ID -1036261) | 9657304.05 | L2