## BoQ1
Government eProcurement System Created By: Preeti Beniwal Created Date/Time: 08-Jul-2026 12:37 PM Tender Title: Replacement of Automatic Glass Sliding Doors with AICMC of 05 years at Shaheed Bhagat Singh International Airport, Chandigarh Tender ID: 2026_AAI_278872_1
Tender Inviting Authority: AGM (Engg. Elect.), Shaheed Bhagat Singh International Airport, Chandigarh.
Name of Work: Replacement of Automatic Glass Sliding Doors with AICMC of 05 years at Shaheed Bhagat Singh International Airport, Chandigarh.
Contract No: 0172-2242404
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Door Systems And Beyond (GSTN-07AAEPA8507C1Z9) BID ID -1030948 |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED (GSTN-23AARCS0124P1Z3) BID ID -1032382 |  | Technocrats Security Systems Pvt. Ltd (GSTN-27AABCT3068M1ZZ) BID ID -1032822
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | SH: I - SITC of Automatic Sliding Doors:- The Supply, Installation, Testing and Commissioningof the Automatic Bi-parting Sliding Door System for a clear opening up to 2800 mm (W) x 2400 mm (H) includes a high-performance modular operator featuring a suitable self-learning microprocessor/ microcontroller and a Heavy-Duty DC motor with a geared transmission and integrated electro-mechanical locking. The system is designed for high-traffic airport environments, utilizing a approx. 6-meter anodized aluminum header with a separate Aluminium running track and anti-rise roller assemblies to eliminate vibration and structural noise. The operator must be designed to operate 12 mm thick Toughened Laminated Glass secured by concealed clamping profiles and approx. 40 mm wide ST FLEX Aluminium frame of leaf for a positive, fail-safe hold. For safety and operational flexibility, the unit incorporates integrated motion and presence sensors, and a digital device manager supporting Five distinct user modes (AUTO/EXIT/LOCK/OPEN/MANUAL), all while remaining fully compatible with Building Management Systems (BMS) for remote monitoring. The installation is complete with a dedicated online UPS and voltage stabilizer providing a minimum 30-minute battery backup, along with all necessary structural alterations, floor guides, and weather-proof sealing to ensure a plumb and professional finish as per site requirements. ( Cost of 12 mm Toughened Laminated Glass is not inluded in this item) | 13.00 | Each |  | 325000.00 | 4225000.00 | 355000.00 | 4615000.00 | 214209.00 | 2784717.00 | 2784717.00 | Technocrats Security Systems Pvt. Ltd
2.00 | Supply and Fixing of 12 mm (±5%) thick clear Toughened Laminated Glass as required at site to execute BOQ item No. -1. | 940.00 | SQFT |  | 500.00 | 470000.00 | 390.00 | 366600.00 | 1738.00 | 1633720.00 | 366600.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
3.00 | Dismantling and removal of existing automatic sliding door with all it’s accessories etc., and shifting and handing over the same to CHIAL Electrical store etc. complete as required. | 12.00 | Job |  | 5000.00 | 60000.00 | 15000.00 | 180000.00 | 10000.00 | 120000.00 | 60000.00 | Door Systems And Beyond
4.00 | SH: II -All Inclusive Comprehensive Maintenance Contract (AICMC) of Automatic Sliding Doors (After completion of 02 year DLP period) All Inclusive Comprehensive Maintenance (AICMC) of Automatic Sliding Door for Item No. 1 of SH:I including replacement of all Mechanical, Electrical spares and consumables as and when required to keep the system 100% service condition, providing full support during breakdown & trouble shooting, programming, carrying out MONTHLY routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-In- Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts and submission of monthly maintenance service records and Reporting etc., as required.
4.10 | First Year after DLP | 13.00 | Job |  | 30000.00 | 303654.00 | 20000.00 | 202436.00 | 13000.00 | 131583.40 | 131583.40 | Technocrats Security Systems Pvt. Ltd
4.20 | Second Year after DLP | 13.00 | Job |  | 33000.00 | 307292.70 | 20000.00 | 186238.00 | 13390.00 | 124686.34 | 124686.34 | Technocrats Security Systems Pvt. Ltd
4.30 | Third Year after DLP | 13.00 | Job |  | 36500.00 | 312648.05 | 20000.00 | 171314.00 | 13791.00 | 118129.57 | 118129.57 | Technocrats Security Systems Pvt. Ltd
4.40 | Forth Year after DLP | 13.00 | Job |  | 40000.00 | 315224.00 | 20000.00 | 157612.00 | 14268.00 | 112440.40 | 112440.40 | Technocrats Security Systems Pvt. Ltd
4.50 | Fifth Year after DLP | 13.00 | Job |  | 44000.00 | 319004.40 | 20000.00 | 145002.00 | 14696.00 | 106547.47 | 106547.47 | Technocrats Security Systems Pvt. Ltd
| Total in Figures |  |  |  |  | 6312823.15 |  | 6024202.00 |  | 5131824.18
Lowest Amount Quoted BY: Technocrats Security Systems Pvt. Ltd(5131824.18)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Automatic Glass Sliding Doors with AICMC of 05 years at Shaheed Bhagat Singh International Airport, Chandigarh Tender ID: 2026_AAI_278872_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Technocrats Security Systems Pvt. Ltd (BID ID -1032822) | 5131824.18 | L1
| 2 | SAMEER GLAZING SYSTEM PRIVATE LIMITED (BID ID -1032382) | 6024202.00 | L2
| 3 | Door Systems And Beyond (BID ID -1030948) | 6312823.15 | L3