## BoQ1
Government eProcurement System Created By: Annapoorani Chakravarthy Created Date/Time: 16-Jul-2026 11:33 AM Tender Title: MISCELLANEOUS WORKS AT RHQ SR, RESIDENTIAL COLONY, CHENNAI. Tender ID: 2026_AAI_279114_1
Tender Inviting Authority: SR. MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT-600016.
Name of Work:Miscellaneous Works at RHQ, SR, Residential Colony, Chennai.
Contract No: 2026_AAI_279114_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -1030701 |  | HDC Power Systems Pvt Ltd (GSTN-33AABCH1022K1Z4) BID ID -1034152 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -1035668 |  | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -1035836 |  | Leox Engineering Private Limited (GSTN-NA) BID ID -1035964 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -1035787 |  | MERKURY ELECTRICAL CORPORATION (GSTN-NA) BID ID -1033768 |  | C R ELECTRICALS (GSTN-NA) BID ID -1035940 |  | DY Infra & Projects Private Limited (GSTN-NA) BID ID -1035125
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :
1.01 | Supply of decorative LED post top and having minimum 4500 Lumens with efficacy of 110 LM/Watt , separate electronic driver, IP65, CCT 3000 to 4000 K, CRI 70 and suitable for operation on 230V +/- 10% AC supply etc., complete as required. | 55.00 | Each |  | 3794.00 | 210756.70 | 4321.00 | 240031.55 | 4000.00 | 222200.00 | 7479.00 | 415458.45 | 9600.00 | 533280.00 | 9999.00 | 555444.45 | 8750.00 | 486062.50 | 6600.00 | 366630.00 | 5560.00 | 308858.00 | 210756.70 | vk sam engineering
1.02 | Supply installation testing commissioning decorative Cast iron/ aluminium pole duly primer coated & polyester polyurthane painted pole with unique casting base. Height of pole 4 meter and including foundtation and its necessary requisites, 4 way connector and suiable MCB etc., complete as required. | 30.00 | Each |  | 13485.00 | 408595.50 | 47000.00 | 1424100.00 | 4500.00 | 136350.00 | 12999.00 | 393869.70 | 42000.00 | 1272600.00 | 14999.00 | 454469.70 | 37090.00 | 1123827.00 | 40500.00 | 1227150.00 | 24600.00 | 745380.00 | 136350.00 | Balaji Engineering
1.03 | Supply of Flood Light, LED luminare with powder coated, pressure die-cast, aluminium housing with overall sytem wattage and having minimum 11000 lumens, IP 66, CCT 5700 to 6500 K, CRI 70 and suitable for operation on 230V +/- 10% AC supply as required. | 15.00 | Each |  | 3181.00 | 48192.15 | 3678.00 | 55721.70 | 5000.00 | 75750.00 | 3799.00 | 57554.85 | 3300.00 | 49995.00 | 3999.00 | 60584.85 | 4062.00 | 61539.30 | 4500.00 | 68175.00 | 9500.00 | 143925.00 | 48192.15 | vk sam engineering
1.04 | Supply of High Bay Light, LED luminare with powder coated, pressure die-cast, aluminium housing with overall sytem wattage and having minimum 11000 lumens, IP 66, CCT 5700 to 6500 K, CRI 80 and suitable for operation on 230V +/- 10% AC supply as required. | 20.00 | Each |  | 3627.00 | 73265.40 | 3970.00 | 80194.00 | 5000.00 | 101000.00 | 9249.00 | 186829.80 | 5900.00 | 119180.00 | 9999.00 | 201979.80 | 6250.00 | 126250.00 | 5000.00 | 101000.00 | 8600.00 | 173720.00 | 73265.40 | vk sam engineering
1.05 | Supply of hybrid all-in-one street light having compact and fully integrated design with intelligent features includes a built-in Solar panel, battery, Charge Controller and other associated accessories complete as required and having minimum 4950 lumens and minimum luminous efficacy 110 lm/W CRI 70 CCT , CCT 5700 to 6500 K and suitable for operation on 230V +/- 10% AC supply as required. | 95.00 | Each |  | 51457.00 | 4937299.15 | 39432.00 | 3783500.40 | 40000.00 | 3838000.00 | 46999.00 | 4509554.05 | 33000.00 | 3166350.00 | 34999.00 | 3358154.05 | 32750.00 | 3142362.50 | 35500.00 | 3406225.00 | 26100.00 | 2504295.00 | 2504295.00 | DY Infra & Projects Private Limited
1.06 | Supply of surface mounted 40W batten LED fitting, IP 20, 100 Lumens/watt, CRI 80, CCT 5700K to 6500 K and suitable for operation on 230V +/- 10%, 50Hz, AC supply etc., complete as required. | 30.00 | Each |  | 446.00 | 13513.80 | 475.00 | 14392.50 | 1700.00 | 51510.00 | 879.00 | 26633.70 | 1140.00 | 34542.00 | 999.00 | 30269.70 | 1500.00 | 45450.00 | 630.00 | 19089.00 | 950.00 | 28785.00 | 13513.80 | vk sam engineering
2.00 | Supply of following diameter, single phase, metal body, 900 RPM Medium Exhaust fan( ISI marked) with external louver including all acccessories etc., as required.
2.01 | 300 mm dia | 15.00 | Each |  | 2139.00 | 32405.85 | 6118.00 | 92687.70 | 4500.00 | 68175.00 | 2399.00 | 36344.85 | 2400.00 | 36360.00 | 2999.00 | 45434.85 | 5500.00 | 83325.00 | 2748.00 | 41632.20 | 4260.00 | 64539.00 | 32405.85 | vk sam engineering
2.02 | 150 mm dia | 30.00 | Each |  | 1209.00 | 36632.70 | 2118.00 | 64175.40 | 3000.00 | 90900.00 | 1299.00 | 39359.70 | 1450.00 | 43935.00 | 1699.00 | 51479.70 | 4000.00 | 121200.00 | 1080.00 | 32724.00 | 3260.00 | 98778.00 | 32724.00 | C R ELECTRICALS
3.00 | Supply of following diameter, single phase, PVC body, 1350 RPM Medium Exhaust fan( ISI marked) with louver including all acccessories etc., as required.
3.01 | 200 mm dia | 60.00 | Each |  | 1535.00 | 93021.00 | 2589.00 | 156893.40 | 3000.00 | 181800.00 | 1699.00 | 102959.40 | 1800.00 | 109080.00 | 2299.00 | 139319.40 | 4500.00 | 272700.00 | 1152.00 | 69811.20 | 2650.00 | 160590.00 | 69811.20 | C R ELECTRICALS
3.02 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group B | 10.00 | Each |  | 1349.00 | 13624.90 | 1471.00 | 14857.10 | 1500.00 | 15150.00 | 999.00 | 10089.90 | 960.00 | 9696.00 | 1200.00 | 12120.00 | 1100.00 | 11110.00 | 2050.00 | 20705.00 | 1350.00 | 13635.00 | 9696.00 | Leox Engineering Private Limited
3.03 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 2000.00 | Meter |  | 186.00 | 375720.00 | 142.00 | 286840.00 | 80.00 | 161600.00 | 149.00 | 300980.00 | 96.00 | 193920.00 | 99.00 | 199980.00 | 117.00 | 236340.00 | 100.00 | 202000.00 | 145.00 | 292900.00 | 161600.00 | Balaji Engineering
3.04 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, 3 core flexible cable in the existing surface/ recessed steel/ PVC conduit as required. 3C x 1.5 sq. mm | 2500.00 | Meter |  | 153.00 | 386325.00 | 148.00 | 373700.00 | 150.00 | 378750.00 | 109.00 | 275225.00 | 114.00 | 287850.00 | 109.00 | 275225.00 | 86.00 | 217150.00 | 100.00 | 252500.00 | 115.00 | 290375.00 | 217150.00 | MERKURY ELECTRICAL CORPORATION
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
4.01 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Meter |  | 284.00 | 28684.00 | 35.00 | 3535.00 | 250.00 | 25250.00 | 299.00 | 30199.00 | 180.00 | 18180.00 | 389.00 | 39289.00 | 140.00 | 14140.00 | 192.00 | 19392.00 | 220.00 | 22220.00 | 3535.00 | HDC Power Systems Pvt Ltd
4.02 | 2 x 4.0 sqmm + 1 x 4.0 sqmm earth wire | 100.00 | Meter |  | 339.00 | 34239.00 | 47.00 | 4747.00 | 450.00 | 45450.00 | 389.00 | 39289.00 | 310.00 | 31310.00 | 400.00 | 40400.00 | 215.00 | 21715.00 | 258.00 | 26058.00 | 260.00 | 26260.00 | 4747.00 | HDC Power Systems Pvt Ltd
5.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
5.01 | 3 Module | 5.00 | Each |  | 419.00 | 2115.95 | 259.00 | 1307.95 | 350.00 | 1767.50 | 479.00 | 2418.95 | 240.00 | 1212.00 | 500.00 | 2525.00 | 330.00 | 1666.50 | 300.00 | 1515.00 | 610.00 | 3080.50 | 1212.00 | Leox Engineering Private Limited
5.02 | 4 Module | 5.00 | Each |  | 474.00 | 2393.70 | 400.00 | 2020.00 | 500.00 | 2525.00 | 499.00 | 2519.95 | 420.00 | 2121.00 | 600.00 | 3030.00 | 359.00 | 1812.95 | 350.00 | 1767.50 | 780.00 | 3939.00 | 1767.50 | C R ELECTRICALS
6.00 | Supplying and fixing modular switch/socket on the existing modular plate & switch box, including connectiopn but excluding modular plate etc., as required.
6.01 | 5/6 amps switch | 5.00 | Each |  | 84.00 | 424.20 | 165.00 | 833.25 | 100.00 | 505.00 | 89.00 | 449.45 | 180.00 | 909.00 | 99.00 | 499.95 | 106.00 | 535.30 | 64.00 | 323.20 | 180.00 | 909.00 | 323.20 | C R ELECTRICALS
6.02 | 15/16 amp switch | 5.00 | Each |  | 214.00 | 1080.70 | 222.00 | 1121.10 | 200.00 | 1010.00 | 149.00 | 752.45 | 1750.00 | 8837.50 | 129.00 | 651.45 | 162.00 | 818.10 | 139.00 | 701.95 | 340.00 | 1717.00 | 651.45 | DElite System Engineering (India) Pvt. Ltd.
6.03 | 3 pin 5/6 amp socket outlet | 5.00 | Each |  | 144.00 | 727.20 | 189.00 | 954.45 | 150.00 | 757.50 | 129.00 | 651.45 | 220.00 | 1111.00 | 199.00 | 1004.95 | 150.00 | 757.50 | 159.00 | 802.95 | 188.00 | 949.40 | 651.45 | CHENNAI ENGINEERING SERVICES
6.04 | 6 pin 15/16 amp socket outlet | 5.00 | Each |  | 279.00 | 1408.95 | 295.00 | 1489.75 | 200.00 | 1010.00 | 279.00 | 1408.95 | 450.00 | 2272.50 | 209.00 | 1055.45 | 219.00 | 1105.95 | 245.00 | 1237.25 | 210.00 | 1060.50 | 1010.00 | Balaji Engineering
6.05 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 5.00 | Each |  | 37.00 | 186.85 | 378.00 | 1908.90 | 50.00 | 252.50 | 29.00 | 146.45 | 60.00 | 303.00 | 40.00 | 202.00 | 28.00 | 141.40 | 41.00 | 207.05 | 65.00 | 328.25 | 141.40 | MERKURY ELECTRICAL CORPORATION
6.06 | Installation, testing and commissioning of LED Pre-wired, box type /down lighter / Street light fitting of all types, complete with all accessories and tube etc in recess/on surface directly on ceiling /wall/Pole, connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc., complete as required. | 200.00 | Each |  | 186.00 | 37572.00 | 1100.00 | 222200.00 | 500.00 | 101000.00 | 299.00 | 60398.00 | 180.00 | 36360.00 | 699.00 | 141198.00 | 450.00 | 90900.00 | 500.00 | 101000.00 | 364.00 | 73528.00 | 36360.00 | Leox Engineering Private Limited
6.07 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. up to 450 mm sweep | 35.00 | Each |  | 419.00 | 14811.65 | 412.00 | 14564.20 | 500.00 | 17675.00 | 299.00 | 10569.65 | 420.00 | 14847.00 | 200.00 | 7070.00 | 500.00 | 17675.00 | 400.00 | 14140.00 | 510.00 | 18028.50 | 7070.00 | DElite System Engineering (India) Pvt. Ltd.
6.08 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required .(Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 1.00 | Each |  | 4571.00 | 4616.71 | 10123.00 | 10224.23 | 7500.00 | 7575.00 | 4499.00 | 4543.99 | 15000.00 | 15150.00 | 9000.00 | 9090.00 | 7984.00 | 8063.84 | 12000.00 | 12120.00 | 18200.00 | 18382.00 | 4543.99 | CHENNAI ENGINEERING SERVICES
6.09 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 5.00 | Each |  | 153.00 | 772.65 | 333.00 | 1681.65 | 250.00 | 1262.50 | 299.00 | 1509.95 | 220.00 | 1111.00 | 499.00 | 2519.95 | 220.00 | 1111.00 | 250.00 | 1262.50 | 240.00 | 1212.00 | 772.65 | vk sam engineering
6.10 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole 32 A | 5.00 | Each |  | 744.00 | 3757.20 | 612.00 | 3090.60 | 250.00 | 1262.50 | 1699.00 | 8579.95 | 510.00 | 2575.50 | 1299.00 | 6559.95 | 950.00 | 4797.50 | 1300.00 | 6565.00 | 1550.00 | 7827.50 | 1262.50 | Balaji Engineering
6.11 | Supplying and fixing following rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole 40 A | 5.00 | Each |  | 1477.00 | 7458.85 | 847.00 | 4277.35 | 1500.00 | 7575.00 | 2799.00 | 14134.95 | 850.00 | 4292.50 | 1999.00 | 10094.95 | 1200.00 | 6060.00 | 2000.00 | 10100.00 | 1860.00 | 9393.00 | 4277.35 | HDC Power Systems Pvt Ltd
6.12 | Supplying and fixing following rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole 63 A | 5.00 | Each |  | 1477.00 | 7458.85 | 1412.00 | 7130.60 | 2000.00 | 10100.00 | 2899.00 | 14639.95 | 1150.00 | 5807.50 | 1999.00 | 10094.95 | 1320.00 | 6666.00 | 2000.00 | 10100.00 | 2200.00 | 11110.00 | 5807.50 | Leox Engineering Private Limited
6.13 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. 4 x 16 Sq.mm | 500.00 | Meter |  | 193.00 | 97465.00 | 483.00 | 243915.00 | 200.00 | 101000.00 | 299.00 | 150995.00 | 222.00 | 112110.00 | 199.00 | 100495.00 | 170.00 | 85850.00 | 189.07 | 95480.35 | 280.00 | 141400.00 | 85850.00 | MERKURY ELECTRICAL CORPORATION
6.14 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. 4 x 35 Sq.mm | 200.00 | Meter |  | 314.00 | 63428.00 | 730.00 | 147460.00 | 500.00 | 101000.00 | 399.00 | 80598.00 | 303.00 | 61206.00 | 399.00 | 80598.00 | 300.00 | 60600.00 | 320.74 | 64789.48 | 395.00 | 79790.00 | 60600.00 | MERKURY ELECTRICAL CORPORATION
6.15 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. 3.5 x 50 Sq.mm | 100.00 | Meter |  | 368.00 | 37168.00 | 1012.00 | 102212.00 | 600.00 | 60600.00 | 599.00 | 60499.00 | 330.00 | 33330.00 | 599.00 | 60499.00 | 530.00 | 53530.00 | 380.95 | 38475.95 | 580.00 | 58580.00 | 33330.00 | Leox Engineering Private Limited
6.16 | Supplying and laying of 50 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (.75 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. 1 X Run of 50 MM HDPE Pipe | 500.00 | Meter |  | 295.00 | 148975.00 | 330.00 | 166650.00 | 250.00 | 126250.00 | 249.00 | 125745.00 | 105.00 | 53025.00 | 199.00 | 100495.00 | 80.00 | 40400.00 | 232.10 | 117210.50 | 240.00 | 121200.00 | 40400.00 | MERKURY ELECTRICAL CORPORATION
6.17 | Laying of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade Upto 35 sq.mm in the existing RCC/Hume/STONEWARE/METAL/HDPE Pipe as required. | 400.00 | Meter |  | 56.00 | 22624.00 | 94.00 | 37976.00 | 50.00 | 20200.00 | 49.00 | 19796.00 | 33.00 | 13332.00 | 29.00 | 11716.00 | 50.00 | 20200.00 | 65.00 | 26260.00 | 72.00 | 29088.00 | 11716.00 | DElite System Engineering (India) Pvt. Ltd.
6.18 | Laying of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade Above 35 sq. mm and upto 95 sq. mm in the existing RCC/Hume/STONEWARE/METAL/HDPE Pipe as required. | 100.00 | Meter |  | 70.00 | 7070.00 | 153.00 | 15453.00 | 50.00 | 5050.00 | 69.00 | 6969.00 | 36.00 | 3636.00 | 29.00 | 2929.00 | 65.00 | 6565.00 | 75.00 | 7575.00 | 85.00 | 8585.00 | 2929.00 | DElite System Engineering (India) Pvt. Ltd.
6.19 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Meter |  | 70.00 | 3535.00 | 212.00 | 10706.00 | 50.00 | 2525.00 | 129.00 | 6514.50 | 60.00 | 3030.00 | 59.00 | 2979.50 | 95.00 | 4797.50 | 100.00 | 5050.00 | 124.00 | 6262.00 | 2525.00 | Balaji Engineering
6.20 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 70.00 | Each |  | 256.00 | 18099.20 | 540.00 | 38178.00 | 500.00 | 35350.00 | 899.00 | 63559.30 | 420.00 | 29694.00 | 999.00 | 70629.30 | 260.00 | 18382.00 | 400.00 | 28280.00 | 420.00 | 29694.00 | 18099.20 | vk sam engineering
6.21 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 35 sq. mm (28mm) | 10.00 | Each |  | 512.00 | 5171.20 | 565.00 | 5706.50 | 500.00 | 5050.00 | 1299.00 | 13119.90 | 750.00 | 7575.00 | 999.00 | 10089.90 | 260.00 | 2626.00 | 500.00 | 5050.00 | 650.00 | 6565.00 | 2626.00 | MERKURY ELECTRICAL CORPORATION
6.22 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 50 sq. mm (35mm) | 4.00 | Each |  | 605.00 | 2444.20 | 600.00 | 2424.00 | 700.00 | 2828.00 | 1499.00 | 6055.96 | 1120.00 | 4524.80 | 1299.00 | 5247.96 | 550.00 | 2222.00 | 750.00 | 3030.00 | 850.00 | 3434.00 | 2222.00 | MERKURY ELECTRICAL CORPORATION
6.23 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 6.00 | Each |  | 5580.00 | 33814.80 | 14705.00 | 89112.30 | 8000.00 | 48480.00 | 5999.00 | 36353.94 | 14000.00 | 84840.00 | 15000.00 | 90900.00 | 8500.00 | 51510.00 | 7500.00 | 45450.00 | 9200.00 | 55752.00 | 33814.80 | vk sam engineering
6.24 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 50.00 | Meter |  | 507.00 | 25603.50 | 200.00 | 10100.00 | 250.00 | 12625.00 | 599.00 | 30249.50 | 330.00 | 16665.00 | 999.00 | 50449.50 | 300.00 | 15150.00 | 650.00 | 32825.00 | 335.00 | 16917.50 | 10100.00 | HDC Power Systems Pvt Ltd
6.25 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Meter |  | 214.00 | 6484.20 | 189.00 | 5726.70 | 250.00 | 7575.00 | 249.00 | 7544.70 | 81.00 | 2454.30 | 699.00 | 21179.70 | 250.00 | 7575.00 | 175.00 | 5302.50 | 315.00 | 9544.50 | 2454.30 | Leox Engineering Private Limited
6.26 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 400.00 | Meter |  | 30.00 | 12120.00 | 85.00 | 34340.00 | 30.00 | 12120.00 | 39.00 | 15756.00 | 33.00 | 13332.00 | 59.00 | 23836.00 | 30.00 | 12120.00 | 35.00 | 14140.00 | 110.00 | 44440.00 | 12120.00 | vk sam engineering, MERKURY ELECTRICAL CORPORATION, Balaji Engineering
6.27 | Supply and replacement of 125 A, 36 KA, 4P MCCBs in the existing panel and providing 50 x 10 MM Buslinks and including testing and commissioning etc., complete as required. | 1.00 | Each |  | 13950.00 | 14089.50 | 30589.00 | 30894.89 | 25000.00 | 25250.00 | 15999.00 | 16158.99 | 14000.00 | 14140.00 | 49000.00 | 49490.00 | 22000.00 | 22220.00 | 40000.00 | 40400.00 | 19500.00 | 19695.00 | 14089.50 | vk sam engineering
6.28 | Supply, Installation, Testing and Commissioning of Outdoor Type (Double door) Feeder Panel made out of 3mm thick CRCA Sheet Steel for outer Shell and 2mm thick CRCA Sheet for inner partition, dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing panel with IP 55 protection, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz AC System, complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel suitable for bottom entry and locking arrangements including excavation for foundation, providing Cement Concrete foundation (Min.700mm Height), 100mm PCC, Erection of panel etc. complete as required and comprising of the following. One No. of 125 A, 25 KA, 4P MCCB with Thermomagnetic Release for Overload and Short circuit protection as Incomer, with ROM, ON/OFF/TRIP Indication Lamps, RYB Phase Indication Lamps, Multifunction Meter etc., as required. One Set of 200 Amps Aluminium Bus Bars with at Par Neutral Bus Bars as required. 4 Nos. of 32 A MCCB as outgoings each having 4P contactor 40 amps rating and 24 Hours Digital timer for Automatic Control of park lighting, ON/OFF/TRIP Indication Lamps, 40 A connector terminals as required. 4 Nos. of 32 A, 4P, MCB with 40 A connector terminals as outgoings. All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. | 1.00 | Each |  | 337320.00 | 340693.20 | 176432.00 | 178196.32 | 200000.00 | 202000.00 | 199999.00 | 201998.99 | 96000.00 | 96960.00 | 250000.00 | 252500.00 | 210000.00 | 212100.00 | 350000.00 | 353500.00 | 515000.00 | 520150.00 | 96960.00 | Leox Engineering Private Limited
6.29 | Supply, Installation, Testing and Commissioning of Outdoor Type (Double door) Feeder Panel made out of 3mm thick CRCA Sheet Steel for outer Shell and 2mm thick CRCA Sheet for inner partition, dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing panel with IP 55 protection, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz AC System, complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel suitable for bottom entry and locking arrangements including excavation for foundation, providing Cement Concrete foundation (Min.700mm Height), 100mm PCC, Erection of panel etc. complete as required and comprising of the following. One No. of 200 A, 4 pole open execution Manual Change over switch as Incomer with extended Handle, ON/OFF/TRIP Indication Lamps, RYB Phase Indication Lamps, Multifunction Meter etc., as required. Or Two Nos. 200 A MCCBs with Thermomagnetic Release for Overload and Short circuit protection as Incomers having ROM, ON/OFF/TRIP Indication Lamps, RYB Phase Indication Lamps, Multifunction Meter etc., as required. One Set of 250 Amps Aluminium Bus Bars with at Par Neutral Bus Bars as required. 2 Nos. of 63 A 4P MCCB as outgoings, ON/OFF/TRIP Indication Lamps, 63 A connector terminals as required. 6 Nos. of 32 A, 4P, MCB with 40 A connector terminals as outgoings. All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. | 1.00 | Each |  | 352935.00 | 356464.35 | 274626.00 | 277372.26 | 200000.00 | 202000.00 | 159999.00 | 161598.99 | 170000.00 | 171700.00 | 279999.00 | 282798.99 | 230000.00 | 232300.00 | 390000.00 | 393900.00 | 450000.00 | 454500.00 | 161598.99 | CHENNAI ENGINEERING SERVICES
6.30 | Supply of open well submersible pump of 200 LPM discharge (minimum) at 40-64 mtr. Head, CI impellore, SS shaft etc with 10HP/7.5 Kw motor suitable to 50 mm dia delivery line for operation on 415 V, 3 phase power supply etc, min 6 mtr suitable submersible cable. Kirloskar make or equivalent model as per list of AAI Approved ,makes | 2.00 | each |  | 47931.00 | 96820.62 | 44117.00 | 89116.34 | 30000.00 | 60600.00 | 45999.00 | 92917.98 | 110000.00 | 222200.00 | 65999.00 | 133317.98 | 65000.00 | 131300.00 | 125000.00 | 252500.00 | 17800.00 | 35956.00 | 35956.00 | DY Infra & Projects Private Limited
6.31 | Supply and fixing of double door Outdoor Panel with 2 cubicles each having providing 2 Nos. DOL starter suitable for 5 HP motor, digital volt & ammeter, contactor, push button, selector switch, Overload, High-Low voltage & Dry run protection etc., earth terminals, making connections, Suitable foundation etc complete as required. | 2.00 | Each |  | 26040.00 | 52600.80 | 12345.00 | 24936.90 | 10000.00 | 20200.00 | 39999.00 | 80797.98 | 42000.00 | 84840.00 | 72999.00 | 147457.98 | 50000.00 | 101000.00 | 55600.00 | 112312.00 | 44500.00 | 89890.00 | 20200.00 | Balaji Engineering
6.32 | SITC of MS fabricated T-type strainer F/E 50mm for STP treated water etc.,complete as required. | 1.00 | Job |  | 23250.00 | 23482.50 | 7059.00 | 7129.59 | 5000.00 | 5050.00 | 49999.00 | 50498.99 | 18000.00 | 18180.00 | 25099.00 | 25349.99 | 12500.00 | 12625.00 | 18000.00 | 18180.00 | 98000.00 | 98980.00 | 5050.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 8145213.68 |  | 8385785.58 |  | 6601915.50 |  | 7774799.21 |  | 7049961.60 |  | 7182705.90 |  | 7198354.84 |  | 7674644.58 |  | 6856147.65
Lowest Amount Quoted BY: Balaji Engineering(6601915.50)

## BOQ Summary
BOQ Summary Details Tender Title: MISCELLANEOUS WORKS AT RHQ SR, RESIDENTIAL COLONY, CHENNAI. Tender ID: 2026_AAI_279114_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Balaji Engineering (BID ID -1035668) | 6601915.50 | L1
| 2 | DY Infra & Projects Private Limited (BID ID -1035125) | 6856147.65 | L2
| 3 | Leox Engineering Private Limited (BID ID -1035964) | 7049961.60 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. (BID ID -1035787) | 7182705.90 | L4
| 5 | MERKURY ELECTRICAL CORPORATION (BID ID -1033768) | 7198354.84 | L5
| 6 | C R ELECTRICALS (BID ID -1035940) | 7674644.58 | L6
| 7 | CHENNAI ENGINEERING SERVICES (BID ID -1035836) | 7774799.21 | L7
| 8 | vk sam engineering (BID ID -1030701) | 8145213.68 | L8
| 9 | HDC Power Systems Pvt Ltd (BID ID -1034152) | 8385785.58 | L9