## BoQ1
Government eProcurement System Created By: AVDHESH AGGARWAL Created Date/Time: 28-Jul-2026 03:47 PM Tender Title: Construction of Kote and CASO office at Bareilly Airport Tender ID: 2026_AAI_279313_1
Tender Inviting Authority: DGM (Engg. Civil), Airports Authority Of India, Civil Enclave, Bareilly
Name of Work: Construction of Kote and CASO Office at Bareilly Airport.
Contract No: 2026_AAI_279313_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER (GSTN-07ACCFM9140P1ZQ) BID ID -1036097 |  | SAMTA INTERIORS (GSTN-07AALPB7815K1ZJ) BID ID -1036940 |  | NDV ENTERPRISES (GSTN-NA) BID ID -1036619
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 96.00 | cum |  | 200.00 | 19200.00 | 120.00 | 11520.00 | 145.00 | 13920.00 | 11520.00 | SAMTA INTERIORS
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 71.00 | cum |  | 200.00 | 14200.00 | 80.00 | 5680.00 | 150.00 | 10650.00 | 5680.00 | SAMTA INTERIORS
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 87.00 | cum |  | 1300.00 | 113100.00 | 1850.00 | 160950.00 | 1500.00 | 130500.00 | 113100.00 | M/S M L BROTHER
4.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 457.00 | sqm |  | 10.00 | 4570.00 | 30.00 | 13710.00 | 29.00 | 13253.00 | 4570.00 | M/S M L BROTHER
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 73.00 | cum |  | 4800.00 | 350400.00 | 4200.00 | 306600.00 | 5500.00 | 401500.00 | 306600.00 | SAMTA INTERIORS
6.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 9.00 | sqm |  | 5500.00 | 49500.00 | 320.00 | 2880.00 | 349.00 | 3141.00 | 2880.00 | SAMTA INTERIORS
7.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (Zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 44.00 | sqm |  | 500.00 | 22000.00 | 625.00 | 27500.00 | 630.00 | 27720.00 | 22000.00 | M/S M L BROTHER
8.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | cum |  | 6500.00 | 130000.00 | 6800.00 | 136000.00 | 7500.00 | 150000.00 | 130000.00 | M/S M L BROTHER
9.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | cum |  | 6500.00 | 32500.00 | 7500.00 | 37500.00 | 8500.00 | 42500.00 | 32500.00 | M/S M L BROTHER
10.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 37.00 | cum |  | 6500.00 | 240500.00 | 7800.00 | 288600.00 | 9072.00 | 335664.00 | 240500.00 | M/S M L BROTHER
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 67.00 | sqm |  | 350.00 | 23450.00 | 280.00 | 18760.00 | 333.00 | 22311.00 | 18760.00 | SAMTA INTERIORS
12.00 | Centering and shuttering including strutting, propping etc. And removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 239.00 | sqm |  | 350.00 | 83650.00 | 480.00 | 114720.00 | 634.00 | 151526.00 | 83650.00 | M/S M L BROTHER
13.00 | Centering and shuttering including strutting, propping etc. And removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 92.00 | sqm |  | 350.00 | 32200.00 | 850.00 | 78200.00 | 560.00 | 51520.00 | 32200.00 | M/S M L BROTHER
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls. under 20 cm wide | 106.00 | metre |  | 350.00 | 37100.00 | 150.00 | 15900.00 | 177.00 | 18762.00 | 15900.00 | SAMTA INTERIORS
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. with water proof ply 12mm thick. | 217.00 | sqm |  | 350.00 | 75950.00 | 700.00 | 151900.00 | 700.00 | 151900.00 | 75950.00 | M/S M L BROTHER
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1600.00 | kg |  | 90.00 | 144000.00 | 95.00 | 152000.00 | 88.00 | 140800.00 | 140800.00 | NDV ENTERPRISES
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4620.00 | kg |  | 100.00 | 462000.00 | 100.00 | 462000.00 | 88.00 | 406560.00 | 406560.00 | NDV ENTERPRISES
18.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 32.00 | metre |  | 300.00 | 9600.00 | 40.00 | 1280.00 | 66.00 | 2112.00 | 1280.00 | SAMTA INTERIORS
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 19.00 | cum |  | 6500.00 | 123500.00 | 7000.00 | 133000.00 | 5500.00 | 104500.00 | 104500.00 | NDV ENTERPRISES
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 72.00 | cum |  | 7000.00 | 504000.00 | 8200.00 | 590400.00 | 6500.00 | 468000.00 | 468000.00 | NDV ENTERPRISES
21.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 138.00 | sqm |  | 800.00 | 110400.00 | 1000.00 | 138000.00 | 955.00 | 131790.00 | 110400.00 | M/S M L BROTHER
22.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 138.00 | sqm |  | 50.00 | 6900.00 | 85.00 | 11730.00 | 90.00 | 12420.00 | 6900.00 | M/S M L BROTHER
23.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each |  | 20009.99 | 20009.99 | 26500.00 | 26500.00 | 22832.00 | 22832.00 | 20009.99 | M/S M L BROTHER
24.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, cherry/ruby red. Area of slab over 0.50 sqm. | 41.00 | sqm |  | 3500.00 | 143500.00 | 5000.00 | 205000.00 | 4000.00 | 164000.00 | 143500.00 | M/S M L BROTHER
25.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stonework, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 5.00 | each |  | 500.00 | 2500.00 | 800.00 | 4000.00 | 800.00 | 4000.00 | 2500.00 | M/S M L BROTHER
26.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 220.00 | sqm |  | 1500.00 | 330000.00 | 1950.00 | 429000.00 | 1550.00 | 341000.00 | 330000.00 | M/S M L BROTHER
27.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4.00 | each |  | 500.00 | 2000.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 800.00 | SAMTA INTERIORS
28.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 14.00 | metre |  | 400.00 | 5600.00 | 280.00 | 3920.00 | 330.00 | 4620.00 | 3920.00 | SAMTA INTERIORS
29.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain): 110 mm Shoe | 8.00 | each |  | 400.00 | 3200.00 | 120.00 | 960.00 | 120.00 | 960.00 | 960.00 | NDV ENTERPRISES, SAMTA INTERIORS
30.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 466.00 | sqm |  | 280.00 | 130480.00 | 225.00 | 104850.00 | 285.00 | 132810.00 | 104850.00 | SAMTA INTERIORS
31.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 32.00 | sqm |  | 300.00 | 9600.00 | 250.00 | 8000.00 | 295.00 | 9440.00 | 8000.00 | SAMTA INTERIORS
32.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 448.00 | sqm |  | 300.00 | 134400.00 | 280.00 | 125440.00 | 336.00 | 150528.00 | 125440.00 | SAMTA INTERIORS
33.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 914.00 | sqm |  | 80.00 | 73120.00 | 200.00 | 182800.00 | 221.00 | 201994.00 | 73120.00 | M/S M L BROTHER
34.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre. | 466.00 | sqm |  | 120.00 | 55920.00 | 100.00 | 46600.00 | 155.00 | 72230.00 | 46600.00 | SAMTA INTERIORS
35.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 ltr/10 sqm) | 448.00 | sqm |  | 120.00 | 53760.00 | 100.00 | 44800.00 | 136.00 | 60928.00 | 44800.00 | SAMTA INTERIORS
36.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1423.00 | kg |  | 120.00 | 170760.00 | 100.00 | 142300.00 | 105.00 | 149415.00 | 142300.00 | SAMTA INTERIORS
37.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 121.00 | kg |  | 140.00 | 16940.00 | 125.00 | 15125.00 | 167.00 | 20207.00 | 15125.00 | SAMTA INTERIORS
38.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 222.00 | kg |  | 120.00 | 26640.00 | 125.00 | 27750.00 | 165.00 | 36630.00 | 26640.00 | M/S M L BROTHER
39.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work | 52.00 | sqm |  | 120.00 | 6240.00 | 100.00 | 5200.00 | 133.00 | 6916.00 | 5200.00 | SAMTA INTERIORS
40.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 457.00 | sqm |  | 850.00 | 388450.00 | 850.00 | 388450.00 | 820.00 | 374740.00 | 374740.00 | NDV ENTERPRISES
41.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (Minimum thickness of powder coating 50 micron) | 256.00 | kg |  | 600.00 | 153600.00 | 410.00 | 104960.00 | 452.00 | 115712.00 | 104960.00 | SAMTA INTERIORS
42.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (Minimum thickness of powder coating 50 micron) | 205.00 | kg |  | 600.00 | 123000.00 | 425.00 | 87125.00 | 539.00 | 110495.00 | 87125.00 | SAMTA INTERIORS
43.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 20.00 | sqm |  | 1000.00 | 20000.00 | 1100.00 | 22000.00 | 1279.00 | 25580.00 | 20000.00 | M/S M L BROTHER
44.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 246.00 | kg |  | 650.00 | 159900.00 | 550.00 | 135300.00 | 542.00 | 133332.00 | 133332.00 | NDV ENTERPRISES
45.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 65.00 | sqm |  | 1000.00 | 65000.00 | 1050.00 | 68250.00 | 1320.00 | 85800.00 | 65000.00 | M/S M L BROTHER
46.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 300x600 mm | 70.00 | sqm |  | 1000.00 | 70000.00 | 1050.00 | 73500.00 | 1275.00 | 89250.00 | 70000.00 | M/S M L BROTHER
47.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size. Size of Tile 600 x 600 mm | 25.00 | sqm |  | 1000.00 | 25000.00 | 1050.00 | 26250.00 | 1276.00 | 31900.00 | 25000.00 | M/S M L BROTHER
48.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size. Size of Tile 300 x 300 mm | 11.00 | sqm |  | 1000.00 | 11000.00 | 1050.00 | 11550.00 | 1275.00 | 14025.00 | 11000.00 | M/S M L BROTHER
49.00 | Providing and fixing 6mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, machine cut in required size, approved shade & colour etc. complete at all levels as directed by Engineer-in-charge. (Sample of Mirror shall be got approved from Engineer-in-Charge). | 4.00 | sqm |  | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 6000.00 | M/S M L BROTHER, NDV ENTERPRISES
50.00 | Providing and fixing Toilet cubicals with door, pilaster/divider of 12 mm thick board both side decorative compact laminate of required colour ,shade and sizes as manufactured by Greenlam or Merino or Century or equivalent approved make including stainless steel accessories ( SS-304 grade) like square top rail, legs, knob, thumb turn and indicator, twin coat hook, door stopper, adjustable legs, gravity hinges, and locking arrangement, SS channel etc as desired. all complete as per the direction by Engineer-in-charge. | 4.00 | each |  | 1000.00 | 4000.00 | 28000.00 | 112000.00 | 17000.00 | 68000.00 | 4000.00 | M/S M L BROTHER
51.00 | Providing and fixing in floor unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 20.00 | metre |  | 500.00 | 10000.00 | 280.00 | 5600.00 | 2780.00 | 55600.00 | 5600.00 | SAMTA INTERIORS
52.00 | Providing and fixing in floor unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler. 110 mm | 10.00 | each |  | 400.00 | 4000.00 | 100.00 | 1000.00 | 119.00 | 1190.00 | 1000.00 | SAMTA INTERIORS
53.00 | Providing and fixing in floor unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door. 110x110x110 mm | 4.00 | each |  | 500.00 | 2000.00 | 120.00 | 480.00 | 190.00 | 760.00 | 480.00 | SAMTA INTERIORS
54.00 | Providing and fixing in floor unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°. 110 mm bend | 10.00 | each |  | 500.00 | 5000.00 | 110.00 | 1100.00 | 130.00 | 1300.00 | 1100.00 | SAMTA INTERIORS
55.00 | Providing and fixing CPVC ball valve with approved quality (screwed end). 25 mm nominal bore. | 3.00 | each |  | 400.00 | 1200.00 | 900.00 | 2700.00 | 394.00 | 1182.00 | 1182.00 | NDV ENTERPRISES
56.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.15mm nominal dia Pipes | 50.00 | metre |  | 300.00 | 15000.00 | 350.00 | 17500.00 | 240.00 | 12000.00 | 12000.00 | NDV ENTERPRISES
57.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.25mm nominal dia Pipes | 25.00 | metre |  | 400.00 | 10000.00 | 425.00 | 10625.00 | 340.00 | 8500.00 | 8500.00 | NDV ENTERPRISES
58.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | per litre |  | 12.00 | 12000.00 | 7.00 | 7000.00 | 10.00 | 10000.00 | 7000.00 | SAMTA INTERIORS
59.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 1.00 | each |  | 4000.00 | 4000.00 | 6250.00 | 6250.00 | 5900.00 | 5900.00 | 4000.00 | M/S M L BROTHER
60.00 | Providing and fixing PTMT pillar cock of approved quality and colour. 15 mm nominal bore, 125 mm long foam flow, weighing not less than 120 gms | 1.00 | each |  | 200.00 | 200.00 | 200.00 | 200.00 | 190.00 | 190.00 | 190.00 | NDV ENTERPRISES
61.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings. Flexible pipe 32 mm dia | 1.00 | each |  | 200.00 | 200.00 | 105.00 | 105.00 | 88.00 | 88.00 | 88.00 | NDV ENTERPRISES
62.00 | Providing and fixing 110x110 mm PVC P-trap as per requirement and satisfaction of EIC. | 12.00 | each |  | 900.00 | 10800.00 | 220.00 | 2640.00 | 220.00 | 2640.00 | 2640.00 | NDV ENTERPRISES, SAMTA INTERIORS
63.00 | Providing and fixing C.P. brass Bib cock Round Wall Outlet with Shower Hook and Shut off Valve of make Jaquar Cat. No. ALD-CHR-591R or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 3.00 | each |  | 900.00 | 2700.00 | 1250.00 | 3750.00 | 1480.00 | 4440.00 | 2700.00 | M/S M L BROTHER
64.00 | Providing and fixing C.P. brass concealed Stop cock of regular body of Jaquar Cat. No. ALD-CHR-083R with FLP-CHR-5083KPM or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 3.00 | each |  | 1500.00 | 4500.00 | 1200.00 | 3600.00 | 765.00 | 2295.00 | 2295.00 | NDV ENTERPRISES
65.00 | Providing and fixing C.P. brass angular Stop cock with wall flange of make Jaquar Cat. No. FLP-CHR-5053PM or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 8.00 | each |  | 1500.00 | 12000.00 | 1200.00 | 9600.00 | 500.00 | 4000.00 | 4000.00 | NDV ENTERPRISES
66.00 | Providing and fixing long body C.P. brass Bib cock with Pillar Cock Auto Closing System with 65mm Extension Body of Jaquar Cat. No. PRS-CHR-031L65 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 4.00 | each |  | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 1540.00 | 6160.00 | 6160.00 | NDV ENTERPRISES
67.00 | Providing and fixing CP brass Single Towel Rail 600mm Long of Jaquar Cat. No. AQN-CHR-7711 or equivalent make of ROCA or Kohler, complete with brackets fixed to PVC rawl plug with CP brass screws complete as per the direction by Engineer-in-charge. | 1.00 | each |  | 1000.00 | 1000.00 | 1600.00 | 1600.00 | 1700.00 | 1700.00 | 1000.00 | M/S M L BROTHER
68.00 | Providing and fixing C.P. brass waste coupling half threading of Jaquar Cat. No. ALD-CHR-705 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 4.00 | each |  | 800.00 | 3200.00 | 450.00 | 1800.00 | 500.00 | 2000.00 | 1800.00 | SAMTA INTERIORS
69.00 | Providing & fixing vitreous china wall hung European type water closet of make Jaquar cat no SLS-WHT-6953BIUFSMN or equivalent make of ROCA or Kohler with solid plastic lid cover and soft close cover with C.P. bolts, nuts, C.I. chair or other hanging arrangement, C.P. brass hinge rubber buffers with accessories, C.P. brass screws including cutting and making good the wall and floors wherever required as per the direction by Engineer-in-charge. | 3.00 | each |  | 12000.00 | 36000.00 | 12500.00 | 37500.00 | 11500.00 | 34500.00 | 34500.00 | NDV ENTERPRISES
70.00 | Providing and fixing in position viterous china urinal of make Jaquar cat no: URS-WHT-13253N with Sensor Concealed Type Flushing Valve of make Jaquar Cat. No SNR-STL-51087 or equivalent make of ROCA or Kohler with necessary manufacturer fittings including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 2.00 | each |  | 8000.00 | 16000.00 | 15500.00 | 31000.00 | 7650.00 | 15300.00 | 15300.00 | NDV ENTERPRISES
71.00 | Providing & fixing vitreous china oval shape wash basin of make -Jaquar cat no. FLS-WHT-5701 or equivalent make of ROCA or Kohler for under counter basin specially fabricated brackets painted white, and connection pipe to wall with C.P. wall flange and rubber adopter for waste connection complete, including cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 4.00 | each |  | 5000.00 | 20000.00 | 4200.00 | 16800.00 | 2930.00 | 11720.00 | 11720.00 | NDV ENTERPRISES
72.00 | Providing and fixing wash basin make -Jaquar cat no. CNS-WHT-801 with C.I. brackets, 15 mm C.P. brass pillar tap of make Jaquar Cat. No. PRS-CHR-031, 32 mm C.P. brass waste of standard pattern, or equivalent make of ROCA or Kohler including painting of fittings and brackets, cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 1.00 | each |  | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 4590.00 | 4590.00 | 4590.00 | NDV ENTERPRISES
73.00 | Providing and fixing Bottle Trap 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange of make Jaquar Cat. No. ALD-CHR-769L 300x190 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 5.00 | each |  | 1500.00 | 7500.00 | 1600.00 | 8000.00 | 1870.00 | 9350.00 | 7500.00 | M/S M L BROTHER
74.00 | Providing and fixing urinal partition with frosted glass 8mm thick, chrome finish, size 900mm x 450mm of Jaquar Cat. No. 1810-UC or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 2.00 | each |  | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 4900.00 | 9800.00 | 7000.00 | SAMTA INTERIORS
75.00 | Providing and fixing Toilet paper holder Toilet Roll Holder with Stainless Steel Flap of make Jaquar Cat No. ACN-CHR-1153S or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 3.00 | each |  | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 1230.00 | 3690.00 | 3000.00 | SAMTA INTERIORS
76.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V of make Jaquar Cat No. ALD-CHR-577 or equivalent make of ROCA or Kohler all complete with PVC & SS Screws including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 3.00 | each |  | 2000.00 | 6000.00 | 1050.00 | 3150.00 | 1600.00 | 4800.00 | 3150.00 | SAMTA INTERIORS
77.00 | Providing & fixing Concealed cistern of make Jaquar Cat No. JCS-WHT-2400 with Wall plate of make Jaquar Cat No. JCP-CHR-392415 including brass / SS screws and washer complete including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 3.00 | each |  | 6000.00 | 18000.00 | 6500.00 | 19500.00 | 7500.00 | 22500.00 | 18000.00 | M/S M L BROTHER
78.00 | Providing & fixing Paper Towel Dispenser - Towels with c/z Folds - Wall Mounted of make Jaquar PTD-SAP-DT0106CSN all complete as per the direction by Engineer-in-charge. | 3.00 | each |  | 2000.00 | 6000.00 | 5200.00 | 15600.00 | 5800.00 | 17400.00 | 6000.00 | M/S M L BROTHER
79.00 | Providing and Fixing CP Grating with frame and SS Screws casted heavy 125 mm dia complete as per the direction by Engineer-in-charge. | 12.00 | each |  | 200.00 | 2400.00 | 500.00 | 6000.00 | 250.00 | 3000.00 | 2400.00 | M/S M L BROTHER
80.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 150 mm diameter | 1.00 | each |  | 2500.00 | 2500.00 | 225.00 | 225.00 | 400.00 | 400.00 | 225.00 | SAMTA INTERIORS
81.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 3.00 | each |  | 2500.00 | 7500.00 | 200.00 | 600.00 | 220.00 | 660.00 | 600.00 | SAMTA INTERIORS
82.00 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 2.00 | each |  | 1200.00 | 2400.00 | 120.00 | 240.00 | 180.00 | 360.00 | 240.00 | SAMTA INTERIORS
83.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 3.00 | sqm |  | 4500.00 | 13500.00 | 11590.00 | 34770.00 | 9710.00 | 29130.00 | 13500.00 | M/S M L BROTHER
84.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 3.00 | sqm |  | 3000.00 | 9000.00 | 5200.00 | 15600.00 | 4500.00 | 13500.00 | 9000.00 | M/S M L BROTHER
85.00 | Providing and fixing 12 mm thick toughened glass of approved make i/c holes, cutouts, polishing etc. all complete as per direction of EIC. | 3.00 | sqm |  | 3000.00 | 9000.00 | 4200.00 | 12600.00 | 1600.00 | 4800.00 | 4800.00 | NDV ENTERPRISES
86.00 | Providing and fixing frosted vinyl film over toughened glass as per direction of EIC. | 6.00 | sqm |  | 1000.00 | 6000.00 | 725.00 | 4350.00 | 650.00 | 3900.00 | 3900.00 | NDV ENTERPRISES
87.00 | Providing and fixing bright/matt finished stainless steel H-type handles of dia 25mm and length 300 mm c/c of approved quality and make with necessary screws etc. all complete as per direction of EIC. | 2.00 | each |  | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 1010.00 | 2020.00 | 2020.00 | NDV ENTERPRISES
88.00 | Providing and fixing stainless steel door mount bottom patch lock for toughened glass door of approved quality and make with necessary screws etc. all complete as per direction of EIC. | 2.00 | each |  | 3000.00 | 6000.00 | 2800.00 | 5600.00 | 840.00 | 1680.00 | 1680.00 | NDV ENTERPRISES
89.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .17 | cum |  | 120000.00 | 20400.00 | 150000.00 | 25500.00 | 121500.00 | 20655.00 | 20400.00 | M/S M L BROTHER
90.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 25.00 | sqm |  | 3500.00 | 87500.00 | 2750.00 | 68750.00 | 2900.00 | 72500.00 | 68750.00 | SAMTA INTERIORS
91.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 25.00 | sqm |  | 200.00 | 5000.00 | 460.00 | 11500.00 | 390.00 | 9750.00 | 5000.00 | M/S M L BROTHER
92.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 8.00 | each |  | 1200.00 | 9600.00 | 800.00 | 6400.00 | 848.00 | 6784.00 | 6400.00 | SAMTA INTERIORS
93.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | each |  | 1200.00 | 9600.00 | 750.00 | 6000.00 | 835.00 | 6680.00 | 6000.00 | SAMTA INTERIORS
94.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 10.00 | each |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 66.00 | 660.00 | 660.00 | NDV ENTERPRISES
95.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete:125 mm | 5.00 | each |  | 200.00 | 1000.00 | 250.00 | 1250.00 | 195.00 | 975.00 | 975.00 | NDV ENTERPRISES
96.00 | Providing and fixing matt finish stainless steel tower bolt of approved quality and make with necessary nuts and screws etc. complete as per direction of EIC. 200x10 mm | 5.00 | each |  | 200.00 | 1000.00 | 500.00 | 2500.00 | 118.00 | 590.00 | 590.00 | NDV ENTERPRISES
97.00 | Providing and fixing matt finish stainless steel sliding door bolt of approved quality and make with necessary nuts and screws etc. complete as per direction of EIC. 300x16 mm | 5.00 | each |  | 500.00 | 2500.00 | 550.00 | 2750.00 | 95.00 | 475.00 | 475.00 | NDV ENTERPRISES
98.00 | Supply of 10W LED Bulkhead luminaire with duly powder coated Aluminium pressure die-cast housing, electronic driver, enclosed with polycarbonate cover and having Ingress protection IP66 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 15.00 | Each |  | 500.00 | 7500.00 | 1950.00 | 29250.00 | 450.00 | 6750.00 | 6750.00 | NDV ENTERPRISES
99.00 | Supply of 15-20W 6500K LED indoor prewired surface mounted high performance decorated mirror light with high power LEDs , integrated LED driver and operating range 220-240 volt complete with all accessories , including connections etc. complete as required. | 3.00 | Each |  | 500.00 | 1500.00 | 550.00 | 1650.00 | 400.00 | 1200.00 | 1200.00 | NDV ENTERPRISES
100.00 | Supply of 300 mm non metalic ventilating fan/exhaust fans suitable for 230 volts for the existing opening of the washrooms/Kitchen including connection. Inter-connection etc. complete as required. | 4.00 | Each |  | 4500.00 | 18000.00 | 1500.00 | 6000.00 | 1450.00 | 5800.00 | 5800.00 | NDV ENTERPRISES
101.00 | Supply of 400mm sweep,240V, 50 Hz, 1320 RPM Wall fan having minimum 690 CMM air delivery of approved makes as per relevant tender specification including all accessories, etc. complete as required. | 3.00 | Each |  | 5000.00 | 15000.00 | 2800.00 | 8400.00 | 2900.00 | 8700.00 | 8400.00 | SAMTA INTERIORS
102.00 | Supply of 36-40 W LED 6500 K Wall mounted batten extruded aluminium heat sink provided for efficient heat dissipation & integrated electronic driver complete with all necessary accessories & lamp as required. (Havells, Code No. LHEXAPP7IN1W036 or equivalent) | 24.00 | Each |  | 800.00 | 19200.00 | 420.00 | 10080.00 | 450.00 | 10800.00 | 10080.00 | SAMTA INTERIORS
103.00 | Supply of 10 W LED 6500 K Wall mounted batten extruded aluminium heat sink provided for efficient heat dissipation & integrated electronic driver complete with all necessary accessories & lamp as required. (Havells, Code no. LHEXACP7IN1W010 or equivalent) | 5.00 | Each |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 610.00 | 3050.00 | 1000.00 | SAMTA INTERIORS
104.00 | Supply of 1200 mm sweep, BEE 5 star rated, 230 V 50 Hz single phase AC supply ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM, THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories etc. complete as required. | 4.00 | Each |  | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 2900.00 | 11600.00 | 11600.00 | NDV ENTERPRISES
105.00 | Supply of 2.0 TR AC 5 Star Rating Inverter type Split Air-Conditioner with stabliser free operation on 230 V (Voltage range 140 V to 270 V )AC supply complete with refrigerant ,plug top ,interconnection between indoor & outdoor unit with suitable size copper flexible wire & refrigerant pipeing up to 3 Mtrs & Suitable length drain pipe etc. with copper condenser & evaporator coils as per approved make list complete as required. | 1.00 | Each |  | 60000.00 | 60000.00 | 45000.00 | 45000.00 | 48000.00 | 48000.00 | 45000.00 | SAMTA INTERIORS
106.00 | Installation, testing & commissioning of 2.0 TR AC 5 Star Rating Split Air-Conditioner suitable for operation on 230 V AC supply complete with refrigerant piping, piping insulation, cabling work up to 3.0 Mtrs & fixing of outdoor unit in wall with suitable size MS stand etc. complete as required. | 1.00 | Job |  | 3000.00 | 3000.00 | 1100.00 | 1100.00 | 1200.00 | 1200.00 | 1100.00 | SAMTA INTERIORS
107.00 | Supply and fixing of 230V, 50 Hz, single phase AC, Water Cooler capacity 80 Ltr with inbuilt RO water purifier, anti-corrosive pre-coated body including energy efficient compressor, PCB, refrigrent piping, valves, pumps, filters, membrane etc complete as required. | 1.00 | Each |  | 80000.00 | 80000.00 | 57000.00 | 57000.00 | 47000.00 | 47000.00 | 47000.00 | NDV ENTERPRISES
108.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group B) | 43.00 | Point |  | 600.00 | 25800.00 | 1600.00 | 68800.00 | 1450.00 | 62350.00 | 25800.00 | M/S M L BROTHER
109.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group B) | 19.00 | Point |  | 600.00 | 11400.00 | 1050.00 | 19950.00 | 1760.00 | 33440.00 | 11400.00 | M/S M L BROTHER
110.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 120.00 | Meter |  | 300.00 | 36000.00 | 300.00 | 36000.00 | 360.00 | 43200.00 | 36000.00 | M/S M L BROTHER, SAMTA INTERIORS
111.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 210.00 | Meter |  | 350.00 | 73500.00 | 325.00 | 68250.00 | 410.00 | 86100.00 | 68250.00 | SAMTA INTERIORS
112.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 30.00 | Meter |  | 400.00 | 12000.00 | 400.00 | 12000.00 | 525.00 | 15750.00 | 12000.00 | M/S M L BROTHER, SAMTA INTERIORS
113.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 6.00 | Each |  | 500.00 | 3000.00 | 40.00 | 240.00 | 20.00 | 120.00 | 120.00 | NDV ENTERPRISES
114.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 16.00 | Each |  | 500.00 | 8000.00 | 450.00 | 7200.00 | 460.00 | 7360.00 | 7200.00 | SAMTA INTERIORS
115.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 13.00 | Each |  | 500.00 | 6500.00 | 480.00 | 6240.00 | 580.00 | 7540.00 | 6240.00 | SAMTA INTERIORS
116.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc.as required. | 47.00 | Each |  | 150.00 | 7050.00 | 210.00 | 9870.00 | 240.00 | 11280.00 | 7050.00 | M/S M L BROTHER
117.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 4.00 | Each |  | 150.00 | 600.00 | 450.00 | 1800.00 | 400.00 | 1600.00 | 600.00 | M/S M L BROTHER
118.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 4.00 | Job |  | 150.00 | 600.00 | 220.00 | 880.00 | 225.00 | 900.00 | 600.00 | M/S M L BROTHER
119.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) 4 way (4 + 12), Double door | 1.00 | Each |  | 5000.00 | 5000.00 | 3600.00 | 3600.00 | 3414.00 | 3414.00 | 3414.00 | NDV ENTERPRISES
120.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) 6 way (4 + 18), Double door | 1.00 | Each |  | 8000.00 | 8000.00 | 4500.00 | 4500.00 | 4133.00 | 4133.00 | 4133.00 | NDV ENTERPRISES
121.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 24.00 | Each |  | 220.00 | 5280.00 | 225.00 | 5400.00 | 190.00 | 4560.00 | 4560.00 | NDV ENTERPRISES
122.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 3.00 | Each |  | 799.00 | 2397.00 | 1100.00 | 3300.00 | 936.00 | 2808.00 | 2397.00 | M/S M L BROTHER
123.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 4.00 | Each |  | 50.00 | 200.00 | 10.00 | 40.00 | 14.00 | 56.00 | 40.00 | SAMTA INTERIORS
124.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc.as required. | 2.00 | Each |  | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 2950.00 | 5900.00 | 5000.00 | SAMTA INTERIORS
125.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 8000.00 | 16000.00 | 7200.00 | 14400.00 | 7200.00 | 14400.00 | 14400.00 | NDV ENTERPRISES, SAMTA INTERIORS
126.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 20.00 | Meter |  | 1000.00 | 20000.00 | 225.00 | 4500.00 | 230.00 | 4600.00 | 4500.00 | SAMTA INTERIORS
127.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 30.00 | Meter |  | 50.00 | 1500.00 | 40.00 | 1200.00 | 80.00 | 2400.00 | 1200.00 | SAMTA INTERIORS
128.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 60.00 | Meter |  | 70.00 | 4200.00 | 45.00 | 2700.00 | 52.00 | 3120.00 | 2700.00 | SAMTA INTERIORS
129.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 150.00 | Meter |  | 70.00 | 10500.00 | 40.00 | 6000.00 | 45.00 | 6750.00 | 6000.00 | SAMTA INTERIORS
130.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 4 X 16 sq. mm (28mm) | 4.00 | Each |  | 497.00 | 1988.00 | 280.00 | 1120.00 | 330.00 | 1320.00 | 1120.00 | SAMTA INTERIORS
131.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required | 4.00 | Each |  | 200.00 | 800.00 | 120.00 | 480.00 | 25.00 | 100.00 | 100.00 | NDV ENTERPRISES
| Total in Figures |  |  |  |  | 5737554.99 |  | 6183045.00 |  | 6124808.00
Lowest Amount Quoted BY: M/S M L BROTHER(5737554.99)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Kote and CASO office at Bareilly Airport Tender ID: 2026_AAI_279313_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S M L BROTHER (BID ID -1036097) | 5737554.99 | L1
| 2 | NDV ENTERPRISES (BID ID -1036619) | 6124808.00 | L2
| 3 | SAMTA INTERIORS (BID ID -1036940) | 6183045.00 | L3