## BoQ1
Government eProcurement System Created By: Amar Singh Created Date/Time: 14-Jul-2026 05:25 PM Tender Title: Provision for conference hall up-gradation, AVSAR counter, Footpath etc. at Prayagraj Airport. Tender ID: 2026_AAI_279352_1
Tender Inviting Authority: AGM (Engg.-Civil)
Name of Work: Provision for conference hall up-gradation, AVSAR counter, Footpath etc. at Prayagraj Airport.
Contract No: 2026_AAI_279352_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S B.N ENTERPRISES (GSTN-09DUPPS2189G2ZT) BID ID -1036709 |  | PRAMOD KUMAR SHARMA (GSTN-NA) BID ID -1035914 |  | SUPURAN CONSTRUCTION PVT. LTD. (GSTN-NA) BID ID -1036158 |  | BALVIR SINGH AND SONS (GSTN-NA) BID ID -1033705
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 30.00 | Cum | 0.00 | 200.00 | 6000.00 | 340.00 | 10200.00 | 150.00 | 4500.00 | 335.00 | 10050.00 | 4500.00 | SUPURAN CONSTRUCTION PVT. LTD.
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 26.00 | Cum | 0.00 | 5500.00 | 143000.00 | 5170.00 | 134420.00 | 6000.00 | 156000.00 | 6515.00 | 169390.00 | 134420.00 | PRAMOD KUMAR SHARMA
3.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 20.00 | Cum | 0.00 | 6200.00 | 124000.00 | 6200.00 | 124000.00 | 6000.00 | 120000.00 | 7575.00 | 151500.00 | 120000.00 | SUPURAN CONSTRUCTION PVT. LTD.
4.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) | 744.00 | Kg | 0.00 | 550.00 | 409200.00 | 700.00 | 520800.00 | 680.00 | 505920.00 | 805.00 | 598920.00 | 409200.00 | M/S B.N ENTERPRISES
5.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 9.00 | Cum | 0.00 | 6000.00 | 54000.00 | 6500.00 | 58500.00 | 7000.00 | 63000.00 | 7795.00 | 70155.00 | 54000.00 | M/S B.N ENTERPRISES
6.00 | Providing and laying 60 mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 77.00 | Sqm | 0.00 | 850.00 | 65450.00 | 1050.00 | 80850.00 | 900.00 | 69300.00 | 835.00 | 64295.00 | 64295.00 | BALVIR SINGH AND SONS
7.00 | Providing and laying gang saw cut 18 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20 mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. With granite stone of area less than 0.50 sqm. | 16.00 | Sqm | 0.00 | 3500.00 | 56000.00 | 3200.00 | 51200.00 | 4600.00 | 73600.00 | 4575.00 | 73200.00 | 51200.00 | PRAMOD KUMAR SHARMA
8.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 97.00 | Kg | 0.00 | 600.00 | 58200.00 | 675.00 | 65475.00 | 600.00 | 58200.00 | 605.00 | 58685.00 | 58200.00 | SUPURAN CONSTRUCTION PVT. LTD., M/S B.N ENTERPRISES
9.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 24.00 | Kg | 0.00 | 634.45 | 15226.80 | 700.00 | 16800.00 | 600.00 | 14400.00 | 755.00 | 18120.00 | 14400.00 | SUPURAN CONSTRUCTION PVT. LTD.
10.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 2.00 | Sqm | 0.00 | 1000.00 | 2000.00 | 1800.00 | 3600.00 | 1100.00 | 2200.00 | 1195.00 | 2390.00 | 2000.00 | M/S B.N ENTERPRISES
11.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 11.00 | Sqm | 0.00 | 1350.00 | 14850.00 | 1000.00 | 11000.00 | 1400.00 | 15400.00 | 1425.00 | 15675.00 | 11000.00 | PRAMOD KUMAR SHARMA
12.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness (weight not less than 20 kg/sqm) | 35.00 | Sqm | 0.00 | 1500.00 | 52500.00 | 1500.00 | 52500.00 | 1500.00 | 52500.00 | 1785.00 | 62475.00 | 52500.00 | PRAMOD KUMAR SHARMA, SUPURAN CONSTRUCTION PVT. LTD., M/S B.N ENTERPRISES
13.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 47.00 | Sqm | 0.00 | 638.35 | 30002.45 | 1800.00 | 84600.00 | 600.00 | 28200.00 | 1375.00 | 64625.00 | 28200.00 | SUPURAN CONSTRUCTION PVT. LTD.
14.00 | Providing and pasting vinyl digital print signages at all locations including all T&P, labour etc for cleaning the surface, pasting signages all complete as per direction of EIC. a) On 3mm Sunboard Base | 2.00 | Sqm | 0.00 | 1750.00 | 3500.00 | 1400.00 | 2800.00 | 1500.00 | 3000.00 | 3105.00 | 6210.00 | 2800.00 | PRAMOD KUMAR SHARMA
15.00 | Providing and fixing commercial ply wherever required with nails, screws etc. as per direction of E.I.C. 8mm thick | 16.00 | Sqm | 0.00 | 545.00 | 8720.00 | 1075.00 | 17200.00 | 500.00 | 8000.00 | 975.00 | 15600.00 | 8000.00 | SUPURAN CONSTRUCTION PVT. LTD.
16.00 | Providing and fixing commercial ply wherever required with nails, screws etc. as per direction of E.I.C. 18mm thick | 53.00 | Sqm | 0.00 | 925.00 | 49025.00 | 2100.00 | 111300.00 | 800.00 | 42400.00 | 1657.00 | 87821.00 | 42400.00 | SUPURAN CONSTRUCTION PVT. LTD.
17.00 | Providing and Fixing Armstrong or equivalent Channelled Woodworks perforated panels of width 128mm, thickness of 15mm and length 2440 mm or as required by the Architect/ approving engineer, made of a high density fibre board with minimum 830 Kg/M3 density substrate with a laminated facing as per the approved shade & finish and a melamine balancing layer on the reverse side. The boards shall have a special perforation pattern where the visible surface has a “Helmholtz” fluted perforation of 2mm width and 14mm of visible panel each. The panels shall provide a fire reaction of Class of 1 as per Part 7 of BS 476. The edges of the panels shall be “tongue-and-grooved” to receive special clips for installation. The back of the perforated panel shall have sound absorbing non-woven acoustical fleece having NRC of 0.55. The panels shall be mounted on special aluminium splines using clips provided by Armstrong and approved by the Architect/ Engineer-in-Charge. Armstrong make G14 Royal Chery/ G14 Maple | 135.00 | Sqm | 0.00 | 4700.00 | 634500.00 | 3200.00 | 432000.00 | 5100.00 | 688500.00 | 2675.00 | 361125.00 | 361125.00 | BALVIR SINGH AND SONS
18.00 | Providing and fixing Rubber Speed Breaker of make RV 1002 500x400x50 mm or equivalent, in Yellow and Black colour and bottom/back side or equivalent duly filled with cement concrete. The same shall be fixed with fastner on existing road surface complete as per direction of engineer-in-charge. | 76.00 | Meter | 0.00 | 1500.00 | 114000.00 | 1100.00 | 83600.00 | 1400.00 | 106400.00 | 2375.00 | 180500.00 | 83600.00 | PRAMOD KUMAR SHARMA
19.00 | Providing and fixing/ pasting frosted film of approved make on existing glass panes after thoroughly cleaning of existing surface the rate are inclusive of all T&P, manpower etc as per direction of Engineer-in-Charge. | 35.00 | Sqm | 0.00 | 800.00 | 28000.00 | 515.00 | 18025.00 | 1250.00 | 43750.00 | 1185.00 | 41475.00 | 18025.00 | PRAMOD KUMAR SHARMA
20.00 | Providing and Fixing SS 316 Tactile Warning Studs of dimension 35mm x 25mm x 4.5 mm and stem 6mm x 12m of approved surface design using 3M tape etc. all complete as per direction of Engineer-in-Charge. | 1000.00 | Each | 0.00 | 55.00 | 55000.00 | 140.00 | 140000.00 | 70.00 | 70000.00 | 115.00 | 115000.00 | 55000.00 | M/S B.N ENTERPRISES
21.00 | Providing and Fixing SS 316 Tactile Directional Strips of dimension 280mm x 35mm x 4.5 mm and stem 6mm x 12m of approved surface design using 3M tape etc. all complete as per direction of Engineer-in-Charge. | 1000.00 | Each | 0.00 | 290.00 | 290000.00 | 160.00 | 160000.00 | 301.00 | 301000.00 | 275.00 | 275000.00 | 160000.00 | PRAMOD KUMAR SHARMA
| Total in Figures |  |  |  |  | 2213174.25 |  | 2178870.00 |  | 2426270.00 |  | 2442211.00
Lowest Amount Quoted BY: PRAMOD KUMAR SHARMA(2178870.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision for conference hall up-gradation, AVSAR counter, Footpath etc. at Prayagraj Airport. Tender ID: 2026_AAI_279352_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRAMOD KUMAR SHARMA (BID ID -1035914) | 2178870.00 | L1
| 2 | M/S B.N ENTERPRISES (BID ID -1036709) | 2213174.25 | L2
| 3 | SUPURAN CONSTRUCTION PVT. LTD. (BID ID -1036158) | 2426270.00 | L3
| 4 | BALVIR SINGH AND SONS (BID ID -1033705) | 2442211.00 | L4