## BoQ1
Government eProcurement System Created By: SUJITHRA GS Created Date/Time: 07-Jul-2026 03:16 PM Tender Title: ARMO of E and M Installation at Calicut International Airport_ SH_ Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2026_28 Tender ID: 2026_AAI_279798_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work : ARMO of E&M Installations at Calicut International Airport SH : Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2026-28.
Contract No: Tender ID -2026_AAI__279798__1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SALIMAX SYSTEMS AND CONTROLS ENGG (GSTN-33AFKPR7224N1ZY) BID ID -1036794 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -1037957 |  | Reimer Technologies.com (GSTN-NA) BID ID -1035112
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance of Fire Alarm System and day to day operation & maintenance of fire alarm panel at the New International Arrival building,ITB ,DTB departure,Domestic Arrival and all NAVAIDs (Glide Path 10 & 28, Localizer 10 &28, DVOR and Technical Block detailed in the inventory list consisting of Fire Loop, Addressable and Conventional Fire Alarm Panel,Gas suppression system, Gas Release Panel, Fire Alarm Repeater Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of PC if any, device configuration and ID assigning, firmware configuration, Panel including batteries, Auto dialler etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required, also deploying one no. semi skiled manpower at all days including Sundays and holidays etc. ( Service for one month = 1 JOB) Two shift operations (A & B) on all days including Sundays and holidays by deploying 3 nos manpower. | 24.00 | JOB |  | 130000.00 | 3120000.00 | 160000.00 | 3840000.00 | 169000.00 | 4056000.00 | 3120000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). The item shall be suitable for integration to Edwards EST fire alarm control panel. | 25.00 | EACH |  | 2150.00 | 53750.00 | 2500.00 | 62500.00 | 3500.00 | 87500.00 | 53750.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
3.00 | Supply, installation, testing and commissioning of ceiling mounted addressable, intelligent type rate of rise cum fixed temp type heat detectors/fixed temp. heat detector including all accessories and parts necessary for completing the installation as per specifications and reprogramming the existing fire control panel ( Honeywell Notifier) to incorporate the newly added detectors to the loop and panel, as required( Make : Model as per approved make, compatible with existing fire alarm panel) | 25.00 | EACH |  | 2150.00 | 53750.00 | 2000.00 | 50000.00 | 3500.00 | 87500.00 | 50000.00 | CENTRE TAP ENGINEERING
4.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 37kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 118000.00 | 118000.00 | 74000.00 | 74000.00 | 45000.00 | 45000.00 | 45000.00 | Reimer Technologies.com
5.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 29kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 103000.00 | 103000.00 | 58000.00 | 58000.00 | 40000.00 | 40000.00 | 40000.00 | Reimer Technologies.com
6.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 27kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 99000.00 | 99000.00 | 54000.00 | 54000.00 | 25000.00 | 25000.00 | 25000.00 | Reimer Technologies.com
7.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 23kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 91500.00 | 183000.00 | 46000.00 | 92000.00 | 20000.00 | 40000.00 | 40000.00 | Reimer Technologies.com
8.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 17kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 80000.00 | 160000.00 | 34000.00 | 68000.00 | 15000.00 | 30000.00 | 30000.00 | Reimer Technologies.com
9.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 32 mm dia MS 'C ' Class Pipe | 100.00 | METER |  | 600.00 | 60000.00 | 500.00 | 50000.00 | 900.00 | 90000.00 | 50000.00 | CENTRE TAP ENGINEERING
10.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 25 mm dia MS 'C ' Class Pipe | 100.00 | METER |  | 250.00 | 25000.00 | 400.00 | 40000.00 | 700.00 | 70000.00 | 25000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
11.00 | Providing, fixing, testing & commissioning of 15mm size quartzoid bulb type sprinklers, of rating 68 degree C. pendent with required accessories etc. complete in all respects as required by the standard specifications. | 20.00 | EACH |  | 250.00 | 5000.00 | 200.00 | 4000.00 | 700.00 | 14000.00 | 4000.00 | CENTRE TAP ENGINEERING
12.00 | Providing, fixing, testing & commissioning of 15mm size quartzoid SIDE WALL sprinklers, of rating 68 degree C. pendent with required accessories etc. complete in all respects as required by the standard specifications. | 20.00 | EACH |  | 300.00 | 6000.00 | 200.00 | 4000.00 | 700.00 | 14000.00 | 4000.00 | CENTRE TAP ENGINEERING
13.00 | Supply of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, etc complete as required . | 500.00 | METER |  | 85.00 | 42500.00 | 60.00 | 30000.00 | 130.00 | 65000.00 | 30000.00 | CENTRE TAP ENGINEERING
14.00 | Laying of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, on surface / recess/ on channel/ cable tray/above false ceiling with suitable clamps as required etc complete as required . | 500.00 | METER |  | 33.00 | 16500.00 | 40.00 | 20000.00 | 180.00 | 90000.00 | 16500.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
15.00 | Cutting and increasing length of MS pipes for sprinkler system of various sizes (from 25mm dia 'C' Class Pipe to 65mm dia 'C' Class Pipe ) including welding and painting of welded portion with two or more coats of synthetic enamel paint of required shades complete as required | 30.00 | JOB |  | 5000.00 | 150000.00 | 1000.00 | 30000.00 | 30.00 | 900.00 | 900.00 | Reimer Technologies.com
16.00 | Cutting and reducing length of MS pipes for sprinkler system of various size from 25mm dia 'C' Class Pipe to 70mm dia C class pipe including welding and painting of welded portion with two or more coats of synthetic enamel paint of required shades complete as required | 75.00 | JOB |  | 6500.00 | 487500.00 | 1000.00 | 75000.00 | 75.00 | 5625.00 | 5625.00 | Reimer Technologies.com
| Total in Figures |  |  |  |  | 4683000.00 |  | 4551500.00 |  | 4760525.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(4551500.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installation at Calicut International Airport_ SH_ Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2026_28 Tender ID: 2026_AAI_279798_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING (BID ID -1037957) | 4551500.00 | L1
| 2 | SALIMAX SYSTEMS AND CONTROLS ENGG (BID ID -1036794) | 4683000.00 | L2
| 3 | Reimer Technologies.com (BID ID -1035112) | 4760525.00 | L3