## BoQ1
Government eProcurement System Created By: Impangluen Jamir Created Date/Time: 14-Jul-2026 03:12 PM Tender Title: Construction of new boundary wall at DVOR site rising of boundary wall as per BCAS standard and renovation of 2 Nos Watch Towers at Dibrugarh Airport. SH Construction of new boundary wall at DVOR site and Hanger Site and renovation of 2 Nos. Watch T Tender ID: 2026_AAI_280147_1
Tender Inviting Authority: Impangluen Jamir, SM(Engg-Civil)-II, AAI, Dibrugarh Airport.
Name of Work : Construction of new boundary wall at DVOR site, rising of boundary wall as per BCAS standard and renovation of 2 Nos. Watch Towers at Dibrugarh Airport. SH: Construction of new boundary wall at DVOR site & Hanger Site and renovation of 2 Nos. Watch Towers at Dibrugarh Airport
Contract No: 2026_AAI_280147_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Anjali Enterprise (GSTN-NA) BID ID -1038139 |  | Numal Saikia (GSTN-NA) BID ID -1037850
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil. | 1517.00 | Cum | 100.00 | 270.00 | 409590.00 | 240.00 | 364080.00 | 364080.00 | Numal Saikia
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for lift. | 505.00 | Cum | 10.00 | 250.00 | 126250.00 | 220.00 | 111100.00 | 111100.00 | Numal Saikia
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 49.00 | Cum | 10.00 | 6000.00 | 294000.00 | 9500.00 | 465500.00 | 294000.00 | M/s Anjali Enterprise
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete. | 337.00 | sqm | 10.00 | 600.00 | 202200.00 | 200.00 | 67400.00 | 67400.00 | Numal Saikia
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 35.00 | sqm | 10.00 | 650.00 | 22750.00 | 450.00 | 15750.00 | 15750.00 | Numal Saikia
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 324.00 | sqm | 10.00 | 650.00 | 210600.00 | 450.00 | 145800.00 | 145800.00 | Numal Saikia
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 282.00 | sqm | 10.00 | 600.00 | 169200.00 | 450.00 | 126900.00 | 126900.00 | Numal Saikia
8.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 13174.00 | Kg | 10.00 | 121.00 | 1594054.00 | 95.00 | 1251530.00 | 1251530.00 | Numal Saikia
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. : Thermo-Mechanically Treated bars of grade Fe-500D or more | 5241.00 | Kg | 10.00 | 121.00 | 634161.00 | 95.00 | 497895.00 | 497895.00 | Numal Saikia
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 152.00 | Cum | 10.00 | 9000.00 | 1368000.00 | 10500.00 | 1596000.00 | 1368000.00 | M/s Anjali Enterprise
11.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level. Concrete of M25 grade with minimum cement content of 330 kg /cum | 33.00 | Cum | 10.00 | 9000.00 | 297000.00 | 10500.00 | 346500.00 | 297000.00 | M/s Anjali Enterprise
12.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 139.00 | Cum | 10.00 | 9200.00 | 1278800.00 | 8000.00 | 1112000.00 | 1112000.00 | Numal Saikia
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 5.00 | sqm | 10.00 | 6700.00 | 33500.00 | 850.00 | 4250.00 | 4250.00 | Numal Saikia
14.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : Cement mortar 1:6 (1 cement : 6 Coarse sand) | 57.00 | Cum | 10.00 | 9200.00 | 524400.00 | 8000.00 | 456000.00 | 456000.00 | Numal Saikia
15.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 608.00 | Kg | 10.00 | 210.00 | 127680.00 | 90.00 | 54720.00 | 54720.00 | Numal Saikia
16.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 406.00 | Kg | 10.00 | 230.00 | 93380.00 | 130.00 | 52780.00 | 52780.00 | Numal Saikia
17.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 299.00 | Kg | 10.00 | 225.00 | 67275.00 | 110.00 | 32890.00 | 32890.00 | Numal Saikia
18.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 496.00 | Kg | 10.00 | 225.00 | 111600.00 | 120.00 | 59520.00 | 59520.00 | Numal Saikia
19.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm. | 26.00 | sqm | 10.00 | 2400.00 | 62400.00 | 1350.00 | 35100.00 | 35100.00 | Numal Saikia
20.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm. | 8.00 | sqm | 10.00 | 2400.00 | 19200.00 | 1150.00 | 9200.00 | 9200.00 | Numal Saikia
21.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 20.00 | metre | 10.00 | 380.00 | 7600.00 | 200.00 | 4000.00 | 4000.00 | Numal Saikia
22.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 75 mm bend | 8.00 | Each | 10.00 | 400.00 | 3200.00 | 85.00 | 680.00 | 680.00 | Numal Saikia
23.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 75 mm | 4.00 | Each | 10.00 | 550.00 | 2200.00 | 250.00 | 1000.00 | 1000.00 | Numal Saikia
24.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 31.00 | sqm | 10.00 | 3500.00 | 108500.00 | 1150.00 | 35650.00 | 35650.00 | Numal Saikia
25.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 40.00 | sqm | 10.00 | 1800.00 | 72000.00 | 550.00 | 22000.00 | 22000.00 | Numal Saikia
26.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 26.00 | metre | 10.00 | 1550.00 | 40300.00 | 450.00 | 11700.00 | 11700.00 | Numal Saikia
27.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth) | 32.00 | metre | 10.00 | 1550.00 | 49600.00 | 350.00 | 11200.00 | 11200.00 | Numal Saikia
28.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 595.00 | sqm | 10.00 | 400.00 | 238000.00 | 100.00 | 59500.00 | 59500.00 | Numal Saikia
29.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 595.00 | sqm | 10.00 | 480.00 | 285600.00 | 100.00 | 59500.00 | 59500.00 | Numal Saikia
30.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 104.00 | sqm | 10.00 | 350.00 | 36400.00 | 100.00 | 10400.00 | 10400.00 | Numal Saikia
31.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1518.00 | sqm | 10.00 | 155.00 | 235290.00 | 100.00 | 151800.00 | 151800.00 | Numal Saikia
32.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 200.00 | sqm | 10.00 | 249.00 | 49800.00 | 100.00 | 20000.00 | 20000.00 | Numal Saikia
33.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work. | 28.00 | sqm | 10.00 | 230.00 | 6440.00 | 100.00 | 2800.00 | 2800.00 | Numal Saikia
34.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 51.00 | Cum | 10.00 | 2600.00 | 132600.00 | 800.00 | 40800.00 | 40800.00 | Numal Saikia
35.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 94.00 | Cum | 10.00 | 2500.00 | 235000.00 | 2500.00 | 235000.00 | 235000.00 | Numal Saikia, M/s Anjali Enterprise
36.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 158.00 | Cum | 10.00 | 2300.00 | 363400.00 | 2500.00 | 395000.00 | 363400.00 | M/s Anjali Enterprise
37.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 255.00 | Metre | 10.00 | 350.00 | 89250.00 | 300.00 | 76500.00 | 76500.00 | Numal Saikia
38.00 | Providing and erecting 2.00 metre high temporary barricading at site; each panel of size 2.50mx2.00m made of 40x40x6mm angle iron or 50x50x3mm hollow MS tube posts/horizontal members/bracings covered with 1.63mm thick MS sheet. The sheet shall be fixed with 30x5mm MS flat by suitable welding/riveting. The panels shall be made so that gap of 50cm above the ground is available making overall height as 2.5m. MS channel ISLC 75 @ 5.70 kg/m, 50cm long shall be provided at the bottom having oval shaped holes of size 50x25mm at both ends with 50cm long MS angle 40x40x6mm bracing. Suitable arrangement shall be made to fix the barricading to avoid from overturning by providing 250mm long expansion fasteners at both ends. The work shall be executed as per drawing/direction of Engineer-in-Charge which includes writing and painting, arrangement for traffic diversion such as traffic signals during construction at site for day and night, glow lamps, reflective signs, marking, flags, caution tape as directed by the Engineer-in-Charge. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer?in-Charge. (Note :- One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work). | 265.00 | Metre | 10.00 | 500.00 | 132500.00 | 1500.00 | 397500.00 | 132500.00 | M/s Anjali Enterprise
39.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 14.00 | Kg | 10.00 | 750.00 | 10500.00 | 200.00 | 2800.00 | 2800.00 | Numal Saikia
40.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides | 2.00 | sqm | 10.00 | 4500.00 | 9000.00 | 850.00 | 1700.00 | 1700.00 | Numal Saikia
41.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10 kg/ sqm) | 4.00 | sqm | 10.00 | 4300.00 | 17200.00 | 850.00 | 3400.00 | 3400.00 | Numal Saikia
42.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | Each | 10.00 | 3500.00 | 7000.00 | 450.00 | 900.00 | 900.00 | Numal Saikia
43.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge Powder coated minimum thickness 50 micron aluminium | 4.00 | Each | 10.00 | 560.00 | 2240.00 | 700.00 | 2800.00 | 2240.00 | M/s Anjali Enterprise
44.00 | Providing and filling, Boulders or river shingles of size ranging from 150 mm to 225 mm in layers not exceeding 25 cm in foundations upto plinth including filling voids/gaps with sand or graded river pebbles, watering and compacting with earth rammers or suitable compactors of sufficient capacity to achieve required density to the required thickness for improving the foundation soil all complete as per direction and satisfaction of Engineer-in-charge. (Note: - Please read the Technical specifications of the item on before quoting). | 310.00 | Cum | 10.00 | 3000.00 | 930000.00 | 1550.00 | 480500.00 | 480500.00 | Numal Saikia
45.00 | Credit item for taking away old bricks as per the directions & satisfaction of Engineer-incharge. | 79.00 | 1000 Nos |  | 20.00 | -1580.00 | 500.00 | -39500.00 | -39500.00 | Numal Saikia
46.00 | Consultancy service for conducting Soil investigation at site for two locations as per the relevant IS codes and submitting the soil investigation report etc complete and preparation of structural design for RCC/ structural steel roof truss related to the subject work as per the relevant IS codes and preparation of detailed working drawing etc all complete including revision(s) of Design/ Drawing etc if any required as per the actual conditions at the site during execution. The structural design shall be got vetted from any Govt. Engineering Colleges/ NIT/ IIT. The agency has to submit three sets of vetted drawing in A3 size sheets and to get approval the EIC before execution. The cost is inclusive of all the operations as described above. | 1.00 | job | 10.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 10000.00 | Numal Saikia
| Total in Figures |  |  |  |  | 10728080.00 |  | 8802545.00
Lowest Amount Quoted BY: Numal Saikia(8802545.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of new boundary wall at DVOR site rising of boundary wall as per BCAS standard and renovation of 2 Nos Watch Towers at Dibrugarh Airport. SH Construction of new boundary wall at DVOR site and Hanger Site and renovation of 2 Nos. Watch T Tender ID: 2026_AAI_280147_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Numal Saikia (BID ID -1037850) | 8802545.00 | L1
| 2 | M/s Anjali Enterprise (BID ID -1038139) | 10728080.00 | L2