## BoQ1
Government eProcurement System Created By: SUJITHRA GS Created Date/Time: 20-Jul-2026 12:17 PM Tender Title: Providing Double Gate System at Gate No 1 at Calicut International Airport_ SH_ Electrical Works for Double Gate system including AICMC for 8 years Tender ID: 2026_AAI_280668_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work :Providing double gate system at Gate No.1 at Calicut International Airport. SH : Electrical Works for double gate system including AICMC for 8 years.
Contract No: Tender ID 2026_AAI_280668_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S Aditya Impex Pvt Ltd (GSTN-06AAECS4255N1Z0) BID ID -1035994 |  | Swaraj Secutech Pvt Ltd (GSTN-NA) BID ID -1043056
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of Crash Rated (K4) single leaf side opening Electrically Operated Remote Controlled Automatic Sliding Gate of 09 mtr as per BCAS circulars with latest amendments clear passage opening and of rated height, suitable for 230 V/415 V, 50Hz AC supply, complete with control panel, 2 nos of remote control, push button for local operation, human safety sensors and flash light, loop detector for vehicular safety, associated cables of suitable size according to load identified from nearest DB to control panel within GI pipes (approx. 40 mtr) and with all accessories including laying of cables, interconnections, civil foundation work, cutting the roads fixing the channel, concrete work etc. complete as per site requirement etc. | 1.00 | Job | 1336.00 | 1650000.00 | 1650000.00 | 2445000.00 | 2445000.00 | 1650000.00 | S Aditya Impex Pvt Ltd
2.00 | Design, Supply, Installation, Testing and commissioning of electro mechanical Operated Remote Controlled Boom Barrier System including upto 3.5 metre to work on 230 V/415 V, 50 Hz AC supply PLC/Microprocessor based, remote control, photo sensors, foundation frame control panel & logic circuits, push button for local operation, including required foundation, associated cables of suitable size according to load identified from nearest DB to control panel within GI pipes (approx. 30 mtr) and with all accessories including laying of cables, interconnection wiring between control panel and remote operating panel, civil foundation work, cutting the roads for interconnection wiring etc. complete as required. | 4.00 | Job | 2149.00 | 85000.00 | 340000.00 | 74000.00 | 296000.00 | 296000.00 | Swaraj Secutech Pvt Ltd
3.00 | Design, Supply, Installation, Testing and Commissioning of crash rated Electro-Hydraulic Tyre Killers as per AvSec Circulars No. 02/2007 with latest amendments of length 3 metre each, for clear vehicle blocking suitable to work on Single/Three phase, 230/415 Volts, 50 Hz AC Supply consisting of Electrically Operated Remote Controlled Tyre Killer operating on Hydraulic power system, PLC/Microprossor based control panel (suitable for outdoor application), remote control, push button for local operation, safety sensors for human, loop detector for vehicle safety, Accumulator system for hydraulic operation in case of power failure, Logic circuit, manual operation, civil foundation i/c excavation of existing road and making good the same after installation of Tyre killers complete as required and laying of GI pipes for incoming & outgoing power & control cables ( approx. 40 Mtr), Hydraulic system, interconnection wiring between remote controls, etc. as required for complete functioning of Tyre killers i/c crossing the RCC drain (if applicable) by making suitable openings and sealing the gaps thereafter comprising of items and features as per site condition etc. complete as required. | 2.00 | Job | 4878.00 | 450000.00 | 900000.00 | 485000.00 | 970000.00 | 900000.00 | S Aditya Impex Pvt Ltd
4.00 | Supply, Installation, Testing & Commissioning of K4 crash rated electro hydraulic / pneumatic bollard system 01 set of 7 bollards as per AvSec Circulars No. 02/2007 with latest amendments for the road as per site condition suitable to work on Three/Single phase 415/230 volt, 50 Hz AC supply consisting of hydraulic power unit, PLC based, logic circuit, control panel, photo sensor(02 pair), loop detector, push button, remote control including switching operation in local and remote location complete as required including all major/minor civil works (excavation of PQC/bitumen road of required depth as per site conditions) and making good after installation, and supplying and laying of GI pipes and control cables (upto 50 Mtr), i/c crossing the drain (if applicable) by making suitable openings and sealing the gaps thereafter, comprising of items and features as per enclosed technical specifications etc. complete as required. | 1.00 | Set | 4878.00 | 2250000.00 | 2250000.00 | 2675000.00 | 2675000.00 | 2250000.00 | S Aditya Impex Pvt Ltd
5.00 | Design, Supply, Installation, Testing and Commissioning of motorised single leaf side opening Electrically Operated Remote Controlled Automatic Sliding Gate of 07 mtr. opaque, clear passage opening and 2.5 Mtr of rated height, suitable for 230v/415v, 50Hz AC supply, complete with control panel,remote control, push button for local operation, safety sensors and flash light, loop detector for vehicular safety, associated cables of suitable size according to load identified from nearest DB to control panel within GI pipes (approx. 50 mtr) and with all accessories including laying of cables, interconnections, civil foundation work, cutting the roads fixing the channel, concrete work, i/c crossing the drain (if applicable) by making suitable openings and sealing the gaps thereafter concrete work etc. complete as per site requirement etc. complete as required. | 1.00 | Job | 4878.00 | 650000.00 | 650000.00 | 1685000.00 | 1685000.00 | 650000.00 | S Aditya Impex Pvt Ltd
6.00 | Supplying of XLPE insulated, PVC sheathed, armoured Aluminium conductor Power Cable of 1.1 KV grade of following size etc as per IS 7098 Part-I 1988 with upto date amendments etc as required. 3.5 C x 120 sq mm | 500.00 | Meter | 4878.00 | 950.00 | 475000.00 | 948.00 | 474000.00 | 474000.00 | Swaraj Secutech Pvt Ltd
7.00 | Supply of minimum 90 mm dia (PN 6)/ suitable size HDPE pipe to lay 3.5CX 120 sq.mm above cable, ISI marked conforming to IS 4984,complete as required. | 200.00 | Meter | 4878.00 | 120.00 | 24000.00 | 450.00 | 90000.00 | 24000.00 | S Aditya Impex Pvt Ltd
8.00 | Laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc. in the existing trench, complete as required. 90 mm dia | 172.00 | Meter | 4878.00 | 100.00 | 17200.00 | 350.00 | 60200.00 | 17200.00 | S Aditya Impex Pvt Ltd
9.00 | Supply and laying of following sizes of 'B' Class GI pipe in road crossing at required depth etc complete as required as per actual site requirements. 100 mm B class GI Pipe | 24.00 | Meter | 4878.00 | 500.00 | 12000.00 | 3510.00 | 84240.00 | 12000.00 | S Aditya Impex Pvt Ltd
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 125.00 | Meter | 4878.00 | 100.00 | 12500.00 | 350.00 | 43750.00 | 12500.00 | S Aditya Impex Pvt Ltd
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc. as required, but excluding sand cushioning and protective covering. Above 95 sq. mm and up to 185 sq. mm | 15.00 | Meter | 4878.00 | 400.00 | 6000.00 | 350.00 | 5250.00 | 5250.00 | Swaraj Secutech Pvt Ltd
12.00 | Laying of one number PVC insulated and PVC sheathedd /XLPE power cable of 1.1 KV grade of following size ith existing masonry open duct as required. Above 95 Sq. mm and upto 185 Sq. mm | 40.00 | Meter | 4878.00 | 100.00 | 4000.00 | 350.00 | 14000.00 | 4000.00 | S Aditya Impex Pvt Ltd
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ HDPE/METAL/GI pipe as required. Above 95 sq. mm and up to 185 sq. mm | 220.00 | Meter | 4878.00 | 100.00 | 22000.00 | 350.00 | 77000.00 | 22000.00 | S Aditya Impex Pvt Ltd
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5X 120 sq. mm (45mm) | 4.00 | Job | 4878.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 16000.00 | S Aditya Impex Pvt Ltd
15.00 | Cutting road/concrete including equipment, labour etc. and disposal of material as directed, within a lead of 50 m. | 2.00 | CUM | 4878.00 | 7000.00 | 14000.00 | 1800.00 | 3600.00 | 3600.00 | Swaraj Secutech Pvt Ltd
16.00 | Excavating trenches of required width for pipes, cables, etc., including excavation for sockets, depth up to 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, excluding consolidating each deposited layers by ramming, watering etc., including disposal of excavated soil as directed, within a lead of 50 m. (a) All kinds of soil for laying of pipes, cables etc., not exceeding 80 mm dia. | 5.00 | Cum | 4878.00 | 7000.00 | 35000.00 | 14500.00 | 72500.00 | 35000.00 | S Aditya Impex Pvt Ltd
17.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width and lift up to 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 5.00 | CUM | 4878.00 | 10000.00 | 50000.00 | 15400.00 | 77000.00 | 50000.00 | S Aditya Impex Pvt Ltd
18.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) including form work etc. as required. | 2.00 | CUM | 4878.00 | 8000.00 | 16000.00 | 8500.00 | 17000.00 | 16000.00 | S Aditya Impex Pvt Ltd
19.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. .with charcoal/ coke and salt as required. | 2.00 | Set | 4878.00 | 30000.00 | 60000.00 | 33000.00 | 66000.00 | 60000.00 | S Aditya Impex Pvt Ltd
20.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 818.00 | Meter | 4878.00 | 100.00 | 81800.00 | 190.00 | 155420.00 | 81800.00 | S Aditya Impex Pvt Ltd
21.00 | OUTDOOR FEEDER PILLAR Supply, Installation, Testing and Commissioning of PTTA LT Panel, cubicle type, made out of 14 SWG CRCA sheet steel, totally enclosed, IP-55, protection free standing, floor mounting, dust and vermin proof, indoor, compartmentalized, powder coated painting suitable for operation on 3 Phase and neutral, 415V, 50 Hz AC supply system with bus bars extensible on both sides, terconnections with suitable size of copper leads/ solid aluminium strips, and including pedestal foundation/ suitable mounting arrangement consisting of following, as per tender specifications etc. as required. Incomer 2 Nos. MCCB 250 Amps, 4 Pole, 25 kA with adjustable setting, thermal magnetic release with O/C & S/C protection as per specification and with following accessories. Busbars 4P aluminum bus bars of 250 A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. Instruments & accessories 1 No. digital type Voltmeter suitable range for 3phase,4 wire operation with LED display and selector switch 1 No. digital type Ammeter for 3 phase 4 wire operation with LED display and selector switch and CT's with LED type phase indicating lamps (RYB) 1 Set Rotary operating mechanism and terminal extension spreaders with door interlock for all the MCCB's. SPD's of type 2 class C Outgoing 2 Nos. MCCB 63 Amps, 4 Pole, 16 kA with adjustable setting, thermal magnetic release with O/C & S/C protection as per specification and with ON,OFF LED light 5 Nos. MCCB 32 Amps, 4 Pole, 16 kA with adjustable setting, thermal magnetic release with O/C & S/C protection as per specification and with ON,OFF LED light 4 nos 63 A 4P MCB C curve and 10 kA breaking capacity 6 Nos. 32 A DP MCB C curve and 10 kA breaking capacity | 1.00 | Job | 4878.00 | 100000.00 | 100000.00 | 495000.00 | 495000.00 | 100000.00 | S Aditya Impex Pvt Ltd
22.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. First year 6 % CMC cost on SITC Portion of Item No.1 | 1.00 | Job | 514.00 | 99000.00 | 99000.00 | 146700.00 | 146700.00 | 99000.00 | S Aditya Impex Pvt Ltd
23.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Second year ( Yearly 5 % cumulative enhancement on first year cost ) | 1.00 | Job | 58328.00 | 103950.00 | 103950.00 | 154035.00 | 154035.00 | 103950.00 | S Aditya Impex Pvt Ltd
24.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Third year (Yearly 6 % cumulative enhancement on Second year cost ) | 1.00 | Job | 323.00 | 110187.00 | 110187.00 | 163277.00 | 163277.00 | 110187.00 | S Aditya Impex Pvt Ltd
25.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fourth year (Yearly 6 % cumulative enhancement onThird year cost ) | 1.00 | Job | 256.00 | 116798.00 | 116798.00 | 173074.00 | 173074.00 | 116798.00 | S Aditya Impex Pvt Ltd
26.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fifth year (Yearly 7 % cumulative enhancement on four year cost ) | 1.00 | Job | 1630.00 | 124974.00 | 124974.00 | 185189.00 | 185189.00 | 124974.00 | S Aditya Impex Pvt Ltd
27.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Sixth year (Yearly 7 % cumulative enhancement on fifth year cost ) | 1.00 | Job | 327.00 | 133722.00 | 133722.00 | 198152.00 | 198152.00 | 133722.00 | S Aditya Impex Pvt Ltd
28.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Seventh year (Yearly 7 % cumulative enhancement on sixth year cost ) | 1.00 | Job | 834.00 | 143083.00 | 143083.00 | 212023.00 | 212023.00 | 143083.00 | S Aditya Impex Pvt Ltd
29.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 9 mtr (As per Item No-1) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Eighth year (Yearly 7 % cumulative enhancement on seventh year cost ) | 1.00 | Job | 49.00 | 153099.00 | 153099.00 | 226865.00 | 226865.00 | 153099.00 | S Aditya Impex Pvt Ltd
30.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. First year 8% CMC cost on SITC Portion of Item No.2 | 4.00 | Job | 36.00 | 6800.00 | 27200.00 | 5920.00 | 23680.00 | 23680.00 | Swaraj Secutech Pvt Ltd
31.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Second year ( Yearly 5 % cumulative enhancement on first year cost ) | 4.00 | Job | 74.00 | 7140.00 | 28560.00 | 6216.00 | 24864.00 | 24864.00 | Swaraj Secutech Pvt Ltd
32.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Third year (Yearly 6 % cumulative enhancement on Second year cost ) | 4.00 | Job | 85.00 | 7568.00 | 30272.00 | 6589.00 | 26356.00 | 26356.00 | Swaraj Secutech Pvt Ltd
33.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fourth year (Yearly 6 % cumulative enhancement onThird year cost ) | 4.00 | Job | 272.00 | 8022.00 | 32088.00 | 6984.00 | 27936.00 | 27936.00 | Swaraj Secutech Pvt Ltd
34.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fifth year (Yearly 6 % cumulative enhancement on four year cost ) | 4.00 | Job | 150.00 | 8503.00 | 34012.00 | 7403.00 | 29612.00 | 29612.00 | Swaraj Secutech Pvt Ltd
35.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Sixth year (Yearly 6 % cumulative enhancement on fifth year cost ) | 4.00 | Job | 1140.00 | 9013.00 | 36052.00 | 7847.00 | 31388.00 | 31388.00 | Swaraj Secutech Pvt Ltd
36.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Seventh year (Yearly 6 % cumulative enhancement on sixth year cost ) | 4.00 | Job | 8627.00 | 9554.00 | 38216.00 | 8318.00 | 33272.00 | 33272.00 | Swaraj Secutech Pvt Ltd
37.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Boom Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Eighth year (Yearly 7 % cumulative enhancement on seventh year cost ) | 4.00 | Job | 17.00 | 10223.00 | 40892.00 | 8900.00 | 35600.00 | 35600.00 | Swaraj Secutech Pvt Ltd
38.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. First year 6% CMC cost on SITC Portion of Item No.3 | 2.00 | Job | 20.00 | 27000.00 | 54000.00 | 29100.00 | 58200.00 | 54000.00 | S Aditya Impex Pvt Ltd
39.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Second year ( Yearly 6 % cumulative enhancement on first year cost ) | 2.00 | Job | 1597.00 | 28620.00 | 57240.00 | 30846.00 | 61692.00 | 57240.00 | S Aditya Impex Pvt Ltd
40.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Third year (Yearly 6 % cumulative enhancement on Second year cost ) | 2.00 | Job | 830.00 | 30337.00 | 60674.00 | 32697.00 | 65394.00 | 60674.00 | S Aditya Impex Pvt Ltd
41.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Fourth year (Yearly 6% cumulative enhancement onThird year cost ) | 2.00 | Job | 10666.00 | 32157.00 | 64314.00 | 34659.00 | 69318.00 | 64314.00 | S Aditya Impex Pvt Ltd
42.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Fifth year (Yearly 6 % cumulative enhancement on four year cost ) | 2.00 | Job | 2365.00 | 34086.00 | 68172.00 | 36739.00 | 73478.00 | 68172.00 | S Aditya Impex Pvt Ltd
43.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Sixth year (Yearly 6 % cumulative enhancement on fifth year cost ) | 2.00 | Job | 2958.00 | 36131.00 | 72262.00 | 38943.00 | 77886.00 | 72262.00 | S Aditya Impex Pvt Ltd
44.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Seventh year (Yearly 6 % cumulative enhancement on sixth year cost ) | 2.00 | Job | 3556.00 | 38299.00 | 76598.00 | 41280.00 | 82560.00 | 76598.00 | S Aditya Impex Pvt Ltd
45.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Eighth year (Yearly 7 % cumulative enhancement on seventh year cost ) | 2.00 | Job | 3556.00 | 40980.00 | 81960.00 | 44170.00 | 88340.00 | 81960.00 | S Aditya Impex Pvt Ltd
46.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. First year 6 % CMC cost on SITC Portion of Item No.4 | 1.00 | Job | 3556.00 | 135000.00 | 135000.00 | 160500.00 | 160500.00 | 135000.00 | S Aditya Impex Pvt Ltd
47.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Second year ( Yearly 6 % cumulative enhancement on first year cost ) | 1.00 | Job | 3556.00 | 143100.00 | 143100.00 | 170130.00 | 170130.00 | 143100.00 | S Aditya Impex Pvt Ltd
48.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Third year (Yearly 6% cumulative enhancement on Second year cost ) | 1.00 | Job | 3556.00 | 151686.00 | 151686.00 | 180338.00 | 180338.00 | 151686.00 | S Aditya Impex Pvt Ltd
49.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Fourth year (Yearly 6% cumulative enhancement onThird year cost ) | 1.00 | Job | 3556.00 | 160787.00 | 160787.00 | 191158.00 | 191158.00 | 160787.00 | S Aditya Impex Pvt Ltd
50.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Fifth year (Yearly 7 % cumulative enhancement on four year cost ) | 1.00 | Job | 3556.00 | 172042.00 | 172042.00 | 204539.00 | 204539.00 | 172042.00 | S Aditya Impex Pvt Ltd
51.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Sixth year (Yearly 7 % cumulative enhancement on fifth year cost ) | 1.00 | Job | 3556.00 | 184085.00 | 184085.00 | 218857.00 | 218857.00 | 184085.00 | S Aditya Impex Pvt Ltd
52.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Seventh year (Yearly 7 % cumulative enhancement on sixth year cost ) | 1.00 | Job | 3556.00 | 196971.00 | 196971.00 | 234177.00 | 234177.00 | 196971.00 | S Aditya Impex Pvt Ltd
53.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above bollard (As per Item No-4) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAl requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified. Eighth year (Yearly 7 % cumulative enhancement on seventh year cost ) | 1.00 | Job | 3556.00 | 210759.00 | 210759.00 | 250569.00 | 250569.00 | 210759.00 | S Aditya Impex Pvt Ltd
54.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. First year 5 % CMC cost on SITC Portion of Item No.5 | 1.00 | Job | 20.00 | 32500.00 | 32500.00 | 84250.00 | 84250.00 | 32500.00 | S Aditya Impex Pvt Ltd
55.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Second year ( Yearly 5 % cumulative enhancement on first year cost ) | 1.00 | Job | 20.00 | 34125.00 | 34125.00 | 88463.00 | 88463.00 | 34125.00 | S Aditya Impex Pvt Ltd
56.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Third year (Yearly 6% cumulative enhancement on Second year cost ) | 1.00 | Job | 20.00 | 36173.00 | 36173.00 | 93771.00 | 93771.00 | 36173.00 | S Aditya Impex Pvt Ltd
57.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fourth year (Yearly 6% cumulative enhancement on Third year cost ) | 1.00 | Job | 20.00 | 38343.00 | 38343.00 | 99397.00 | 99397.00 | 38343.00 | S Aditya Impex Pvt Ltd
58.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Fifth year (Yearly 7% cumulative enhancement on fourth year cost ) | 1.00 | Job | 20.00 | 41027.00 | 41027.00 | 106355.00 | 106355.00 | 41027.00 | S Aditya Impex Pvt Ltd
59.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Sixth year (Yearly 7% cumulative enhancement on fifth year cost ) | 1.00 | Job | 20.00 | 43899.00 | 43899.00 | 113800.00 | 113800.00 | 43899.00 | S Aditya Impex Pvt Ltd
60.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Seventh year (Yearly 7 % cumulative enhancement on sixth year cost ) | 1.00 | Job | 20.00 | 46972.00 | 46972.00 | 121766.00 | 121766.00 | 46972.00 | S Aditya Impex Pvt Ltd
61.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate of 7 mtr (As per Item No-5) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. Eighth year (Yearly 7 % cumulative enhancement on seventh year cost ) | 1.00 | Job | 20.00 | 50260.00 | 50260.00 | 130290.00 | 130290.00 | 50260.00 | S Aditya Impex Pvt Ltd
| Total in Figures |  |  |  |  | 10200554.00 |  | 14541211.00
Lowest Amount Quoted BY: S Aditya Impex Pvt Ltd(10200554.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Double Gate System at Gate No 1 at Calicut International Airport_ SH_ Electrical Works for Double Gate system including AICMC for 8 years Tender ID: 2026_AAI_280668_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S Aditya Impex Pvt Ltd (BID ID -1035994) | 10200554.00 | L1
| 2 | Swaraj Secutech Pvt Ltd (BID ID -1043056) | 14541211.00 | L2