## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 27-Jul-2026 03:43 PM Tender Title: Replacement of Air-conditioners Split and Tower type, RO System and Water Coolers at Kishangarh Airport. Tender ID: 2026_AAI_280976_1
Tender Inviting Authority:-Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:- Replacement of Air conditioners (Split and Tower type), RO System and Water Coolers at Kishangarh Airport.
Contract No:-2026_AAI_280976_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -1039112 |  | Arctic Engineering Services (GSTN-07AAWFA5497P1ZA) BID ID -1041122 |  | HONEY COLLECTION (GSTN-07ADPPT9971M1ZA) BID ID -1041254 |  | LIFE STYLE INTERIORS (GSTN-08AEWPT8384E1ZJ) BID ID -1041301 |  | DY Infra & Projects Private Limited (GSTN-NA) BID ID -1040920
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of High Wall single phase, 5-Star invertor type 2.0 TR (Min. rating) capacity, minimum 20800 BTU/Hr rated Cooling capacity (100 % load), split type airconditioner fitted with hermetically sealed rotary compressor operating on green refrigerant suitable for single phase, 230V, 50Hz, including standard length of copper refrigerant pipe, copper cable and all other accessories as per OEM specifications capable of performing the functions as cooling, dehumidifying, air circulating and filtering, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD cordless remote, including civil work such as drilling for hole, painting, finish with the same and connection of refrigerant pipelines, Pipe Insulation and control cables including first charge of refrigerant etc. complete as required. | 4.00 | Job | 100.00 | 70000.00 | 280000.00 | 61000.00 | 244000.00 | 52500.00 | 210000.00 | 52000.00 | 208000.00 | 58900.00 | 235600.00 | 208000.00 | LIFE STYLE INTERIORS
2.00 | SITC of High Wall single phase, 5-Star invertor type 1.5 TR capacity, minimum 16500 BTU/Hr rated Cooling capacity (100 % load), split type airconditioner fitted with hermetically sealed rotary compressor operating on green refrigerant suitable for single phase, 230V, 50Hz, including standard length of copper refrigerant pipe, copper cable and all other accessories as per OEM specifications capable of performing the functions as cooling, dehumidifying, air circulating and filtering, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD cordless remote, including civil work such as drilling for hole, painting, finish with the same and connection of refrigerant pipelines, Pipe Insulation and control cables including first charge of refrigerant etc. complete as required. | 11.00 | Job | 100.00 | 65000.00 | 715000.00 | 43500.00 | 478500.00 | 37500.00 | 412500.00 | 41500.00 | 456500.00 | 51266.00 | 563926.00 | 412500.00 | HONEY COLLECTION
3.00 | Supply, Installation, Testing and Commissioning of 3 TR, 3 phase Tower type split airconditioning Units, minimum 35650 BTU/Hr rated Cooling capacity (100 % load), suitable to operate on 415 V, 50Hz AC supply equipped with energy efficiant rotary compressor, filter, low noise fan, motor, coil section , indoor, outer unit, including standard of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD chordless remote, including civil work such as drilling for hole, painting, finish with the same and connection of refrigerant pipelines, Pipe Insulation and control cables including first charge of refrigerant etc. complete as required. | 12.00 | Job | 100.00 | 130000.00 | 1560000.00 | 108000.00 | 1296000.00 | 95840.00 | 1150080.00 | 96000.00 | 1152000.00 | 95100.00 | 1141200.00 | 1141200.00 | DY Infra & Projects Private Limited
4.00 | Dismantling of following type & Capacity Airconditioning Units including indoor and outdoor units, drain pipe arrangements, old copper pipeline with insulations etc. from their location, including making good the damages to the original finish and shifting to AAI stores etc. complete as required
4.10 | 1.5/2.0 TR Hi-wall Split/Window AC | 13.00 | Job | 100.00 | 500.00 | 6500.00 | 500.00 | 6500.00 | 1000.00 | 13000.00 | 2000.00 | 26000.00 | 1800.00 | 23400.00 | 6500.00 | VOLKS ENERGIE PVT LTD, Arctic Engineering Services
4.20 | 3.0 TR Tower AC | 12.00 | Job | 100.00 | 700.00 | 8400.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 2500.00 | 30000.00 | 2400.00 | 28800.00 | 8400.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply and fixing of copper refrigerant pipe size 1/4" with suitable nitrile rubber pipe insulation including jointing/brazing, all accessories for fixing the pipe etc. complete as required. | 72.00 | Mtr | 100.00 | 422.00 | 30384.00 | 260.00 | 18720.00 | 500.00 | 36000.00 | 500.00 | 36000.00 | 410.00 | 29520.00 | 18720.00 | Arctic Engineering Services
6.00 | Supply and fixing of copper refrigerant pipe size 3/8" with suitable nitrile rubber pipe insulation including jointing/brazing all accessories for fixing the pipe etc. complete as required. | 12.00 | Mtr | 100.00 | 539.00 | 6468.00 | 395.00 | 4740.00 | 600.00 | 7200.00 | 750.00 | 9000.00 | 550.00 | 6600.00 | 4740.00 | Arctic Engineering Services
7.00 | Supply and fixing of copper refrigerant pipe size 1/2" with suitable nitrile rubber pipe insulation including jointing/brazing all accessories for fixing the pipe etc. complete as required. | 68.00 | Mtr | 100.00 | 653.00 | 44404.00 | 535.00 | 36380.00 | 700.00 | 47600.00 | 1000.00 | 68000.00 | 715.00 | 48620.00 | 36380.00 | Arctic Engineering Services
8.00 | Supply and fixing of copper refrigerant pipe size 5/8" with suitable nitrile rubber pipe insulation including jointing/brazing all accessories for fixing the pipe etc. complete as required. | 24.00 | Mtr | 100.00 | 774.00 | 18576.00 | 820.00 | 19680.00 | 800.00 | 19200.00 | 1200.00 | 28800.00 | 780.00 | 18720.00 | 18576.00 | VOLKS ENERGIE PVT LTD
9.00 | Supplying, Installations, Testing and Commissioning of Wall Mounting Type, 06 KVA, single phase, automatic line voltage stabilizer, suitable operation on 170 volts to 270 volts AC input, 200 volts to 240 volts AC output, single phase, 50HZ AC power supply with built in time delay, high voltage cut off at 275, and low voltage cut off at 165 volts and input/output/trip indications and suitable for use for up to 2.0 TR Air conditioning unit etc as required. | 15.00 | Each | 100.00 | 5932.20 | 88983.00 | 4000.00 | 60000.00 | 6400.00 | 96000.00 | 4200.00 | 63000.00 | 4800.00 | 72000.00 | 60000.00 | Arctic Engineering Services
10.00 | Supply, installation, testing and commissioning of 1-Phase Auto time changeover switch, time cycle of 04 hours for operation of 2 nos 1.5TR Inverter Split type AC Units with all accessories complete as required. | 2.00 | Each | 100.00 | 2200.00 | 4400.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 6700.00 | 13400.00 | 4500.00 | 9000.00 | 4400.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply, installation, testing and commissioning of floor-mounted industrial dehumidifier having moisture removal capacity not less than 50 litres per day at 30°C and 80% RH, suitable for continuous 24 hours operation, complete with hermetically sealed compressor, eco-friendly refrigerant, corrosion-resistant body, washable air filter, automatic humidistat control, digital display, auto defrost system, and continuous condensate drain arrangement, with all accessories, electrical connections etc complete as required. | 5.00 | Each | 100.00 | 50762.00 | 253810.00 | 48000.00 | 240000.00 | 75000.00 | 375000.00 | 63000.00 | 315000.00 | 56100.00 | 280500.00 | 240000.00 | Arctic Engineering Services
12.00 | Supply, Installation, testing & Commissioning of Self-Contained 400 Ltr tank capacity, Drinking Water Cooler with Energy Efficient hermitically sealed Compressor, thermostat, fan motor, Non CFC Refrigerant with full body stainless steel 304 Grade 0.8 mm sheet thickness, 225 LPH Cooling capacity at ambient temprature, 04 No. water taps, single sheet moulded drain tray to prevent water spillage, Compressor, motor and condenser standing base made by full stainless steel, suitable for operation on 230 v +/- 10%, 50 Hz, single phase A.C. supply, including providing suitable size duly painted MS stand, with comprehensive warranty during Defect Liability Period of 01 year (including all consumables) and periodical services as per technical specifications etc complete as required. | 4.00 | Job | 100.00 | 128000.00 | 512000.00 | 90000.00 | 360000.00 | 130000.00 | 520000.00 | 115000.00 | 460000.00 | 91266.00 | 365064.00 | 360000.00 | Arctic Engineering Services
13.00 | Supply, Installation, testing & Commissioning of Self-Contained 150 Ltr tank capacity, Drinking Water Cooler with Energy Efficient hermitically sealed Compressor, thermostat, fan motor, Non CFC Refrigerant with full body stainless steel 304 Grade 0.8 mm sheet thickness, 150 LPH Cooling capacity at ambient temprature, 02 No. water taps, single sheet moulded drain tray to prevent water spillage, Compressor, motor and condenser standing base made by full stainless steel, suitable for operation on 230 v +/- 10%, 50 Hz, single phase A.C. supply, including providing suitable size duly painted MS stand, with comprehensive warranty during Defect Liability Period of 01 year (including all consumables) and periodical services as per technical specifications etc complete as required. | 6.00 | Job | 100.00 | 80000.00 | 480000.00 | 75000.00 | 450000.00 | 72000.00 | 432000.00 | 54500.00 | 327000.00 | 58900.00 | 353400.00 | 327000.00 | LIFE STYLE INTERIORS
14.00 | SITC of industrial type 100 LPH capacity Reverse Osmosis (RO) system having 100 LPH flow rate with multigrade sand/ sediment filter set, RO Membrane, activated carbon filter set, antisclant dosing system, micron filters, high pressure pump, UV sytem, pre filter, TDS Level Indicator, Cartridge Life Indicator etc. complete with all attachments and accessories assembled, pre-piped, pre-wired and housed in a well-designed cabin modeled mild steel epoxy painted or PU coated / stainless steel skid i/c making inlet outlet connections with comprehensive warranty during Defect Liability Period of 01 year (including all consumables) and periodical services as per technical specifications etc complete as required. | 4.00 | Job | 100.00 | 70000.00 | 280000.00 | 92000.00 | 368000.00 | 71000.00 | 284000.00 | 100000.00 | 400000.00 | 56100.00 | 224400.00 | 224400.00 | DY Infra & Projects Private Limited
15.00 | SITC of industrial type 150 LPH capacity Reverse Osmosis (RO) system having 150 LPH flow rate with multigrade sand/ sediment filter set, activated carbon filter set, antisclant dosing system, micron filters, high pressure pump, UV sytem, TDS Level Indicator, Cartridge Life Indicator etc. complete with all attachments and accessories assembled, pre-piped, pre-wired and housed in a well-designed cabin modeled mild steel epoxy painted or PU coated / stainless steel skid i/c making inlet outlet connections with comprehensive warranty during Defect Liability Period of 01 year (including all consumables) and periodical services as per technical specifications etc complete as required. | 2.00 | Job | 100.00 | 100000.00 | 200000.00 | 149500.00 | 299000.00 | 90000.00 | 180000.00 | 140000.00 | 280000.00 | 61250.00 | 122500.00 | 122500.00 | DY Infra & Projects Private Limited
16.00 | SITC of industrial type 500 LPH capacity Reverse Osmosis (RO) system having 500 LPH flow rate with multigrade sand/ sediment filter set, activated carbon filter set, antisclant dosing system, micron filters, high pressure pump, UV sytem TDS Level Indicator, Cartridge Life Indicator etc. complete with all attachments and accessories assembled, pre-piped, pre-wired and housed in a well-designed cabin modeled mild steel epoxy painted or PU coated / stainless steel skid i/c making inlet outlet connections with comprehensive warranty during Defect Liability Period of 01 year (including all consumables) and periodical services as per technical specifications etc complete as required. | 4.00 | Job | 100.00 | 200000.00 | 800000.00 | 185000.00 | 740000.00 | 180000.00 | 720000.00 | 352000.00 | 1408000.00 | 138600.00 | 554400.00 | 554400.00 | DY Infra & Projects Private Limited
17.00 | Providing and fixing of suitable size UPVC drain pipe for installation of 1.5 TR and 2.0 TR Split AC including cutting, jointing with approved solvent etc complete as required per site requirement. | 40.00 | Mtr | 100.00 | 150.00 | 6000.00 | 175.00 | 7000.00 | 100.00 | 4000.00 | 250.00 | 10000.00 | 230.00 | 9200.00 | 4000.00 | HONEY COLLECTION
18.00 | Supply and fixing of MS angle stand made by 50x50x6 mm MS angle for fixing 1.5/2.0 TR split AC outdoor unit or condensing units along with necessary vibration pads, anchor fastener/bolt & nuts etc with concrete, including painting etc. complete as required. | 16.00 | Job | 100.00 | 1500.00 | 24000.00 | 1800.00 | 28800.00 | 2500.00 | 40000.00 | 2500.00 | 40000.00 | 2820.00 | 45120.00 | 24000.00 | VOLKS ENERGIE PVT LTD
19.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, DP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 16.00 | Job | 100.00 | 1031.00 | 16496.00 | 1800.00 | 28800.00 | 1000.00 | 16000.00 | 1500.00 | 24000.00 | 1460.00 | 23360.00 | 16000.00 | HONEY COLLECTION
20.00 | Supply and fixing 100mm x 100mm PVC trunking profile for cover the refrigerent piping, copper cable etc complete as required. | 44.00 | Mtr | 100.00 | 360.00 | 15840.00 | 450.00 | 19800.00 | 600.00 | 26400.00 | 350.00 | 15400.00 | 288.00 | 12672.00 | 12672.00 | DY Infra & Projects Private Limited
21.00 | Dismantling of the following water coolers and RO systems completely from different locations of the Kishangarh Airport and shifting the same in the AAI store / office as per direction of EIC.
21.10 | Water cooler up to 150 Ltr capacity. | 5.00 | Job | 100.00 | 2500.00 | 12500.00 | 100.00 | 500.00 | 500.00 | 2500.00 | 700.00 | 3500.00 | 2200.00 | 11000.00 | 500.00 | Arctic Engineering Services
21.20 | Water cooler 300 Ltr capacity. | 4.00 | Job | 100.00 | 3000.00 | 12000.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 800.00 | Arctic Engineering Services
21.30 | RO unit up to 50 LPH rating. | 5.00 | Job | 100.00 | 1000.00 | 5000.00 | 100.00 | 500.00 | 500.00 | 2500.00 | 700.00 | 3500.00 | 1350.00 | 6750.00 | 500.00 | Arctic Engineering Services
21.40 | RO plant 250 LPH rating. | 4.00 | Job | 100.00 | 2000.00 | 8000.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 2650.00 | 10600.00 | 1200.00 | Arctic Engineering Services
| Total in Figures |  |  |  |  | 5388761.00 |  | 4732920.00 |  | 4621980.00 |  | 5385100.00 |  | 4204352.00
Lowest Amount Quoted BY: DY Infra & Projects Private Limited(4204352.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Air-conditioners Split and Tower type, RO System and Water Coolers at Kishangarh Airport. Tender ID: 2026_AAI_280976_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DY Infra & Projects Private Limited (BID ID -1040920) | 4204352.00 | L1
| 2 | HONEY COLLECTION (BID ID -1041254) | 4621980.00 | L2
| 3 | Arctic Engineering Services (BID ID -1041122) | 4732920.00 | L3
| 4 | LIFE STYLE INTERIORS (BID ID -1041301) | 5385100.00 | L4
| 5 | VOLKS ENERGIE PVT LTD (BID ID -1039112) | 5388761.00 | L5