## BoQ1
Government eProcurement System Created By: A NARASIMHA PRASAD Created Date/Time: 15-Jul-2026 05:19 PM Tender Title: Renovation of Toilets in ATS complex at Chennai Airport Electrical Works. Tender ID: 2026_AAI_280985_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI - 600016
Name of Work: Renovation of Toilets in ATS complex at Chennai Airport - Electrical Works.
Contract No: 2026_AAI_280985_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -1042050 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -1042385 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -1040511
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : INTERNAL ELECTRICAL WORKS
1.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required Group C | 20.00 | Each |  | 1669.00 | 33380.00 | 1500.00 | 30000.00 | 1099.00 | 21980.00 | 21980.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLSH PVC insulated copper conductor single core cable etc. as required Group C | 30.00 | Each |  | 999.00 | 29970.00 | 1500.00 | 45000.00 | 1199.00 | 35970.00 | 29970.00 | CHENNAI ENGINEERING SERVICES
2.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
2.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Mtr |  | 269.00 | 26900.00 | 350.00 | 35000.00 | 399.00 | 39900.00 | 26900.00 | CHENNAI ENGINEERING SERVICES
2.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Mtr |  | 329.00 | 32900.00 | 400.00 | 40000.00 | 499.00 | 49900.00 | 32900.00 | CHENNAI ENGINEERING SERVICES
2.03 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 15.00 | Each |  | 99.00 | 1485.00 | 100.00 | 1500.00 | 99.00 | 1485.00 | 1485.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
2.04 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps switch, connections etc., as required. | 10.00 | Each |  | 569.00 | 5690.00 | 200.00 | 2000.00 | 999.00 | 9990.00 | 2000.00 | Balaji Engineering
3.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess/surface etc. as required.
3.01 | 1 or 2 Module (75mmX75mm) | 20.00 | Each |  | 329.00 | 6580.00 | 400.00 | 8000.00 | 599.00 | 11980.00 | 6580.00 | CHENNAI ENGINEERING SERVICES
3.02 | 3 Module (100mmX75mm) | 6.00 | Each |  | 349.00 | 2094.00 | 500.00 | 3000.00 | 599.00 | 3594.00 | 2094.00 | CHENNAI ENGINEERING SERVICES
3.03 | 4 Module (125mmX75mm) | 15.00 | Each |  | 359.00 | 5385.00 | 600.00 | 9000.00 | 699.00 | 10485.00 | 5385.00 | CHENNAI ENGINEERING SERVICES
3.04 | 6 Module (200mmX75mm) | 13.00 | Each |  | 409.00 | 5317.00 | 800.00 | 10400.00 | 699.00 | 9087.00 | 5317.00 | CHENNAI ENGINEERING SERVICES
3.05 | 8 Module (125mmX125mm) | 2.00 | Each |  | 449.00 | 898.00 | 1000.00 | 2000.00 | 999.00 | 1998.00 | 898.00 | CHENNAI ENGINEERING SERVICES
3.06 | Supplying and fixing of 5/6A modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 155.00 | Each |  | 479.00 | 74245.00 | 500.00 | 77500.00 | 129.00 | 19995.00 | 19995.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | SH - II: SITC of Light Fittings, Fans etc.,
4.01 | Supply of Indoor 2' X 2' LED Recessed mounting flat panel slim LED integral light luminaries made of Powder coated aluminium extrusion housing/CRCA/ standard alloy and Special opal diffuser for uniform light output, having luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 4000 Lumen suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications with 5 years warranty etc. complete as required. (Make: BAJAJ, Model: BZRSQL 36L LED GX WH or Equivalent). | 75.00 | Each |  | 2199.00 | 164925.00 | 3500.00 | 262500.00 | 2199.00 | 164925.00 | 164925.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
4.02 | Supply of Surface mounted 1ftx4ft LED luminaries having minimum lumen output of 3600 lumens, systemefficacy not lessthan 100lumen/watt, control driver with minimum 2kV surgesuppressor, fitting made up of extruded aluminum/CRCA/standard alloy white powder coated housing, polycarbonate diffuser foruniform light distribution with IP20 protection suitable for operationon 230V,50Hz,single phase AC supply inline with technical specifications given inspecial conditions of contract with 5 years warranty etc. complete as required.(Make:BAJAJ, Model: Skylux Series - Surface 4X1 BZSSLL 36W LED WH i or Equivalent). | 10.00 | Each |  | 3149.00 | 31490.00 | 2500.00 | 25000.00 | 3299.00 | 32990.00 | 25000.00 | Balaji Engineering
4.03 | Supply of 20W, 4 feet, Energy efficient, surface mounting, batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 70% lumen maintained, system consumption should be less than 20W and especially designed for commercial use etc., complete as required and meeting the techno commercial specifications with 5 years warranty etc. complete as required. (Make:BAJAJ, Model:BLIR 24L WH PC SD or Equivalent). | 15.00 | Each |  | 1499.00 | 22485.00 | 1500.00 | 22500.00 | 1999.00 | 29985.00 | 22485.00 | CHENNAI ENGINEERING SERVICES
4.04 | Supply of 18W-20W COB LED Downlight luminaire shall provide range of 1800 to 2000 lumens suitable for recess mounting with white powder-coated extruded aluminium housing with an inbuilt heat sink for enhanced thermal management, ensuring long LED life. The optical compartment will include a high-efficiency reflector and a PMMA/PC diffuser to produce a precise light beam while minimizing glare with a minimum L70 life of 50,000 hours at maximum current. The color temperature will be 3000K and especially designed for commercial use etc., complete as required and meeting the techno commercial specifications with 5 years warranty etc. complete as required. | 15.00 | Each |  | 2329.00 | 34935.00 | 2000.00 | 30000.00 | 1299.00 | 19485.00 | 19485.00 | DElite System Engineering (India) Pvt. Ltd.
4.05 | Supply of 300 mm dia single phase 900 RPM mild steel body Heavy duty Exhaust fan with metallic louver including all accessories and suitable for operation on 230 V, 50 Hz AC supply complete as required. | 40.00 | Each |  | 3499.00 | 139960.00 | 3750.00 | 150000.00 | 4999.00 | 199960.00 | 139960.00 | CHENNAI ENGINEERING SERVICES
4.06 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories on false ceiling, including supports for fittings and connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 125.00 | Each |  | 299.00 | 37375.00 | 500.00 | 62500.00 | 399.00 | 49875.00 | 37375.00 | CHENNAI ENGINEERING SERVICES
4.07 | Installation of exhaust fan with louver including opening of wall if required and making good the damage, connection, testing, commissioning with 1.5 sqmm flexible FRLSH cable etc., as required. Upto 450mm dia | 40.00 | Each |  | 999.00 | 39960.00 | 500.00 | 20000.00 | 799.00 | 31960.00 | 20000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 695974.00 |  | 835900.00 |  | 745544.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(695974.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets in ATS complex at Chennai Airport Electrical Works. Tender ID: 2026_AAI_280985_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES (BID ID -1042050) | 695974.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. (BID ID -1040511) | 745544.00 | L2
| 3 | Balaji Engineering (BID ID -1042385) | 835900.00 | L3