## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 30-Jul-2026 01:11 PM Tender Title: FMC of 4 X 100 TR AC Plant and AIACMC for Split, Cassette, Ductable Split Air Conditioners and Water Coolers at Chennai International Airport (2026-2028) Tender ID: 2026_AAI_281399_1
Tender Inviting Authority: AGM (E-E), Chennai Airport, Chennai.
Name of Work: FMC of 4 X 100TR AC plant and AIACMC for Split, Cassette, Ductable Split Air Conditioner & Water Coolers at Chennai International Airport (2026-2028).
E BID No : 2026_AAI_281399_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Cooltec (GSTN-33CZOPS9421C1Z6) BID ID -1043682 |  | TF AIR SYSTEMS PRIVATE LIMITED (GSTN-29AACCT6401F1ZI) BID ID -1047563 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -1044386 |  | SPACE AIR PROTECH LIMITED (GSTN-NA) BID ID -1045642
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I Monitoring and Maintenance of AC installations
1.01 | Monitoring and Maintenance of Utility Services of HVAC System in AAI Admin Block (As per - List of Inventories) on 2 Shift Basis (Timing as decided by Engineer In Charge - Duty Timing for One Shift: 8 Hours in a Day) for 100% Serviceability i/c providing consumable material like cotton waste, oil, grease, Insulation Tapes and other Sundry Material required for cleaning etc., attending Minor Faults/Assisting OEM during Servicing and Breakdown of Equipments, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices (Other than OEM CAMC Works) and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and Reporting as and when required, complete Upkeeping of the Installations etc., on all days except Sundays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Months |  | 100000.00 | 2400000.00 | 81000.00 | 1944000.00 | 73108.00 | 1754592.00 | 78725.00 | 1889400.00 | 1754592.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | Monitoring and Maintenance of AC Installations (Various Capacity of Window ACs/Split ACs/Cassette ACs/Water Coolers etc.,) at Various Locations at Chennai Airport (As per - List of Inventories) on 8 Hours Day Shift Basis (Timing as decided by Engineer In Charge) for 100% Serviceability i/c providing Consumable and other Sundry Material required for Cleaning, attending Faults/Breakdown of Equipments, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and Reporting as and when required, complete Upkeeping of the Installations etc., on all days except Sundays as specified and as directed by Engineer-In-Charge as required. (Supply of Materials other than Cleaning Materials is NOT in the Scope of Item) | 24.00 | Months |  | 308000.00 | 7392000.00 | 270525.00 | 6492600.00 | 252518.00 | 6060432.00 | 272035.00 | 6528840.00 | 6060432.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | SH: II AIACMC for Air conditioners and Water coolers
2.01 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of following Type Air- Conditioners including Supply of all necessary Spares (Both Electrical and Mechanical), Consumables (Gas/Oil-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils, Controls Systems etc.), To Carry Out Routine and General Preventive Maintenance as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost) [Rate is required to be quoted for Yearly Basis]
2.02 | Split Air-conditioners of 1.0 TR to 2.0 TR Capacity of different make
2.03 | First Year | 157.00 | Each |  | 1500.00 | 235500.00 | 450.00 | 70650.00 | 999.00 | 156843.00 | 3000.00 | 471000.00 | 70650.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.04 | Second Year | 157.00 | Each |  | 1500.00 | 235500.00 | 450.00 | 70650.00 | 999.00 | 156843.00 | 3150.00 | 494550.00 | 70650.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.05 | Split Air-conditioners of 1.5TR to 2.0 TR Capacity Inverter Type of different make
2.06 | First Year | 84.00 | Each |  | 1500.00 | 126000.00 | 450.00 | 37800.00 | 1599.00 | 134316.00 | 4000.00 | 336000.00 | 37800.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.07 | Second Year | 84.00 | Each |  | 1500.00 | 126000.00 | 450.00 | 37800.00 | 1599.00 | 134316.00 | 4200.00 | 352800.00 | 37800.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.08 | High wall Split Air-conditioners of 3.0 TR Capacity of different make
2.09 | First Year | 20.00 | Each |  | 1500.00 | 30000.00 | 540.00 | 10800.00 | 999.00 | 19980.00 | 4500.00 | 90000.00 | 10800.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.10 | Second Year | 20.00 | Each |  | 1500.00 | 30000.00 | 540.00 | 10800.00 | 999.00 | 19980.00 | 4725.00 | 94500.00 | 10800.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.11 | Split type Vertical Air-conditioners of 3/4.0 TR Capacity of different make
2.12 | First Year | 16.00 | Each |  | 2000.00 | 32000.00 | 540.00 | 8640.00 | 999.00 | 15984.00 | 8800.00 | 140800.00 | 8640.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.13 | Second Year | 16.00 | Each |  | 2000.00 | 32000.00 | 540.00 | 8640.00 | 999.00 | 15984.00 | 9240.00 | 147840.00 | 8640.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.14 | 3 Phase, 3.0/ 4.0 Ton Cassette Type Air-Conditioners of different make
2.15 | First Year | 6.00 | Each |  | 2500.00 | 15000.00 | 540.00 | 3240.00 | 999.00 | 5994.00 | 6000.00 | 36000.00 | 3240.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.16 | Second Year | 6.00 | Each |  | 2500.00 | 15000.00 | 540.00 | 3240.00 | 999.00 | 5994.00 | 6300.00 | 37800.00 | 3240.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.17 | Ductable Type Air-Conditioners of 6.0 TR Capacity
2.18 | First Year | 2.00 | Each |  | 2500.00 | 5000.00 | 630.00 | 1260.00 | 3999.00 | 7998.00 | 9000.00 | 18000.00 | 1260.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.19 | Second Year | 2.00 | Each |  | 2500.00 | 5000.00 | 630.00 | 1260.00 | 3999.00 | 7998.00 | 9450.00 | 18900.00 | 1260.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.20 | Ductable type Air-Conditioners of 9.0 TR Capacity
2.21 | First Year | 9.00 | Each |  | 3000.00 | 27000.00 | 900.00 | 8100.00 | 3999.00 | 35991.00 | 13500.00 | 121500.00 | 8100.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.22 | Second Year | 9.00 | Each |  | 3000.00 | 27000.00 | 900.00 | 8100.00 | 3999.00 | 35991.00 | 14175.00 | 127575.00 | 8100.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.23 | Ductable type Air- Conditioners of 16.5 TR Capacity
2.24 | First Year | 5.00 | Each |  | 2500.00 | 12500.00 | 2250.00 | 11250.00 | 6999.00 | 34995.00 | 25500.00 | 127500.00 | 11250.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.25 | Second Year | 5.00 | Each |  | 2500.00 | 12500.00 | 2250.00 | 11250.00 | 6999.00 | 34995.00 | 26775.00 | 133875.00 | 11250.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.26 | Ceiling Suspended chilled water FCU of 1.5 TR Capacity
2.27 | First Year | 8.00 | Each |  | 1500.00 | 12000.00 | 360.00 | 2880.00 | 1999.00 | 15992.00 | 1500.00 | 12000.00 | 2880.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.28 | Second Year | 8.00 | Each |  | 1500.00 | 12000.00 | 360.00 | 2880.00 | 1999.00 | 15992.00 | 1575.00 | 12600.00 | 2880.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.29 | Ceiling Suspended chilled water FCU of 7.5 TR Capacity
2.30 | First Year | 2.00 | Each |  | 2000.00 | 4000.00 | 450.00 | 900.00 | 2999.00 | 5998.00 | 7800.00 | 15600.00 | 900.00 | TF AIR SYSTEMS PRIVATE LIMITED
2.31 | Second Year | 2.00 | Each |  | 2000.00 | 4000.00 | 450.00 | 900.00 | 2999.00 | 5998.00 | 7875.00 | 15750.00 | 900.00 | TF AIR SYSTEMS PRIVATE LIMITED
3.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Voltage Stabilizer upto 5KVA Capacity suitable for Window/Split ACs including Repair/Replacement of Components etc., as required at site.
3.01 | First Year | 241.00 | Each |  | 250.00 | 60250.00 | 90.00 | 21690.00 | 99.00 | 23859.00 | 207.00 | 49887.00 | 21690.00 | TF AIR SYSTEMS PRIVATE LIMITED
3.02 | Second Year | 241.00 | Each |  | 250.00 | 60250.00 | 90.00 | 21690.00 | 99.00 | 23859.00 | 207.00 | 49887.00 | 21690.00 | TF AIR SYSTEMS PRIVATE LIMITED
4.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Kelby/Conway Make Water Cooler of Storage Tank Capacity of 80 Liters and RO Purification at 50 LPH Capacity including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical ( Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon & Spun)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis]
4.01 | First Year | 38.00 | Each |  | 1500.00 | 57000.00 | 900.00 | 34200.00 | 1999.00 | 75962.00 | 2500.00 | 95000.00 | 34200.00 | TF AIR SYSTEMS PRIVATE LIMITED
4.02 | Second Year | 38.00 | Each |  | 1500.00 | 57000.00 | 900.00 | 34200.00 | 1999.00 | 75962.00 | 2500.00 | 95000.00 | 34200.00 | TF AIR SYSTEMS PRIVATE LIMITED
5.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Zero B Make Eco Chill 40-80-40 / Eco Chill 150-150-150 Cold / Eco Chill 40-120-150 WCN Models Water Coolers with Storage Tank Capacity 80/120/150 Liters and RO Purification with HRR & ESS Technology at 150 LPH Capacity including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical (Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon/Spun/NOVA Cartridge)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis]
5.01 | First Year | 13.00 | Each |  | 1500.00 | 19500.00 | 900.00 | 11700.00 | 2999.00 | 38987.00 | 3500.00 | 45500.00 | 11700.00 | TF AIR SYSTEMS PRIVATE LIMITED
5.02 | Second Year | 13.00 | Each |  | 1500.00 | 19500.00 | 900.00 | 11700.00 | 2999.00 | 38987.00 | 3675.00 | 47775.00 | 11700.00 | TF AIR SYSTEMS PRIVATE LIMITED
6.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Kelby/Conway Make Normal Hot/Cold Water Cooler of Storage Tank Capacity upto 80 Liters including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical ( Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon & Spun)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis]
6.01 | First Year | 10.00 | Each |  | 1000.00 | 10000.00 | 900.00 | 9000.00 | 1999.00 | 19990.00 | 5500.00 | 55000.00 | 9000.00 | TF AIR SYSTEMS PRIVATE LIMITED
6.02 | Second Year | 10.00 | Each |  | 1000.00 | 10000.00 | 900.00 | 9000.00 | 1999.00 | 19990.00 | 5775.00 | 57750.00 | 9000.00 | TF AIR SYSTEMS PRIVATE LIMITED
7.00 | All Inclusive Annual Comprehensive Maintenance of Various Make 7-10 LPH Capacity RO+UV Water Purifier including Supply of all necessary Spares (Both Electrical and Mechanical), Consumables (Other than Cleaning Materials), Major Components Including Membrane, To Carry Out Routine and General Preventive Maintenance as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost) [Rate is required to be quoted for Yearly Basis]
7.01 | First Year | 2.00 | Each |  | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 1999.00 | 3998.00 | 6500.00 | 13000.00 | 2000.00 | M/s Cooltec
7.02 | Second Year | 2.00 | Each |  | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 1999.00 | 3998.00 | 6825.00 | 13650.00 | 2000.00 | M/s Cooltec
8.00 | Testing of treated water from designated locations as per Techno Commercial Specifications from an NABL accredited lab. The scope includes: (a) On-site collection of samples. (b) Laboratory analysis for Physical and Chemical parameters as per IS 3025. (c) Microbiological analysis for E. coli and Total Coliform as per IS 15185. (d) Submission of detailed test reports to AAI. The quoted rate includes all material, labour transportation and laboratory test report. | 12.00 | Job |  | 4500.00 | 54000.00 | 9000.00 | 108000.00 | 7299.00 | 87588.00 | 2750.00 | 33000.00 | 33000.00 | SPACE AIR PROTECH LIMITED
9.00 | SH: III SUPPLY OF MATERIALS
10.00 | Supply of 80/100 GPD Membrane suitable for Kelby/Conway Make RO Type Water Coolers as required. | 100.00 | Each |  | 900.00 | 90000.00 | 270.00 | 27000.00 | 699.00 | 69900.00 | 1080.00 | 108000.00 | 27000.00 | TF AIR SYSTEMS PRIVATE LIMITED
11.00 | Supply of 300 GPD Membrane suitable for Conway/Kelby Make RO Type Water Coolers as required. | 200.00 | Each |  | 1800.00 | 360000.00 | 270.00 | 54000.00 | 1499.00 | 299800.00 | 2280.00 | 456000.00 | 54000.00 | TF AIR SYSTEMS PRIVATE LIMITED
12.00 | Supply of Pressure pump of model NSF-400L/H-ECO SM 100/150 LTR for ZERO B model ECO Chill RO water cooler. | 2.00 | Each |  | 20000.00 | 40000.00 | 1800.00 | 3600.00 | 999.00 | 1998.00 | 10200.00 | 20400.00 | 1998.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | Supply of cordless remote suitable for different make 1.5/2.0 TR/3.0TR split type/window type/tower type/cassette A/C units as required as per Site Requirement. | 20.00 | Each |  | 200.00 | 4000.00 | 540.00 | 10800.00 | 299.00 | 5980.00 | 780.00 | 15600.00 | 4000.00 | M/s Cooltec
14.00 | Supply of Refrigerant copper piping of suitable size and thickness as per OEM Recommendation to connect indoor and outdoor units, including Insulation of 9mm thick nitrile rubber and protective external covering with Cotton tape all necessary supports/fittings etc., as required. (Material Cost of Brazing to be included in the Quote)
14.01 | Suction Tube & Liquid Tube for 1.5 TR AC | 50.00 | Meter |  | 900.00 | 45000.00 | 1260.00 | 63000.00 | 1999.00 | 99950.00 | 1140.00 | 57000.00 | 45000.00 | M/s Cooltec
14.02 | Suction Tube & Liquid Tube for 2 TR AC | 25.00 | Meter |  | 900.00 | 22500.00 | 1260.00 | 31500.00 | 2499.00 | 62475.00 | 1140.00 | 28500.00 | 22500.00 | M/s Cooltec
14.03 | Suction Tube & Liquid Tube for 3 TR & 4 TR AC | 25.00 | Meter |  | 1000.00 | 25000.00 | 1440.00 | 36000.00 | 2499.00 | 62475.00 | 1500.00 | 37500.00 | 25000.00 | M/s Cooltec
15.00 | Supply of Insulation of 9mm thick nitrile rubber and Cotton tape protective external covering with all necessary supports/fittings etc., as required.
15.01 | Suction Tube & Liquid Tube for 1.5 TR AC | 50.00 | Meter |  | 100.00 | 5000.00 | 90.00 | 4500.00 | 199.00 | 9950.00 | 144.00 | 7200.00 | 4500.00 | TF AIR SYSTEMS PRIVATE LIMITED
15.02 | Suction Tube & Liquid Tube for 2 TR AC | 50.00 | Meter |  | 100.00 | 5000.00 | 90.00 | 4500.00 | 199.00 | 9950.00 | 144.00 | 7200.00 | 4500.00 | TF AIR SYSTEMS PRIVATE LIMITED
15.03 | Suction Tube & Liquid Tube for 3 TR & 4 TR AC | 50.00 | Meter |  | 100.00 | 5000.00 | 126.00 | 6300.00 | 199.00 | 9950.00 | 180.00 | 9000.00 | 5000.00 | M/s Cooltec
16.00 | Supply of standard outdoor wall bracket with vibration pad of suitable size for Split AC Unit up-to 2 TR Capacity of ACs complete as required. | 20.00 | Meter |  | 350.00 | 7000.00 | 450.00 | 9000.00 | 999.00 | 19980.00 | 2220.00 | 44400.00 | 7000.00 | M/s Cooltec
17.00 | Supply of following Refrigerant Gases for Installation of AC Units at New Location as required.
17.01 | R22 | 15.00 | Kg |  | 1300.00 | 19500.00 | 1260.00 | 18900.00 | 1399.00 | 20985.00 | 1500.00 | 22500.00 | 18900.00 | TF AIR SYSTEMS PRIVATE LIMITED
17.02 | R32 | 15.00 | Kg |  | 1200.00 | 18000.00 | 1260.00 | 18900.00 | 1399.00 | 20985.00 | 1320.00 | 19800.00 | 18000.00 | M/s Cooltec
17.03 | R410A | 15.00 | Kg |  | 1200.00 | 18000.00 | 1260.00 | 18900.00 | 1499.00 | 22485.00 | 1320.00 | 19800.00 | 18000.00 | M/s Cooltec
18.00 | Supply of following size UPVC drain pipe with Insulation and fixing saddles complete as required.
18.01 | 25mm dia | 50.00 | Meter |  | 200.00 | 10000.00 | 270.00 | 13500.00 | 299.00 | 14950.00 | 180.00 | 9000.00 | 9000.00 | SPACE AIR PROTECH LIMITED
18.02 | 40mm dia | 50.00 | Meter |  | 250.00 | 12500.00 | 360.00 | 18000.00 | 399.00 | 19950.00 | 322.00 | 16100.00 | 12500.00 | M/s Cooltec
19.00 | Supplying & fixing of following size PVC trunking profile on wall/surface to facilitate installation of copper piping, insulation, power cabling, control cabling, condensate drain water piping etc., complete as required as per specifications.
19.01 | 75 X 50 X 2 mm | 100.00 | RM |  | 900.00 | 90000.00 | 90.00 | 9000.00 | 399.00 | 39900.00 | 300.00 | 30000.00 | 9000.00 | TF AIR SYSTEMS PRIVATE LIMITED
19.02 | 100 X 50 X 2 mm | 100.00 | RM |  | 1000.00 | 100000.00 | 180.00 | 18000.00 | 499.00 | 49900.00 | 420.00 | 42000.00 | 18000.00 | TF AIR SYSTEMS PRIVATE LIMITED
20.00 | Miscellaneous Work
21.00 | Cleaning of AC Ducts using Robotic Camera and Various duct agitating tools such as rotary brushes, air whips, Nozzles, compressed air, HEPA negative machine with HEPA filter and vacuum machine, including disposal of dust, removing and refixing of grills etc complete as required (Qty Considered in Sq.Ft is based on Air Conditioned Floor Area) | 93000.00 | Sq.Ft |  | 7.00 | 651000.00 | 18.00 | 1674000.00 | 8.00 | 744000.00 | 6.00 | 558000.00 | 558000.00 | SPACE AIR PROTECH LIMITED
22.00 | Dismantling of existing GI Fire damper from the ducting inside the AHU Room etc. complete as required, shifting to designated location and handing over to AAI stores. | 21.00 | Sq.Mtr |  | 8100.00 | 170100.00 | 900.00 | 18900.00 | 999.00 | 20979.00 | 1440.00 | 30240.00 | 18900.00 | TF AIR SYSTEMS PRIVATE LIMITED
23.00 | Supply of G.I Fabricated Motorised Fire & Smoke Damper with Hat channel Frame of suitable width of 16 gauge thickness & blades of 16 gauge thickness, Fire rated for 1.5 Hours with UL 555, complete with nuts, bolts, screws, linkage, flange etc supplied with long sleeve suitable for mounting actuator etc complete as required. | 21.00 | Sq.Mtr |  | 9900.00 | 207900.00 | 23400.00 | 491400.00 | 21999.00 | 461979.00 | 23400.00 | 491400.00 | 207900.00 | M/s Cooltec
24.00 | SITC of Motorised actuator package Fire rated for 1.5 Hours with UL 555 and suitable for Fire and smoke damper along with control panel with thermal trip arrangement, including making necessary wiring and interconnection with AHU etc complete as required | 44.00 | Nos |  | 9900.00 | 435600.00 | 7200.00 | 316800.00 | 39999.00 | 1759956.00 | 14160.00 | 623040.00 | 316800.00 | TF AIR SYSTEMS PRIVATE LIMITED
25.00 | Installation, testing and commissioning of G.I Fabricated Motorised Fire & Smoke Damper complete with nuts, bolts, screws, linkage, flange etc supplied with long sleeve suitable for mounting motorised actuator with control panel and thermal trip arrangement etc as required. | 21.00 | Sq.Mtr |  | 8100.00 | 170100.00 | 10800.00 | 226800.00 | 1999.00 | 41979.00 | 1440.00 | 30240.00 | 30240.00 | SPACE AIR PROTECH LIMITED
26.00 | Fabrication & Supply of SS kitchen exhaust hood made out of 22 SWG 304 grade SS sheet with baffle type filters of size 72"Lx36”Wx20”H, ceiling suspended with GI rod of suitable size with all acessories complete as required. | 4.00 | Job |  | 20000.00 | 80000.00 | 117000.00 | 468000.00 | 39000.00 | 156000.00 | 67200.00 | 268800.00 | 80000.00 | M/s Cooltec
27.00 | SITC of 3HP, 9000 CFM Centrifugal blower made out of 2mm thick MS sheet driven by 3HP, 1440 rpm, 3 phase induction motor and SITC of 3Phase DOL Starter Suitable for 3HP Motor, with Overload protection Relay etc. complete as required, installed inside kitchen with suitable Heavy duty MS mounting structure including welding, cutting and fixing etc., complete as required. | 1.00 | Job |  | 20000.00 | 20000.00 | 270000.00 | 270000.00 | 59000.00 | 59000.00 | 184200.00 | 184200.00 | 20000.00 | M/s Cooltec
28.00 | Replacement of existing chilled water pipe insulation for pipes of following size including removing of old insulation, re-insulation using 50 mm thick PUF, cement plastering and painting etc., complete as required.
28.01 | 100 mm | 200.00 | Meter |  | 1750.00 | 350000.00 | 360.00 | 72000.00 | 1599.00 | 319800.00 | 1500.00 | 300000.00 | 72000.00 | TF AIR SYSTEMS PRIVATE LIMITED
28.02 | 80 mm | 100.00 | Meter |  | 1425.00 | 142500.00 | 270.00 | 27000.00 | 1499.00 | 149900.00 | 1380.00 | 138000.00 | 27000.00 | TF AIR SYSTEMS PRIVATE LIMITED
29.00 | DSR E&M 2025 ITEMS
30.00 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2025 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of Internal and External Electrical Installations as per Direction of Engineer-In-Charge at All Locations under Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2023, Part-II (External) 2023 and Part-IV (Substation) 2013 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 5,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure - E).
30.01 | For Year - I & II | 1.00 | Job |  | 500000.00 | 500000.00 | 92880.00 | 92880.00 | 460000.00 | 460000.00 | 550000.00 | 550000.00 | 92880.00 | TF AIR SYSTEMS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 14745200.00 |  | 13050000.00 |  | 14111542.00 |  | 15902199.00
Lowest Amount Quoted BY: TF AIR SYSTEMS PRIVATE LIMITED(13050000.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC of 4 X 100 TR AC Plant and AIACMC for Split, Cassette, Ductable Split Air Conditioners and Water Coolers at Chennai International Airport (2026-2028) Tender ID: 2026_AAI_281399_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TF AIR SYSTEMS PRIVATE LIMITED (BID ID -1047563) | 13050000.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. (BID ID -1044386) | 14111542.00 | L2
| 3 | M/s Cooltec (BID ID -1043682) | 14745200.00 | L3
| 4 | SPACE AIR PROTECH LIMITED (BID ID -1045642) | 15902199.00 | L4