## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 09-Jul-2026 04:24 PM Tender Title: Miscellaneous beautification works in Terminal Building at LBSI Airport Varanasi. Tender ID: 2026_AAI_281583_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Miscellaneous beautification works in Terminal Building at LBSI Airport Varanasi.
Contract No: 2026_AAI_ 281583_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -1037204 |  | STEEL ARTS (GSTN-NA) BID ID -1037009 |  | SWAGATAMA ENTERPRISES (GSTN-NA) BID ID -1037942 |  | Pavaki Infrasolutions LLP (GSTN-NA) BID ID -1038000
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works :
1.00 | Removing existing artificial grass/carpet flooring of any thickness from floors, including careful lifting and removal of the artificial turf, complete scraping and cleaning of the underlying surface, removal of all existing adhesives, glue residues, tapes, fixing accessories, dirt, dust, and other foreign materials to obtain a clean and sound base surface, all complete as per the direction and satisfaction of the Engineer-in-Charge. Rate shall include: labour, tools and plants, surface preparation, collection of dismantled materials, loading, transportation, and disposal of all unserviceable materials, debris, and rubbish at designated locations outside the New Terminal Building within the Airport premises, as directed by the Engineer-in-Charge, complete in all respects. | 1989.00 | sqm |  | 25.00 | 49725.00 | 100.00 | 198900.00 | 150.00 | 298350.00 | 110.00 | 218790.00 | 49725.00 | S.K. CONSTRUCTION
2.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 5878.00 | Kg |  | 102.00 | 599556.00 | 125.00 | 734750.00 | 160.00 | 940480.00 | 220.00 | 1293160.00 | 599556.00 | S.K. CONSTRUCTION
3.00 | Providing and fixing carbon steel galvanised (minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame • concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 120 mm | 3000.00 | each |  | 65.00 | 195000.00 | 80.00 | 240000.00 | 150.00 | 450000.00 | 60.00 | 180000.00 | 180000.00 | Pavaki Infrasolutions LLP
4.00 | Providing and fixing 18 mm thick single-extruded solid WPC (Wood Polymer Composite) board flooring base, fixed with stainless steel screws, including cutting, joint treatment with acrylic putty and all incidental works complete as per specifications and direction of Engineer-in-Charge. | 1989.00 | sqm |  | 1825.00 | 3629925.00 | 2250.00 | 4475250.00 | 2300.00 | 4574700.00 | 1350.00 | 2685150.00 | 2685150.00 | Pavaki Infrasolutions LLP
5.00 | Providing and fixing 3.0 mm thick homogeneous PVC sheet/tile flooring of approved colour and pattern on prepared smooth and damp-proof base using approved rubber-based adhesive, including rolling, cutting, fitting and finishing complete as per specifications and direction of Engineer-in-Charge. | 1989.00 | sqm |  | 960.00 | 1909440.00 | 875.00 | 1740375.00 | 1300.00 | 2585700.00 | 1600.00 | 3182400.00 | 1740375.00 | STEEL ARTS
6.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing, false ceiling and toilet cubicles including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 1676.00 | sqm |  | 30.00 | 50280.00 | 110.00 | 184360.00 | 150.00 | 251400.00 | 200.00 | 335200.00 | 50280.00 | S.K. CONSTRUCTION
7.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595 mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ≥ 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32 mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8 mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 20 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.7) | 528.00 | sqm |  | 2110.00 | 1114080.00 | 2050.00 | 1082400.00 | 1700.00 | 897600.00 | 1850.00 | 976800.00 | 897600.00 | SWAGATAMA ENTERPRISES
8.00 | Repairing and realignment of existing suspended false ceiling framework including removal and refixing of ceiling tiles, tightening and leveling of grid system, replacement of damaged G.I. clips, L-connectors and other fixing accessories, complete at all heights as directed by the Engineer-in-Charge. (Measurement in sqm). | 578.00 | sqm |  | 265.00 | 153170.00 | 450.00 | 260100.00 | 550.00 | 317900.00 | 200.00 | 115600.00 | 115600.00 | Pavaki Infrasolutions LLP
9.00 | Providing and fixing 20 mm thick beveled tegular mineral fibre acoustic false ceiling tiles (595 mm × 595 mm) having NRC 0.70, RH 99%, light reflectance ≥ 85%, in existing G.I. ceiling grid system, including cutting, fitting and finishing complete as per specifications and direction of Engineer-in-Charge. | 578.00 | sqm |  | 1460.00 | 843880.00 | 2500.00 | 1445000.00 | 1400.00 | 809200.00 | 850.00 | 491300.00 | 491300.00 | Pavaki Infrasolutions LLP
10.00 | Supplying mineral fibre acoustic false ceiling tiles, 595 mm × 595 mm × 20 mm thick, beveled tegular edge, NRC 0.70, RH 99%, light reflectance ≥ 85%, conforming to BS 476 Part 6 & 7, including transportation and delivery at site complete as directed by the Engineer-in-Charge. | 180.00 | sqm |  | 1280.00 | 230400.00 | 1425.00 | 256500.00 | 1500.00 | 270000.00 | 650.00 | 117000.00 | 117000.00 | Pavaki Infrasolutions LLP
11.00 | Providing and fixing powder coated aluminium work (minimum thickness of powder coating 50 micron) consisting of tee/ angle sections, of approved make conforming to IS : 733 in frames of false ceiling including aluminium angle cleats with necessary C.P. brass/ stainless steel sunk screws, aluminium perimeter angles fixed to wall with stainless steel rawl plugs @ 450 mm centre to centre and fixing the frame work to G.I. level adjusting hangers 6 mm dia. with necessary cadmium plated machine screws all complete as per approved architectural drawings and direction of the Engineer-in-charge (level adjusting hangers, ceiling cleats and expansion hold fasteners to be paid for separately). | 800.00 | kg |  | 665.00 | 532000.00 | 500.00 | 400000.00 | 680.00 | 544000.00 | 450.00 | 360000.00 | 360000.00 | Pavaki Infrasolutions LLP
12.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x3Bx10 mm made of G. I steel 0. 7 mm thick from the soffit with the help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with the help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized@ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : Gl Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 330.00 | sqm |  | 3110.00 | 1026300.00 | 1950.00 | 643500.00 | 2400.00 | 792000.00 | 2500.00 | 825000.00 | 643500.00 | STEEL ARTS
13.00 | Providing and fixing 600 × 600 mm G.I. Clip-in Metal Ceiling Tiles, 0.50 mm thick, beveled edge, 25 mm deep, perforated (20% open area), powder-coated Global White finish, in existing G.I. clip-in ceiling grid system, complete as per specifications and direction of Engineer-in-Charge | 456.00 | sqm |  | 2210.00 | 1007760.00 | 2000.00 | 912000.00 | 2400.00 | 1094400.00 | 1350.00 | 615600.00 | 615600.00 | Pavaki Infrasolutions LLP
14.00 | Carefully dismantling existing false ceiling tiles/panels from the existing ceiling grid at all heights, including stacking, carriage to designated workshop/storage location within Airport premises, and disposal of unserviceable materials complete as directed by the Engineer-in-Charge. | 13020.00 | sqm |  | 35.00 | 455700.00 | 70.00 | 911400.00 | 89.00 | 1158780.00 | 120.00 | 1562400.00 | 455700.00 | S.K. CONSTRUCTION
15.00 | Surface preparing of existing 600 mm × 600 mm G.I. metal ceiling tiles/panels by removal of old paint and rust through sand blasting, scraping, wire brushing and sand papering, including cleaning and minor surface repairs, complete as directed by the Engineer-in-Charge. | 13020.00 | sqm |  | 45.00 | 585900.00 | 70.00 | 911400.00 | 89.00 | 1158780.00 | 120.00 | 1562400.00 | 585900.00 | S.K. CONSTRUCTION
16.00 | Supply of epoxy primer of approved brand and manufacture of required colour to give an even shade as per direction and satisfaction of Engineer-in-Charge. | 1432.00 | liter |  | 410.00 | 587120.00 | 450.00 | 644400.00 | 750.00 | 1074000.00 | 420.00 | 601440.00 | 587120.00 | S.K. CONSTRUCTION
17.00 | Supply of PU paint of approved brand and manufacture of required colour to give an even shade as per direction and satisfaction of Engineer-in-Charge. | 2292.00 | liter |  | 360.00 | 825120.00 | 1050.00 | 2406600.00 | 900.00 | 2062800.00 | 750.00 | 1719000.00 | 825120.00 | S.K. CONSTRUCTION
18.00 | Supply of epoxy primer's/PU paint's thinner of approved brand and manufacture as per direction and satisfaction of Engineer-in-Charge. | 487.00 | liter |  | 210.00 | 102270.00 | 250.00 | 121750.00 | 450.00 | 219150.00 | 200.00 | 97400.00 | 97400.00 | Pavaki Infrasolutions LLP
19.00 | Applying priming coats: With ready mixed epoxy primer including recommended thinner of approved brand as per manufacturer’s specifications with Airless spray painting machine etc all complete as per direction and satisfaction of Engineer-in-Charge. One coat as per manufacturer’s specifications. (Rate of this item is excluding the cost of supply of Epoxy primer and thinner which will be paid in separate item) | 13020.00 | sqm |  | 45.00 | 585900.00 | 90.00 | 1171800.00 | 140.00 | 1822800.00 | 60.00 | 781200.00 | 585900.00 | S.K. CONSTRUCTION
20.00 | Finishing with PU paint including recommended thinner of approved brand and manufacture of required colour to give an even shade with Airless spray painting machine including drying/curing etc all complete and satisfaction of Engineer-in-Charge. Two or more coats as per manufacturer’s specifications. (Rate of this item is excluding the cost of supply of PU paint and thinner which will be paid in separate item) | 13020.00 | sqm |  | 65.00 | 846300.00 | 90.00 | 1171800.00 | 180.00 | 2343600.00 | 150.00 | 1953000.00 | 846300.00 | S.K. CONSTRUCTION
21.00 | Refixing of existing 600 mm × 600 mm G.I. Clip-in Metal Ceiling System in existing suspension grid, including rectification and leveling of loose/bent ceiling framework, tightening of suspension system, replacement of damaged G.I. clips, L-connectors and other minor fixing accessories, complete at all heights as directed by the Engineer-in-Charge. | 13020.00 | sqm |  | 135.00 | 1757700.00 | 309.69 | 4032163.80 | 170.00 | 2213400.00 | 150.00 | 1953000.00 | 1757700.00 | S.K. CONSTRUCTION
22.00 | Extra over relevant items for providing and operating self-propelled battery-operated Hydraulic Aerial Access Platforms (Z-Boom/Crawler Boom Lift or equivalent), including operators, manpower and necessary scaffolding in inaccessible locations, for false ceiling dismantling and installation works in double-height terminal areas from 10 m to 22 m height, complete as directed by the Engineer-in-Charge. (Measurement in sqm of double height ceiling area worked). | 12604.00 | sqm |  | 125.00 | 1575500.00 | 75.00 | 945300.00 | 140.00 | 1764560.00 | 150.00 | 1890600.00 | 945300.00 | STEEL ARTS
23.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 2343.72 | kg |  | 465.00 | 1089828.41 | 550.00 | 1289044.35 | 700.00 | 1640601.90 | 500.00 | 1171858.50 | 1089828.41 | S.K. CONSTRUCTION
24.00 | Carefully dismantling and removing existing ACP cladding panels from the existing supporting framework, including removal of fasteners, sealants and accessories, without disturbing or damaging the existing frame intended for reuse, complete as directed by the Engineer-in-Charge. | 2480.00 | sqm |  | 45.00 | 111600.00 | 220.00 | 545600.00 | 140.00 | 347200.00 | 130.00 | 322400.00 | 111600.00 | S.K. CONSTRUCTION
25.00 | Providing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including a) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. The item includes cost of all material & labour component, the cost of all mock ups at site, Base frame work for ACP cladding is payable under the relevant aluminium item. The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per item description, as specified, as per the approved shade and color and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 4150.00 | sqm |  | 2650.00 | 10997500.00 | 3000.00 | 12450000.00 | 3000.00 | 12450000.00 | 3900.00 | 16185000.00 | 10997500.00 | S.K. CONSTRUCTION
26.00 | Providing, supplying and fabrication of counter framework/base structure using 12 mm thick waterproof plywood of approved make, including cutting, assembling, fixing with screws, nails, adhesives and all necessary accessories, complete as per approved drawings and directions of the Engineer-in-Charge. | 90.00 | sqm |  | 1810.00 | 162900.00 | 1750.00 | 157500.00 | 4800.00 | 432000.00 | 1200.00 | 108000.00 | 108000.00 | Pavaki Infrasolutions LLP
27.00 | Providing, supplying and fixing 6 mm thick Acrylic Solid Surface (Dupont Corian/Samsung Staron/Avonite or approved equivalent) on counters/table tops over plywood substrate, including thermoforming, seamless jointing, moulding, bending, polishing and fixing complete as per approved drawings and directions of the Engineer-in-Charge. (Plywood substrate shall be paid separately). | 180.00 | sqm |  | 8410.00 | 1513800.00 | 1400.00 | 252000.00 | 13000.00 | 2340000.00 | 7500.00 | 1350000.00 | 252000.00 | STEEL ARTS
28.00 | Providing, supplying, fabricating and installing Stainless Steel Grade 316 sliding gates, collapsible gates, wheel-mounted mobile barricades and similar fabricated assemblies of approved design, including cutting, bending, welding, grinding, polishing, wheel assemblies, braking arrangements, hardware and fixing complete as per approved drawings and directions of the Engineer-in-Charge. Payment shall be made on net weight of finished stainless steel fabrication. | 1900.00 | kg |  | 610.00 | 1159000.00 | 700.00 | 1330000.00 | 580.00 | 1102000.00 | 650.00 | 1235000.00 | 1102000.00 | SWAGATAMA ENTERPRISES
29.00 | Providing and fixing high-intensity retro-reflective signage sheeting of approved make, colour, pattern and design, including surface preparation, cutting, alignment and pasting complete as per approved drawings and directions of the Engineer-in-Charge. | 90.00 | sqm |  | 2110.00 | 189900.00 | 2000.00 | 180000.00 | 6800.00 | 612000.00 | 2500.00 | 225000.00 | 180000.00 | STEEL ARTS
30.00 | Providing, supplying and installing complete "May I Help You" Counter / Airport Help Desk as per approved drawings and Tender Document, comprising 18 mm plywood frame, 12 mm plywood shelves/racks, 4 mm acrylic panels and 4 mm metal signage plate, including fabrication, transportation, installation, fittings, hardware and finishing complete as directed by the Engineer-in-Charge. | 1.00 | each |  | 110000.00 | 110000.00 | 241500.00 | 241500.00 | 65000.00 | 65000.00 | 280000.00 | 280000.00 | 65000.00 | SWAGATAMA ENTERPRISES
31.00 | Providing and fixing minimum 3 mm thick Stainless Steel Grade 304 plate with brushed finish, including cutting, drilling, making holes, edge finishing, drilling in floor/wall surfaces and fixing with stainless steel screws, anchor fasteners and all accessories complete as directed by the Engineer-in-Charge. | 566.00 | kg |  | 610.00 | 345260.00 | 500.00 | 283000.00 | 630.00 | 356580.00 | 450.00 | 254700.00 | 254700.00 | Pavaki Infrasolutions LLP
32.00 | Providing and fixing decorative CNC-cut jali fabricated from 2 mm thick Stainless Steel Grade 304 sheet with PVD golden finish, fixed in 25 × 25 × 1.5 mm thick Stainless Steel Grade 316 square hollow section frame, including fabrication, welding, polishing, fixing with stainless steel fasteners and all accessories complete as directed by the Engineer-in-Charge | 3731.00 | kg |  | 840.00 | 3134040.00 | 700.00 | 2611700.00 | 710.00 | 2649010.00 | 800.00 | 2984800.00 | 2611700.00 | STEEL ARTS
33.00 | Artistic graphic re-painting and restoration of existing 3D mural surfaces using premium quality acrylic paints, including surface preparation, cleaning, colour matching, artistic detailing and application of two or more coats at all heights, complete as directed by the Engineer-in-Charge. of the item. | 422.00 | sqm |  | 415.00 | 175130.00 | 1000.00 | 422000.00 | 1500.00 | 633000.00 | 1450.00 | 611900.00 | 175130.00 | S.K. CONSTRUCTION
34.00 | Providing, supplying and placing FRP planter of size 1200 × 400 × 600 mm, manufactured by hand lay-up process using minimum 3 layers of 450 GSM E-glass fibre with Isophthalic resin, Class-A fire retardant, complete with tray and Matte Grey PU finish, placed at designated locations as directed by the Engineer-in-Charge. | 25.00 | each |  | 12500.00 | 312500.00 | 27000.00 | 675000.00 | 11000.00 | 275000.00 | 15000.00 | 375000.00 | 275000.00 | SWAGATAMA ENTERPRISES
35.00 | Providing, supplying and placing Stainless Steel Grade 304 planter of size 500 × 500 × 700 mm, fabricated from 1.5 mm thick SS sheet with No. 4 brushed satin finish, seamless argon welding, internal bitumen coating and drip tray, complete as directed by the Engineer-in-Charge. | 25.00 | each |  | 10150.00 | 253750.00 | 15000.00 | 375000.00 | 11000.00 | 275000.00 | 18000.00 | 450000.00 | 253750.00 | S.K. CONSTRUCTION
36.00 | Providing, supplying and placing circular GFRC planter of 600 mm diameter and 600 mm height, complete with heavy-duty reinforced base for impact-prone areas, drainage arrangement, tray and approved finish, placed at designated locations as directed by the Engineer-in-Charge. | 25.00 | each |  | 8500.00 | 212500.00 | 4000.00 | 100000.00 | 7000.00 | 175000.00 | 10000.00 | 250000.00 | 100000.00 | STEEL ARTS
37.00 | Providing, supplying and placing FRP planter of minimum 600-litre (0.60 m³) capacity, tapered nesting design, minimum 5 mm wall thickness, with integral pigmented gel-coat finish in Grey/White colour, complete with tray and drainage arrangement, placed at designated locations as directed by the Engineer-in-Charge | 25.00 | each |  | 12500.00 | 312500.00 | 2000.00 | 50000.00 | 19000.00 | 475000.00 | 13000.00 | 325000.00 | 50000.00 | STEEL ARTS
38.00 | Providing and fixing premium quality decorative printed PVC vinyl/wallpaper graphic mounted on 3 mm thick Sunboard substrate, including high-resolution printing, cutting, mounting and fixing with approved 3M double-sided tape, complete as per approved artwork, 3D drawings and directions of the Engineer-in-Charge. | 1314.00 | sqm |  | 1260.00 | 1655640.00 | 1000.00 | 1314000.00 | 1800.00 | 2365200.00 | 1150.00 | 1511100.00 | 1314000.00 | STEEL ARTS
39.00 | Providing and fixing premium quality decorative PVC wallpaper/vinyl graphic film of approved design, artwork and finish, including surface preparation, printing (where applicable), cutting, alignment and fixing complete as per approved 3D drawings and directions of the Engineer-in-Charge. | 571.00 | sqm |  | 865.00 | 493915.00 | 1000.00 | 571000.00 | 1100.00 | 628100.00 | 700.00 | 399700.00 | 399700.00 | Pavaki Infrasolutions LLP
40.00 | Providing, supplying, fabricating and fixing 12 mm thick Aluminium Honeycomb Composite Panels comprising 0.50 mm thick aluminium face sheets on both sides bonded to aluminium honeycomb core, including cutting, routing, bending, fixing with approved accessories, sealants and finishing complete as per approved drawings and directions of the Engineer-in-Charge. | 50.00 | sqm |  | 3250.00 | 162500.00 | 5500.00 | 275000.00 | 7500.00 | 375000.00 | 6300.00 | 315000.00 | 162500.00 | S.K. CONSTRUCTION
41.00 | Providing and fixing 3M™ Ultra Clear Glass Graphic Film comprising supply of genuine 3M or equivelent approved make optically clear self-adhesive film suitable for application on glass surfaces, digitally UV printed with approved artwork and protected with compatible 3M™ clear protective overlaminate. The scope includes surface preparation and cleaning, digital UV printing, lamination, cutting, positioning, application, finishing, edge trimming, all consumables, labour, wastage, transportation, and complete installation as per 3M™ recommended specifications and manufacturer guidelines. The finished graphics shall be bubble-free, distortion-free, highly transparent, and suitable for both interior and exterior glass applications. Complete in all respects as directed by the Engineer-in-Charge. | 576.00 | sqm |  | 1680.00 | 967680.00 | 1750.00 | 1008000.00 | 1980.00 | 1140480.00 | 3000.00 | 1728000.00 | 967680.00 | S.K. CONSTRUCTION
42.00 | Providing comprehensive Architectural, Structural and 3D Design Consultancy Services for Terminal Building beautification works, including preparation of working drawings, 3D concepts as per instruction of Engineer-in- Charge, Art works, renderings, submission of hard and soft copies, location, revisions and all allied consultancy services complete as directed by the Engineer-in-Charge. Consultant must visit the Office of the Executive Director (Planning) for the vetting of the design & drawing submitted by the consultant by the AAI Architecture Department, CHQ, Rajiv Gandhi Bhawan, New Delhi. | 1.00 | job |  | 650000.00 | 650000.00 | 1000000.00 | 1000000.00 | 100000.00 | 100000.00 | 1600000.00 | 1600000.00 | 100000.00 | SWAGATAMA ENTERPRISES
43.00 | Credit to AAI for taking away existing old Gl Clip in Metal false ceiling and G. I. channel removed under relevant item. The material so received shall be the property of contractor. Derived amount shall be deducted from firm's bill amount). | 506.00 | kg |  | 25.00 | -12650.00 | 10.00 | -5060.00 | 1.00 | -506.00 | 10.00 | -5060.00 | -12650.00 | S.K. CONSTRUCTION
44.00 | Credit to AAI for taking away existing old artificial grass flooring mat removed under other item. The material so received shall be the property of contractor. Derived amount shall be deducted from firm's bill amount). | 2182.00 | sqm |  | 30.00 | -65460.00 | .70 | -1527.40 | 1.00 | -2182.00 | 10.00 | -21820.00 | -65460.00 | S.K. CONSTRUCTION
45.00 | Credit to AAI for taking away existing old 4mm thick ACP sheet removed under relevant item. The material so received shall be the property of contractor. Derived amount shall be deducted from firm's bill amount). | 2481.00 | sqm |  | 120.00 | -297720.00 | 5.00 | -12405.00 | 1.00 | -2481.00 | 30.00 | -74430.00 | -297720.00 | S.K. CONSTRUCTION
| Total in Figures |  |  |  |  | 42297139.41 |  | 50001100.75 |  | 56074602.90 |  | 55097588.50
Lowest Amount Quoted BY: S.K. CONSTRUCTION(42297139.41)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous beautification works in Terminal Building at LBSI Airport Varanasi. Tender ID: 2026_AAI_281583_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION (BID ID -1037204) | 42297139.41 | L1
| 2 | STEEL ARTS (BID ID -1037009) | 50001100.75 | L2
| 3 | Pavaki Infrasolutions LLP (BID ID -1038000) | 55097588.50 | L3
| 4 | SWAGATAMA ENTERPRISES (BID ID -1037942) | 56074602.90 | L4