## BoQ1
Government eProcurement System Created By: Sarika K. Panicker Created Date/Time: 21-Jul-2026 05:28 PM Tender Title: Special Repairs to Tech Block Fire Station and other Buildings in Operational Area at Coimbatore International Airport. SH-Renovation of Existing Fire Station Building at Coimbatore International Airport Tender ID: 2026_AAI_281744_1
Tender Inviting Authority: Asst General Manager (Engg-civil)-III, AAI, Coimbatore International Airport
Name of Work:Special Repairs to Tech Block, Fire Station and other Buildings in Operational Area at Coimbatore International Airport. SH: Renovation of Existing Fire station Building at Coimbatore International Airport.
Contract No: AAI/CBE/SM(E-C)/R&M Spl.Repair Fire /W-64/2026-27 Tender Ref No. 2026_AAI_281744_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMAN FABRICATORS AND CONTRACTORS (GSTN-30ALDPP2860M1Z2) BID ID -1043633 |  | YASEES ASSOCIATES (GSTN-32ADRPY2271K2ZY) BID ID -1041676
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 200.00 | Sqm | 99.00 | 149.00 | 29800.00 | 83.00 | 16600.00 | 16600.00 | YASEES ASSOCIATES
2.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge. | 20.00 | Sqm | 100.00 | 98.00 | 1960.00 | 60.00 | 1200.00 | 1200.00 | YASEES ASSOCIATES
3.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 6.00 | Each | 100.00 | 49.00 | 294.00 | 366.00 | 2196.00 | 294.00 | SUMAN FABRICATORS AND CONTRACTORS
4.00 | Dismantling of ,urinal Pan ,Urinal partition ,Wash basin etc., of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 9.00 | Each | 100.00 | 49.00 | 441.00 | 921.00 | 8289.00 | 441.00 | SUMAN FABRICATORS AND CONTRACTORS
5.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitreous China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 6.00 | Each | 100.00 | 49.00 | 294.00 | 921.00 | 5526.00 | 294.00 | SUMAN FABRICATORS AND CONTRACTORS
6.00 | Dismantling angle valve, Health faucet, Pillar cock, Bib cock, Bottle trap etc., in toilets as per the directions of EIC. | 43.00 | Each | 100.00 | 49.00 | 2107.00 | 200.00 | 8600.00 | 2107.00 | SUMAN FABRICATORS AND CONTRACTORS
7.00 | Dismantling of doors, windows and clerestory windows (pvc) shutter including chowkhats, architrave, holdfasts etc. complete and stacking upto all lead: Of area 3 sq. metres and below | 8.00 | Each | 100.00 | 2050.00 | 16400.00 | 323.00 | 2584.00 | 2584.00 | YASEES ASSOCIATES
8.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :Of area 3 sq. metres and below | 36.00 | Each | 100.00 | 1250.00 | 45000.00 | 500.00 | 18000.00 | 18000.00 | YASEES ASSOCIATES
9.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead | 4.00 | Sqm | 100.00 | 48.00 | 192.00 | 240.00 | 960.00 | 192.00 | SUMAN FABRICATORS AND CONTRACTORS
10.00 | Dismantling G.I. pipes (Internal work) including chipping taking out the pipes, manually/ by mechanical means including stacking of pipes upto all lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 50.00 | metre | 100.00 | 30.00 | 1500.00 | 133.00 | 6650.00 | 1500.00 | SUMAN FABRICATORS AND CONTRACTORS
11.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including preparing of surface & disposal of malba from site at appropriate place and grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 500.00 | Sqm | 100.00 | 1400.00 | 700000.00 | 1350.00 | 675000.00 | 675000.00 | YASEES ASSOCIATES
12.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm Vitrified tiles Matt/Antiskid finish of size : Size of Tile 600 x 600 mm | 120.00 | Sqm | 100.00 | 1410.00 | 169200.00 | 1350.00 | 162000.00 | 162000.00 | YASEES ASSOCIATES
13.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08%and conforming to IS: 15622, of approved brand & manufacturer in all colours and shade in skirting,dado, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including preparing of surface & disposal of malba from site at appropriate place and grouting of joints(Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 300.00 | Sqm | 100.00 | 1400.00 | 420000.00 | 1350.00 | 405000.00 | 405000.00 | YASEES ASSOCIATES
14.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade(0.10 kg of hardener and 0.20 kg of resin per kg), including filling/grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 600x600 mm | 920.00 | Sqm | 100.00 | 440.00 | 404800.00 | 350.00 | 322000.00 | 322000.00 | YASEES ASSOCIATES
15.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red : Area of slab over 0.50 sqm | 4.00 | Sqm | 100.00 | 3200.00 | 12800.00 | 3750.00 | 15000.00 | 12800.00 | SUMAN FABRICATORS AND CONTRACTORS
16.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 6.00 | Each | 100.00 | 9950.00 | 59700.00 | 8000.00 | 48000.00 | 48000.00 | YASEES ASSOCIATES
17.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 4.00 | Each | 100.00 | 5890.00 | 23560.00 | 3500.00 | 14000.00 | 14000.00 | YASEES ASSOCIATES
18.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth.: Granite Stone of approved shade | 2.00 | Sqm | 100.00 | 3000.00 | 6000.00 | 4650.00 | 9300.00 | 6000.00 | SUMAN FABRICATORS AND CONTRACTORS
19.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 6.00 | Each | 100.00 | 8500.00 | 51000.00 | 7500.00 | 45000.00 | 45000.00 | YASEES ASSOCIATES
20.00 | Providing and fixing health faucet model ALD-CHR-577 Jaquar or any other approved make and quality conforming to IS standards with 1m hose as per the direction of EIC | 6.00 | Each | 100.00 | 1500.00 | 9000.00 | 1250.00 | 7500.00 | 7500.00 | YASEES ASSOCIATES
21.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 17.00 | Each | 100.00 | 1050.00 | 17850.00 | 750.00 | 12750.00 | 12750.00 | YASEES ASSOCIATES
22.00 | Providing and fixing brass two way bib cock of approved quality : 15 mm nominal bore | 6.00 | Each | 100.00 | 2850.00 | 17100.00 | 1500.00 | 9000.00 | 9000.00 | YASEES ASSOCIATES
23.00 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 5.00 | Each | 100.00 | 4480.00 | 22400.00 | 2250.00 | 11250.00 | 11250.00 | YASEES ASSOCIATES
24.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 30cm length | 17.00 | Each | 100.00 | 100.00 | 1700.00 | 150.00 | 2550.00 | 1700.00 | SUMAN FABRICATORS AND CONTRACTORS
25.00 | Providing and fixing PTMT grating of approved quality and colour.: Rectangular type with openable circular lid: 150 mm nominal size square 100 mm diameter of the inner hinged round grating | 18.00 | Each | 100.00 | 200.00 | 3600.00 | 150.00 | 2700.00 | 2700.00 | YASEES ASSOCIATES
26.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 4.00 | Each | 100.00 | 2500.00 | 10000.00 | 1250.00 | 5000.00 | 5000.00 | YASEES ASSOCIATES
27.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.: 20 mm nominal dia Pipes | 20.00 | metre | 100.00 | 240.00 | 4800.00 | 439.00 | 8780.00 | 4800.00 | SUMAN FABRICATORS AND CONTRACTORS
28.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.: 25 mm nominal dia Pipes | 50.00 | metre | 100.00 | 330.00 | 16500.00 | 546.00 | 27300.00 | 16500.00 | SUMAN FABRICATORS AND CONTRACTORS
29.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia .Pipes. | 10.00 | metre | 100.00 | 420.00 | 4200.00 | 705.00 | 7050.00 | 4200.00 | SUMAN FABRICATORS AND CONTRACTORS
30.00 | Providing and laying unplasticised PVC (6 kgf/cm2) in sewer line, vent pipe conforming to IS 13592 type B . as per standards as directed by EIC with required adhesive special etc. complete as per the direction of Engineer-in-charge.The rate is inclusive of cutting, finishing etc., with required slope as per the direction of Engineer-in-charge : 110mm dia | 100.00 | metre | 100.00 | 750.00 | 75000.00 | 577.00 | 57700.00 | 57700.00 | YASEES ASSOCIATES
31.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. One Coat | 1800.00 | Sqm | 100.00 | 79.00 | 142200.00 | 135.00 | 243000.00 | 142200.00 | SUMAN FABRICATORS AND CONTRACTORS
32.00 | Finishing walls with Acrylic Smooth exterior paint of required shade Old work (One or more coat applied @ 0.90 ltr/10 sqm). | 2370.00 | Sqm | 100.00 | 69.00 | 163530.00 | 150.00 | 355500.00 | 163530.00 | SUMAN FABRICATORS AND CONTRACTORS
33.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. One or more coats on old work | 140.00 | Sqm | 100.00 | 85.00 | 11900.00 | 160.00 | 22400.00 | 11900.00 | SUMAN FABRICATORS AND CONTRACTORS
34.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 270.00 | kg | 100.00 | 635.00 | 171450.00 | 575.00 | 155250.00 | 155250.00 | YASEES ASSOCIATES
35.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 540.00 | kg | 100.00 | 655.00 | 353700.00 | 575.00 | 310500.00 | 310500.00 | YASEES ASSOCIATES
36.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 20.00 | sqm | 100.00 | 900.00 | 18000.00 | 1500.00 | 30000.00 | 18000.00 | SUMAN FABRICATORS AND CONTRACTORS
37.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 40.00 | sqm | 100.00 | 750.00 | 30000.00 | 1900.00 | 76000.00 | 30000.00 | SUMAN FABRICATORS AND CONTRACTORS
38.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC-10 as per IS:1868), transparent or dyed to required colour or shade, including necessary screws etc., complete. 125 mm | 46.00 | Each | 100.00 | 60.00 | 2760.00 | 150.00 | 6900.00 | 2760.00 | SUMAN FABRICATORS AND CONTRACTORS
39.00 | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 13.00 | Each | 100.00 | 800.00 | 10400.00 | 1500.00 | 19500.00 | 10400.00 | SUMAN FABRICATORS AND CONTRACTORS
40.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 13.00 | Each | 100.00 | 2200.00 | 28600.00 | 1500.00 | 19500.00 | 19500.00 | YASEES ASSOCIATES
41.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete 100x10 mm | 16.00 | Each | 100.00 | 60.00 | 960.00 | 116.00 | 1856.00 | 960.00 | SUMAN FABRICATORS AND CONTRACTORS
42.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-harge. With cement mortar 1:4 (1cement: 4 coarse sand). | 50.00 | sqm | 100.00 | 399.00 | 19950.00 | 400.00 | 20000.00 | 19950.00 | SUMAN FABRICATORS AND CONTRACTORS
43.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 4.00 | metre | 100.00 | 350.00 | 1400.00 | 424.00 | 1696.00 | 1400.00 | SUMAN FABRICATORS AND CONTRACTORS
44.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. For M.S. tube. | 1000.00 | kg | 100.00 | 98.00 | 98000.00 | 125.00 | 125000.00 | 98000.00 | SUMAN FABRICATORS AND CONTRACTORS
45.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 430.00 | sqm | 101.00 | 102.00 | 43860.00 | 124.00 | 53320.00 | 43860.00 | SUMAN FABRICATORS AND CONTRACTORS
46.00 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with red colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class II of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre all along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-in-charge.(Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment) | 85.00 | sqm | 102.00 | 7200.00 | 612000.00 | 2300.00 | 195500.00 | 195500.00 | YASEES ASSOCIATES
47.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3600.00 | kg | 103.00 | 98.00 | 352800.00 | 120.00 | 432000.00 | 352800.00 | SUMAN FABRICATORS AND CONTRACTORS
48.00 | Providing and fixing Nylon bird protection net of 25mm mesh size and minimum 0.50mm thickness over existing structyral steel trusses / grids, including all necessary accessories such as hooks , fasteners , support wires and edge sealing etc. The work shall include providing and erecting required scaffolding or use of boom lift for installation at all heights, ensuring proper tensioining and gap -free fixing to prevent bird ingress ,all complete as per the directions of EIC. The rate for the item shall be inclusive of all materials, labour, wastage , overlaps, scaffolding/boom lift charges , and all incidental expenses requiredd to complete the work. | 1200.00 | sqm | 104.00 | 99.00 | 118800.00 | 175.00 | 210000.00 | 118800.00 | SUMAN FABRICATORS AND CONTRACTORS
49.00 | Taking out existing wooden door shutter, repair by cutting, etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 14.00 | Each | 105.00 | 1500.00 | 21000.00 | 500.00 | 7000.00 | 7000.00 | YASEES ASSOCIATES
50.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. | 40.00 | Metre | 106.00 | 570.00 | 22800.00 | 1700.00 | 68000.00 | 22800.00 | SUMAN FABRICATORS AND CONTRACTORS
51.00 | Providing and fixing to existing door frames. 30 mm thick Glass Fibre Reinforced Plastic (FRP) panelled door shutter of required colour and approved brand and manufacture, made with fire - retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate for forming hollow rails and styles, with wooden frame and suitable blocks of seasoned wood inside at required places for fixing of fittings, cast monolithically with 5 mm thick FRP laminate for panels conforming to IS: 14856, including fixing to frames. | 13.00 | Sqm | 107.00 | 5900.00 | 76700.00 | 5000.00 | 65000.00 | 65000.00 | YASEES ASSOCIATES
52.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 5.00 | cum | 108.00 | 4900.00 | 24500.00 | 11150.00 | 55750.00 | 24500.00 | SUMAN FABRICATORS AND CONTRACTORS
53.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 44.00 | sqm | 109.00 | 450.00 | 19800.00 | 750.00 | 33000.00 | 19800.00 | SUMAN FABRICATORS AND CONTRACTORS
| Total in Figures |  |  |  |  | 4472308.00 |  | 4424157.00
Lowest Amount Quoted BY: YASEES ASSOCIATES(4424157.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special Repairs to Tech Block Fire Station and other Buildings in Operational Area at Coimbatore International Airport. SH-Renovation of Existing Fire Station Building at Coimbatore International Airport Tender ID: 2026_AAI_281744_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YASEES ASSOCIATES (BID ID -1041676) | 4424157.00 | L1
| 2 | SUMAN FABRICATORS AND CONTRACTORS (BID ID -1043633) | 4472308.00 | L2