## BoQ1
Government eProcurement System Created By: Sanjay Sharma Created Date/Time: 31-Jul-2026 12:56 PM Tender Title: Miscellaneous Minor Capital Civil works in Terminal Building, ATS Complex and non-operational area of Surat International Airport, Surat. Tender ID: 2026_AAI_281996_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil), AAI, Surat International Airport, Surat
Name of Work: Miscellaneous Minor Capital Civil works in Terminal Building, ATS Complex and non-operational area of Surat International Airport, Surat.
Contract No: 2026_AAI_281996_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Jay Prakashbhai Tilara (GSTN-NA) BID ID -1046687 |  | Classicon Projects India Pvt. Ltd. (GSTN-NA) BID ID -1041190 |  | Nabalok Das (GSTN-NA) BID ID -1046755
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling viterous china fittings (wash basin, urinals, EWC, Indian WC Pan etc.) of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-inCharge. | 64.00 | Each |  | 337.00 | 21568.00 | 80.00 | 5120.00 | 150.00 | 9600.00 | 5120.00 | Classicon Projects India Pvt. Ltd.
2.00 | Dismantling tile work in floors and walls laid in cement mortar, including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 607.00 | Sqm |  | 62.00 | 37634.00 | 80.00 | 48560.00 | 100.00 | 60700.00 | 37634.00 | Jay Prakashbhai Tilara
3.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 166.00 | Sqm |  | 87.00 | 14442.00 | 100.00 | 16600.00 | 50.00 | 8300.00 | 8300.00 | Nabalok Das
4.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : a) Of area beyond 3 sq. metres | 82.00 | Sqm |  | 250.00 | 20500.00 | 250.00 | 20500.00 | 500.00 | 41000.00 | 20500.00 | Classicon Projects India Pvt. Ltd., Jay Prakashbhai Tilara
5.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within airport premises as per direction of Engineer-in-charge. a) In cement mortar. | 19.00 | Cum |  | 623.00 | 11837.00 | 750.00 | 14250.00 | 1650.00 | 31350.00 | 11837.00 | Jay Prakashbhai Tilara
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 47.00 | Cum |  | 7795.00 | 366365.00 | 8000.00 | 376000.00 | 9200.00 | 432400.00 | 366365.00 | Jay Prakashbhai Tilara
7.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement : 4 coarse sand) | 23.00 | Sqm |  | 910.00 | 20930.00 | 1100.00 | 25300.00 | 1200.00 | 27600.00 | 20930.00 | Jay Prakashbhai Tilara
8.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 253.00 | Sqm |  | 364.00 | 92092.00 | 350.00 | 88550.00 | 360.00 | 91080.00 | 88550.00 | Classicon Projects India Pvt. Ltd.
9.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 165.00 | Sqm |  | 436.00 | 71940.00 | 500.00 | 82500.00 | 550.00 | 90750.00 | 71940.00 | Jay Prakashbhai Tilara
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, cherry/Ruby red ii) Area of slab over 0.50 sqm | 81.00 | Sqm |  | 2428.00 | 196668.00 | 3500.00 | 283500.00 | 4700.00 | 380700.00 | 196668.00 | Jay Prakashbhai Tilara
11.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 6.00 | Sqm |  | 3347.00 | 20082.00 | 4200.00 | 25200.00 | 4000.00 | 24000.00 | 20082.00 | Jay Prakashbhai Tilara
12.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 9000N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In-Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) a) 35 mm thick | 6.00 | Sqm |  | 3461.00 | 20766.00 | 3500.00 | 21000.00 | 5000.00 | 30000.00 | 20766.00 | Jay Prakashbhai Tilara
13.00 | Providing and fixing ISI boiled water resistance (BWR 710) plywood of approved brand like Kitply/ Greenply/National or equivelent with necessary screws, nails and nuts wherever necessary etc. complete as per direction of Engineer-in-charge. (a) 18 mm thick ISI boiled water resistance plywood | 118.00 | Sqm |  | 1840.00 | 217120.00 | 1800.00 | 212400.00 | 2300.00 | 271400.00 | 212400.00 | Classicon Projects India Pvt. Ltd.
14.00 | Providing and fixing ISI boiled water resistance (BWR 710) plywood of approved make with necessary adhesive, screws, nails and nuts wherever necessary etc. complete as per direction of Engineer-in-charge. (a) 6 mm thick ISI boiled water resistance plywood | 45.00 | Sqm |  | 1004.00 | 45180.00 | 1100.00 | 49500.00 | 2200.00 | 99000.00 | 45180.00 | Jay Prakashbhai Tilara
15.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.0 mm thick | 239.00 | sqm |  | 1060.00 | 253340.00 | 1100.00 | 262900.00 | 1150.00 | 274850.00 | 253340.00 | Jay Prakashbhai Tilara
16.00 | Providing and fixing Hydraulic Door Closer of Godrej make or equivalent with necessary screws etc. all complete as per satisfaction of Engineer-in-charge. | 6.00 | Each |  | 1690.00 | 10140.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 6000.00 | Classicon Projects India Pvt. Ltd.
17.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 129.00 | Kg |  | 771.00 | 99459.00 | 700.00 | 90300.00 | 890.00 | 114810.00 | 90300.00 | Classicon Projects India Pvt. Ltd.
18.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a)With float glass panes of 5.0 mm thickness (weight not less than 12.50kg/sqm) | 12.00 | sqm |  | 1190.00 | 14280.00 | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 12000.00 | Classicon Projects India Pvt. Ltd.
19.00 | Providing and fixing wood panelling in wall with 18 mm ply of approved make on walls with framing support of aluminium rectangular tubes of size 100mm X 75 mm X 1.5mm thick, using suitable screws, fastener, adhesives. Top surface of the panelling will be finished with 1 mm vineer of approved make and color. This laminate will be fixed using suitable approved adhesive. Provision of electric point, painting fixing arrangments will be also provided in the wall paneling as per the approved drawing. complete as per direction of Engg.-In-charge. (NOTE: The cost of aluminium fram work will be paid separately under separate item) | 251.00 | sqm |  | 2514.00 | 631014.00 | 3250.00 | 815750.00 | 4000.00 | 1004000.00 | 631014.00 | Jay Prakashbhai Tilara
20.00 | Providing and laying Vitrified tiles in floor and wall with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). VITRIFIED FLOOR/WALL TILES SIZE OF TILE 1000X1000 MM | 132.00 | sqm |  | 970.00 | 128040.00 | 1400.00 | 184800.00 | 2200.00 | 290400.00 | 128040.00 | Jay Prakashbhai Tilara
21.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. VITRIFIED FLOOR TILES SIZE OF TILE 600X1200 MM | 30.00 | Sqm |  | 1003.00 | 30090.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 30090.00 | Jay Prakashbhai Tilara
22.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. a) Glazed vitrified floor tiles polished finish of size Size of Tile 600 x 600 mm | 243.00 | Sqm |  | 1020.00 | 247860.00 | 1250.00 | 303750.00 | 1300.00 | 315900.00 | 247860.00 | Jay Prakashbhai Tilara
23.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 243.00 | Sqm |  | 368.00 | 89424.00 | 100.00 | 24300.00 | 900.00 | 218700.00 | 24300.00 | Classicon Projects India Pvt. Ltd.
24.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). a) Size of Tile 600 x 600 mm | 588.00 | Sqm |  | 970.00 | 570360.00 | 1300.00 | 764400.00 | 1500.00 | 882000.00 | 570360.00 | Jay Prakashbhai Tilara
25.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling/grouting and finishing complete as per direction of Engineer-in-charge and finishing complete as per direction of engineer-in-charge. a) Size of Tile 600X600 mm | 588.00 | Sqm |  | 151.00 | 88788.00 | 180.00 | 105840.00 | 220.00 | 129360.00 | 88788.00 | Jay Prakashbhai Tilara
26.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33 mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondaryintermediate cross-T of size 24x32 mm of length 600 mm to formgrid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6 mm thick with precut hole on both 25 mm flange to pierce into 12x50 mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directionsof the Engineer-in-Charge. a) With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 65.00 | Sqm |  | 1640.00 | 106600.00 | 1650.00 | 107250.00 | 3000.00 | 195000.00 | 106600.00 | Jay Prakashbhai Tilara
27.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 397.00 | Sqm |  | 73.00 | 28981.00 | 100.00 | 39700.00 | 180.00 | 71460.00 | 28981.00 | Jay Prakashbhai Tilara
28.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. A) Two coats | 418.00 | Sqm |  | 68.50 | 28633.00 | 160.00 | 66880.00 | 125.00 | 52250.00 | 28633.00 | Jay Prakashbhai Tilara
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm ove and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 150.00 | Sqm |  | 107.00 | 16050.00 | 170.00 | 25500.00 | 135.00 | 20250.00 | 16050.00 | Jay Prakashbhai Tilara
30.00 | Providing and fixing Tile insert Floor Drain Size 6 x 6 Inches, Euronics make (code no. BEFGT5S-66 ) or equivalent etc. all complete as per satisfation of E.I.C. | 61.00 | Each |  | 2207.00 | 134627.00 | 1800.00 | 109800.00 | 4000.00 | 244000.00 | 109800.00 | Classicon Projects India Pvt. Ltd.
31.00 | Providing and fixing 6 + 5 mm thick laminated mirror of extra clear quality and of required size. Mirror to be fixed on wall with silicon of DOW 896 PANELFIX WHITE-9229640 etc. all complete as per satisfation of E.I.C. | 44.00 | Sqm |  | 2640.00 | 116160.00 | 6000.00 | 264000.00 | 3800.00 | 167200.00 | 116160.00 | Jay Prakashbhai Tilara
32.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 45 cm length: 15 mm nominal bore. | 20.00 | Each |  | 708.00 | 14160.00 | 130.00 | 2600.00 | 190.00 | 3800.00 | 2600.00 | Classicon Projects India Pvt. Ltd.
33.00 | Providing and fixing white vitreous china Wall hung type water closet pan of Jaquar make (code no. CNS-WHT-963UFSM) size 380 x 515 x 360 or equivalent with Hyper clean proguard technology, including all required fixing fixture and WC seat cover and lid with soft close all complete as per satisfaction of E.I.C. | 23.00 | Each |  | 14665.00 | 337295.00 | 10500.00 | 241500.00 | 14000.00 | 322000.00 | 241500.00 | Classicon Projects India Pvt. Ltd.
34.00 | Providing and fixing Two in One (2 in 1) bib cock Jaquar make (code no. FLP-CHR-5041PM) or equivalent , all complete as per satisfation of E.I.C | 23.00 | Each |  | 3057.00 | 70311.00 | 2675.00 | 61525.00 | 3000.00 | 69000.00 | 61525.00 | Classicon Projects India Pvt. Ltd.
35.00 | Providing and fixing Metropole Flush valves Dual of Jaquar make ( code no.FLV-CHR-1095N) or equivalent including making connection, etc. all complete as per satisfaction of E.I.C. | 23.00 | Each |  | 5750.00 | 132250.00 | 4650.00 | 106950.00 | 7000.00 | 161000.00 | 106950.00 | Classicon Projects India Pvt. Ltd.
36.00 | Provide ane fixing Jaquar make Hand shower (Health faucet) with 8mm dia, 1.00 mtr long flexible tube with wall hook - code no ALD-CHR-573 or equivalent including marking connection, etc. all complete as per satisfaction of E.I.C. | 24.00 | Each |  | 1584.00 | 38016.00 | 1875.00 | 45000.00 | 1800.00 | 43200.00 | 38016.00 | Jay Prakashbhai Tilara
37.00 | Providing and fixing white vitreous china flat back urinal of Jaquar (code no. URS-WHT-13253N) size 385 X 325 X 635 mm or equivalent with fixing Accessories etc. all complete as per direction of E.I.C | 22.00 | Each |  | 2218.00 | 48796.00 | 8050.00 | 177100.00 | 9000.00 | 198000.00 | 48796.00 | Jay Prakashbhai Tilara
38.00 | Providing and fixing Auto closing concealed urinal Flush valves of jaquar make ( code no.PRS-CHR-073) or equivalent including making connection, etc. all complete as per satisfaction of E.I.C. | 21.00 | Each |  | 3655.00 | 76755.00 | 3450.00 | 72450.00 | 5000.00 | 105000.00 | 72450.00 | Classicon Projects India Pvt. Ltd.
39.00 | Providing and fixing Table Top wash basin of Jaquar (code no. FLS-WHT-5931PM) size 515X435X160 mm or equivalent with waste coupling or equivalent including standard fittings, accessories & clamps etc. all complete as per direction of E.I.C | 21.00 | Each |  | 3696.00 | 77616.00 | 6750.00 | 141750.00 | 8000.00 | 168000.00 | 77616.00 | Jay Prakashbhai Tilara
40.00 | Providing and fixing Pillar Cock of Jaquar make Auto closing for wash basin (code no. PRS-CHR-031) or equivalent including making connection, etc. all complete as per direction of E.I.C | 21.00 | Each |  | 2218.00 | 46578.00 | 3350.00 | 70350.00 | 4200.00 | 88200.00 | 46578.00 | Jay Prakashbhai Tilara
41.00 | Providing and fixing angular stop cock (Angle Valve) with wall flange of 15mm nominal bore Jaqur make (code no.FLP-CHR-5053PM)or equivalent,all complete as per satisfation of E.I.C. | 26.00 | Each |  | 1375.00 | 35750.00 | 1400.00 | 36400.00 | 2000.00 | 52000.00 | 35750.00 | Jay Prakashbhai Tilara
42.00 | Providing and fixing PTMT Bottle Trap for wash basin and sink. Bottle trap 38 mm single piece moulded with height of 270 mm, effective length of tail pipe 260 mm from the centre of the waste coupling, 77 mm breadth with 25 mm minimum water seal, weighing not less than 263 gms | 23.00 | Each |  | 2635.00 | 60605.00 | 700.00 | 16100.00 | 500.00 | 11500.00 | 11500.00 | Nabalok Das
43.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 19.00 | Each |  | 190.00 | 3610.00 | 300.00 | 5700.00 | 500.00 | 9500.00 | 3610.00 | Jay Prakashbhai Tilara
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all0CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps0at 1.00 m spacing. This includes jointing of pipes & fittings with one0step CPVC solvent cement and the cost of cutting chases and making0good the same including testing of joints complete as per direction0of Engineer in Charge. a) 25 mm nominal dia Pipes | 153.00 | meter |  | 550.00 | 84150.00 | 450.00 | 68850.00 | 400.00 | 61200.00 | 61200.00 | Nabalok Das
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all0CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps0at 1.00 m spacing. This includes jointing of pipes & fittings with one0step CPVC solvent cement and the cost of cutting chases and making0good the same including testing of joints complete as per direction0of Engineer in Charge. a) 32 mm nominal dia Pipes | 153.00 | meter |  | 665.00 | 101745.00 | 600.00 | 91800.00 | 400.00 | 61200.00 | 61200.00 | Nabalok Das
46.00 | Providing and fixing Urinal partition for all Gents toilet of Merino Besco / Greenlam or equivalent consisiting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core board and melamine coating, including SS side frames, SS accessories, etc. all complete for partitions. all edge should be crystal polished ,fixing with S.S.304/316 patch fitting in wall, wall bracket, etc. all complete as per satisfation of E.I.C. | 16.00 | Sqm |  | 4623.00 | 73968.00 | 6000.00 | 96000.00 | 7500.00 | 120000.00 | 73968.00 | Jay Prakashbhai Tilara
47.00 | Providing and fixing PVC pipe(SWR)of approved make for soil waste and vent pipes including jointing etc. all complete as per direction of E.I.C. : 110 mm Dia. | 124.00 | meter |  | 1250.00 | 155000.00 | 500.00 | 62000.00 | 600.00 | 74400.00 | 62000.00 | Classicon Projects India Pvt. Ltd.
48.00 | Providing and fixing PVC pipe(SWR)of approved make for soil waste and vent pipes including jointing etc. all complete as per satisfation of E.I.C.: a) 75 mm Dia. | 84.00 | meter |  | 375.00 | 31500.00 | 400.00 | 33600.00 | 600.00 | 50400.00 | 31500.00 | Jay Prakashbhai Tilara
49.00 | Providing and fixing urinal sensor concealed type flush valve of jaquar make (code no.SNR-STL-51077E4MAD) or equivalent including making connection, etc. all complete as per satisfaction of E.I.C. | 1.00 | each |  | 14035.00 | 14035.00 | 15900.00 | 15900.00 | 18000.00 | 18000.00 | 14035.00 | Jay Prakashbhai Tilara
50.00 | Providing and fixing single piece slim concealed cistern body of flush control plate of jaquar make ( code no.JCS-WHT-2400) or equivalent including making connection, etc. all complete as per satisfaction of E.I.C. | 1.00 | each |  | 8860.00 | 8860.00 | 6225.00 | 6225.00 | 8000.00 | 8000.00 | 6225.00 | Classicon Projects India Pvt. Ltd.
51.00 | Providing and fixing control plate continental prime Flush valves of jaquar make ( code no.JCP-CHR-2415) or equivalent including making connection, etc. all complete as per satisfaction of E.I.C. | 1.00 | Each |  | 3910.00 | 3910.00 | 1450.00 | 1450.00 | 3000.00 | 3000.00 | 1450.00 | Classicon Projects India Pvt. Ltd.
52.00 | Providing and fixing angular stop cock (Angle Valve) with wall flange of 15mm nominal bore Jaqur make (code no.OPP-CHR-15053PM)or equivalent,all complete as per satisfation of E.I.C. | 1.00 | Each |  | 4530.00 | 4530.00 | 1475.00 | 1475.00 | 3000.00 | 3000.00 | 1475.00 | Classicon Projects India Pvt. Ltd.
53.00 | Providing and fixing white vitreous china Wall hung type water closet pan of Jaquar make (code no. KUS-WHT-35953BIUFSMP) or equivalent with Hyper clean proguard technology, including all required fixing fixture and WC seat cover and lid with soft close all complete as per satisfaction of E.I.C. | 1.00 | Each |  | 16844.00 | 16844.00 | 16000.00 | 16000.00 | 18000.00 | 18000.00 | 16000.00 | Classicon Projects India Pvt. Ltd.
54.00 | Poviding and fixing Square Shape Single Flow Maza Overhead Rain Shower 300mm x 300mm jaquar make (OHS-CHR-1639) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 8169.00 | 8169.00 | 11400.00 | 11400.00 | 13500.00 | 13500.00 | 8169.00 | Jay Prakashbhai Tilara
55.00 | Poviding and fixing Shower arm 20mm and 300 mm long round shap jaquar make (SHA-CHR-479L3 00S) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 2467.00 | 2467.00 | 1125.00 | 1125.00 | 13500.00 | 13500.00 | 1125.00 | Classicon Projects India Pvt. Ltd.
56.00 | Poviding and fixing Concelaled body for single lever high flo jaquar make (ALD-CHR-079N) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 4580.00 | 4580.00 | 4550.00 | 4550.00 | 6000.00 | 6000.00 | 4550.00 | Classicon Projects India Pvt. Ltd.
57.00 | Poviding and fixing single lever exposed part kit of high flo jaquar make (KUP-CHR-35079NKPM) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 3007.00 | 3007.00 | 2925.00 | 2925.00 | 8000.00 | 8000.00 | 2925.00 | Classicon Projects India Pvt. Ltd.
58.00 | Poviding and fixing Kubix prime bath tub spout with wall fla jaquar make (SPJ-CHR-35429PM) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 1793.00 | 1793.00 | 2700.00 | 2700.00 | 6000.00 | 6000.00 | 1793.00 | Jay Prakashbhai Tilara
59.00 | Poviding and fixing Towel rack 600mm long without lower hang jaquar make (ACN-CHR-1181F HS) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 2323.00 | 2323.00 | 3650.00 | 3650.00 | 6000.00 | 6000.00 | 2323.00 | Jay Prakashbhai Tilara
60.00 | Poviding and fixing Concesled body for single lever basin MI jaquar make (ALD-CHR-233N) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 4785.00 | 4785.00 | 4100.00 | 4100.00 | 7000.00 | 7000.00 | 4100.00 | Classicon Projects India Pvt. Ltd.
61.00 | Poviding and fixing Exposed part kit of single lever for basin jaquar make (KUP-CHR-35233NKPM) or equivalent, all complete as per engineer-in-charge. | 1.00 | Each |  | 2323.00 | 2323.00 | 5800.00 | 5800.00 | 8000.00 | 8000.00 | 2323.00 | Jay Prakashbhai Tilara
62.00 | Providing and fixing Pigeon/Bird net to prevent bird sitting on MS structure/baffle ceilling and wherever required i/c necessary scaffolding and arrangements etc. Complete as per direction and satisfaction of the engineer-in-charge. | 1500.00 | Sqm |  | 264.00 | 396000.00 | 180.00 | 270000.00 | 900.00 | 1350000.00 | 270000.00 | Classicon Projects India Pvt. Ltd.
63.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Hot finished welded type tubes | 7591.00 | Kg |  | 123.05 | 934072.55 | 110.00 | 835010.00 | 125.00 | 948875.00 | 835010.00 | Classicon Projects India Pvt. Ltd.
64.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 200.00 | Kg |  | 84.50 | 16900.00 | 100.00 | 20000.00 | 90.00 | 18000.00 | 16900.00 | Jay Prakashbhai Tilara
65.00 | Providing and fixing U Baffle Aluminum panel ceiling of approved make & approved RAL colour consisting of panel size 150 mm deep x 50 mm width using minimum 0.7 mm thick aluminum and 125mm center to center as per drawings enclosed, Pure Polyester Powder Coated, Aluminum alloy AA 3105 (Al.Mg) for higher strength. Panels shall be connected using friction grip upper and lower bracket on a special carrier of 30 mm wide x 30 mm high x 2 mm thick powder coated Gl member as approved colour to form as cassette based on the module of 360mm c/c which shall be downward accessible with a torsion spring/or special bolted bracket hanger system in group of panel or as desired. Main Runners: All vertical baffles are attached to factory punched 30x30x2.0mm Thk black Powder coated G.I member with the special baffle hangers/springs to form a module of 125mm C/C. Cross Runners: 30 mm wide x 30 mm high x 2 mm thick powder coated Gl member as approved color designed to interlock baffle section on designated spacing are spaced at 1200mm Center maximum. Suspension System: The complete frame to be suspended using special bracket with M6 threaded rod as desired length or as per detailed drawings.Paint Finish: All baffles to be Pure Polyester Powder Coated to RAL Shades/Wooden shade as confirmed/approved by Engineer-in-charge. The panels shall be fixed to pre-installed structural M.S.frame/CC work at all levels including all accessories like Fasteners, Hangers, screws, washers, etc at site complete with all respect as desired conforming to specifications and directions of Engineer-in-Charge. Contractor shall give 10 years guarantee for entire system including Pure Polyester Powder Coating. The Items includes supplying, Installation and fixing of U Baffle Aluminum panel ceiling over MS structural frame / CC work, Labours, Scaffolding all required machineries for fixing tools, Fasteners, Hangers, screws, washers, etc complete in all respect as desired. (M.S. structurer/ frame work shall be paid separately of relevant item). | 1500.00 | Sqm |  | 6395.00 | 9592500.00 | 5200.00 | 7800000.00 | 7800.00 | 11700000.00 | 7800000.00 | Classicon Projects India Pvt. Ltd.
66.00 | Providing and fixing 18 mm thick Granite with engraved text of approved font size & content coloured in gold, gang saw cut, mirror polished, premoulded and prepolished, machine cut for Inagural plaque of required size, approved shade, colour and texture, including moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 4.00 | Sqm |  | 1819.00 | 7276.00 | 11500.00 | 46000.00 | 5000.00 | 20000.00 | 7276.00 | Jay Prakashbhai Tilara
67.00 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gms), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc complete as per direction of the Engineer-in-charge. | 100.00 | Each |  | 325.00 | 32500.00 | 200.00 | 20000.00 | 500.00 | 50000.00 | 20000.00 | Classicon Projects India Pvt. Ltd.
68.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. A) Granite work | 10.00 | Meter |  | 123.00 | 1230.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 1230.00 | Jay Prakashbhai Tilara
69.00 | Seamless Glass Railing with 12 mm Toughened Glass:- Fabrication, supply & Installation of New clear line glass railing system for Straight area of Ozone make or equivalent as approved of Heavy duty aluminum U Type Hollow, Squre walls Base channel (HWBC) (OZRF-NCL-SYS-HWBC-AL) or equivalent as approved AL 6063 grade with approved powder coating finish of size 57 (wide)x125mm(height).Glass Specs. is 12mm thk toughened glass.Clear Height 600mm to 1060mm. to be GRIPPED with fixing kit (OZRF-NCL-ACC-KIT-12MM) or equivalent as approved at maximum 250 mm cc to cc . Glass should be lifted from base by Solid Nylon L Block separates at least 4nos/meters. HWBC to be fixed with GI stud Mechanical anchor M10x113@ 250 mm c/c. Glass should be fixed with completely dry system so that in case of breakage it can be changed without any silicon cutting and very fast as well. The Top Edge of glass will be covered with 6063 Grade Dia 50x1.5 mm thk Slotted handrail fixed with EPDM Gasket at the top of glass. The Vertical joint of glass will be free from silicon. The total height of the system will be max. 1100mm from Top of Ledge to Top of Handrail. | 23.00 | Sqm |  | 10350.00 | 238050.00 | 11000.00 | 253000.00 | 10000.00 | 230000.00 | 230000.00 | Nabalok Das
70.00 | Providing and fixing Aluminium layin plain square edge powder coated ceiling with tiles of size 595x1195 mm made of Aluminium 0.7 mm sheet with 12 mm drop grade alloy 3105 having powder coated of thickness 60 microns (minimum), including factory painted after bending, false ceiling shall be suspended on inter locking metal grid of hot dipped galvanized steel sections (galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.3 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x26 mm made of 0.3 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and wall angle of size 24x24x0.4 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T‐sections shall be pre‐painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer‐ in‐charge. | 32.00 | Sqm |  | 3907.00 | 125024.00 | 2600.00 | 83200.00 | 4000.00 | 128000.00 | 83200.00 | Classicon Projects India Pvt. Ltd.
71.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 98.00 | Sqm |  | 1350.00 | 132300.00 | 1000.00 | 98000.00 | 2000.00 | 196000.00 | 98000.00 | Classicon Projects India Pvt. Ltd.
72.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry 100 mm/ 125 mm thick with Grade- I AAC blocks of density 551 to 650 Kg/ cum conforming to IS: 2185 (Parts-3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 20.00 | Sqm |  | 961.00 | 19220.00 | 1125.00 | 22500.00 | 10000.00 | 200000.00 | 19220.00 | Jay Prakashbhai Tilara
73.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift , as directed by Engineer-incharge. a) All kinds of soil | 70.00 | Cum |  | 287.00 | 20090.00 | 220.00 | 15400.00 | 170.00 | 11900.00 | 11900.00 | Nabalok Das
74.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 57.00 | Cum |  | 125.00 | 7125.00 | 150.00 | 8550.00 | 196.00 | 11172.00 | 7125.00 | Jay Prakashbhai Tilara
75.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 17.00 | Cum |  | 5530.00 | 94010.00 | 4800.00 | 81600.00 | 7000.00 | 119000.00 | 81600.00 | Classicon Projects India Pvt. Ltd.
76.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering,finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a) All work upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 52.00 | Cum |  | 7165.00 | 372580.00 | 7000.00 | 364000.00 | 8000.00 | 416000.00 | 364000.00 | Classicon Projects India Pvt. Ltd.
77.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6240.00 | Kg |  | 75.15 | 468936.00 | 82.00 | 511680.00 | 80.00 | 499200.00 | 468936.00 | Jay Prakashbhai Tilara
78.00 | Centering and shuttering including strutting, propping etc. and removal of form for a) Foundations, footings, bases of columns, etc. for mass concrete | 43.00 | sqm |  | 436.00 | 18748.00 | 400.00 | 17200.00 | 500.00 | 21500.00 | 17200.00 | Classicon Projects India Pvt. Ltd.
79.00 | Centering and shuttering including strutting, propping etc. and removal of form for a) Lintels,beams, plinth beams, girders, bressumer and catilevers | 64.00 | sqm |  | 567.00 | 36288.00 | 700.00 | 44800.00 | 700.00 | 44800.00 | 36288.00 | Jay Prakashbhai Tilara
80.00 | Providing and laying graded granular material (moorum) in layers not exceeding 20cm (loose) in thickness (each layer) inplinth and as directed by the Engineer-in-charge. Breaking clods, watering, consolidating each layers with plate vibrator, fine dressing to the required camber, grade and slope etc. complete. | 60.00 | Cum |  | 1682.00 | 100920.00 | 800.00 | 48000.00 | 1500.00 | 90000.00 | 48000.00 | Classicon Projects India Pvt. Ltd.
81.00 | Supplying and laying stone soling with stone boulders of size 150 mm to 225 mm in layers not exceeding 225 mm thick including hand packing with small stone chips and binding materials (gravel or moorum) including watering and compacting with road roller / hand rammer as per direction of Engineer - in -charge. (Nothing extra to be paid for packing the voids and making surface levelled) | 37.00 | Cum |  | 5064.00 | 187368.00 | 1500.00 | 55500.00 | 4500.00 | 166500.00 | 55500.00 | Classicon Projects India Pvt. Ltd.
82.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Columns, Pillars, Piers, Abutments, Posts and Struts | 54.00 | Sqm |  | 633.00 | 34182.00 | 700.00 | 37800.00 | 700.00 | 37800.00 | 34182.00 | Jay Prakashbhai Tilara
83.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering,finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a) All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum | 6.00 | Cum |  | 7166.00 | 42996.00 | 7000.00 | 42000.00 | 9500.00 | 57000.00 | 42000.00 | Classicon Projects India Pvt. Ltd.
84.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level: a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 600.00 | Kg |  | 75.15 | 45090.00 | 85.00 | 51000.00 | 85.00 | 51000.00 | 45090.00 | Jay Prakashbhai Tilara
85.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. A] On steel work | 100.00 | Sqm |  | 156.00 | 15600.00 | 250.00 | 25000.00 | 160.00 | 16000.00 | 15600.00 | Jay Prakashbhai Tilara
86.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1122.00 | Sqm |  | 657.00 | 737154.00 | 700.00 | 785400.00 | 850.00 | 953700.00 | 737154.00 | Jay Prakashbhai Tilara
87.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 13.00 | Sqm |  | 1810.00 | 23530.00 | 3500.00 | 45500.00 | 4500.00 | 58500.00 | 23530.00 | Jay Prakashbhai Tilara
88.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 96.00 | Sqm |  | 397.00 | 38112.00 | 600.00 | 57600.00 | 1100.00 | 105600.00 | 38112.00 | Jay Prakashbhai Tilara
89.00 | Providing and fixing stainless steel ( Grade 304) railing, swing gates etc. made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 2775.00 | kg |  | 387.00 | 1073925.00 | 600.00 | 1665000.00 | 780.00 | 2164500.00 | 1073925.00 | Jay Prakashbhai Tilara
90.00 | Providing and fixing flexible spring post, orange, yellow colour, with reflectors, 750mm height & minimum dia 100mm with necessary screw, anchor fastener etc. all complete as per engineer-in-charge. | 150.00 | Each |  | 680.00 | 102000.00 | 850.00 | 127500.00 | 900.00 | 135000.00 | 102000.00 | Jay Prakashbhai Tilara
91.00 | Providing and fixing tempered lacquered glass with a UV printed image in the pattern as approved by AAI, of make SGG Colour Maxx Canvas or equivalent, in thicknesses 6mm , backed by a solid color based on the image. This glass is manufactured industrially with UV printing by the contract manufacturer and backed using a multi-level auto diffusion process with durable PU lacquer over a UV printed image, rendering it opaque when viewed against a support wall. The glass will be fixed using any compatible Neutral Alkoxy or Neutral Oxime Silicone (e.g., Dowsil 896 Panelfix, Dowsil 789, SGG Glassmate Ultrafix, or equivalent) that has a shear bond strength (dry, 24 hours) greater than 450 kPa and a tack-free time of 10 to 30 minutes. The installation will be on a perfectly leveled 12mm thick waterproof marine plywood, MDF, or mineral fibre board, mounted on an RCC wall or any other structure. The manufactured digitally printed lacquered glass - Glass substrate shall comply with IS 14900 for the Annealed raw glass and EN12150 for Thermally Toughened glass if applicable. | 40.00 | Sqm |  | 10000.00 | 400000.00 | 13000.00 | 520000.00 | 10000.00 | 400000.00 | 400000.00 | Jay Prakashbhai Tilara, Nabalok Das
92.00 | Providing and fixing aluminium work for ACP Caldding on Walls, Colums, Duct Covering etc. using Aluminium Tubular, L, T etc. sections as per the approved design and drawings at all heights and levels. | 900.00 | kg |  | 742.30 | 668070.00 | 600.00 | 540000.00 | 850.00 | 765000.00 | 540000.00 | Classicon Projects India Pvt. Ltd.
93.00 | Providing and fixing 4mm thick Aluminium Composite Panels (ACP) of approved make for cladding of columns, walls, jambs, sills, projected area/ fascia, ceiling, decorative cladding on any surface to any profile and shape (pan shape) using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. at horizontally/ vertically/ sloped/ curved/ circular etc. for all heights and levels as per drawings and specifications as per direction of Engineer in-charge. Note: Base frame work for ACP cladding is payable under the relevant aluminium items. | 415.00 | Sqm |  | 3750.00 | 1556250.00 | 1900.00 | 788500.00 | 3800.00 | 1577000.00 | 788500.00 | Classicon Projects India Pvt. Ltd.
94.00 | Providing and fixing 11mm thick CNS cut High-Density Fiberboards (HDF) jali of approved make & design for cladding of columns, walls, jambs, sills, projected area/ fascia, ceiling, decorative cladding on any surface to any profile and shape (pan shape) using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. at horizontally/ vertically/ sloped/ curved/ circular etc. for all heights and levels as per drawings and specifications as per direction of Engineer in-charge. Note: Base frame work for HDF cladding is payable under the relevant aluminium items. | 100.00 | Sqm |  | 876.00 | 87600.00 | 1700.00 | 170000.00 | 3800.00 | 380000.00 | 87600.00 | Jay Prakashbhai Tilara
95.00 | Providing and applying integral crystalline slurry of hydrophilic innature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. a)For vertical surface two coats @ 0.70 kg per sqm | 29.00 | Sqm |  | 475.00 | 13775.00 | 450.00 | 13050.00 | 473.00 | 13717.00 | 13050.00 | Classicon Projects India Pvt. Ltd.
96.00 | Providing and applying integral crystalline slurry of hydrophilic innature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. a)For horizontal surface one coat @1.10 kg per sqm. | 11.00 | Sqm |  | 359.00 | 3949.00 | 350.00 | 3850.00 | 360.00 | 3960.00 | 3850.00 | Classicon Projects India Pvt. Ltd.
97.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: a) 125x75x4 mm | 40.00 | Each |  | 65.00 | 2600.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 2600.00 | Jay Prakashbhai Tilara
98.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 300x16 mm | 20.00 | Each |  | 317.00 | 6340.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 4000.00 | Classicon Projects India Pvt. Ltd.
99.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 125 mm | 20.00 | Each |  | 85.00 | 1700.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 1700.00 | Jay Prakashbhai Tilara
100.00 | Providing chemical anchoring (Chemical HY 200 R V3 500/2 of Hilti make) including provision & threading of rod (Anchor Rod HIT-V 5.8 M12x120 of Hilti make) of desired dia.for placing load hook in top slab of lift shaft (6 floor hight) with approved chemical including anchor rod, drilling, inrecting, scaffolding arrangment, etc. complete as required at site & approved by Engineer-in-charge. | 8.00 | Each |  | 871.00 | 6968.00 | 600.00 | 4800.00 | 5000.00 | 40000.00 | 4800.00 | Classicon Projects India Pvt. Ltd.
101.00 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 660.00 | meter |  | 45.00 | 29700.00 | 100.00 | 66000.00 | 40.00 | 26400.00 | 26400.00 | Nabalok Das
102.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete etc. as per direction of Engineerin-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 185.00 | cum |  | 7866.00 | 1455210.00 | 10000.00 | 1850000.00 | 9000.00 | 1665000.00 | 1455210.00 | Jay Prakashbhai Tilara
103.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 528.00 | sqm |  | 149.00 | 78672.00 | 170.00 | 89760.00 | 165.00 | 87120.00 | 78672.00 | Jay Prakashbhai Tilara
104.00 | Providing and fixing bright finished brass handles with screws etc. complete: a) 125 mm | 4.00 | Each |  | 158.00 | 632.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 632.00 | Jay Prakashbhai Tilara
105.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in-charge. | 160.00 | Each |  | 1267.00 | 202720.00 | 3400.00 | 544000.00 | 1800.00 | 288000.00 | 202720.00 | Jay Prakashbhai Tilara
106.00 | Provision of architectural drawings for renovation of Airport Director's office, Anti hijacking room, Conference room and ATC Complex toilets block. The drawing will include details of internal furniture, all kind of wiring, location of various fittings in toilet blocks and wall paneling and false ceiling etc. These drawings will be supplied by contractor to Engineer-in-charge for approval before start of excution of work. If required by Engineer-in-Charge, the contractor will arrange visit of Architect at Airport for revision/ modification in the work as well as drawings. There set of final colour drawings will be submitted by contractor to EIC with all modifications, if required, Complete as per direction of Engineer-in-Charge. | 1.00 | Each |  | 400000.00 | 400000.00 | 400000.00 | 400000.00 | 200000.00 | 200000.00 | 200000.00 | Nabalok Das
| Total in Figures |  |  |  |  | 25044613.55 |  | 24336625.00 |  | 32632704.00
Lowest Amount Quoted BY: Classicon Projects India Pvt. Ltd.(24336625.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Minor Capital Civil works in Terminal Building, ATS Complex and non-operational area of Surat International Airport, Surat. Tender ID: 2026_AAI_281996_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Classicon Projects India Pvt. Ltd. (BID ID -1041190) | 24336625.00 | L1
| 2 | Jay Prakashbhai Tilara (BID ID -1046687) | 25044613.55 | L2
| 3 | Nabalok Das (BID ID -1046755) | 32632704.00 | L3