## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 06-Aug-2026 05:33 PM Tender Title: Development of Varanasi Airport-Diversion of existing services (Electrical works) Tender ID: 2026_AAI_282642_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Development of Varanasi Airport-Diversion of existing services (Electrical works)
Contract No: 2026_AAI_282642_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (GSTN-09AOTPS2578C1ZC) BID ID -1041262 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -1048364 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -1048381 |  | Miraj Engineering Services Pvt. Ltd. (GSTN-NA) BID ID -1048382 |  | Shiva Enterprises (GSTN-NA) BID ID -1047882 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -1047786
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Electrical Works
1.00 | Supply of Earthed aromured, stranded compacted circular Aluminium Conductor, conductor screen with extruded semi-conducting compound, XLPE insulated, insulation screening with extruded semi conducting compound in combination with copper tape, core laid up, innersheath of PVC, galvanised steel flat strip armoured, & overall PVC sheathed Cable, with PVC outer sheath for 33kV grade confirming to IS 7908 (Part-II), ammended upto date etc. as required.of following size: 3C X 300 Sq.mm | 900.00 | Metre |  | 2500.00 | 2250000.00 | 2765.00 | 2488500.00 | 2449.00 | 2204100.00 | 3037.00 | 2733300.00 | 2925.00 | 2632500.00 | 2980.00 | 2682000.00 | 2204100.00 | Awasthi Electric Works
2.00 | Supply of Earthed aromured, stranded compacted circular Aluminium Conductor, conductor screen with extruded semi-conducting compound, XLPE insulated, insulation screening with extruded semi conducting compound in combination with copper tape, core laid up, innersheath of PVC, galvanised steel flat strip armoured, & overall PVC sheathed Cable, with PVC outer sheath for 11kV grade confirming to IS 7908 (Part-II), ammended upto date etc. as required.of following size: 3C X 95 Sq.mm | 800.00 | Metre |  | 1000.00 | 800000.00 | 836.00 | 668800.00 | 850.00 | 680000.00 | 975.00 | 780000.00 | 940.00 | 752000.00 | 1100.00 | 880000.00 | 668800.00 | Yash Energy Pvt. Ltd
3.00 | Supply of XLPE insulated and PVC sheathed aluminium conductor armoured cable of 1.1 KV grade conforming to IS 7098 (Par : -I)/1988 with upto date amendments etc.,as required.of following size: 3.5C X 300 Sq.mm | 500.00 | Metre |  | 1500.00 | 750000.00 | 1623.00 | 811500.00 | 1550.00 | 775000.00 | 1750.00 | 875000.00 | 1685.00 | 842500.00 | 1600.00 | 800000.00 | 750000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
4.00 | Supply of XLPE insulated and PVC sheathed aluminium conductor armoured cable of 1.1 KV grade conforming to IS 7098 (Par : -I)/1988 with upto date amendments etc.,as required.of following size: 3.5C X 185 Sq.mm | 3000.00 | Metre |  | 1000.00 | 3000000.00 | 1026.00 | 3078000.00 | 995.00 | 2985000.00 | 1107.00 | 3321000.00 | 1065.00 | 3195000.00 | 1300.00 | 3900000.00 | 2985000.00 | Awasthi Electric Works
5.00 | Supply of XLPE insulated and PVC sheathed aluminium conductor armoured cable of 1.1 KV grade conforming to IS 7098 (Par : -I)/1988 with upto date amendments etc.,as required.of following size: 4 C X 16 Sq.mm | 2000.00 | Metre |  | 200.00 | 400000.00 | 144.00 | 288000.00 | 148.00 | 296000.00 | 183.00 | 366000.00 | 175.00 | 350000.00 | 300.00 | 600000.00 | 288000.00 | Yash Energy Pvt. Ltd
6.00 | Supply and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 Core, XLPE Al conductor cable of 33 KV grade as required. 3½ X 300sq. Mm | 3.00 | Job |  | 7000.00 | 21000.00 | 8580.00 | 25740.00 | 11000.00 | 33000.00 | 22208.00 | 66624.00 | 14000.00 | 42000.00 | 4700.00 | 14100.00 | 14100.00 | SAURABH ENTERPRISES
7.00 | Supplying and making straight through cable joint with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 Core, XLPE Aluminium conductor cable of 33 KV grade as required. 3½ X 300 sq. mm | 3.00 | Job |  | 7000.00 | 21000.00 | 23100.00 | 69300.00 | 31500.00 | 94500.00 | 49502.00 | 148506.00 | 17000.00 | 51000.00 | 12000.00 | 36000.00 | 21000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
8.00 | Supply and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 Core, XLPE Al conductor cable of 11 KV grade as required. 3½ X 95sq. mm | 2.00 | Job |  | 7000.00 | 14000.00 | 8663.00 | 17326.00 | 4700.00 | 9400.00 | 9903.00 | 19806.00 | 7000.00 | 14000.00 | 1800.00 | 3600.00 | 3600.00 | SAURABH ENTERPRISES
9.00 | Supplying and making straight through cable joint with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 Core, XLPE Aluminium conductor cable of 11 KV grade as required. 3½ X 95sq. mm | 2.00 | Job |  | 6000.00 | 12000.00 | 4455.00 | 8910.00 | 10000.00 | 20000.00 | 20088.00 | 40176.00 | 9000.00 | 18000.00 | 3700.00 | 7400.00 | 7400.00 | SAURABH ENTERPRISES
10.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 150 sq. mm | 2.00 | Job |  | 6000.00 | 12000.00 | 4895.00 | 9790.00 | 3900.00 | 7800.00 | 5758.00 | 11516.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 4000.00 | SAURABH ENTERPRISES
11.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm | 9.00 | Job |  | 6000.00 | 54000.00 | 5118.00 | 46062.00 | 4000.00 | 36000.00 | 5758.00 | 51822.00 | 3500.00 | 31500.00 | 2000.00 | 18000.00 | 18000.00 | SAURABH ENTERPRISES
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300sq. mm | 5.00 | Job |  | 6000.00 | 30000.00 | 6325.00 | 31625.00 | 4500.00 | 22500.00 | 7755.00 | 38775.00 | 3900.00 | 19500.00 | 2500.00 | 12500.00 | 12500.00 | SAURABH ENTERPRISES
13.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 400 sq. mm | 2.00 | Job |  | 6000.00 | 12000.00 | 8740.00 | 17480.00 | 6000.00 | 12000.00 | 10105.00 | 20210.00 | 3900.00 | 7800.00 | 3000.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
14.00 | Supply and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated PVC sheathed aluminium conductor cable of 1.1 KV grade as reguried. 3.5 x 185 sq.mm | 4.00 | Job |  | 6500.00 | 26000.00 | 3669.00 | 14676.00 | 950.00 | 3800.00 | 2350.00 | 9400.00 | 1250.00 | 5000.00 | 1000.00 | 4000.00 | 3800.00 | Awasthi Electric Works
15.00 | Supply and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated PVC sheathed aluminium conductor cable of 1.1 KV grade as reguried. 3½ X 300sq. mm | 2.00 | Job |  | 6500.00 | 13000.00 | 5648.00 | 11296.00 | 1300.00 | 2600.00 | 3055.00 | 6110.00 | 1300.00 | 2600.00 | 1200.00 | 2400.00 | 2400.00 | SAURABH ENTERPRISES
16.00 | Supply of 200 mm outer dia PE-80 PN 10 HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked . | 707.00 | Metre |  | 1450.00 | 1025150.00 | 1672.00 | 1182104.00 | 1500.00 | 1060500.00 | 2255.00 | 1594285.00 | 1555.00 | 1099385.00 | 1500.00 | 1060500.00 | 1025150.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
17.00 | Laying of HDPE Pipe in underground for laying of cable across taxi or runway/road at depth of upto 3 mtr through HDD Method along with supply and laying of 4mm nylon rope with the pipe etc complete as required. 200 mm | 707.00 | Metre |  | 600.00 | 424200.00 | 955.00 | 675185.00 | 475.00 | 335825.00 | 2350.00 | 1661450.00 | 570.00 | 402990.00 | 550.00 | 388850.00 | 335825.00 | Awasthi Electric Works
18.00 | Supply of 160 mm outer dia PE-80 PN 10 HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked . | 1793.00 | Metre |  | 950.00 | 1703350.00 | 1047.00 | 1877271.00 | 950.00 | 1703350.00 | 1389.00 | 2490477.00 | 950.00 | 1703350.00 | 1000.00 | 1793000.00 | 1703350.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION, Shiva Enterprises, Awasthi Electric Works
19.00 | Laying of HDPE Pipe in underground for laying of cable across taxi or runway/road at depth of upto 3 mtr through HDD Method along with supply and laying of 4mm nylon rope with the pipe etc complete as required. Up to size 160 mm | 1793.00 | Metre |  | 575.00 | 1030975.00 | 448.00 | 803264.00 | 450.00 | 806850.00 | 1175.00 | 2106775.00 | 570.00 | 1022010.00 | 550.00 | 986150.00 | 803264.00 | Yash Energy Pvt. Ltd
20.00 | Supply of following size (DWC HDPE pipe) ISI marked alongwith all the accessories like couplers, bends, socket etc confirming to IS:14930 (part-2) with latest amendment etc complete as required. a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 2057.00 | Metre |  | 250.00 | 514250.00 | 132.00 | 271524.00 | 150.00 | 308550.00 | 177.00 | 364089.00 | 140.00 | 287980.00 | 130.00 | 267410.00 | 267410.00 | SAURABH ENTERPRISES
21.00 | Laying of following size (DWC HDPE pipe) alongwith all the accessories like couplers, bends, socket etc, complete with fitting and cutting, jointing etc direct in ground (75 cm below ground evel) including excavation, and refilling the trench but excluding sand cushioning and protective covering etc complete as required. a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 2057.00 | Metre |  | 300.00 | 617100.00 | 252.00 | 518364.00 | 200.00 | 411400.00 | 207.00 | 425799.00 | 70.00 | 143990.00 | 70.00 | 143990.00 | 143990.00 | SAURABH ENTERPRISES, Shiva Enterprises
22.00 | Laying of one number XLPE/PVC insulated PVC sheathed aluminium/copper conductor armoured power cable of 1.1 KV grade of following sizes in theexisting RCC/HUME/ STONEW / METAL PIPE/HDPE as requried. (i) above 185 sqmm. Up to 400 sq.mm. | 2189.00 | Metre |  | 70.00 | 153230.00 | 224.00 | 490336.00 | 125.00 | 273625.00 | 218.00 | 477202.00 | 140.00 | 306460.00 | 30.00 | 65670.00 | 65670.00 | SAURABH ENTERPRISES
23.00 | Laying of following size DWC HDPE pipe complete with fitting and cutting, jointing etc. direct in ground 1.2 m below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.160 mm dia (OD-160 mm & ID-135 mm nominal) | 300.00 | Metre |  | 300.00 | 90000.00 | 252.00 | 75600.00 | 220.00 | 66000.00 | 282.00 | 84600.00 | 90.00 | 27000.00 | 40.00 | 12000.00 | 12000.00 | SAURABH ENTERPRISES
24.00 | Laying of following size DWC HDPE pipe complete with fitting and cutting, jointing etc. direct in ground 1.2 m below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.200 mm dia (OD-200 mm & ID-175 mm nominal) | 150.00 | Metre |  | 300.00 | 45000.00 | 280.00 | 42000.00 | 250.00 | 37500.00 | 318.00 | 47700.00 | 90.00 | 13500.00 | 40.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
25.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 4.5 m and upto 6.5 m | 10.00 | Job |  | 12000.00 | 120000.00 | 11200.00 | 112000.00 | 4500.00 | 45000.00 | 7638.00 | 76380.00 | 1950.00 | 19500.00 | 2200.00 | 22000.00 | 19500.00 | Shiva Enterprises
26.00 | Dismantling of Pole/ Street Light Poles and carrying the same to AAI Store as per the direction of Engineer In-Charge. | 50.00 | Job |  | 3000.00 | 150000.00 | 2800.00 | 140000.00 | 1800.00 | 90000.00 | 1763.00 | 88150.00 | 850.00 | 42500.00 | 500.00 | 25000.00 | 25000.00 | SAURABH ENTERPRISES
27.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including getting out excavated soil and disposal of surplus excavated sil as diected by Engineer In-Charge withing a lead of 50 Metres etc complete as required. | 50.00 | cum |  | 130.00 | 6500.00 | 560.00 | 28000.00 | 1200.00 | 60000.00 | 1434.00 | 71700.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 5000.00 | SAURABH ENTERPRISES
28.00 | Supplying and fixing of GI/MS pipe bracket of size 32 mm dia and 1 m long, for mounting of LED Street Lights fitting on pole/wall, by providing and fixing 2 nos. 40mm x 3 mm iron clamps with nuts, bolts and washer, etc as required. | 100.00 | Job |  | 1150.00 | 115000.00 | 1064.00 | 106400.00 | 1250.00 | 125000.00 | 1234.00 | 123400.00 | 400.00 | 40000.00 | 1000.00 | 100000.00 | 40000.00 | Shiva Enterprises
29.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE Power Cable of 1.1 KV Grade of following size on wall surface as required. Upto 35 sqmm (clamped with 1mm thick saddle) | 2000.00 | Metre |  | 220.00 | 440000.00 | 50.00 | 100000.00 | 60.00 | 120000.00 | 94.00 | 188000.00 | 60.00 | 120000.00 | 30.00 | 60000.00 | 60000.00 | SAURABH ENTERPRISES
30.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarsesand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (heavy duty) 560 mm internal diameter, total weight of cover and frame to be not less than 208 kg (weight of cover 108 kg and weight of frame 100 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | Job |  | 5000.00 | 25000.00 | 77000.00 | 385000.00 | 53500.00 | 267500.00 | 17625.00 | 88125.00 | 28000.00 | 140000.00 | 5000.00 | 25000.00 | 25000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION, SAURABH ENTERPRISES
31.00 | Dismantling, relocation and reinstallation of Junction Box near existing Glide path and making necessary terminations of cables by providing end termination kits, nothing extra shall be paid on this account as per direction fo Engineer In-Charge etc complete as required. | 1.00 | Job |  | 10000.00 | 10000.00 | 9200.00 | 9200.00 | 45000.00 | 45000.00 | 117500.00 | 117500.00 | 8500.00 | 8500.00 | 500.00 | 500.00 | 500.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 13884755.00 |  | 14403253.00 |  | 12937800.00 |  | 18493877.00 |  | 13369065.00 |  | 13931070.00
Lowest Amount Quoted BY: Awasthi Electric Works(12937800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Varanasi Airport-Diversion of existing services (Electrical works) Tender ID: 2026_AAI_282642_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -1048381) | 12937800.00 | L1
| 2 | Shiva Enterprises (BID ID -1047882) | 13369065.00 | L2
| 3 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (BID ID -1041262) | 13884755.00 | L3
| 4 | SAURABH ENTERPRISES (BID ID -1047786) | 13931070.00 | L4
| 5 | Yash Energy Pvt. Ltd (BID ID -1048364) | 14403253.00 | L5
| 6 | Miraj Engineering Services Pvt. Ltd. (BID ID -1048382) | 18493877.00 | L6