## BoQ1
Government eProcurement System Created By: Sunil Kumar Kotia Created Date/Time: 03-Aug-2026 11:49 AM Tender Title: Provision of Clean agent based Fire suppression system for critical NAV-Aids sites like Localizer, Glide path and DVOR at Dehradun Airport Tender ID: 2026_AAI_282812_1
Tender Inviting Authority: Assistant General Manager (Engg.-Elect.), AAI, Dehradun Airport
Name of Work: Provision of Clean-agent based Fire suppression system for critical NAV-Aids sites like Localizer, Glide path & DVOR at Dehradun Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -1045358 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -1048162 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -1048850 |  | Kalpataru Industries (GSTN-NA) BID ID -1048823
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing & Commissioing of Gas Suppression System including clean agent gas (FK-5-1-12) of 4.5% concentration, flooding system comprising of the following items as per NFPA 2001 & Upto date amendments standards consisting of Cylinder PESO Approved, complete with UL / VDS / PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure,a pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos of Nozzles (UL / VDS listed), Piping, Manifold etc. complete as required. Gas. Design includes the Cylinder capacity, volume of Gas, Nos. of Nozzles, piping design and pressure calculations using certified (PESO/BIS/UL/VDS) design software suitable for seamless steel cylinder for the rooms with dimensions at per enclosed drawings duly vetted by manufacturer (OEM) shall be submitted prior to starting of the works. LEGEND : CV:Ceiling Void; RV: Room Void;
1.10 | Design for DVOR : Equipment room(RV-75.26 m3 & CV-3.47 m3) | 1.00 | Job |  | 3445.00 | 3445.00 | 4000.00 | 4000.00 | 170000.00 | 170000.00 | 8000.00 | 8000.00 | 3445.00 | Nexus Fire And Security Systems
1.20 | Design for DVOR : UPS & Electrical room(RV-20+20 m3 ) | 1.00 | Job |  | 3445.00 | 3445.00 | 4000.00 | 4000.00 | 111200.00 | 111200.00 | 8000.00 | 8000.00 | 3445.00 | Nexus Fire And Security Systems
1.30 | Design Glide path & Localizer : Equipment room(RV-65 m3) and UPS cum Electrical room(RV-60 m3) | 1.00 | Job |  | 5555.00 | 5555.00 | 4000.00 | 4000.00 | 200000.00 | 200000.00 | 8000.00 | 8000.00 | 4000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | SITC of UL & PESO approved Seamless storage 80L cylinder of FK-5-1-12 agent complete with valve assembly, pressure switch with safety burst disk & safety cap and other standard accessories including suitable size mounting Straps (2 nos. of straps for each cylinder). | 3.00 | Each |  | 94540.00 | 283620.00 | 128460.00 | 385380.00 | 98300.00 | 294900.00 | 85000.00 | 255000.00 | 255000.00 | Kalpataru Industries
3.00 | SITC of UL & PESO approved Seamless storage 34 L cylinder of FK-5-1-12 agent complete with valve assembly , pressure switch with safety burst disk & safety cap and other standard accessories including suitable size mounting Strap (2 nos. of straps for each cylinder) . | 1.00 | Each |  | 73060.00 | 73060.00 | 101110.00 | 101110.00 | 76000.00 | 76000.00 | 69250.00 | 69250.00 | 69250.00 | Kalpataru Industries
4.00 | Supply, filling & handing over of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 fire suppresion fluid) for item no 2 & 3 complete as per tender specification, as per site requirment & as per direction of Engineer Incharge.(Gas shall be UL Listed and Chromatography Report is required) | 250.00 | Kg |  | 1390.00 | 347500.00 | 1400.00 | 350000.00 | 1200.00 | 300000.00 | 1475.00 | 368750.00 | 300000.00 | advent electric technologies pvt. ltd.
5.00 | Supply, Installation, Testing & Commissioning of following UL listed accessories of master cylinder suitable to the cylinders as per item no-2 & 3 complete as per tender specification, as per site requirment: 1. Electrically cum Manual acctuator to operate the gas manually from the cylinder with all accessories 2. Pneumatic actuator valve - For triggering the cylinder assembly as per system requirement 3. Flexible Discharge Hose of Suitable size with approporiate pressure rating made of Braided reinforce rubber Hose fitted with Carbon steel fittings 4. Pressure gauge. | 4.00 | Each |  | 24750.00 | 99000.00 | 63390.00 | 253560.00 | 27000.00 | 108000.00 | 41000.00 | 164000.00 | 99000.00 | Nexus Fire And Security Systems
6.00 | Supply, installation,Testing & Commissioning of Manifold supervisory switch for indication of discharge of system complete as required. | 4.00 | Each |  | 5375.00 | 21500.00 | 11840.00 | 47360.00 | 7000.00 | 28000.00 | 6500.00 | 26000.00 | 21500.00 | Nexus Fire And Security Systems
7.00 | Supply, Installation, Testing & Commissioning of Discharge nozzles designed to provide the proper flow and distribution of gas for total flood of hazard area at - 360 degrees or as per design & site requirment. | 16.00 | Each |  | 3425.00 | 54800.00 | 5500.00 | 88000.00 | 4500.00 | 72000.00 | 5350.00 | 85600.00 | 54800.00 | Nexus Fire And Security Systems
8.00 | Supply, installation,Testing & Commissioning of MS seamless Piping conforming to ASTM A-106 Schedule-40 complete with all fittings as per flow calculations for the specific hazard volume and stand to hold,position & support the manifold and piping properly with MS suspended supports, clamps anchor fastners including painting with one coat of red oxide/yellow zinc cromate and 2 coats of enamel paint ( post office red) and cutting/ chases / holes in ceiling/wall and making good the same as required.
8.10 | DVOR : Equipment room(RV-75.26 m3 & CV-3.47 m3) | 1.00 | Job |  | 29700.00 | 29700.00 | 35000.00 | 35000.00 | 30000.00 | 30000.00 | 38300.00 | 38300.00 | 29700.00 | Nexus Fire And Security Systems
8.20 | DVOR : UPS & Electrical room(RV-20+20 m3 ) | 1.00 | Job |  | 29700.00 | 29700.00 | 35000.00 | 35000.00 | 30000.00 | 30000.00 | 32800.00 | 32800.00 | 29700.00 | Nexus Fire And Security Systems
8.30 | Glide path & Localizer : Equipment room (RV-65 m3) & UPS cum Electrical room (RV-65 m3) | 2.00 | Job |  | 29700.00 | 59400.00 | 35000.00 | 70000.00 | 30000.00 | 60000.00 | 33800.00 | 67600.00 | 59400.00 | Nexus Fire And Security Systems
9.00 | SITC of microprocessor based dual function Detection cum Gas/Agent Release Panel fully compliant with PESO/UL/BIS/VDS/EN listed & NFPA-72 having minimum 4 detection & minimum 2 nos release circuits (RAC) with programable function. Panel shall have minimum 16x2 character LCD Display suitable to operate on 120-220V /50Hz AC power supply with standby(battery) backup 24V DC supply with builtin charger along with audio visual indication of status/warnings. Other Features comprising of following: i) All zones configuration as Alarm /Supervisory zone. ii) Notifiation Appliance circuits iii)Programmable relays for fire/Fault/supervisory /gas released. iv) Auto /Manual Modes v) Walk test vi) Programable RAC with count down timer vii) Event history Logging viii) All field wiring circuits supervision. ix) Integration with existing Fire alarm panel & auto dialer | 3.00 | Job |  | 37200.00 | 111600.00 | 23060.00 | 69180.00 | 20000.00 | 60000.00 | 24050.00 | 72150.00 | 60000.00 | advent electric technologies pvt. ltd.
10.00 | Supply & installation of LPCB certified/complient Manual Abort Stations Semi Flush Mounting Re-settable (Non-Breaking Glass), Supplied with Special Reset Tool including integration with gas release panel. | 4.00 | Each |  | 3335.00 | 13340.00 | 3660.00 | 14640.00 | 1050.00 | 4200.00 | 3450.00 | 13800.00 | 4200.00 | advent electric technologies pvt. ltd.
11.00 | Supply & installation of LPCB certified/complient Manual Release Stations Semi Flush Mounting Re-settable (Non-Breaking Glass), Supplied with Special Reset Tool including integration with gas release panel | 4.00 | Each |  | 3335.00 | 13340.00 | 3660.00 | 14640.00 | 1050.00 | 4200.00 | 3450.00 | 13800.00 | 4200.00 | advent electric technologies pvt. ltd.
12.00 | Supplying, installation , testing and commissioning of conventional multicriteria photoelectric type detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as per site requirment | 16.00 | Each |  | 1205.00 | 19280.00 | 930.00 | 14880.00 | 1200.00 | 19200.00 | 1250.00 | 20000.00 | 14880.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
13.00 | Supply , Installation & comissioning of Hooter cum strobe confirming to UL/LPCB/EN-54. | 4.00 | Each |  | 2815.00 | 11260.00 | 3970.00 | 15880.00 | 1200.00 | 4800.00 | 3500.00 | 14000.00 | 4800.00 | advent electric technologies pvt. ltd.
14.00 | Supply , Installation & comissioning of Response Indicator as required | 4.00 | Each |  | 97.00 | 388.00 | 100.00 | 400.00 | 200.00 | 800.00 | 115.00 | 460.00 | 388.00 | Nexus Fire And Security Systems
15.00 | Supply and laying of 2 core x 1.5 sqmm, 1.1 KV grade, stranded copper conductor, XLPE insulated with fire-rated glass mica tape, LSZH outer sheathed, Armoured Fire Survival Cable confirming to BS 7846:2015, Fire Resistance as per BS 8434-2:2003, RED in Colour, laid on surface with GI saddle Complete with GI Junction Box, lugs, cable compression glands, cable tags and Ferruling. | 200.00 | Meter |  | 161.00 | 32200.00 | 200.00 | 40000.00 | 140.00 | 28000.00 | 155.00 | 31000.00 | 28000.00 | advent electric technologies pvt. ltd.
16.00 | Following capacity Seamless storage cylinder of Novac 1230/ FK-5-1-12 agent complete with all necessary fire suppression agent (FK-5-1-12 fire suppresion fluid) including , fittings, valve assembly, pressure gauge and other standard accessories as required approved by LPCB/UL/VDS/FM:
16.10 | 1 Kg Capacity | 3.00 | Each |  | 18200.00 | 54600.00 | 17970.00 | 53910.00 | 12000.00 | 36000.00 | 16000.00 | 48000.00 | 36000.00 | advent electric technologies pvt. ltd.
17.00 | Supply, installation, testing & commissioning of Heat Detection Tube for automatic fire detection and suppression system made by special modified Polyamide (PA), Color Red RAL300, High grade quality, Inner diameter 4mm, Outer Diameter 6 MM, bursting temperature range 90°C to 120°C UL approved as per UL 521- STANDARD FOR HEAT DETECTORS FOR FIRE PROTECTIVE SIGNALING SYSTEMS. | 100.00 | Meter |  | 702.00 | 70200.00 | 810.00 | 81000.00 | 600.00 | 60000.00 | 550.00 | 55000.00 | 55000.00 | Kalpataru Industries
18.00 | Supply, installation, testing & commissioning of Heat Detection Tube End of Line adapter with Pressure gauge for Automatic fire suppression tube used for fitting at the end of the tube for pressurizing and re-pressurising the tube used for fitting at the end of the tube for pressurizing and re pressurizing the tube includes check Valve, Pressure Gauge and fitting to connect to sensor tubing. Tube connection 6mm. | 3.00 | Each |  | 1990.00 | 5970.00 | 4100.00 | 12300.00 | 400.00 | 1200.00 | 2450.00 | 7350.00 | 1200.00 | advent electric technologies pvt. ltd.
19.00 | Supply, installation, testing & commissionong of Heat Detection Tube Pressure Switch ( UL Listed) to monitor Pressure drop in the tube, switch point 5 Bars. | 3.00 | Each |  | 2535.00 | 7605.00 | 10540.00 | 31620.00 | 1200.00 | 3600.00 | 3850.00 | 11550.00 | 3600.00 | advent electric technologies pvt. ltd.
20.00 | Supply, installation, testing & commissioning of Heat detection tube T Connection, Brass, Nickle plated, for 4x6 mm Sensor Tube, quick and easy disassembly using special tool, External Diameter tube 6mm. | 3.00 | Each |  | 1658.00 | 4974.00 | 1250.00 | 3750.00 | 400.00 | 1200.00 | 1000.00 | 3000.00 | 1200.00 | advent electric technologies pvt. ltd.
21.00 | Supply, installation, testing & commissioning of End of Line Plug for Automatic fire suppression tube used for fitting at the tube end to terminate the point. Fitting made by brass nickel plated material. | 3.00 | Each |  | 715.00 | 2145.00 | 1860.00 | 5580.00 | 300.00 | 900.00 | 800.00 | 2400.00 | 900.00 | advent electric technologies pvt. ltd.
22.00 | Supply, installation, testing & commissioning of MASTER CONTROL UNIT i/c integration with existing Fire alarm panel / autodialer. | 3.00 | Each |  | 3475.00 | 10425.00 | 3970.00 | 11910.00 | 2900.00 | 8700.00 | 4700.00 | 14100.00 | 8700.00 | advent electric technologies pvt. ltd.
23.00 | Dismantling & refilling of NOVEC 1230, 120L cylinders including recovering any residual gas (if available), transportation to & from factory, leak-test with hydro-testing process & refilling/recharge the clean agent i.e. Novec 1230 (FK-5-1-12) with the exact, measured weight. The cylinder is then super-pressurized with high-purity dry nitrogen (typically 360 to 720 psi, as required) to ensure rapid, effective vapor discharge i/c leak testing, valve testing & replacement of O-rings seats etc in full adherence to NFPA, UL, and FM Global safety regulations. It also includes reinstallation of the cylinders, safety pin, tamper seal and actuator/solenoid etc & placing the cylinder back in the system and providing of documentation in respect of Final weights (tare weight, agent weight, and gross weight) with certified weight and pressure verification tag attached to each cylinder and stamped/tagged on-to the cylinder. Providing of filling certification. | 300.00 | Kg |  | 1665.00 | 499500.00 | 2060.00 | 618000.00 | 1500.00 | 450000.00 | 1690.00 | 507000.00 | 450000.00 | advent electric technologies pvt. ltd.
| Total in Figures |  |  |  |  | 1867552.00 |  | 2365100.00 |  | 2162900.00 |  | 1944910.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(1867552.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Clean agent based Fire suppression system for critical NAV-Aids sites like Localizer, Glide path and DVOR at Dehradun Airport Tender ID: 2026_AAI_282812_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems (BID ID -1045358) | 1867552.00 | L1
| 2 | Kalpataru Industries (BID ID -1048823) | 1944910.00 | L2
| 3 | advent electric technologies pvt. ltd. (BID ID -1048850) | 2162900.00 | L3
| 4 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -1048162) | 2365100.00 | L4