## BoQ1
Government eProcurement System Created By: Preeti Beniwal Created Date/Time: 10-Aug-2026 05:28 PM Tender Title: Construction of Glide Path and Localizer Building and other associated works inside Airforce Area at Chandigarh Airport. SH- SITC of Gas Suppression and Fire Alarm System Tender ID: 2026_AAI_283161_1
Tender Inviting Authority: AGM (Engg. Elect.), AAI, OTB, Chandigarh- 160003.
Name of Work: Construction of Glide Path & Localizer Building and other associated works inside Airforce Area at Chandigarh Airport. SH- SITC of Gas Suppression & Fire Alarm System.
Contract No: 0172-2242404
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -1046774 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -1048172 |  | Modern Agencies (GSTN-04AAWFM7893FIZL) BID ID -1048226
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation,Testing & commissioing of Gas Suppression System including fire gas (FK-5-1-12) of 4.5% concentration, flooding system comprising of the following as per NFPA 2001 standards with Upto date amendments. Supply of Cylinder UL listed /FM/VDS/LPCB and CCOE(PESO) Approved, complete with valve assembly including supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas - Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head and Gas discharge Warning sign, Nozzles etc. complete Gas Suppression System as required. The contractor will design the system as per NFPA 2001 and will get the design approved by AAI before execution, Statutory Approvals if required, will be taken from concerned authorities no extra payment in this regard. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/ distributors shall be submitted prior to starting of the works.
1.10 | SITCof UL & PESO approved Seamless storage 80L cylinder suitable for FK-5-1-12 fire suppression agent complete with valve assembly, pressure gauge, pressure switch with safety burst disk, safety cap, all safety features and other standard accessories etc. including suitable size mounting Straps (2nos. of straps for each cylinder). | 4.00 | Job |  | 86640.00 | 346560.00 | 129500.00 | 518000.00 | 105000.00 | 420000.00 | 346560.00 | Nexus Fire And Security Systems
1.20 | Supply & filling of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 fire suppresion fluid) for item no 1.1 complete as per tender specification, as per site requirment & as per direction of Engineer Incharge.(Gas shall be UL Listed and Chromatography Report is required) | 200.00 | KG |  | 1403.00 | 280600.00 | 1400.00 | 280000.00 | 2000.00 | 400000.00 | 280000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | Supply, Installation, Testing & Commissioning of UL listed Electrical & Manual actuator to operate the gas from the cylinder by an Electrical signal with manual override complete with all accessories as per tender specification and as per site requirment. | 4.00 | Job |  | 15235.00 | 60940.00 | 32320.00 | 129280.00 | 50000.00 | 200000.00 | 60940.00 | Nexus Fire And Security Systems
3.00 | Supply, Installation, Testing & Commissioning of UL listed High pressure flexible rubber discharge hose with appropriate pressure rating and made of braided reinforcement to route the FK 5-1-12 gas from storage cylinders to the discharge piping complete as required & as per technical specification | 4.00 | Job |  | 9234.00 | 36936.00 | 17060.00 | 68240.00 | 12000.00 | 48000.00 | 36936.00 | Nexus Fire And Security Systems
4.00 | Supply, Installation, Testing & Commissioning of UL listed Discharge nozzles designed to provide the proper flow and distribution of gas for total flood of hazard area at - 360 degrees or as per tender specification and as per site requirment. | 4.00 | Job |  | 3350.00 | 13400.00 | 5500.00 | 22000.00 | 6000.00 | 24000.00 | 13400.00 | Nexus Fire And Security Systems
5.00 | Supply, Installation, Testing & Commissioning of Gas discharge pressure switch to trip A.C., electrical equip. etc for FK 5-1-12 System complete as per tender specification and as per site requirment | 2.00 | Job |  | 8465.00 | 16930.00 | 9950.00 | 19900.00 | 9500.00 | 19000.00 | 16930.00 | Nexus Fire And Security Systems
6.00 | Supply, Installation, Testing & Commissioning of Low pressure supervisory switch for the cylinder assembly etc. for FK-5-1-12 System complete as per tender specification and as per site requirement. | 4.00 | Job |  | 3050.00 | 12200.00 | 1000.00 | 4000.00 | 8000.00 | 32000.00 | 4000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
7.00 | Supply, Installation, Testing & Commissioning of Manual Gas Release Station- Lift/Push & Pull Type (Dual-Action), conforming to UL/LPCB/FM/EN with auxiliary contacts for FK 5-1-12 System including integration with Gas Release Panel in conformance to NFPA 2001 standards with Upto date amendments. with complete as per tender specification and as per site requirment. | 4.00 | Job |  | 3050.00 | 12200.00 | 4710.00 | 18840.00 | 4500.00 | 18000.00 | 12200.00 | Nexus Fire And Security Systems
8.00 | Supply, Installation, Testing & Commissioning of Manual Gas Abort Station- Lift/Push & Pull Type (Dual-Action), conforming to UL/LPCB/FM/EN with auxiliary contacts for FK 5-1-12 System including integration with Gas Release Panel in conformance to NFPA 2001 standards with Upto date amendments. with complete as per tender specification and as per site requirment. | 4.00 | Job |  | 3050.00 | 12200.00 | 4710.00 | 18840.00 | 4500.00 | 18000.00 | 12200.00 | Nexus Fire And Security Systems
9.00 | Supply , Installation, Testing & Commissioning of MS Seamless pipe conforms to ASTM A 106 Grade B, Schedule 40 on surface/ recess/ above false ceiling/ concealed space/ wall concealed complete with all fittings as per flow calculations for the specific hazard volume and stand to hold,position & support the manifold and piping properly with MS suspended supports, clamps anchor fastners, Bend, Tee, Elbow, Coupling etc including painting with one coat of red oxide and 2 coats of enamel paint ( post office red) and cutting/ chases / holes in ceiling/wall and making good the same as required.
9.10 | Glide Path (GP) Hut:- (i) Equipment room Dimension (LxBxH) = 4.04 M x 5 M x 3.25 M (ii) UPS Battery Charger room Dimension (LxBxH) = 3.72 M x 5 M x 3.25 M | 1.00 | Lot |  | 52650.00 | 52650.00 | 24000.00 | 24000.00 | 35000.00 | 35000.00 | 24000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
9.20 | Localizer (LLZ) Hut:- (i) Equipment room Dimension (LxBxH) = 4.04 M x 5 M x 3.25 M (ii) UPS Battery Charger room Dimension (LxBxH) = 3.72 M x 5 M x 3.25 M | 1.00 | Lot |  | 52650.00 | 52650.00 | 24005.00 | 24005.00 | 35000.00 | 35000.00 | 24005.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
10.00 | SITC of microprocessor based dual function Detection cum Gas/Agent Release Panel fully compliant with UL/BIS/VDS/EN listed & NFPA-72 having minimum 4 detection & minimum 2 nos release circuits (RAC) with programable function. Panel shall have minimum 16x2 character LCD Display suitable to operate on 120-220V /50Hz AC power supply with standby(battery) backup 24V DC supply with builtin charger along with audio visual indication of status/warnings. Other Features comprising of following: i) All zones configuration as Alarm /Supervisory zone. ii) Notifiation Appliance circuits iii)Programmable relays for fire/Fault/supervisory /gas released. iv) Auto /Manual Modes v) Walk test vi) Programable RAC with count down timer vii) Event history Logging viii) All field wiring circuits supervision. ix) Auto dialer interfacing compatibility. | 2.00 | Job |  | 25810.00 | 51620.00 | 26780.00 | 53560.00 | 50000.00 | 100000.00 | 51620.00 | Nexus Fire And Security Systems
11.00 | Supply, installation, testing and commissioning of Autodialer with landline dialer and SMS sending capability along with SIM Card recharged upto DLP period suitable for interfacing with both Detection cum Gas/Agent Release Panel and Fire Detection and Alarm Panel, capable of delivering pre recorded voice and message to registered telephone no. in case of fire through mobile network etc with complete with all accessories including connections etc complete as required. | 2.00 | Job |  | 14076.00 | 28152.00 | 6820.00 | 13640.00 | 12500.00 | 25000.00 | 13640.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
12.00 | Supplying, installation, testing and commissioning of conventional multisensor type smoke detector, conforming to UL/LPCB/FMI/EN-54, and integration with Detection cum Agent Release Panel / Fire Detection & Alarm Panel complete with all accessories viz : indicator, base, base box etc. including connections, terminations and to be installed on ceiling / false ceiling etc. complete as per site requirment. | 8.00 | Job |  | 1231.00 | 9848.00 | 930.00 | 7440.00 | 1500.00 | 12000.00 | 7440.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
13.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Hooter cum strobe having min 90DB sound level type and integration with Detection cum Agent Release Panel / Fire Detection& Alarm Panel and complete with all accessories, connections, termination etc as per tender specification and as per site requirment. | 4.00 | Job |  | 3520.00 | 14080.00 | 3970.00 | 15880.00 | 3500.00 | 14000.00 | 14000.00 | Modern Agencies
14.00 | Supply and drawing of following size of FRLS Unarmored cable (600/1000V) in existing surface / recessed conduit complete as per tender specification and as per site requirment. 2 x 1.5 Sq.mm. | 350.00 | Mtr. |  | 114.00 | 39900.00 | 100.00 | 35000.00 | 80.00 | 28000.00 | 28000.00 | Modern Agencies
15.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25mm | 250.00 | Mtr. |  | 53.00 | 13250.00 | 80.00 | 20000.00 | 80.00 | 20000.00 | 13250.00 | Nexus Fire And Security Systems
16.00 | Supply of Clean agent fire extinguisher of 4 kgs. Capacity, Clean agent shall be of FK-5-1-12 Gas filled in brand cylinder made out of Mild steel with wheel type valve, discharge nozzle, bend & horn, wall mounting Stainless steel bracket, floor mounting stainless steel stand (SS304), approximate 430mm height, fire extinguisher signage etc. complete confirming to IS :2190-2024/ NFPA 10 | 4.00 | Each |  | 9970.00 | 39880.00 | 17980.00 | 71920.00 | 15000.00 | 60000.00 | 39880.00 | Nexus Fire And Security Systems
17.00 | Providing & fixing of fire bucket stand fabricated by MS angles to install 2 or 4 nos of buckets. | 2.00 | Each |  | 2050.00 | 4100.00 | 3100.00 | 6200.00 | 2000.00 | 4000.00 | 4000.00 | Modern Agencies
18.00 | Providing & fixing of fire buckets of minimum 15 Ltr capacity round bottom type enamel painted, white inside & red outside and letter "FIRE" in black outside and handle with mounting bracket. | 4.00 | Each |  | 710.00 | 2840.00 | 430.00 | 1720.00 | 1000.00 | 4000.00 | 1720.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 1100936.00 |  | 1352465.00 |  | 1516000.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(1100936.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Glide Path and Localizer Building and other associated works inside Airforce Area at Chandigarh Airport. SH- SITC of Gas Suppression and Fire Alarm System Tender ID: 2026_AAI_283161_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems (BID ID -1046774) | 1100936.00 | L1
| 2 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -1048172) | 1352465.00 | L2
| 3 | Modern Agencies (BID ID -1048226) | 1516000.00 | L3