## BoQ1
Government eProcurement System Created By: Saurabh Sachan Created Date/Time: 09-Sep-2026 05:02 PM Tender Title: Miscellaneous Civil Works of Swimming Pool Complex at CATC Prayagraj Tender ID: 2026_AAI_283275_1
Tender Inviting Authority: Assistant General Manager(Engg-Civil), Airports Authority of India, CATC Prayagraj
Name of Work: Miscellaneous Civil Works of Swimming Pool Complex at CATC Prayagraj
Contract No: 2026_AAI_283275_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AYODHYA CONSTRUCTION (GSTN-23APUPK7696F1Z8) BID ID -1053123 |  | SAMTA INTERIORS (GSTN-07AALPB7815K1ZJ) BID ID -1053333 |  | RADHIKEY ENTERPRISES (GSTN-NA) BID ID -1053320
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 1371.00 | Cum. |  | 100.00 | 137100.00 | 100.00 | 137100.00 | 110.00 | 150810.00 | 137100.00 | AYODHYA CONSTRUCTION, SAMTA INTERIORS
2.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge: All kinds of soil | 4890.00 | sqm |  | 40.00 | 195600.00 | 60.00 | 293400.00 | 50.00 | 244500.00 | 195600.00 | AYODHYA CONSTRUCTION
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 210.00 | Cum. |  | 120.00 | 25200.00 | 170.00 | 35700.00 | 110.00 | 23100.00 | 23100.00 | RADHIKEY ENTERPRISES
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 250.00 | Mtr. |  | 100.00 | 25000.00 | 130.00 | 32500.00 | 180.00 | 45000.00 | 25000.00 | AYODHYA CONSTRUCTION
5.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 1200.00 | Cum. |  | 35.00 | 42000.00 | 60.00 | 72000.00 | 110.00 | 132000.00 | 42000.00 | AYODHYA CONSTRUCTION
6.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 237.00 | Cum. |  | 40.00 | 9480.00 | 80.00 | 18960.00 | 110.00 | 26070.00 | 9480.00 | AYODHYA CONSTRUCTION
7.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 4.00 | Cum. |  | 2000.00 | 8000.00 | 1750.00 | 7000.00 | 1200.00 | 4800.00 | 4800.00 | RADHIKEY ENTERPRISES
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 222.00 | Cum. |  | 4800.00 | 1065600.00 | 5050.00 | 1121100.00 | 4000.00 | 888000.00 | 888000.00 | RADHIKEY ENTERPRISES
9.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 5.00 | Cum. |  | 7000.00 | 35000.00 | 6300.00 | 31500.00 | 4500.00 | 22500.00 | 22500.00 | RADHIKEY ENTERPRISES
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 317.00 | Sqm. |  | 300.00 | 95100.00 | 350.00 | 110950.00 | 350.00 | 110950.00 | 95100.00 | AYODHYA CONSTRUCTION
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | 134.00 | Sqm. |  | 500.00 | 67000.00 | 400.00 | 53600.00 | 350.00 | 46900.00 | 46900.00 | RADHIKEY ENTERPRISES
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 72.00 | Sqm. |  | 400.00 | 28800.00 | 650.00 | 46800.00 | 350.00 | 25200.00 | 25200.00 | RADHIKEY ENTERPRISES
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 44.00 | Sqm. |  | 400.00 | 17600.00 | 650.00 | 28600.00 | 350.00 | 15400.00 | 15400.00 | RADHIKEY ENTERPRISES
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Edges of slabs and breaks in floors and walls Under 20 cm wide | 60.00 | mtr |  | 100.00 | 6000.00 | 100.00 | 6000.00 | 350.00 | 21000.00 | 6000.00 | AYODHYA CONSTRUCTION, SAMTA INTERIORS
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 17190.00 | Kg. |  | 90.00 | 1547100.00 | 84.00 | 1443960.00 | 70.00 | 1203300.00 | 1203300.00 | RADHIKEY ENTERPRISES
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2635.00 | Kg. |  | 92.00 | 242420.00 | 84.00 | 221340.00 | 70.00 | 184450.00 | 184450.00 | RADHIKEY ENTERPRISES
17.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate I retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement | 191.00 | Cum. |  | 7500.00 | 1432500.00 | 8125.00 | 1551875.00 | 5800.00 | 1107800.00 | 1107800.00 | RADHIKEY ENTERPRISES
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate I retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: All works above plinth level upto floor V level. Concrete of M25 grade with minimum cement content of 330 kg /cum. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement | 31.00 | Cum. |  | 8000.00 | 248000.00 | 8125.00 | 251875.00 | 6000.00 | 186000.00 | 186000.00 | RADHIKEY ENTERPRISES
19.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. All works upto plinth level. | 64.00 | Quintal |  | 700.00 | 44800.00 | 800.00 | 51200.00 | 700.00 | 44800.00 | 44800.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
20.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. All works above plinth level upto floor V level | 11.00 | Quintal |  | 700.00 | 7700.00 | 800.00 | 8800.00 | 700.00 | 7700.00 | 7700.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 37.00 | Cum |  | 5400.00 | 199800.00 | 5100.00 | 188700.00 | 6000.00 | 222000.00 | 188700.00 | SAMTA INTERIORS
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 43.00 | Cum |  | 5600.00 | 240800.00 | 5500.00 | 236500.00 | 6000.00 | 258000.00 | 236500.00 | SAMTA INTERIORS
23.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 10.00 | Sqm. |  | 1500.00 | 15000.00 | 1100.00 | 11000.00 | 200.00 | 2000.00 | 2000.00 | RADHIKEY ENTERPRISES
24.00 | Providing & fixing on roof pressed clay tile (Mangalore tile) of 20 mm nominal thickness and of approved size and as per approved pattern and shade with Cement Mortar 1:4 (1 Cement: 4 coarse sand) | 113.00 | Sqm |  | 500.00 | 56500.00 | 1230.00 | 138990.00 | 700.00 | 79100.00 | 56500.00 | AYODHYA CONSTRUCTION
25.00 | Providing & laying on roof pressed clay tile ridge (Mangalore tile) of 20 mm thickness and of approved pattern and shade with Cement Mortar 1:4 (1 Cement: 4 coarse sand) | 36.00 | mtr |  | 100.00 | 3600.00 | 240.00 | 8640.00 | 700.00 | 25200.00 | 3600.00 | AYODHYA CONSTRUCTION
26.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 220.00 | kg |  | 180.00 | 39600.00 | 120.00 | 26400.00 | 92.00 | 20240.00 | 20240.00 | RADHIKEY ENTERPRISES
27.00 | Structural steel work riveted, bolted or welded in built up sections, trussesand framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3100.00 | Kg |  | 110.00 | 341000.00 | 100.00 | 310000.00 | 92.00 | 285200.00 | 285200.00 | RADHIKEY ENTERPRISES
28.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 12000.00 | Kg |  | 118.00 | 1416000.00 | 112.00 | 1344000.00 | 102.00 | 1224000.00 | 1224000.00 | RADHIKEY ENTERPRISES
29.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3100.00 | kg |  | 100.00 | 310000.00 | 102.00 | 316200.00 | 102.00 | 316200.00 | 310000.00 | AYODHYA CONSTRUCTION
30.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1200.00 | Kg. |  | 110.00 | 132000.00 | 102.00 | 122400.00 | 102.00 | 122400.00 | 122400.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
31.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 700.00 | Kg. |  | 110.00 | 77000.00 | 102.00 | 71400.00 | 102.00 | 71400.00 | 71400.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
32.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of M.S. tubeapproved steel primer. | 150.00 | Kg. |  | 125.00 | 18750.00 | 110.00 | 16500.00 | 102.00 | 15300.00 | 15300.00 | RADHIKEY ENTERPRISES
33.00 | Providing and fixing precoated Galvalume long line Crimp profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating AZ-70 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required | 709.00 | sqm |  | 1100.00 | 779900.00 | 800.00 | 567200.00 | 700.00 | 496300.00 | 496300.00 | RADHIKEY ENTERPRISES
34.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1050.00 | kg |  | 700.00 | 735000.00 | 430.00 | 451500.00 | 495.00 | 519750.00 | 451500.00 | SAMTA INTERIORS
35.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1 :4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge Polished Granite stone slab of all colour and texture except Black, Cherry/Ruby Red | 220.00 | Sqm |  | 2800.00 | 616000.00 | 2475.00 | 544500.00 | 2500.00 | 550000.00 | 544500.00 | SAMTA INTERIORS
36.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1 :4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 50.00 | Sqm |  | 5000.00 | 250000.00 | 2900.00 | 145000.00 | 2500.00 | 125000.00 | 125000.00 | RADHIKEY ENTERPRISES
37.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1 :4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab above 0.50 sqm | 120.00 | Sqm. |  | 5000.00 | 600000.00 | 2900.00 | 348000.00 | 2500.00 | 300000.00 | 300000.00 | RADHIKEY ENTERPRISES
38.00 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1 :3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete. 8mm thick Granite of any colour and shade | 723.00 | Sqm. |  | 2800.00 | 2024400.00 | 1875.00 | 1355625.00 | 1200.00 | 867600.00 | 867600.00 | RADHIKEY ENTERPRISES
39.00 | Dismantling tile work in walls floors in cement mortar including disposal of materials outside CATC campus. For all thickness and type | 1770.00 | sqm |  | 50.00 | 88500.00 | 50.00 | 88500.00 | 100.00 | 177000.00 | 88500.00 | AYODHYA CONSTRUCTION, SAMTA INTERIORS
40.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | cum |  | 3000.00 | 15000.00 | 2400.00 | 12000.00 | 1500.00 | 7500.00 | 7500.00 | RADHIKEY ENTERPRISES
41.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | cum |  | 1000.00 | 5000.00 | 1900.00 | 9500.00 | 1200.00 | 6000.00 | 5000.00 | AYODHYA CONSTRUCTION
42.00 | Dismantling doors, windows and clerestory windows (steel or wood or PVC) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: Of area 3 sq. metres and below | 10.00 | each |  | 500.00 | 5000.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 2000.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
43.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1073.00 | kg |  | 5.00 | 5365.00 | 7.00 | 7511.00 | 3.00 | 3219.00 | 3219.00 | RADHIKEY ENTERPRISES
44.00 | Dismantling Pre Coated Galvalume/ GI Profile Sheet roofing / view cutter Wall lining over MS Built up frame including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead. Item excludes the cost of Dismantling supporting Frame work/ Truss which shall be paid separately under respective item | 105.00 | sqm |  | 100.00 | 10500.00 | 75.00 | 7875.00 | 100.00 | 10500.00 | 7875.00 | SAMTA INTERIORS
45.00 | Dismantling G.I. chain link fabric fencing with all mesh sizes in range of 25x25 mm upto 75 x 75 mm made of G.I. mesh wire of dia 2 to 3 mm including de-strengthening and removal of 2 mm dia wire looseing of nuts, bolts and washers as required and stacking the dismantled fencing mesh within a lead of 50 metres complete as per the direction of Engineer-in-charge. Item includes any cutting work of chain link fencing which is deformed and cannot be straightened. Dismantling of framework for Chain-link fencing like Structural Steel MS angle, flats etc. shall be paid separately. | 163.00 | sqm |  | 100.00 | 16300.00 | 50.00 | 8150.00 | 50.00 | 8150.00 | 8150.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
46.00 | Providing and fixing Glass mossaic tiles on finished plain wall surface of size 20 mm x 20 mm x 4 mm in all colour, design , fixing in approved design. The glass mosaic tiles shall be fixed on the wall surface with the help of approved adhesive applied at the rate of 2.5 kg per sqm and grouting of the same. All completed as per direction of Engineer-incharge. | 1770.00 | sqn |  | 2750.00 | 4867500.00 | 1575.00 | 2787750.00 | 1400.00 | 2478000.00 | 2478000.00 | RADHIKEY ENTERPRISES
47.00 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, walls, risers of steps and dados, over 12 mm thick bed of cement mortar 1 :3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 180.00 | sqm |  | 1200.00 | 216000.00 | 1200.00 | 216000.00 | 950.00 | 171000.00 | 171000.00 | RADHIKEY ENTERPRISES
48.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1 :4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charge vitrified tile polished finish of size: Size of Tile 600 x 600 mm | 100.00 | Sqm. |  | 1200.00 | 120000.00 | 1155.00 | 115500.00 | 950.00 | 95000.00 | 95000.00 | RADHIKEY ENTERPRISES
49.00 | Providing and laying Double charge Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, walls, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm and above | 80.00 | Sqm. |  | 1600.00 | 128000.00 | 1250.00 | 100000.00 | 950.00 | 76000.00 | 76000.00 | RADHIKEY ENTERPRISES
50.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 78.00 | Sqm. |  | 300.00 | 23400.00 | 280.00 | 21840.00 | 280.00 | 21840.00 | 21840.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
51.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) | 98.00 | Sqm. |  | 320.00 | 31360.00 | 300.00 | 29400.00 | 280.00 | 27440.00 | 27440.00 | RADHIKEY ENTERPRISES
52.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 250.00 | Sqm. |  | 280.00 | 70000.00 | 250.00 | 62500.00 | 250.00 | 62500.00 | 62500.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
53.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 250.00 | Sqm. |  | 125.00 | 31250.00 | 80.00 | 20000.00 | 90.00 | 22500.00 | 20000.00 | SAMTA INTERIORS
54.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 234.00 | Sqm. |  | 125.00 | 29250.00 | 120.00 | 28080.00 | 120.00 | 28080.00 | 28080.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
55.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 427.00 | Sqm |  | 210.00 | 89670.00 | 180.00 | 76860.00 | 200.00 | 85400.00 | 76860.00 | SAMTA INTERIORS
56.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 426.00 | Sqm. |  | 140.00 | 59640.00 | 80.00 | 34080.00 | 120.00 | 51120.00 | 34080.00 | SAMTA INTERIORS
57.00 | Providing and laying Square shape Concrete Cobble Blocks flooring of 80mm thickness (Tolerance +/-3 mm), Plan Dimension 100mm x 100 mm, in all shades, having water absorption not more than 5%, Plan Size Dimension Tolerance +/-2mm, thickness of Wearing Layer not less than 6mm, average Compressive Strength minimum 30 MPa, Abrasion resistance average < 18000mm3/5000mm2 and colours having UV resistance from Laxness. Concrete Cobble Paver blocks shall be manufactured factory made using Vibropress type machine only and shall be provided topcoat treatment for satin finish with Premier Shield integral compound to provide water and oil repellence, reduction of algae, moss and efflorescence formation. Cobble concrete blocks shall be laid on 20 mm thick base cement mortar 1:3 (1 cement: 3 coarse sand) jointing with cement slurry @3.30 kg / sqm. Consistent open joints should be allowed for Expansion at 7-10mm spacing in sufficient intervals. Prior to Laying the Cobble square, the Paver bottom face shall be applied with Slurry of Cement mixed with Bonding SBR based Compound of approved make (in proportions of 4 litres per 20 kg of cement), in form of workable paste in an even coating of 1-2 mm thickness. Laying of Concrete Cobble Paver shall be done with the help of notch trowel, wedge, clips of required thickness, leveling system and rubber mallet for placing the block gently and easily. Grouting of the joints having joints of 3 mm width shall be done using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | 372.00 | Sqm. |  | 1850.00 | 688200.00 | 2300.00 | 855600.00 | 700.00 | 260400.00 | 260400.00 | RADHIKEY ENTERPRISES
58.00 | Providing and laying factory made chamfered edge Cement Concrete Grass Turf paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of Grass paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. Grid Size: 600 x 400 x 75mm thick C.C. paver block, of M-30 grade, having min 21% open area for grass, with approved colour design and pattern | 2380.00 | sqm |  | 1150.00 | 2737000.00 | 1275.00 | 3034500.00 | 895.00 | 2130100.00 | 2130100.00 | RADHIKEY ENTERPRISES
59.00 | Providing and fixing factory made 18 mm thick single extruded WPC (Wood Polymer Composite) solid plain white colour board Jali, CNC (Computer numeric control) routed of approved design by Engineer-in -charge which are machine cut for duct/shaft covering, partitions, compound walls and facades comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium corbonate and natural fibers (wood powder/ rice husk/ wheat husk) and non toxic additives(maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with properties of being termite/borer proof, water/ moisture proof and fire retardant and fixing on M.S (mild steel) frame made of 25 x 25 x 1.5 mm square hollow box section including applying a priming coat of approved steel primer, placed at grid made at 1.0 x 1.0 m or as per requirement at site with necessary stainless steel fasteners and SS screws etc., all complete as per direction of Engineer-In- Charge. (Note: M.S (mild steel) framework with priming coat and necessary SS fasteners and SS screws shall be paid separately. | 315.00 | sqm |  | 3200.00 | 1008000.00 | 3150.00 | 992250.00 | 3100.00 | 976500.00 | 976500.00 | RADHIKEY ENTERPRISES
60.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 5.00 | each |  | 2000.00 | 10000.00 | 750.00 | 3750.00 | 2500.00 | 12500.00 | 3750.00 | SAMTA INTERIORS
61.00 | Providing and fixing toilet paper holder : C.P. brass | 5.00 | each |  | 800.00 | 4000.00 | 1000.00 | 5000.00 | 800.00 | 4000.00 | 4000.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
62.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 20.00 | mtr |  | 2000.00 | 40000.00 | 2900.00 | 58000.00 | 1000.00 | 20000.00 | 20000.00 | RADHIKEY ENTERPRISES
63.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100mm dia: Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 4.00 | each |  | 600.00 | 2400.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 2000.00 | RADHIKEY ENTERPRISES
64.00 | Providing and fixing plain bend of required degree. 100 mm dia : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 4.00 | each |  | 500.00 | 2000.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 2000.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
65.00 | Providing and fixing single equal plain junction of required degree 100x100x100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 2.00 | each |  | 800.00 | 1600.00 | 1300.00 | 2600.00 | 500.00 | 1000.00 | 1000.00 | RADHIKEY ENTERPRISES
66.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 100 mm dia pipe. | 60.00 | each |  | 300.00 | 18000.00 | 180.00 | 10800.00 | 40.00 | 2400.00 | 2400.00 | RADHIKEY ENTERPRISES
67.00 | Providing and fixing terminal guard : 100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 2.00 | each |  | 400.00 | 800.00 | 500.00 | 1000.00 | 400.00 | 800.00 | 800.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
68.00 | Providing and fixing shielded coupling for Hubless centrifugally cast iron pipe 100 mm dia SS 304 grade coupling with EPDM rubber gasket | 10.00 | each |  | 400.00 | 4000.00 | 320.00 | 3200.00 | 500.00 | 5000.00 | 3200.00 | SAMTA INTERIORS
69.00 | Providing and fixing collar : 100 mm. Sand cast iron S&S as per IS - 1729. | 2.00 | each |  | 500.00 | 1000.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 1000.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
70.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 2.00 | Each |  | 600.00 | 1200.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | RADHIKEY ENTERPRISES
71.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 10.00 | Each |  | 100.00 | 1000.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 1000.00 | AYODHYA CONSTRUCTION
72.00 | Cutting chases in brick masonry walls for following diameter sand cast iron/ centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 12.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand) : 100 mm dia. | 10.00 | each |  | 750.00 | 7500.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | RADHIKEY ENTERPRISES
73.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 25 mm dia nominal bore | 50.00 | mtr |  | 500.00 | 25000.00 | 720.00 | 36000.00 | 400.00 | 20000.00 | 20000.00 | RADHIKEY ENTERPRISES
74.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 50 mm dia nominal bore | 15.00 | mtr |  | 1000.00 | 15000.00 | 1400.00 | 21000.00 | 700.00 | 10500.00 | 10500.00 | RADHIKEY ENTERPRISES
75.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 20 mm dia nominal bore | 20.00 | mtr |  | 600.00 | 12000.00 | 800.00 | 16000.00 | 500.00 | 10000.00 | 10000.00 | RADHIKEY ENTERPRISES
76.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 100 mm dia nominal bore | 60.00 | mtr |  | 1800.00 | 108000.00 | 2400.00 | 144000.00 | 1800.00 | 108000.00 | 108000.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
77.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 50 mm dia nominal bore | 80.00 | mtr |  | 800.00 | 64000.00 | 1125.00 | 90000.00 | 900.00 | 72000.00 | 64000.00 | AYODHYA CONSTRUCTION
78.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 25 mm dia nominal bore | 10.00 | mtr |  | 500.00 | 5000.00 | 625.00 | 6250.00 | 400.00 | 4000.00 | 4000.00 | RADHIKEY ENTERPRISES
79.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 50 mm nominal bore | 10.00 | each |  | 1250.00 | 12500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 4000.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
80.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 4.00 | each |  | 800.00 | 3200.00 | 1250.00 | 5000.00 | 800.00 | 3200.00 | 3200.00 | AYODHYA CONSTRUCTION, RADHIKEY ENTERPRISES
81.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 4.00 | each |  | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 700.00 | 2800.00 | 2800.00 | RADHIKEY ENTERPRISES
82.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 3.00 | each |  | 1800.00 | 5400.00 | 1850.00 | 5550.00 | 1200.00 | 3600.00 | 3600.00 | RADHIKEY ENTERPRISES
83.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 2.00 | each |  | 500.00 | 1000.00 | 375.00 | 750.00 | 800.00 | 1600.00 | 750.00 | SAMTA INTERIORS
84.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS: 8931. 15 mm nominal bore | 5.00 | each |  | 700.00 | 3500.00 | 650.00 | 3250.00 | 1400.00 | 7000.00 | 3250.00 | SAMTA INTERIORS
85.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 10.00 | each |  | 800.00 | 8000.00 | 1250.00 | 12500.00 | 1400.00 | 14000.00 | 8000.00 | AYODHYA CONSTRUCTION
86.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 5.00 | each |  | 1000.00 | 5000.00 | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 5000.00 | AYODHYA CONSTRUCTION
87.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 :15mm nominal bore | 5.00 | each |  | 700.00 | 3500.00 | 750.00 | 3750.00 | 600.00 | 3000.00 | 3000.00 | RADHIKEY ENTERPRISES
88.00 | Providing and fixing CP wall mounting Maze Overhead Shower 240X240mm Square Shape Single Flow (Body & Face Plate Stainless Steel) with Rubit Cleaning System, having flow rate of 37.91 LPM at water pressure of 3 bar, single function spray mode, with 20 mm inlet (Jaquar Model OPP-CHR-15615PMWBP or equivalent approved makes) | 2.00 | each |  | 6000.00 | 12000.00 | 6800.00 | 13600.00 | 900.00 | 1800.00 | 1800.00 | RADHIKEY ENTERPRISES
89.00 | Providing and fixing CP Wall Mixer with Provision For Overhead Shower with 115mm Long Bend Pipe On Upper Side, Connecting Legs & Wall Flanges, having flow rate of 39.42 LPM at water pressure of 3 bar. (Jaquar Model SOL-CHR-6273UPR or equivalent approved makes) | 2.00 | each |  | 6000.00 | 12000.00 | 9400.00 | 18800.00 | 400.00 | 800.00 | 800.00 | RADHIKEY ENTERPRISES
90.00 | Providing and fixing butterfly valve of approved quality (screwed end) including removal of existing damaged valve all complete as per direction and satisfaction of Engineer-in-charg. Size: 100 mm . Pressure class PN-25 with S.G Iron Disc , Body S.G. Iron, Lever Operated, Nitrile/EPDM Rubber Lining. Seat Test Pressure 2.5 MPa (Hyd.): | 2.00 | each |  | 6000.00 | 12000.00 | 3750.00 | 7500.00 | 3000.00 | 6000.00 | 6000.00 | RADHIKEY ENTERPRISES
91.00 | Providing and fixing CP Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V (Back Flow Preventer), having flow rate of 11.64 LPM at water pressure of 3 bar. (Jaquar Model ALD-CHR-577M or equivalent approved makes) | 5.00 | each |  | 3500.00 | 17500.00 | 1800.00 | 9000.00 | 1200.00 | 6000.00 | 6000.00 | RADHIKEY ENTERPRISES
92.00 | Providing and fixing wall mounted Ceramic - Vitreous China of outer dimensions 360x350x710 mm, complete with Spreader and fixing accessories set, having vertical drain outlet of dia 45 +/-5mm, Spreader hole dia. 30 +/- 2 mm, Water inlet hole dia. 30 +2/-1 mm (Jaquar Urinal Model URS-WHT-13267 or equivalent approved makes, Urinal Spreader Back Inlet 75mm Tail Slab Fixing -Model ALD-CHR-1041 and Fixing Accessory set-Model: ZPS-WHT-FB21 ) | 2.00 | each |  | 12000.00 | 24000.00 | 16000.00 | 32000.00 | 14000.00 | 28000.00 | 24000.00 | AYODHYA CONSTRUCTION
93.00 | Providing and fixing Full height urinal partition with 8mm frosted glass complete with fixing accessorie set of chrome finish. Size of Partition : Height 1950 mm, Width 600 mm (Jaquar URINAL PARTITIONS: ELEGANT UTILITY SOLUTIONS Model JSE-CHR-810UF60H19X or equivalent approved makes) | 2.00 | each |  | 9000.00 | 18000.00 | 11000.00 | 22000.00 | 10000.00 | 20000.00 | 18000.00 | AYODHYA CONSTRUCTION
94.00 | Providing and fixing Stainless Steel - 304 grating of approved make in Square shape of size 150 mm | 5.00 | each |  | 300.00 | 1500.00 | 180.00 | 900.00 | 400.00 | 2000.00 | 900.00 | SAMTA INTERIORS
95.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 4000.00 | Per Ltr |  | 11.00 | 44000.00 | 11.00 | 44000.00 | 12.00 | 48000.00 | 44000.00 | AYODHYA CONSTRUCTION, SAMTA INTERIORS
96.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 12.00 | mtr |  | 1000.00 | 12000.00 | 700.00 | 8400.00 | 900.00 | 10800.00 | 8400.00 | SAMTA INTERIORS
97.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | each |  | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 16000.00 | AYODHYA CONSTRUCTION
98.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 18000.00 | 36000.00 | 17000.00 | 34000.00 | 9000.00 | 18000.00 | 18000.00 | RADHIKEY ENTERPRISES
99.00 | Extra for depth for manholes : Size 90x80 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | mtr |  | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 12000.00 | 12000.00 | 4000.00 | AYODHYA CONSTRUCTION
100.00 | Extra for depth for manholes : Size 120x90 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | mtr |  | 6000.00 | 24000.00 | 8500.00 | 34000.00 | 15000.00 | 60000.00 | 24000.00 | AYODHYA CONSTRUCTION
101.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 225.00 | kg |  | 600.00 | 135000.00 | 595.00 | 133875.00 | 650.00 | 146250.00 | 133875.00 | SAMTA INTERIORS
102.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 150.00 | kg |  | 650.00 | 97500.00 | 595.00 | 89250.00 | 650.00 | 97500.00 | 89250.00 | SAMTA INTERIORS
103.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.0 mm thickness | 15.00 | Sqm. |  | 1500.00 | 22500.00 | 950.00 | 14250.00 | 700.00 | 10500.00 | 10500.00 | RADHIKEY ENTERPRISES
104.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 20.00 | Each |  | 350.00 | 7000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 4000.00 | RADHIKEY ENTERPRISES, SAMTA INTERIORS
105.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125mm | 20.00 | Each |  | 60.00 | 1200.00 | 50.00 | 1000.00 | 150.00 | 3000.00 | 1000.00 | SAMTA INTERIORS
106.00 | Providing and fixing for Aluminium Sliding Windows, Polyester powder coated (minimum thickness of polyester powder coating 50 micron) Concealed Push Type Lock of anodiesd Aluminium Body and Plastic Brackets Rust Proof Materials with all accessory and screws. Size 100mm | 6.00 | Each |  | 400.00 | 2400.00 | 300.00 | 1800.00 | 200.00 | 1200.00 | 1200.00 | RADHIKEY ENTERPRISES
107.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 60.00 | kg |  | 1000.00 | 60000.00 | 690.00 | 41400.00 | 1200.00 | 72000.00 | 41400.00 | SAMTA INTERIORS
108.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete with necessary aluminium beadings as required. Beadings shall be measured in respective item. | 20.00 | sqm |  | 1000.00 | 20000.00 | 470.00 | 9400.00 | 800.00 | 16000.00 | 9400.00 | SAMTA INTERIORS
109.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5 mm depth and 5 mm width | 50.65 | mtr |  | 100.00 | 5065.00 | 50.00 | 2532.50 | 70.00 | 3545.50 | 2532.50 | SAMTA INTERIORS
110.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/ Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/ wheat husk) and non toxic additives(maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5 mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 45 x 85 mm | 40.00 | mtr |  | 850.00 | 34000.00 | 690.00 | 27600.00 | 600.00 | 24000.00 | 24000.00 | RADHIKEY ENTERPRISES
111.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade),calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 20.00 | Sqm. |  | 4000.00 | 80000.00 | 4390.00 | 87800.00 | 4500.00 | 90000.00 | 80000.00 | AYODHYA CONSTRUCTION
112.00 | Providing 40x5 mm flat iron hold fast 400 mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 300x100x150 mm 1 :3:6 mix (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size). | 40.00 | each |  | 100.00 | 4000.00 | 125.00 | 5000.00 | 300.00 | 12000.00 | 4000.00 | AYODHYA CONSTRUCTION
113.00 | Providing and fixing IS: 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete : 100x60x2.50 mm | 24.00 | each |  | 100.00 | 2400.00 | 80.00 | 1920.00 | 100.00 | 2400.00 | 1920.00 | SAMTA INTERIORS
114.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete | 3.00 | each |  | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 1600.00 | 4800.00 | 3000.00 | AYODHYA CONSTRUCTION, SAMTA INTERIORS
115.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 16.00 | each |  | 200.00 | 3200.00 | 75.00 | 1200.00 | 120.00 | 1920.00 | 1200.00 | SAMTA INTERIORS
116.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 16.00 | each |  | 450.00 | 7200.00 | 200.00 | 3200.00 | 400.00 | 6400.00 | 3200.00 | SAMTA INTERIORS
117.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete | 10.00 | each |  | 100.00 | 1000.00 | 125.00 | 1250.00 | 150.00 | 1500.00 | 1000.00 | AYODHYA CONSTRUCTION
118.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For vertical surface two coats @ 0.70 kg per sqm per coat | 1250.00 | sqm |  | 450.00 | 562500.00 | 475.00 | 593750.00 | 800.00 | 1000000.00 | 562500.00 | AYODHYA CONSTRUCTION
119.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | 360.00 | sqm |  | 350.00 | 126000.00 | 375.00 | 135000.00 | 800.00 | 288000.00 | 126000.00 | AYODHYA CONSTRUCTION
120.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 10.00 | cum |  | 8000.00 | 80000.00 | 7500.00 | 75000.00 | 6000.00 | 60000.00 | 60000.00 | RADHIKEY ENTERPRISES
121.00 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) first layer of slurry of cement @ 0.384 kg/sqm mixed with one coat Styrene-Butadene Latex based liquid water proofing cement compound HS Latex Plus @ 0.256 kg/sqm (Average Coverage 21.00 sq.ft/ kg per two coats with HS latex:Cement Ratio 1:1.5) , after surface preparation (thoroughly cleaning of all kind of laitance, oils, grease etc. by means such as shot blasting, wire brushing and removing all loose materials), (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of slurry of cement @ 0.384 kg/sqm mixed with one coat Styrene-Butadene Latex based liquid water proofing cement compound HS Latex Plus @ 0.256 kg/sqm (Average Coverage 21.00 sq.ft/ kg per two coats with HS latex:Cement Ratio 1:1.5). This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth layer with Hard Roller/Brush of Two Coats of Undiluted PU-Acrylic Hybrid Polymer HS Roof Kool & Seal which is a fibre reinforced liquid applied elastomeric water proofing membrane, impregnated with nano- fibre (Average Coverage 0.70 sqm/ ltr per two coats). This will be allowed to air cure for 4-6 hours after each coat. The entire treatment will be taken upto parapet or farthest exposed end all around. For the purpose of measurement the entire treated surface will be measured | 201.00 | sqm |  | 1000.00 | 201000.00 | 450.00 | 90450.00 | 800.00 | 160800.00 | 90450.00 | SAMTA INTERIORS
122.00 | Providing detailed civil architectural and structural design (Sub-structure Foundation Work and Superstructure) of Gazebo Hut, MS Space Frame for Placing PVC Water tank -02 nos of 2000 ltrs capacity each at minimum height 10 metre, MS Truss Shed to be built with Schedule Items in combination with Galvalume sheets for Open Air Theatre Pavilion, Stage and Seating Area around Swimming Pool Complex including soil testing alongwith design & drawings. Design should be based on latest BIS codes and standard engineering practice. The design shall be prepared by qualified and registered structural consultant, approved by Engineer-in-charge, all complete as per Site requirements. Any revision in drawings (if any) while execution due to any constraints shall be done only after prior permission of EIC and the revised design and drawings shall be got prepared from the registered structural consultant and submitted after getting the revised design duly vetted from the Original Govt.Authority who vetted the initial design and drawings. No additional payment shall be paid to the contractor for any revision in design and drawings. The design shall be vetted and approved from Govt. Engineering College/NIT/IIT. The agency shall be solely responsible for the adequacy and structural safety of the proposed structure. After approval of structural design & drawing 03 (Three) set of good for construction design & drawing showing all relevant detail shall be submitted duly signed by consultant. | 1.00 | Job |  | 100000.00 | 100000.00 | 125000.00 | 125000.00 | 120000.00 | 120000.00 | 100000.00 | AYODHYA CONSTRUCTION
123.00 | Deduct for taking away of unusable Structural steel work in frames, MS shutters, MS Grills, trusses, channels, beams, Tee, angles, old distorted and unsable GI Chain link fencing bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete | 2109.00 | kg |  | 350.00 | -738150.00 | 30.00 | -63270.00 | 20.00 | -42180.00 | -738150.00 | AYODHYA CONSTRUCTION
| Total in Figures |  |  |  |  | 24798700.00 |  | 22331518.50 |  | 19333154.50
Lowest Amount Quoted BY: RADHIKEY ENTERPRISES(19333154.50)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Works of Swimming Pool Complex at CATC Prayagraj Tender ID: 2026_AAI_283275_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RADHIKEY ENTERPRISES (BID ID -1053320) | 19333154.50 | L1
| 2 | SAMTA INTERIORS (BID ID -1053333) | 22331518.50 | L2
| 3 | AYODHYA CONSTRUCTION (BID ID -1053123) | 24798700.00 | L3