## BoQ1
Government eProcurement System Created By: DURGA NAGENDRA PRASAD DONGA Created Date/Time: 21-Aug-2026 05:04 PM Tender Title: Replacement of signage Boards and allied works in operational area at Begumpet Airport, Hyderabad Tender ID: 2026_AAI_283504_1
Tender Inviting Authority: Senior Manager (Engg-Elect), AAI, Hyderabad International Airport, Begumpet- 500 016
Name of Work: Replacement of signage Boards and allied works in operational area at Begumpet Airport, Hyderabad.
Contract No: 2026_AAI_283504_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS (GSTN-27ABAPS2566G1ZK) BID ID -1048832 |  | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -1048834 |  | POSHDECOR (GSTN-27ABDFP5348N1ZO) BID ID -1050818 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -1051133 |  | CREATIVE TRADING CO (GSTN-07AMEPK8023F1Z9) BID ID -1051562 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -1051806 |  | GARIMA SALES CORPORATION (GSTN-NA) BID ID -1051504 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -1051674
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Fabrication and Supply of Internally Illuminated LED based Mandatory / Information Guidance Sign Boards (as per ICAO Standards) of various sizes made out of 4mm thick glare free polycarbonate sheet at front facia having the required details (Colour, letters and symbols) screen printed on self adhesive film of 3M make/ equivalent and pasted inside of the polycarbonate sheet and body made of min 2mm thick anodised aluminium profile reinforced by Aluminium /Aluminium Alloy Structure with central split type opening for easy maintenance, suitable support and frangible mounting legs,uniformly internally illuminated with adequate No. of LED Modules/ Strips with suitable rated weather proof Power Converter (IP67) to achieve required illumination level, suitable for operation on airfield series circuit input source of 2.8A - 6.6A to give constant brightness for all current variations without flickering, with all other accessories such as Suitable AL Legs, AL/ MS base plate with suitable foundation bolts, SS nuts and spring washers etc., complete as required and conforming to ICAO/ FAA latest amendments etc., complete as required. | 60.00 | Sq.m | 1.25 | 35000.00 | 2100000.00 | 60000.00 | 3600000.00 | 39000.00 | 2340000.00 | 42755.00 | 2565300.00 | 38000.00 | 2280000.00 | 51000.00 | 3060000.00 | 24930.00 | 1495800.00 | 39650.00 | 2379000.00 | 1495800.00 | GARIMA SALES CORPORATION
2.00 | Laying of 50 mm (outer dia. ) DWC-HDPE pipe complete with fitting and cutting, jointing etc. direct in soil ground (up to 75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (DWC-HDPE pipe will be provided by AAI) | 300.00 | Meter | 0.00 | 100.00 | 30000.00 | 300.00 | 90000.00 | 96.00 | 28800.00 | 165.00 | 49500.00 | 200.00 | 60000.00 | 160.00 | 48000.00 | 72.00 | 21600.00 | 240.00 | 72000.00 | 21600.00 | GARIMA SALES CORPORATION
3.00 | Supply of following rating, 5 kV grade, 50 Hz, series type isolating transformer encapsulated in polyster resin, finally moulded in neoprene rubber with primary and secondary leads as specified in particular specifications etc. as required.
3.01 | 100 Watts, 6.6/6.6 Amps | 50.00 | Each | 100.00 | 4700.00 | 235000.00 | 4200.00 | 210000.00 | 4500.00 | 225000.00 | 4800.00 | 240000.00 | 3600.00 | 180000.00 | 4800.00 | 240000.00 | 6300.00 | 315000.00 | 4590.00 | 229500.00 | 180000.00 | CREATIVE TRADING CO
3.02 | 100 Watts, 20/6.6 Amps | 50.00 | Each | 53.00 | 4700.00 | 235000.00 | 4200.00 | 210000.00 | 4500.00 | 225000.00 | 4800.00 | 240000.00 | 3600.00 | 180000.00 | 4800.00 | 240000.00 | 9900.00 | 495000.00 | 4590.00 | 229500.00 | 180000.00 | CREATIVE TRADING CO
3.03 | 200 Watts, 20/6.6 Amps | 70.00 | Each | 10.00 | 5500.00 | 385000.00 | 4800.00 | 336000.00 | 5400.00 | 378000.00 | 5400.00 | 378000.00 | 4000.00 | 280000.00 | 6000.00 | 420000.00 | 14400.00 | 1008000.00 | 4830.00 | 338100.00 | 280000.00 | CREATIVE TRADING CO
4.00 | Laying of 1 No. AFL cable/ Secondary Lead of 5 KV/1.1KV grade of size not exceeding 25 Sq.mm in RCC/Hume/DWC HDPE/ GI Pipe/closed duct etc. as required. (AFL cable/ Secondary Lead will be provided by AAI) | 300.00 | Meter | 11.00 | 30.00 | 9000.00 | 65.00 | 19500.00 | 42.00 | 12600.00 | 30.00 | 9000.00 | 20.00 | 6000.00 | 25.00 | 7500.00 | 333.00 | 99900.00 | 24.00 | 7200.00 | 6000.00 | CREATIVE TRADING CO
5.00 | Installation, Testing and Commissioning of Airport Operational Mandatory /Information Guidance Signboards of various sizes by providing suitable strength Cement Concrete Cuboid(1:2:4) of minimum size 300x 300x 450mm for each leg, fixing foundation bolts of minimum length of 250mm & nuts with spring washer i/c excavation, breakable couplings, secondary lead Connections etc. complete as required.
5.01 | 2 Leg Signboards | 13.00 | Nos | 10.00 | 4000.00 | 52000.00 | 9500.00 | 123500.00 | 3000.00 | 39000.00 | 7000.00 | 91000.00 | 5000.00 | 65000.00 | 2200.00 | 28600.00 | 9000.00 | 117000.00 | 2868.00 | 37284.00 | 28600.00 | Manish Electricals
5.02 | 3 Leg Signboards | 17.00 | Nos | 22.00 | 6000.00 | 102000.00 | 13500.00 | 229500.00 | 3600.00 | 61200.00 | 8000.00 | 136000.00 | 6000.00 | 102000.00 | 3500.00 | 59500.00 | 14400.00 | 244800.00 | 4302.00 | 73134.00 | 59500.00 | Manish Electricals
5.03 | 4 Leg Signboards | 24.00 | Nos | 10.00 | 8000.00 | 192000.00 | 19000.00 | 456000.00 | 3900.00 | 93600.00 | 9000.00 | 216000.00 | 7000.00 | 168000.00 | 4500.00 | 108000.00 | 18900.00 | 453600.00 | 5737.00 | 137688.00 | 93600.00 | POSHDECOR
6.00 | Providing cement concrete of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) to make uniform platform in & around signage board with proper finishing/ flushing of the exposed surface of platform to get smooth slope and overlapping including excavation as per the instructions of Engineer-in-charge etc. complete as required. | 45.00 | Cu.M | 0.00 | 8000.00 | 360000.00 | 10500.00 | 472500.00 | 12000.00 | 540000.00 | 6575.00 | 295875.00 | 12000.00 | 540000.00 | 9000.00 | 405000.00 | 5400.00 | 243000.00 | 7150.00 | 321750.00 | 243000.00 | GARIMA SALES CORPORATION
7.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 40.00 | Job | 0.00 | 10000.00 | 400000.00 | 65000.00 | 2600000.00 | 10500.00 | 420000.00 | 8000.00 | 320000.00 | 9000.00 | 360000.00 | 9000.00 | 360000.00 | 6660.00 | 266400.00 | 9900.00 | 396000.00 | 266400.00 | GARIMA SALES CORPORATION
8.00 | Laying of earth connection from earth electrode with 6 SWG dia G.I. Wire in 15mm dia G.I. pipe for earth electrode including connection with G.I. thimble excavation and re-filling etc. as required. (6SWG GI Wire will be Provided by AAI) | 440.00 | Meter | 0.00 | 180.00 | 79200.00 | 15.00 | 6600.00 | 33.00 | 14520.00 | 355.00 | 156200.00 | 300.00 | 132000.00 | 320.00 | 140800.00 | 270.00 | 118800.00 | 215.00 | 94600.00 | 6600.00 | AMA Private Limited
| Total in Figures |  |  |  |  | 4179200.00 |  | 8353600.00 |  | 4377720.00 |  | 4696875.00 |  | 4353000.00 |  | 5117400.00 |  | 4878900.00 |  | 4315756.00
Lowest Amount Quoted BY: NASU SYSTEMS(4179200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of signage Boards and allied works in operational area at Begumpet Airport, Hyderabad Tender ID: 2026_AAI_283504_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NASU SYSTEMS (BID ID -1048832) | 4179200.00 | L1
| 2 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (BID ID -1051674) | 4315756.00 | L2
| 3 | CREATIVE TRADING CO (BID ID -1051562) | 4353000.00 | L3
| 4 | POSHDECOR (BID ID -1050818) | 4377720.00 | L4
| 5 | Techno Electricals (BID ID -1051133) | 4696875.00 | L5
| 6 | GARIMA SALES CORPORATION (BID ID -1051504) | 4878900.00 | L6
| 7 | Manish Electricals (BID ID -1051806) | 5117400.00 | L7
| 8 | AMA Private Limited (BID ID -1048834) | 8353600.00 | L8