## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 02-Sep-2026 05:03 PM Tender Title: Development of Lal Bahadur Shastri International Airport, Varanasi. SH- SITC of Perimeter Lighting, WDI and Landing T Tender ID: 2026_AAI_283667_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Development of Lal Bahadur Shastri International Airport, Varanasi. SH: SITC of Perimeter Lighting, WDI and Landing T.
Contract No: 2026_AAI_283667_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -1050410 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -1051799 |  | S.L. ELECTROMECH PVT. LTD. (GSTN-07AAACR1317E2ZW) BID ID -1051892 |  | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (GSTN-09AOTPS2578C1ZC) BID ID -1051950 |  | Miraj Engineering Services Pvt. Ltd. (GSTN-NA) BID ID -1051811 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -1051813 |  | Vishal Technopower Private Limited (GSTN-NA) BID ID -1051926 |  | KAILASH ELECTRICALS (GSTN-NA) BID ID -1052039
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Electrical Works
1.00 | Supply of LED light for street lighting of maximum rated capacity of 45 watt with minimum lumen efficacy of 110 lumens/watt, IP 65 & color temperature of 5700 K made of pressor die cast aluminum housing & heat resistant toughened clear glass including all accessories like electronic gear / driver with LED as light source suitable to operate on 140-270 V, 50 Hz AC supply complete as per the required specifications. | 600.00 | Nos. |  | 1600.00 | 960000.00 | 1450.00 | 870000.00 | 1243.00 | 745800.00 | 4750.00 | 2850000.00 | 1325.00 | 795000.00 | 2450.00 | 1470000.00 | 1285.20 | 771120.00 | 1290.00 | 774000.00 | 745800.00 | S.L. ELECTROMECH PVT. LTD.
2.00 | Supply of 06 mtrs. high GI OCTAGONAL continuously tapered galvanised street light pole (bottom size 130 mm min. & top size 70 mm min.) with single arm GI bracket (length and design of bracket as approved by EIC) for installation of LED Street light luminaire (approx. 45 Watt) suitable for wind velocity as per IS 875 (but not less than 50 m/sec.), fabricated out of 3 mm MS plate in single section, suitable for installation on a precast foundation with supply of minimum 4 nos. of foundation bolt & anchor plate, rigid flange plate (200x200x12mm min.) welded with the base of pole for fixing on foundation bolts complete as reqd. for structural stability (Vetted by any IIT/NIT/Govt. Engg College/ reputed Consultant) as specified, weather proof and vandal resistant door flush with the exterior surface containing a terminal plate of 5 mm thick backlite sheet with 32 Amp heavy duty connector for loop in loop out cable terminations suitable for upto two numbers 4 core 25 Sq.mm cables & 6A DP MCB for each LED fixture connections, earthing bolts for continuous earth connection, complete as required & as specified. | 394.00 | Nos. |  | 9000.00 | 3546000.00 | 9240.00 | 3640560.00 | 11479.00 | 4522726.00 | 11000.00 | 4334000.00 | 9421.00 | 3711874.00 | 9500.00 | 3743000.00 | 8746.50 | 3446121.00 | 9375.00 | 3693750.00 | 3446121.00 | Vishal Technopower Private Limited
3.00 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of LED street light fitting on wall including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. including connection of LED lights complete as required. | 164.00 | Nos. |  | 900.00 | 147600.00 | 1200.00 | 196800.00 | 947.00 | 155308.00 | 3250.00 | 533000.00 | 2012.00 | 329968.00 | 1200.00 | 196800.00 | 895.00 | 146780.00 | 1000.00 | 164000.00 | 146780.00 | Vishal Technopower Private Limited
4.00 | Erection of 06 Mtr. high G.I.OCTAGONAL pole & bracket with all accessories along with casting of reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling including positioning of template & foundation bolts (supplied with pole to match with pole base plate) & providing and fixing of DWC HDPE pipe of size 63 mm dia (2 pieces of min. 0.75 m length) in the foundation for loop-in-loop-out of the cable to the pole, including installation of LED street light, supplying of 3C X 2.5 sq.mm. Copper wire with lugs and making connections to the LED street light complete as required and as specified | 394.00 | Jobs |  | 2800.00 | 1103200.00 | 2600.00 | 1024400.00 | 8284.00 | 3263896.00 | 4500.00 | 1773000.00 | 6432.00 | 2534208.00 | 3200.00 | 1260800.00 | 6443.29 | 2538655.94 | 4250.00 | 1674500.00 | 1024400.00 | Manish Electricals
5.00 | S.I.T.C. of High Efficiency Mono Crystalline (module efficiency should not be less than 17%), Lithium type battery of required capacity (confirming to BIS/ Intl Std.), High Efficiency Long Life LED of 45W with customized Lens for proper light distribution, dispersed beam, soothing to eyes with the use of proper optics and diffuser, Pole mounted with suitable size of bracket as per site requirements, “ALL IN ONE” TYPE having On-Grid/Hybrid Functionality OUTDOOR LED SOLAR LIGHTS with Autonomy of Minimum 12 hrs. (LED lights excluded, considered in Item no.#1). | 120.00 | Jobs |  | 27000.00 | 3240000.00 | 11000.00 | 1320000.00 | 47929.00 | 5751480.00 | 13500.00 | 1620000.00 | 21845.00 | 2621400.00 | 12600.00 | 1512000.00 | 12210.00 | 1465200.00 | 29500.00 | 3540000.00 | 1320000.00 | Manish Electricals
6.00 | S.I.T.C. of outdoor type Feeder Pillar/Panel of PTTA type fabricated out of 14 SWG CRCA sheet having double doors with locking arrangement at front and openable back for easy access to cable alley, dust & vermin proof, totally enclosed, compartmentalised, rubber gasket on all doors. M S angle base frame, earth terminal bolts,internal wiring, connections etc comprising with the following switch gears suitable for operation on 415 V,3 phase, 4 wire, 50 Hz AC power supply complete as required. The feeder pillar shall have the provision of M S angle stand fabricated out of 50 x 50 x 6 mm angle ( legs of stand 300mm above ground and 300mm below grouted ) suitable for installation of feeder piller on M S stand including grouting the stand with cement concret mortar( upto 300mm above GL) , nut bolts etc as required and as per enclosed specification conforming to relevant IS specification. Incoming 125 Amp four pole, 25 KA MCCB with thermal and Magnetic setting - 2 Set 125 Amp four pole, 25 KA MCCB with thermal and Magnetic setting - Bus Coupler - 1 Set Outgoing 32 Amp, TPN , 25 KA MCCB - 10 sets 200 Amp TPN aluminium busbar - 1 Set Metering panel with Voltmeter, Ammeter of suitable ranged, indication lamps RYB & Voltmeter & Ammeter Selector Switch for I/Cs | 2.00 | Jobs |  | 300000.00 | 600000.00 | 185000.00 | 370000.00 | 295858.00 | 591716.00 | 400000.00 | 800000.00 | 305749.00 | 611498.00 | 15000.00 | 30000.00 | 266800.00 | 533600.00 | 405000.00 | 810000.00 | 30000.00 | SAURABH ENTERPRISES
7.00 | S.I.T.C. of outdoor type Feeder Pillar/Panel of size approx. PTTA type fabricated out of 14 SWG CRCA sheet having double doors with locking arrangement at front and openable back for easy access to cable alley, dust & vermin proof, totally enclosed, compartmentalised, rubber gasket on all doors. M S angle base frame, earth terminal bolts,internal wiring, connections etc comprising with the following switch gears suitable for operation on 415 V,3 phase, 4 wire, 50 Hz AC power supply complete as required. The feeder pillar shall have the provision of M S angle stand fabricated out of 50 x 50 x 6 mm angle ( legs of stand 300mm above ground and 300mm below grouted ) suitable for installation of feeder piller on M S stand including grouting the stand with cement concret mortar( upto 300mm above GL) , nut bolts etc as required and as per enclosed specification conforming to relevant IS specification. Incomer- 32 Amp, 4 pole, 10 KA MCCB with thermal and magnetic setting - 1 Set 100 Amp TPN aluminium busbar - 1 Set Outgoing- 16 Amp, TPN , 25 KA MCCB - 04 sets Metering panel with Voltmeter, Ammeter of suitable ranged, Indication lamps RYB & Voltmeter & Ammeter Selector Switch for I/Cs Timer of 24 hour dial type 240 V, 25 Amp Suitable rating Triple pole contactor for Timer - 1 Set Auto Manual Switch - 01 Set | 4.00 | Jobs |  | 130000.00 | 520000.00 | 105000.00 | 420000.00 | 53254.00 | 213016.00 | 400000.00 | 1600000.00 | 127357.00 | 509428.00 | 15000.00 | 60000.00 | 115550.00 | 462200.00 | 180000.00 | 720000.00 | 60000.00 | SAURABH ENTERPRISES
8.00 | S.I.T.C. of outdoor type Feeder Pillar/Panel of size approx. PTTA type fabricated out of 14 SWG CRCA sheet having double doors with locking arrangement at front and openable back for easy access to cable alley, dust & vermin proof, totally enclosed, compartmentalised, rubber gasket on all doors. M S angle base frame, earth terminal bolts,internal wiring, connections etc comprising with the following switch gears suitable for operation on 415 V,3 phase, 4 wire, 50 Hz AC power supply complete as required. The feeder pillar shall have the provision of M S angle stand fabricated out of 50 x 50 x 6 mm angle ( legs of stand 300mm above ground and 300mm below grouted ) suitable for installation of feeder piller on M S stand including grouting the stand with cement concret mortar( upto 300mm above GL) , nut bolts etc as required and as per enclosed specification conforming to relevant IS specification. Incomer- 32 Amp, 4 pole, 25 KA MCCB with thermal and magnetic setting - 2 Set 32 Amp, 4 pole, 25 KA MCCB with thermal and magnetic setting Bus coupler - 1 Set 100 Amp TPN aluminium busbar - 1 Set Outgoing- 16 Amp, TPN , 25 KA MCCB - 06 sets Metering panel with Voltmeter, Ammeter of suitable ranged, Indication lamps RYB & Voltmeter & Ammeter Selector Switch for I/Cs Timer of 24 hour dial type 240 V, 25 Amp Suitable rating Triple pole contactor for Timer - 1 Set Auto Manual Switch - 01 Set | 4.00 | Jobs |  | 225000.00 | 900000.00 | 142000.00 | 568000.00 | 53254.00 | 213016.00 | 400000.00 | 1600000.00 | 209001.00 | 836004.00 | 15000.00 | 60000.00 | 183500.00 | 734000.00 | 290000.00 | 1160000.00 | 60000.00 | SAURABH ENTERPRISES
9.00 | Supply of following Size 1.1 KV grade alumuninum conductor XLPE insulated and PVC sheathed, steel strip armoured power cable as per IS 7098:1988 (Part-I) with upto date amendments: 3.5 Core X 185 Sq.mm | 3300.00 | Mtr |  | 1100.00 | 3630000.00 | 1250.00 | 4125000.00 | 1143.00 | 3771900.00 | 800.00 | 2640000.00 | 1168.00 | 3854400.00 | 1121.00 | 3699300.00 | 1026.67 | 3388019.25 | 1075.00 | 3547500.00 | 2640000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
10.00 | Supply of following Size 1.1 KV grade alumuninum conductor XLPE insulated and PVC sheathed, steel strip armoured power cable as per IS 7098:1988 (Part-I) with upto date amendments: 3.5 Core X 95 Sq.mm | 13310.00 | Mtr |  | 630.00 | 8385300.00 | 695.00 | 9250450.00 | 618.00 | 8225580.00 | 475.00 | 6322250.00 | 616.00 | 8198960.00 | 682.00 | 9077420.00 | 555.13 | 7388846.85 | 570.00 | 7586700.00 | 6322250.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
11.00 | Supply of following Size 1.1 KV grade alumuninum conductor XLPE insulated and PVC sheathed, steel strip armoured power cable as per IS 7098:1988 (Part-I) with upto date amendments: 4 Core X 25 Sq.mm | 18930.00 | Mtr |  | 260.00 | 4921800.00 | 225.00 | 4259250.00 | 224.00 | 4240320.00 | 170.00 | 3218100.00 | 237.00 | 4486410.00 | 337.00 | 6379410.00 | 200.81 | 3801380.62 | 215.00 | 4069950.00 | 3218100.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
12.00 | Supply and Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (Make :-As per AAI preferred make list) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 3300.00 | Mtr |  | 180.00 | 594000.00 | 240.00 | 792000.00 | 272.00 | 897600.00 | 350.00 | 1155000.00 | 358.00 | 1181400.00 | 180.00 | 594000.00 | 157.10 | 518430.00 | 280.00 | 924000.00 | 518430.00 | Vishal Technopower Private Limited
13.00 | Supply and Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (Make :-As per AAI preferred make list) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 32240.00 | Mtr |  | 110.00 | 3546400.00 | 155.00 | 4997200.00 | 148.00 | 4771520.00 | 280.00 | 9027200.00 | 221.00 | 7125040.00 | 120.00 | 3868800.00 | 84.98 | 2739755.20 | 200.00 | 6448000.00 | 2739755.20 | Vishal Technopower Private Limited
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required: Upto 35 sq. mm (clamped with 1mm thick saddle) | 4733.00 | Mtr |  | 40.00 | 189320.00 | 95.00 | 449635.00 | 30.00 | 141990.00 | 300.00 | 1419900.00 | 79.00 | 373907.00 | 30.00 | 141990.00 | 30.00 | 141990.00 | 50.00 | 236650.00 | 141990.00 | SAURABH ENTERPRISES, S.L. ELECTROMECH PVT. LTD., Vishal Technopower Private Limited
15.00 | Providing and Laying of following dia 'B' class GI Pipe including excavation of hard / soft soil complete with threading and alignment of pipe,bituminous road/concrete surface cutting for laying the pipe and making good the same with 1:2:4 cement concrete etc. as required. >120 mm dia 'B' class GI Pipe | 150.00 | Mtr |  | 1000.00 | 150000.00 | 1600.00 | 240000.00 | 2041.00 | 306150.00 | 1800.00 | 270000.00 | 3577.00 | 536550.00 | 1100.00 | 165000.00 | 985.50 | 147825.00 | 1550.00 | 232500.00 | 147825.00 | Vishal Technopower Private Limited
16.00 | Installation Testing and Commissioning of upto 45 watt LED type Road/ street light fixtures on perimeter wall on existing bracket. Installation shall be including earthing and connection with 1.5 Sq.mm PVC insulated copper conductor single flexible cable complete as required. (Weather-proof Box alongwith mounted 6A MCB to be provided for installation of fittings) | 164.00 | Jobs |  | 500.00 | 82000.00 | 900.00 | 147600.00 | 2604.00 | 427056.00 | 3500.00 | 574000.00 | 1650.00 | 270600.00 | 1000.00 | 164000.00 | 550.00 | 90200.00 | 1250.00 | 205000.00 | 82000.00 | DOSHI ELECTRIC ENGG. CO.
17.00 | Laying of one number PVC insulated & PVC sheathed XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct as required a) Above 95 sqmm and upto 185 sqmm | 200.00 | Mtr |  | 40.00 | 8000.00 | 20.00 | 4000.00 | 71.00 | 14200.00 | 70.00 | 14000.00 | 44.00 | 8800.00 | 50.00 | 10000.00 | 90.00 | 18000.00 | 60.00 | 12000.00 | 4000.00 | Manish Electricals
18.00 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Up to 35 sq.mm. (4C cable) | 32240.00 | Mtr |  | 20.00 | 644800.00 | 20.00 | 644800.00 | 30.00 | 967200.00 | 70.00 | 2256800.00 | 58.00 | 1869920.00 | 10.00 | 322400.00 | 23.00 | 741520.00 | 35.00 | 1128400.00 | 322400.00 | SAURABH ENTERPRISES
19.00 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Above 35 sq.mm. up to 95 sq.mm (3.5C Cable) | 13310.00 | Mtr |  | 30.00 | 399300.00 | 30.00 | 399300.00 | 59.00 | 785290.00 | 70.00 | 931700.00 | 88.00 | 1171280.00 | 20.00 | 266200.00 | 40.00 | 532400.00 | 55.00 | 732050.00 | 266200.00 | SAURABH ENTERPRISES
20.00 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Above 95 sq.mm. up to 185 sq.mm. (3.5C Cable) | 3300.00 | Mtr |  | 40.00 | 132000.00 | 40.00 | 132000.00 | 89.00 | 293700.00 | 110.00 | 363000.00 | 118.00 | 389400.00 | 30.00 | 99000.00 | 80.00 | 264000.00 | 70.00 | 231000.00 | 99000.00 | SAURABH ENTERPRISES
21.00 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. a) 3.5 X 185 Sq.mm | 8.00 | Set |  | 600.00 | 4800.00 | 1000.00 | 8000.00 | 947.00 | 7576.00 | 7000.00 | 56000.00 | 4289.00 | 34312.00 | 500.00 | 4000.00 | 2485.00 | 19880.00 | 1250.00 | 10000.00 | 4000.00 | SAURABH ENTERPRISES
22.00 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. a) 3.5 X 95 Sq.mm | 20.00 | Set |  | 500.00 | 10000.00 | 900.00 | 18000.00 | 710.00 | 14200.00 | 7000.00 | 140000.00 | 2468.00 | 49360.00 | 500.00 | 10000.00 | 1690.00 | 33800.00 | 850.00 | 17000.00 | 10000.00 | DOSHI ELECTRIC ENGG. CO., SAURABH ENTERPRISES
23.00 | Supplying and making end termination by Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. a) 1 X 25 Sq.mm | 574.00 | Set |  | 100.00 | 57400.00 | 300.00 | 172200.00 | 296.00 | 169904.00 | 500.00 | 287000.00 | 1157.00 | 664118.00 | 300.00 | 172200.00 | 30.00 | 17220.00 | 35.00 | 20090.00 | 17220.00 | Vishal Technopower Private Limited
24.00 | Earthing with 'B' class G. I. earth pipe 4.5 Metres. long x 40 mm dia i/c accessories and providing masonry enclosures with cover plate having locking arrangement & watering pipe, funnel etc. i/c charcoal/ coke and salt complete as required as per specification. | 120.00 | Jobs |  | 4000.00 | 480000.00 | 7000.00 | 840000.00 | 7692.00 | 923040.00 | 6500.00 | 780000.00 | 9710.00 | 1165200.00 | 4000.00 | 480000.00 | 8500.00 | 1020000.00 | 8000.00 | 960000.00 | 480000.00 | DOSHI ELECTRIC ENGG. CO., SAURABH ENTERPRISES
25.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe medium class from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 600.00 | Mtr |  | 200.00 | 120000.00 | 250.00 | 150000.00 | 262.00 | 157200.00 | 30.00 | 18000.00 | 398.00 | 238800.00 | 170.00 | 102000.00 | 228.50 | 137100.00 | 210.00 | 126000.00 | 18000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
26.00 | Providing and fixing 6 SWG G. I. wire on surface or in recess or with HDE/DWC/GI/Hume pipe etc. for loop earthing as required. | 17500.00 | Mtr |  | 16.00 | 280000.00 | 21.00 | 367500.00 | 25.00 | 437500.00 | 30.00 | 525000.00 | 53.00 | 927500.00 | 20.00 | 350000.00 | 43.80 | 766500.00 | 25.00 | 437500.00 | 280000.00 | DOSHI ELECTRIC ENGG. CO.
27.00 | Supplying & fixing cable route marker with 10X10X5mm thick GI plate with description there on bolted/welded to 35mmX35mmX6mm angle iron 60cm long and fixing the same in ground as required. | 333.00 | Jobs |  | 400.00 | 133200.00 | 400.00 | 133200.00 | 414.00 | 137862.00 | 200.00 | 66600.00 | 759.00 | 252747.00 | 1000.00 | 333000.00 | 278.50 | 92740.50 | 700.00 | 233100.00 | 66600.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
28.00 | Design, manufacture, supply, installation, testing and commissioning of outdoor type feeder pillar box as per latest IS of size 0.60 m X 0.75 m X 0.30 m (or bigger) with double door fabricated from 2 mm thick MS steel including TPN Bus bar of 415V, 200 Amp, 50 Hz with suitable equidistant arrangement for connection of 01 I/c and 04 Outgoing cables, cable entry from bottom, arranegment for earth connection, totally enclosed type with free standing floor mounted, dust & vermin proof etc including MS angle iron stand as per site requirement complete as required. | 2.00 | Jobs |  | 2500.00 | 5000.00 | 21000.00 | 42000.00 | 8876.00 | 17752.00 | 8250.00 | 16500.00 | 107770.00 | 215540.00 | 26500.00 | 53000.00 | 15780.00 | 31560.00 | 35000.00 | 70000.00 | 5000.00 | DOSHI ELECTRIC ENGG. CO.
29.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 185 sq. mm | 5.00 | Jobs |  | 4000.00 | 20000.00 | 4000.00 | 20000.00 | 6509.00 | 32545.00 | 7500.00 | 37500.00 | 9723.00 | 48615.00 | 3600.00 | 18000.00 | 5165.00 | 25825.00 | 2500.00 | 12500.00 | 12500.00 | KAILASH ELECTRICALS
30.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 95 sq. mm | 32.00 | Jobs |  | 3500.00 | 112000.00 | 3000.00 | 96000.00 | 6509.00 | 208288.00 | 8500.00 | 272000.00 | 4315.00 | 138080.00 | 2000.00 | 64000.00 | 4070.00 | 130240.00 | 2000.00 | 64000.00 | 64000.00 | SAURABH ENTERPRISES, KAILASH ELECTRICALS
31.00 | Supply, Installation, Testing & Commissioning of Landing 'H, direction indicator complying with ICAO & CAR standards consisting of three rectangular Aluminium limbs having length of 4000 Metre each supported with 50mm dia Aluminium pipe of 1350 mm length & frangible coupling with flanges,9/10 watt LED lamp fixtures with glass dome(minimum IP 65) and lamps for each limb. each circuits to operate on 230 V, 50 Hz AC supply, providing control unit with suitable control transformer, Relay, Contactor, copper wiring upto Junction Box ctc. as required for remote operation of landing'T' from CCR Hall as well as from control tower, connections/interconnections, civil foundations for each legs along with MS anchor base plate, casting pedestal up to 1.0 Metre outside all around the landing 'H', with 1:2:4 cement concrete of 100 mm thick and neat finish top etc. complete as required as per site requirement. (excluding feeder cable) | 1.00 | Job |  | 230000.00 | 230000.00 | 210000.00 | 210000.00 | 307692.00 | 307692.00 | 62500.00 | 62500.00 | 316969.00 | 316969.00 | 29768.00 | 29768.00 | 288000.00 | 288000.00 | 322500.00 | 322500.00 | 29768.00 | SAURABH ENTERPRISES
32.00 | Supply, Installation, Testing & Commissioning of frangible & externally illuminated Wind Direction Indicator conforming to ICAO & CAR standards and suitable for operation on 230 V, 50 Hz single phase supply and consist of following as required at the given stations: (a) 4.5 Metre high FRP frangible pole/mast of red & white colour. The frangibility shall conforming to ICAO Annex 14 & Aerodrome design manual part-VI/FAA guidelines. (b) Wind sock cone should have a length of not less than 3.60 m and diameter, at larger end, of not less than 0.90 m as per technical specifications. (c) Illuminating indicator with Four nos. 20 watt LED lamps with lamps mounting arrangement for outdoor conditions. (d) One no. LED aviation obstruction light having aluminium cast body and red polycarbonate dome, internal wiring, provision for remote control operation. (e) Providing and laying 1:2:4 Cement Concrete founation for installation of WDI and casting pedestal all around upto 7.5 m radius with 100mm thick 1:2:4 cement concrete & neat finish top surface as per OEM recommendations & as per direction complete as required as per site requirement. | 2.00 | Jobs |  | 300000.00 | 600000.00 | 185000.00 | 370000.00 | 307692.00 | 615384.00 | 82500.00 | 165000.00 | 247237.00 | 494474.00 | 20500.00 | 41000.00 | 268000.00 | 536000.00 | 415000.00 | 830000.00 | 41000.00 | SAURABH ENTERPRISES
33.00 | Supply and fixing of cable junction box suitable for termination of 4C x 25 sq mm Al armoured cable including terminals and knockouts for bottom cable entry having weatherproof housing IP 66 or better, suitable for wall mount/pole mount outdoor installation etc complete as required. | 2.00 | Jobs |  | 1000.00 | 2000.00 | 12000.00 | 24000.00 | 9467.00 | 18934.00 | 1250.00 | 2500.00 | 7608.00 | 15216.00 | 8000.00 | 16000.00 | 1330.50 | 2661.00 | 5200.00 | 10400.00 | 2000.00 | DOSHI ELECTRIC ENGG. CO.
34.00 | Design, Supply, Installation, Erection, Testsing, Commissioning of 27.5M high Flag Mast. Mast Shaft shall be in three telescopic sections (with base plate welded to bottom section), hot dip galvanised steel externally & internally and suitable for wind velocity as per IS 875 (but not less than 50 m/s ) along with special type dome and lightning finial (Mast shall be suitable for Indian Tri Color Flag Size 30Ft X 20Ft as per given technical specifications) including other assemblies as required with following accessories etc as per specifications: a) Supply and installation of twin dome LED aviation obstruction lights with 3Cx2.5 sqmmcopper condictor armourd cable with complete arrangement as per ICAO Specifications. b) System for Raising and lowering mechanism consisting of flag with double drum winch assembly, head frame assembly on top with self lubricating bearing, stainless steel wire ropes of minimum 6 mm. dia (Grade 316) etc. designed to operate with integral electric driven power tool motor of 2 hp capacity and also for manual operation. c) Providing and fixing of foundation bolts of M30 X 850 size manufactured from special steel along with nuts, washers, suitable size anchor plate and template, etc,as required. d) PU painting of High mast shaft with a coating of etch primer, primer and PU paint e) Supply, Installation,Testing and Commisioning of suitable size dust & vermin proof, IP 65, out door type, floor mounted Feeder Pillar Panel on cement concrete foundation, MS channel mounting frame of 50mm x 50mm x 5 mm thick MS Angle and 0.5 m long legs of same size foundation, fabricated with 14 SWG CRCA sheet steel complete with 3 mm thick detachable gland plate and front hinged door locking arrangment, totally enclosed, duly powder coated of approved shade as per manufacturer drawings/SLD, provision for bottom cable entry, panel shall also have common Al strip of 25 mm x 5 mm size at the rear with two numbers of earth studs and including wiring, interconnection with suitable size copper wire with the following switch gears complete as required. The Panel shall have 2KVA online UPS suitable to work on 200v-230v, 50Hz input and 230v, 50Hz out put along with SMF VRLA batteries to provide minimum 30 minutes back up time and as per technical specification, preferred make list etc including other desired accessories mentioned in technical specifications as required. UPS and battery shall be accomodated in separate compartment of control panel with proper air ventilation. INCOMER : - (a) Four Pole MCB 50 A, 10 KA, C Curve - 2 Nos. with 4 X 63 A Aluminium busbar with insulation sleeves (R,Y,B,N) (b) Manual Changeover Switch, 63 A-1 No. (c) Digital Multifuntion Meter -1 Nos. with set of suitable size CTs. (d) Phase indication LED lamps RYB, ON & OFF with suitable SPMCB - 02 Set (e) Suitable capacity overload protection relay and single phase preventer. OUT GOING : - (a) 10 A, 10 KA, C Curve, SPMCB-2 No. (b) 25 A, 10 KA, C Curve, SPMCB-1 No. (c) 5/15 A Switch Socket- 1 No. (d) Control system for raising/lowering of Flag-01 No. alongwith additional wired remote control for raising/lowering of Flag (e) Suitable rating Contactor operated through 24 Hours Timer Switch for the for the automatic switching of luminaries alongwith auto/manual selector switch | 1.00 | Job |  | 500000.00 | 500000.00 | 450000.00 | 450000.00 | 268639.00 | 268639.00 | 733160.00 | 733160.00 | 362194.00 | 362194.00 | 25000.00 | 25000.00 | 562170.00 | 562170.00 | 578000.00 | 578000.00 | 25000.00 | SAURABH ENTERPRISES
35.00 | Construction of shallow foundation with M30 grade concrete or as per foundation design submitted by OEM duly vetted by IIT/NIT/Reputed Govt. for the 27.5 m highmast considering the safe soil bearing capacity with soil testing report (min 10T/SQM) at site at suitable depth and of suitable size with all materials and labour.This item also covers the charges towards vetting of the foundation design (as submitted by OEM). | 1.00 | Job |  | 50000.00 | 50000.00 | 85000.00 | 85000.00 | 94675.00 | 94675.00 | 11500.00 | 11500.00 | 443757.00 | 443757.00 | 20000.00 | 20000.00 | 125000.00 | 125000.00 | 20000.00 | 20000.00 | 11500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
36.00 | Supply of Flood light LED fitting with minimum output of 38500 lumens and minimum 110 Lumens/Watt,for 230V Single Phase AC supply, 50Hz, PF>0.95, CRI>70, CCT - 5700K, Life of fitting not less than 50000 hrs complete as required. Luminaire should have high pressure die cast Alminium/standard alloy housing with surge protection system > 4KV. Luminaire should have proper thermal management. Min IP protection should be IP65. It shall meet as per technical specification enclosed with tender complete in all respect as required as per direction and satisfication of Engineer-Incharge. | 4.00 | Nos. |  | 8000.00 | 32000.00 | 15500.00 | 62000.00 | 13609.00 | 54436.00 | 12500.00 | 50000.00 | 13932.00 | 55728.00 | 12000.00 | 48000.00 | 8925.00 | 35700.00 | 11000.00 | 44000.00 | 32000.00 | DOSHI ELECTRIC ENGG. CO.
37.00 | Installation, testing and commissioning of LED Flood light fitting with all accessories with mounting arrangement as required on existing 6.00 m octagonal pole including providing & wiring with 3Cx 2.5 sq.mm flexible PVC insulated copper conductor cable from the light fixture to MCB inside the pole. | 4.00 | Nos. |  | 2000.00 | 8000.00 | 1200.00 | 4800.00 | 1657.00 | 6628.00 | 4500.00 | 18000.00 | 572.00 | 2288.00 | 700.00 | 2800.00 | 900.00 | 3600.00 | 990.00 | 3960.00 | 2288.00 | Miraj Engineering Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 36344120.00 |  | 36903695.00 |  | 43771719.00 |  | 46543210.00 |  | 46840945.00 |  | 34888888.00 |  | 33698040.37 |  | 41649050.00
Lowest Amount Quoted BY: Vishal Technopower Private Limited(33698040.37)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Lal Bahadur Shastri International Airport, Varanasi. SH- SITC of Perimeter Lighting, WDI and Landing T Tender ID: 2026_AAI_283667_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vishal Technopower Private Limited (BID ID -1051926) | 33698040.37 | L1
| 2 | SAURABH ENTERPRISES (BID ID -1051813) | 34888888.00 | L2
| 3 | DOSHI ELECTRIC ENGG. CO. (BID ID -1050410) | 36344120.00 | L3
| 4 | Manish Electricals (BID ID -1051799) | 36903695.00 | L4
| 5 | KAILASH ELECTRICALS (BID ID -1052039) | 41649050.00 | L5
| 6 | S.L. ELECTROMECH PVT. LTD. (BID ID -1051892) | 43771719.00 | L6
| 7 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (BID ID -1051950) | 46543210.00 | L7
| 8 | Miraj Engineering Services Pvt. Ltd. (BID ID -1051811) | 46840945.00 | L8