## BoQ1
Government eProcurement System Created By: SURESH KUMAR K K Created Date/Time: 18-Aug-2026 03:52 PM Tender Title: REPLACEMENT OF 40 KVA UPS AT DWR BUILDING DIBRUGARH Tender ID: 2026_AAI_284120_1
Tender Inviting Authority: Airports Authority of India, Dibrugarh Airport
Name of Work: REPLACEMENT OF 40 KVA UPS AT DWR BUILDING DIBRUGARH
Contract No: 2026_AAI_ 284120 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER ONE MICRO SYSTEMS PVT LTD (GSTN-29AABCP6384L1ZS) BID ID -1052879 |  | ECS ENGINEERING PVT LTD (GSTN-09AABCE5944P1Z1) BID ID -1054134 |  | DS Systems Pvt Ltd (GSTN-07AACCD8183C1ZR) BID ID -1054580 |  | SUN POWER CONVERSION PVT LTD (GSTN-09AAICS9074K1ZL) BID ID -1054638 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -1054722
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing, and commissioning of online UPS system of nominal capacity 40 KVA (3 phase 4 wire input and 3 phase 4 wire output) with SMF Battery for 30 mins backup, with MS Rack & IRIT Link for SMF Batteries, including providing battery interconnecting cables of copper conductor, copper lugs/thimbles, and necessary accessories as per requirement. | 1.00 | Job | 1.25 | 868000.00 | 868000.00 | 885000.00 | 885000.00 | 682900.00 | 682900.00 | 750000.00 | 750000.00 | 680000.00 | 680000.00 | 680000.00 | Awasthi Electric Works
2.00 | Dismantling of Existing 40 KVA UPS, including the dismantling of all accessories such as batteries, connecting cables etc complete as required along with shifting the dismantled UPS as per Directions of EIC. | 1.00 | Job | 1.25 | 30000.00 | 30000.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 5000.00 | SUN POWER CONVERSION PVT LTD
3.00 | All Inclusive Comprehensive Maintenance Contract of the 1 No. 40 KVA Online UPS System, ensuring serviceability, repairs, including supply & replacement of all defective spare parts of UPS (excluding batteries), quarterly preventive maintenance, breakdown maintenance as and when required, complete as per OEM recommendations.
3.01 | AICMC for First Year after one year DLP | 1.00 | Job/Annum | 1.25 | 50000.00 | 42315.00 | 50000.00 | 42315.00 | 25000.00 | 21157.50 | 39500.00 | 33428.85 | 35000.00 | 29620.50 | 21157.50 | DS Systems Pvt Ltd
3.02 | AICMC for Second Year after one year DLP | 1.00 | Job/Annum | 1.25 | 55000.00 | 42823.00 | 50000.00 | 38930.00 | 25000.00 | 19465.00 | 43500.00 | 33869.10 | 38500.00 | 29976.10 | 19465.00 | DS Systems Pvt Ltd
3.03 | AICMC for Third Year after one year DLP | 1.00 | Job/Annum | 1.25 | 61000.00 | 43694.30 | 50000.00 | 35815.00 | 30000.00 | 21489.00 | 47500.00 | 34024.25 | 42000.00 | 30084.60 | 21489.00 | DS Systems Pvt Ltd
3.04 | AICMC for Fourth Year after one year DLP | 1.00 | Job/Annum | 1.25 | 68000.00 | 44805.20 | 50000.00 | 32945.00 | 30000.00 | 19767.00 | 50000.00 | 32945.00 | 46500.00 | 30638.85 | 19767.00 | DS Systems Pvt Ltd
3.05 | AICMC for Fifth Year after one year DLP | 1.00 | Job/Annum | 1.25 | 76000.00 | 46071.20 | 50000.00 | 30310.00 | 30000.00 | 18186.00 | 52500.00 | 31825.50 | 51500.00 | 31219.30 | 18186.00 | DS Systems Pvt Ltd
| Total in Figures |  |  |  |  | 1117708.70 |  | 1090315.00 |  | 792964.50 |  | 921092.70 |  | 843539.35
Lowest Amount Quoted BY: DS Systems Pvt Ltd(792964.50)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF 40 KVA UPS AT DWR BUILDING DIBRUGARH Tender ID: 2026_AAI_284120_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DS Systems Pvt Ltd (BID ID -1054580) | 792964.50 | L1
| 2 | Awasthi Electric Works (BID ID -1054722) | 843539.35 | L2
| 3 | SUN POWER CONVERSION PVT LTD (BID ID -1054638) | 921092.70 | L3
| 4 | ECS ENGINEERING PVT LTD (BID ID -1054134) | 1090315.00 | L4
| 5 | POWER ONE MICRO SYSTEMS PVT LTD (BID ID -1052879) | 1117708.70 | L5