## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 01-Sep-2026 04:57 PM Tender Title: Construction of MSSR RCC Antenna Tower at Katihar, Radar station. SH-Provision of Passenger Elevator in Katihar MSSR Station including AICMC for 5 Years (after 2 years DLP). Tender ID: 2026_AAI_284693_1
Tender Inviting Authority: Dy. GM(E-E)
Name of Work: Construction of MSSR RCC Antenna Tower at Katihar, Radar station. SH:-Provision of Passenger Elevator in Katihar MSSR Station including AICMC for 5 Years (after 2 years DLP).
Contract No: 2026_AAI_284693_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Prasad Construction and Co (GSTN-20AADFP8725G1ZG) BID ID -1054665 |  | M/S B. PRASAD & COMPANY (GSTN-NA) BID ID -1054047
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part A- Provision of Lift Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts at least 8 passengers, 544 KG Capacity, 5 Stops, 5 openings (G+4) and entrance at front side on all the serving floors, duplex mode operations, automatic centre opening stainless steel door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 25 mtrs (approx). The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1.0 Mtr/sec, electromagnetic brake system, operating panel with luminous buttons, overload warning indicator,battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, provision of installation of CCTV etc, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure, with two years of Defect Liability Period(DLP) etc complete as required. | 1.00 | Job | 1869123.00 | 2900000.00 | 2900000.00 | 2207000.00 | 2207000.00 | 2207000.00 | M/S B. PRASAD & COMPANY
2.00 | Part B- AICMC of Lift Annual Comprehensive Maintenance Contract for complete 8 passanger capacity machine room less traction type passanger elevators including all electrical/mechanical equipment, safety control installed under this contract above item no. 1 i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs complete as per instructions of Engineer-in-Charge as required.
2.10 | Year - 1 (6.38 % of SITC cost i.e. total of Sl. No:01) | 1.00 | Job | 119250.05 | 185020.00 | 185020.00 | 140806.60 | 140806.60 | 140806.60 | M/S B. PRASAD & COMPANY
2.20 | Year - 2 (5.00 % cumulative enhancement on Year - 1 AICMC cost) | 1.00 | Job | 125212.55 | 194271.00 | 194271.00 | 147846.93 | 147846.93 | 147846.93 | M/S B. PRASAD & COMPANY
2.30 | Year - 3 (5.50 % cumulative enhancement on Year - 2 AICMC cost) | 1.00 | Job | 132099.24 | 204955.91 | 204955.91 | 155978.51 | 155978.51 | 155978.51 | M/S B. PRASAD & COMPANY
2.40 | Year - 4 (6.00 % cumulative enhancement on Year - 3 AICMC cost) | 1.00 | Job | 140025.19 | 217253.26 | 217253.26 | 165337.22 | 165337.22 | 165337.22 | M/S B. PRASAD & COMPANY
2.50 | Year - 5 (6.00 % cumulative enhancement on Year - 4 AICMC cost) | 1.00 | Job | 148426.71 | 230288.46 | 230288.46 | 175257.45 | 175257.45 | 175257.45 | M/S B. PRASAD & COMPANY
| Total in Figures |  |  |  |  | 3931788.63 |  | 2992226.71
Lowest Amount Quoted BY: M/S B. PRASAD & COMPANY(2992226.71)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of MSSR RCC Antenna Tower at Katihar, Radar station. SH-Provision of Passenger Elevator in Katihar MSSR Station including AICMC for 5 Years (after 2 years DLP). Tender ID: 2026_AAI_284693_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S B. PRASAD & COMPANY (BID ID -1054047) | 2992226.71 | L1
| 2 | M/s Prasad Construction and Co (BID ID -1054665) | 3931788.63 | L2