## BoQ1
Government eProcurement System Created By: Subham Sharma Created Date/Time: 10-Sep-2026 09:59 AM Tender Title: Development of Creche facility in AAI occupied offices ic interior Works in Ground Floor Reception Alpha2 at KIA Bangalore Airport Civil and Electrical Tender ID: 2026_AAI_285359_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: “Development of Creche facility in AAI occupied offices i/c interior Works in Ground Floor Reception, Alpha-2 at KIA, Bangalore Airport (Civil & Electrical)”.
Contract No: 2026_ AAI _285359 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Ranganath Civil Contractor Office (GSTN-29ABMPR1533N1Z1) BID ID -1055034 |  | ARDENT PROJECTS (GSTN-27CQDPS6720A2ZZ) BID ID -1055708
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: 1 CIVIL WORKS
1.01 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 170.17 | Kg |  | 200.00 | 34034.00 | 154.00 | 26206.18 | 26206.18 | ARDENT PROJECTS
1.02 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc Kiln seasoned and chemically treated hollock wood | .13 | cum |  | 150000.00 | 19500.00 | 93500.00 | 12155.00 | 12155.00 | ARDENT PROJECTS
1.03 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete. 12 mm thick. | 143.21 | Sqm |  | 2000.00 | 286422.00 | 1045.00 | 149655.50 | 149655.50 | ARDENT PROJECTS
1.04 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick brand as per the architechtural drawings for wall panneling. | 132.60 | Sqm |  | 2000.00 | 265200.00 | 715.00 | 94809.00 | 94809.00 | ARDENT PROJECTS
1.05 | Providing and laying full body vitrified tile in floor of minimum thickness 15 mm with waterabsorption less than 0.06% and conforming to IS:15622, of approved make, brand and manufacturer, laid on 20 mm thick base cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.30 kg / sqm including grouting the joints with white cement and matching pigments etc. The slab must be cut with the zero chipping diamond cutter only. Laying of slab will be done with the help of notch trowel, wedge, clips of required thickness, vacuum cups for lifting, leveling system and rubber mallet for placing the slab gently and easily. Size of tile 800x2400mm of all colours and shades. | 111.96 | Sqm |  | 1500.00 | 167946.00 | 2425.50 | 271568.68 | 167946.00 | M/s Ranganath Civil Contractor Office
1.06 | Deduct for not grouting the joints with white cement and matching pigment in the items of fixing of vitrified tiles. | 111.96 | Sqm |  | 5.00 | 559.82 | 27.50 | 3079.01 | 559.82 | M/s Ranganath Civil Contractor Office
1.07 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3 mm thickness | 111.96 | Sqm |  | 300.00 | 33589.20 | 198.00 | 22168.87 | 22168.87 | ARDENT PROJECTS
1.08 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 111.96 | Sqm |  | 5.00 | 559.82 | 242.00 | 27095.29 | 559.82 | M/s Ranganath Civil Contractor Office
1.09 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brandand manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 10.00 | Sqm |  | 10000.00 | 100000.00 | 10450.00 | 104500.00 | 100000.00 | M/s Ranganath Civil Contractor Office
1.10 | Demolishing brick work manually/by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per the direction of Engineer in charge In cement mortar. | 8.00 | cum |  | 2500.00 | 20000.00 | 495.00 | 3960.00 | 3960.00 | ARDENT PROJECTS
1.11 | Demolishing cement concrete manually/ by mechanically means including disposal of material within 50 meters lead as per the direction of Engineer - in- charge. Nominal concrete 1:3:6 or richer mix (i/e equivalent design mix) | 6.00 | Cum |  | 3000.00 | 18000.00 | 1045.00 | 6270.00 | 6270.00 | ARDENT PROJECTS
1.12 | Dismantling tile work in floors and roofs laid in cement mortar including stacking serviceable material within 50 metres lead: For thickness of tiles 10mm to 25mm | 169.00 | Sqm |  | 50.00 | 8450.00 | 93.50 | 15801.50 | 8450.00 | M/s Ranganath Civil Contractor Office
1.13 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 3.00 | Sqm |  | 100.00 | 300.00 | 132.00 | 396.00 | 300.00 | M/s Ranganath Civil Contractor Office
1.14 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (with in 50 metres lead) as per direction of Engineering-Charge. (a) Internal Work- Exposed on wall | 30.00 | metre |  | 100.00 | 3000.00 | 38.50 | 1155.00 | 1155.00 | ARDENT PROJECTS
1.15 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 20000.00 | 20000.00 | 9020.00 | 9020.00 | 9020.00 | ARDENT PROJECTS
1.16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 69.00 | Sqm |  | 2000.00 | 138000.00 | 825.00 | 56925.00 | 56925.00 | ARDENT PROJECTS
1.17 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand). | 69.00 | Sqm |  | 450.00 | 31050.00 | 308.00 | 21252.00 | 21252.00 | ARDENT PROJECTS
1.18 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 69.00 | Sqm |  | 450.00 | 31050.00 | 341.00 | 23529.00 | 23529.00 | ARDENT PROJECTS
1.19 | Providing and fixing white vitreous china wall mounted water closet of Jaquar/Euronics/Hindware/Cera or its Equivalent of approx. size 520x380x350 of approved shape including providing & fixing Concealed Cistern with Dual Flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 6.00 | Each |  | 16000.00 | 96000.00 | 21780.00 | 130680.00 | 96000.00 | M/s Ranganath Civil Contractor Office
1.20 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of Jaquar/Euronics/Hindware/Cera or its Equivalent approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. | 2.00 | Each |  | 16000.00 | 32000.00 | 17600.00 | 35200.00 | 32000.00 | M/s Ranganath Civil Contractor Office
1.21 | Providing and fixing toilet paper holder: CP brass of Jaquar/Euronics/Hindware/Cera or its Equivalent. | 6.00 | Each |  | 800.00 | 4800.00 | 1320.00 | 7920.00 | 4800.00 | M/s Ranganath Civil Contractor Office
1.22 | Providing and fixing unplasticised PVC connection pipe with brass unions: 45cm length 15mm nominal size | 12.00 | Each |  | 200.00 | 2400.00 | 385.00 | 4620.00 | 2400.00 | M/s Ranganath Civil Contractor Office
1.23 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia | 6.00 | Each |  | 150.00 | 900.00 | 495.00 | 2970.00 | 900.00 | M/s Ranganath Civil Contractor Office
1.24 | Providing and fixing CP brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931: 15mm nominal bore | 12.00 | Each |  | 800.00 | 9600.00 | 715.00 | 8580.00 | 8580.00 | ARDENT PROJECTS
1.25 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge | 10.00 | Each |  | 1800.00 | 18000.00 | 1045.00 | 10450.00 | 10450.00 | ARDENT PROJECTS
1.26 | Providing and fixing CP brass bib cock of approved quality conforming to IS 8921: 15mm nominal bore | 6.00 | Each |  | 1000.00 | 6000.00 | 825.00 | 4950.00 | 4950.00 | ARDENT PROJECTS
1.27 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PEComposite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with clamps at 1.00 metre spacing.This includes the costs of cutting chases and including testing of joints complete as per direction of the engineer in charge. Concealed work, including cutting chases and making good the wall etc. 1620 (20 mm OD) pipe | 14.00 | Metre |  | 1800.00 | 25200.00 | 352.00 | 4928.00 | 4928.00 | ARDENT PROJECTS
1.28 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with clamps at 1.00 metre spacing. This includes the costs of cutting chases and including testing of joints complete as per direction of the engineer in charge. Concealed work, including cutting chases and making good the wall etc 1216 (16 mm OD) pipe | 14.00 | Metre |  | 1800.00 | 25200.00 | 418.00 | 5852.00 | 5852.00 | ARDENT PROJECTS
1.29 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble Area of slab over 0.50 sqm | 1.89 | Sqm |  | 4500.00 | 8505.00 | 4620.00 | 8731.80 | 8505.00 | M/s Ranganath Civil Contractor Office
1.30 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm. | 5.00 | Sqm |  | 4500.00 | 22500.00 | 4620.00 | 23100.00 | 22500.00 | M/s Ranganath Civil Contractor Office
1.31 | Extra for providing opening of required size & shape for wash basin/ Kitchen sink in kitchen platform, vanity counter and similar location in marble/Granite/stone work, including necessary holes for pillars taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 6.00 | each |  | 600.00 | 3600.00 | 495.00 | 2970.00 | 2970.00 | ARDENT PROJECTS
1.32 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | 2.40 | sqm |  | 500.00 | 1200.00 | 198.00 | 475.20 | 475.20 | ARDENT PROJECTS
1.33 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the Manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade complete. | 229.00 | Sqm |  | 1000.00 | 229000.00 | 1089.00 | 249381.00 | 229000.00 | M/s Ranganath Civil Contractor Office
1.34 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 40.00 | Sqm |  | 1500.00 | 60000.00 | 1045.00 | 41800.00 | 41800.00 | ARDENT PROJECTS
1.35 | Providing and fixing sheet covering on the sides reception table with SS screws as per design. Aluminium fluted strips 3.15 mm thick. 150 mm wide | 3.00 | meter |  | 800.00 | 2400.00 | 715.00 | 2145.00 | 2145.00 | ARDENT PROJECTS
1.36 | Steel reinforcement for R.C.C. work ready to use “cut and bend” rebars of approved make from factory/workshop to construction site including placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 19.00 | Kg |  | 120.00 | 2280.00 | 93.50 | 1776.50 | 1776.50 | ARDENT PROJECTS
1.37 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.00 | cum |  | 10000.00 | 10000.00 | 10450.00 | 10450.00 | 10000.00 | M/s Ranganath Civil Contractor Office
1.38 | Centering and shuttering including strutting, propping etc. and removal of form for Shelves (Cast in situ) | 4.00 | Sqm |  | 800.00 | 3200.00 | 495.00 | 1980.00 | 1980.00 | ARDENT PROJECTS
1.39 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors: 100 mm inlet and 100 mm outlet Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 14.00 | Each |  | 500.00 | 7000.00 | 825.00 | 11550.00 | 7000.00 | M/s Ranganath Civil Contractor Office
1.40 | Providing and fixing soil, waste and vent pipes :75 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 12.00 | metres |  | 2000.00 | 24000.00 | 1595.00 | 19140.00 | 19140.00 | ARDENT PROJECTS
1.41 | Providing and fixing plain bend of required degree. 75 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 6.00 | Each |  | 800.00 | 4800.00 | 935.00 | 5610.00 | 4800.00 | M/s Ranganath Civil Contractor Office
1.42 | Providing and fixing single equal plain junction of required degree : 75x75x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 1200.00 | 7200.00 | 1375.00 | 8250.00 | 7200.00 | M/s Ranganath Civil Contractor Office
1.43 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 75 mm dia pipe | 4.00 | Each |  | 150.00 | 600.00 | 385.00 | 1540.00 | 600.00 | M/s Ranganath Civil Contractor Office
1.44 | Providing and fixing single equal plain invert branch of required degree : 75x75x75mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 5.00 | Each |  | 1200.00 | 6000.00 | 1485.00 | 7425.00 | 6000.00 | M/s Ranganath Civil Contractor Office
1.45 | Providing and fixing soil, waste and vent pipes :100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 16.00 | metres |  | 2000.00 | 32000.00 | 1925.00 | 30800.00 | 30800.00 | ARDENT PROJECTS
1.46 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 100 mm dia pipe | 8.00 | Each |  | 150.00 | 1200.00 | 418.00 | 3344.00 | 1200.00 | M/s Ranganath Civil Contractor Office
1.47 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 4.00 | Each |  | 800.00 | 3200.00 | 1595.00 | 6380.00 | 3200.00 | M/s Ranganath Civil Contractor Office
1.48 | Providing and fixing plain bend of required degree. 100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 8.00 | Each |  | 600.00 | 4800.00 | 1045.00 | 8360.00 | 4800.00 | M/s Ranganath Civil Contractor Office
1.49 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 8.00 | Each |  | 1500.00 | 12000.00 | 1595.00 | 12760.00 | 12000.00 | M/s Ranganath Civil Contractor Office
1.50 | Providing and fixing single equal plain invert branch of required degree : 100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 8.00 | Each |  | 1500.00 | 12000.00 | 1705.00 | 13640.00 | 12000.00 | M/s Ranganath Civil Contractor Office
1.51 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 34.00 | Sqm |  | 1000.00 | 34000.00 | 1045.00 | 35530.00 | 34000.00 | M/s Ranganath Civil Contractor Office
1.52 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 42.00 | Sqm |  | 2000.00 | 84000.00 | 825.00 | 34650.00 | 34650.00 | ARDENT PROJECTS
1.53 | Providing and fixing concealed hinge of approved quality for 19-20 mm thick door with stainless steel screws complete : | 6.00 | each |  | 100.00 | 600.00 | 495.00 | 2970.00 | 600.00 | M/s Ranganath Civil Contractor Office
1.54 | Providing and fixing 2nd class teak wood lipping/ moulded beading or taj beading of size 18X5 mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | 1.00 | meter |  | 500.00 | 500.00 | 198.00 | 198.00 | 198.00 | ARDENT PROJECTS
1.55 | Providing and fixing magnetic catcher of approved quality in cupboard /ward robe shutters, including fixing with necessary screws etc. complete. 9.114.2 Double strip (horizontal type) | 2.00 | each |  | 50.00 | 100.00 | 165.00 | 330.00 | 100.00 | M/s Ranganath Civil Contractor Office
1.56 | Providing and fixing powder coated telescopic drawer channels 300 mm long with necessary screws etc. complete as per directions of Engineerin-charge. | 2.00 | one set |  | 1000.00 | 2000.00 | 1045.00 | 2090.00 | 2000.00 | M/s Ranganath Civil Contractor Office
1.57 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | 4.00 | each |  | 2000.00 | 8000.00 | 715.00 | 2860.00 | 2860.00 | ARDENT PROJECTS
1.58 | Dismantling of flushing cistern of all types (CI/PVC/Vitreous china) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 4.00 | Each |  | 100.00 | 400.00 | 385.00 | 1540.00 | 400.00 | M/s Ranganath Civil Contractor Office
1.59 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 10.00 | Each |  | 100.00 | 1000.00 | 495.00 | 4950.00 | 1000.00 | M/s Ranganath Civil Contractor Office
1.60 | Providing and fixing SS 304 T Profile brass finished T strips in joints of HPl Laminate wall cladding 6 mm thick | 135.00 | meter |  | 400.00 | 54000.00 | 418.00 | 56430.00 | 54000.00 | M/s Ranganath Civil Contractor Office
1.61 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge Size of Tile 800x2400 mm | 111.96 | Sqm |  | 400.00 | 44785.60 | 132.00 | 14779.25 | 14779.25 | ARDENT PROJECTS
1.62 | Providing & fixing roller blinds for windows of approved quality and design fixed in top horizontal aluminium rail with supporting clamps fixed in the wall all complete as per the requirement and direction of engineer-in-charge. | 15.38 | Sqm |  | 3000.00 | 46128.00 | 1595.00 | 24524.72 | 24524.72 | ARDENT PROJECTS
1.63 | Credit Items for taking away the dismantled Materials and disposal outside Office premises ofAlpha-2 KIA as per direction of Engineering-Charge. A) Doors, windows and clerestory windows | 6.00 | Each |  | 50.00 | 300.00 | 150.00 | 900.00 | 300.00 | M/s Ranganath Civil Contractor Office
1.64 | Credit Item for Taking away the dismantled materials outside AAI Office premises, 15 to 40 mm dia G.I. pipe as per direction of Engineering-Charge. | 30.00 | metre |  | 50.00 | 1500.00 | 50.00 | 1500.00 | 1500.00 | M/s Ranganath Civil Contractor Office, ARDENT PROJECTS
1.65 | Credit Items for taking away by the contactor the dismantled Materials and disposal outside AAI Office premises as per direction of Engineering-Charge. A) Flushing cistern of all types (CI/PVC/Vitreous china) | 4.00 | Each |  | 20.00 | 80.00 | 150.00 | 600.00 | 80.00 | M/s Ranganath Civil Contractor Office
1.66 | Providing and laying Cinder in the toilet floor for water proofing treatment as per Direction of Engineer in charge. | 2.00 | Cum |  | 3000.00 | 6000.00 | 2420.00 | 4840.00 | 4840.00 | ARDENT PROJECTS
1.67 | Providing and fixing Under Counter Wash basin of Jaquar/Euronics/Hindware/Cera or its Equivalent with C.I. brackets, 15 mm C.P. brass Auto closing pillar tap , 32 mm C.P brass waste pop up type of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. White Vitreous China Wash basin size 570mm X 420 mm with a single 15 mm C.P. brass pillar tap | 6.00 | Each |  | 5000.00 | 30000.00 | 9350.00 | 56100.00 | 30000.00 | M/s Ranganath Civil Contractor Office
1.68 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 15 mm C.P. brass Auto closing pillar tap/32 mm C.P brass waste pop | 4.00 | Each |  | 50.00 | 200.00 | 80.00 | 320.00 | 200.00 | M/s Ranganath Civil Contractor Office
1.69 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 32 mm C.P brass Waste Coupling | 4.00 | Each |  | 10.00 | 40.00 | 60.00 | 240.00 | 40.00 | M/s Ranganath Civil Contractor Office
1.70 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 15 mm C.P. brass Stop Cock | 4.00 | Each |  | 50.00 | 200.00 | 60.00 | 240.00 | 200.00 | M/s Ranganath Civil Contractor Office
1.71 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) Toilet Paper Holder | 4.00 | Each |  | 50.00 | 200.00 | 50.00 | 200.00 | 200.00 | M/s Ranganath Civil Contractor Office, ARDENT PROJECTS
1.72 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) CP Brass Bottle Trap | 8.00 | Each |  | 50.00 | 400.00 | 60.00 | 480.00 | 400.00 | M/s Ranganath Civil Contractor Office
1.73 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) CP Brass bib cock | 4.00 | Each |  | 50.00 | 200.00 | 60.00 | 240.00 | 200.00 | M/s Ranganath Civil Contractor Office
1.74 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) soil, waste and vent pipes | 12.00 | Each |  | 15.00 | 180.00 | 100.00 | 1200.00 | 180.00 | M/s Ranganath Civil Contractor Office
1.75 | Providing and fixing mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 9.00 | sqm |  | 3000.00 | 27000.00 | 2420.00 | 21780.00 | 21780.00 | ARDENT PROJECTS
1.76 | Providing and fixing Health Faucet of Jaquar/Euronics/Hindware/Cera or its Equivalent along with 1 m long tube with Wall Hook. | 6.00 | Each |  | 1800.00 | 10800.00 | 1595.00 | 9570.00 | 9570.00 | ARDENT PROJECTS
1.77 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) Health Faucet-jaguar | 6.00 | Each |  | 50.00 | 300.00 | 80.00 | 480.00 | 300.00 | M/s Ranganath Civil Contractor Office
1.78 | Providing and fixing Stainless Steel towel ring circular/trapezoidal shape Jaquar (Model No. ACN-CHR-1121BN) or its equivalent. | 6.00 | Each |  | 2000.00 | 12000.00 | 1375.00 | 8250.00 | 8250.00 | ARDENT PROJECTS
1.79 | Providing and fixing Automatic Soap dispenser of Jaquar (Model No. SDR-BLC-DJ0160ASN) or its equivalent. | 3.00 | Each |  | 50.00 | 150.00 | 4950.00 | 14850.00 | 150.00 | M/s Ranganath Civil Contractor Office
1.80 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) C.P. Soap dispenser | 3.00 | Each |  | 2000.00 | 6000.00 | 110.00 | 330.00 | 330.00 | ARDENT PROJECTS
1.81 | Providing and fixing Automatic Paper Towel dispenser of Jaquar (Model No. PTD-SAP-DT0106CSN) or its equivalent. | 3.00 | each |  | 300.00 | 900.00 | 6050.00 | 18150.00 | 900.00 | M/s Ranganath Civil Contractor Office
1.82 | Providing and fixing Stainless Steel grating of approved quality and colour. Circular type 100 mm nominal dia | 12.00 | each |  | 300.00 | 3600.00 | 385.00 | 4620.00 | 3600.00 | M/s Ranganath Civil Contractor Office
1.83 | Providing and fixing Curved shaped urinal partition with frosted glass of thickness 10 mm of Jaquar/Euronics/Hindware/Cera or its Equivalent. | 4.00 | each |  | 6000.00 | 24000.00 | 4950.00 | 19800.00 | 19800.00 | ARDENT PROJECTS
1.84 | Providing and fixing frosted film on glass panes after thoroughly cleaning of existing surface. The rate is inclusive of removal of existing film wherever required. | 15.38 | sqm |  | 1200.00 | 18451.20 | 495.00 | 7611.12 | 7611.12 | ARDENT PROJECTS
1.85 | Providing and fixing illuminated AAI LOGO and text in 3D font made up of ACP Panel with 4mm thick, profile raising by 60mm , using female forex sheet 10 mm and Samsung ADS LED(IP-65) ( White colour)or its equivalent with minimum 03 years Warrenty. The rate quoted shall include all necessary charges like transportation, finishing, etc as per the architectural drawing and design and as per the direction of engineer in charge. etc. Size of the LOGO (1260mmX920mm) | 1.00 | sqm |  | 2000.00 | 2000.00 | 38500.00 | 38500.00 | 2000.00 | M/s Ranganath Civil Contractor Office
1.86 | Providing and fixing raised curved strips in the Back Drop wall near reception counter by using ACP panel of thickness 4mm of suitable shade including cutting fixing in position as per the architectural drawing and design and as per the direction of engineer in charge. | 1.00 | sqm |  | 6000.00 | 6000.00 | 4950.00 | 4950.00 | 4950.00 | ARDENT PROJECTS
2.00 | SH: 2 ELECTRICAL WORKS
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required.(Group C) | 37.00 | Point |  | 2000.00 | 74000.00 | 1045.00 | 38665.00 | 38665.00 | ARDENT PROJECTS
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable etc as required.(Group C) | 36.00 | Each |  | 1300.00 | 46800.00 | 495.00 | 17820.00 | 17820.00 | ARDENT PROJECTS
2.03 | Wiring for circuit / Submain / light / power plug wiring along with earth wire with the following size of FRLS/HFFR PVC insulated copper conductor, single core cable in the surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 670.00 | Metre |  | 400.00 | 268000.00 | 178.20 | 119394.00 | 119394.00 | ARDENT PROJECTS
2.03 | Wiring for circuit / Submain / light / power plug wiring along with earth wire with the following size of FRLS/HFFR PVC insulated copper conductor, single core cable in the surface/ recessed medium class PVC conduit as required. 2 X 4.0 sq. mm + 1 X 4.0 sq. mm earth wire | 200.00 | Metre |  | 600.00 | 120000.00 | 242.00 | 48400.00 | 48400.00 | ARDENT PROJECTS
2.04 | Supplying and fixing suitable size GI box with modular plate and cover in on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 27.00 | Each |  | 600.00 | 16200.00 | 495.00 | 13365.00 | 13365.00 | ARDENT PROJECTS
2.05 | Supplying and fixing suitable size GI box with modular plate and cover in on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch with indicator, connection etc. as required. | 13.00 | Each |  | 1000.00 | 13000.00 | 715.00 | 9295.00 | 9295.00 | ARDENT PROJECTS
2.06 | Supply of 12-15W LED Recessed COB Down lighter (Round Profile) complete with electronic driver, made out of powder coated CRCA/Aluminium housing suitable for operation on 230 Volt, 50 HZ AC complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Make:-Philips Signify RS263B LED 15S/865-PSU MP or its equivalent from list of preferred makes) | 50.00 | Each |  | 2000.00 | 100000.00 | 1045.00 | 52250.00 | 52250.00 | ARDENT PROJECTS
2.07 | Supply of 6-9W LED Surface Down lighter (Round Profile) complete with electronic driver, made out of powder coated CRCA/Aluminium housing suitable for operation on 230 Volt, 50 HZ AC complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Make:-Philips Signify SM260/260 LED7S 6500 PSU or its equivalent from list of preferred makes) | 3.00 | Each |  | 600.00 | 1800.00 | 715.00 | 2145.00 | 1800.00 | M/s Ranganath Civil Contractor Office
2.08 | Supply of 18-22W LED Batten luminaire complete with electronic driver, made out of Powder coated die cast /Extruded aluminium Body suitable for surface mounting and operation on 230 Volt, 50 HZ AC complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Make:-Philips Signify BN170C LED20S-6500 PSU L120 or its equivalent from list of preferred makes) | 6.00 | Each |  | 700.00 | 4200.00 | 935.00 | 5610.00 | 4200.00 | M/s Ranganath Civil Contractor Office
2.09 | Supply of 35-40W LED Well Glass luminaire complete with electronic driver, made out of Powder coated die cast /Extruded aluminium Body suitable for operation on 230 Volt, 50 HZ AC complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Make:-Philips Signify BY202P LED43S CW PSU PC SPD or its equivalent from list of preferred makes) | 6.00 | Each |  | 3000.00 | 18000.00 | 1595.00 | 9570.00 | 9570.00 | ARDENT PROJECTS
2.10 | Installation, Testing and Commissioning of pre-wired, fluorescent fitting / compact fluorescent/ LED fitting of all types, complete with all accessories and tube/lamp etc. on surface/recess, including connections with 1.5 sq. mm FRLS/HFFR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 68.00 | Each |  | 500.00 | 34000.00 | 198.00 | 13464.00 | 13464.00 | ARDENT PROJECTS
2.11 | Supply and fixing of LED flexible strip light (heavy duty) for backlit lighting suitable for operation on 230 Volt, 50 HZ AC with power output of not less than 12-15 Watt per meter along with suitable driver complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Make:-Philips Signify BGC301 1100LM 3000K L5000 or its equivalent from list of preferred makes) | 130.00 | Metre |  | 700.00 | 91000.00 | 715.00 | 92950.00 | 91000.00 | M/s Ranganath Civil Contractor Office
2.12 | Supply, Installation, Testing & Commissioning of 450mm dia Heavy duty Exhaust Fan of metallic body, 1400 ± 10% RPM, suitable for operation on 230 Volt, 50 HZ AC complete with all accessories and including providing suitable size louver etc in the existing opening including making good the damages, connections, etc. as required | 2.00 | Each |  | 12000.00 | 24000.00 | 9350.00 | 18700.00 | 18700.00 | ARDENT PROJECTS
2.13 | Supply, Installation, Testing & Commissioning of Automatic Hand Dryer made of high grade SS/ABS Material suitable for medium traffic with low noise (<70 dB), drying time <15 sec, suitable for operation on 230V, 50Hz supply, with automatic shut off and all other accessories etc complete. | 12.00 | Each |  | 1400.00 | 16800.00 | 9405.00 | 112860.00 | 16800.00 | M/s Ranganath Civil Contractor Office
2.14 | Supplying, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports, bends, transitions, reducers, end caps, collars etc as required complete in all respect in confirmation with IS : 655 and approved drawings and specifications of following sheet thickness complete as required. Thickness 0.63 mm sheet | 15.00 | Sq. Mtr |  | 1500.00 | 22500.00 | 2420.00 | 36300.00 | 22500.00 | M/s Ranganath Civil Contractor Office
2.14 | Supplying, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports, bends, transitions, reducers, end caps, collars etc as required complete in all respect in confirmation with IS : 655 and approved drawings and specifications of following sheet thickness complete as required. Thickness 0.80 mm sheet | 15.00 | Sq. Mtr |  | 1400.00 | 21000.00 | 2420.00 | 36300.00 | 21000.00 | M/s Ranganath Civil Contractor Office
2.15 | Supplying and fixing of 19mm thickness duly laminated aluminium foil of mat finish closed cell Nitrile rubber (Class "O") insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. | 30.00 | Sq. Mtr |  | 800.00 | 24000.00 | 715.00 | 21450.00 | 21450.00 | ARDENT PROJECTS
2.16 | Supplying, Fixing, installation, testing and commissioning of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers in confirmation to SMACNA/IS and as per specifications complete etc. as required. | 2.00 | Sq. Mtr |  | 11000.00 | 22000.00 | 4950.00 | 9900.00 | 9900.00 | ARDENT PROJECTS
2.17 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete in confirmation to SMACNA/IS and as per specifications complete etc. as required. | 2.00 | Sq. Mtr |  | 7000.00 | 14000.00 | 4180.00 | 8360.00 | 8360.00 | ARDENT PROJECTS
2.18 | Supplying, Fixing, installation, testing and commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core in confirmation to SMACNA/IS and as per specifications complete etc. as required. | 5.00 | Sq. Mtr |  | 12000.00 | 60000.00 | 5720.00 | 28600.00 | 28600.00 | ARDENT PROJECTS
2.19 | Supplying, Fixing, installation, testing and commissioning of Return air diffusers of powder coated aluminium without volume control dampers with anti smudge ring & removable core in confirmation to SMACNA/IS and as per specifications complete etc. as required. | 6.00 | Sq. Mtr |  | 8000.00 | 48000.00 | 4620.00 | 27720.00 | 27720.00 | ARDENT PROJECTS
2.20 | Supply and installation of Mixing Boxes made out of 24G GI sheet, duly internally insulated with 19mm thick nitrile rubber insulation in and of suitable size with cut outs for connecting 200mm dia flexible duct and suitable for fixing supply Air diffusers etc complete as per site requirements | 14.00 | Sq. Mtr |  | 2000.00 | 28000.00 | 3850.00 | 53900.00 | 28000.00 | M/s Ranganath Civil Contractor Office
2.21 | Supply and installation of 200mm dia Butterfly damper on the existing duct for connecting flexible duct with Mixing Boxes, including making required cutouts in the ducts etc complete as required | 14.00 | Each |  | 2300.00 | 32200.00 | 1045.00 | 14630.00 | 14630.00 | ARDENT PROJECTS
2.22 | Supply and installation of 200mm dia of thermal insulated flexible duct of following sizes duly supported at regular interval as per site requirement etc. in confirmation to SMACNA/IS and as per specifications complete etc. as required. | 70.00 | Meter |  | 700.00 | 49000.00 | 715.00 | 50050.00 | 49000.00 | M/s Ranganath Civil Contractor Office
2.23 | Supply, installation, testing and commissioning of 15 litre capacity, BEE 5-Star rated, Storage type Electric Water Heater (Geyser) conforming to IS 2082 (latest revision), suitable for operation on 230 V, single phase, 50 Hz AC supply, complete anti-corrosive inner tank ,high-density PUF insulation, copper/stainless steel heating element, adjustable thermostat, thermal cut-out, safety valve, pressure release arrangement, inlet and outlet connections, SS braided flexible hoses , wall mounting brackets/accessories, all necessary fixing hardware, interconnections etc.as required for satisfactory operation. | 3.00 | Each |  | 12000.00 | 36000.00 | 10450.00 | 31350.00 | 31350.00 | ARDENT PROJECTS
| Total in Figures |  |  |  |  | 3465760.64 |  | 2806955.61
Lowest Amount Quoted BY: ARDENT PROJECTS(2806955.61)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Creche facility in AAI occupied offices ic interior Works in Ground Floor Reception Alpha2 at KIA Bangalore Airport Civil and Electrical Tender ID: 2026_AAI_285359_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARDENT PROJECTS (BID ID -1055708) | 2806955.61 | L1
| 2 | M/s Ranganath Civil Contractor Office (BID ID -1055034) | 3465760.64 | L2