## BoQ1
Government eProcurement System Created By: SUNIL GUPTA Created Date/Time: 07-Sep-2026 06:48 PM Tender Title: Provision of gas-based fire suppression systems for Nav Aid Site at Patna Airport. Tender ID: 2026_AAI_285945_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Provision of gas based fire suppression systems for Nav Aid Site at Patna Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -1059079 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -1059956 |  | Kalpataru Industries (GSTN-NA) BID ID -1058287
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I -Design, Supply, Installation, Testing & Commissioning of Automatic Gas Suppression System comprising PESO approved clean agent cylinder(s) (42 bar or above) complete as per required materials and accessories as per OEM recommendation Technical Specifications with UL/VdS approved valve assembly, supervisory switch for pressure monitoring, pressure gauge with burst disc, electronic/solenoid control head, pressure operated control head, safety cap, flexible hose, NRV, pressure switch and mounting strap; required nos. of UL/VdS listed nozzles, complete piping network and manifold designed with OEM’s UL/VdS approved software for room dimensions and pressure calculations; Addressable gas release panel along with necessary detectors, hooters, abort and manual release stations; smoke detection system, MS pipe; 2C x 1.5 sqmm FRLS cabling, batteries and accessories; filling of clean agent FK-5-1-12 gas (zero ODP, colourless, odourless) at UL/VdS approved filling stations; including submission of OEM- approved cylinder sizing, nozzle layout, piping design and pressure calculations prior to installation – complete as required for protection of rooms of given volumes (including spaces above and below false ceiling wherever applicable). All rooms shall have independent system. Note: The cylinder, Volume of Gas, Nos. of Nozzles, piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer (OEM)shall be submitted prior to starting of the works. Gas Suppression system for following rooms and given approximate volume addressable panel.
1.10 | DVOR Room :(LWH - 9.20MTR x 8.80 MTRx 3.10 MTR) | 1.00 | Job |  | 851370.00 | 851370.00 | 992666.37 | 992666.37 | 1018459.00 | 1018459.00 | 851370.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.20 | LOCALIZER Room :(LWH - 7.00 MTR x 3.55 MTRx 3.00 MTR) | 1.00 | Job |  | 391310.00 | 391310.00 | 369599.74 | 369599.74 | 584433.00 | 584433.00 | 369599.74 | advent electric technologies pvt. ltd.
1.30 | GLIDEPATH Room ::(LWH - 7.00 MTR x 3.13 MTRx 3.10 MTR) | 1.00 | Job |  | 391310.00 | 391310.00 | 361756.26 | 361756.26 | 577433.00 | 577433.00 | 361756.26 | advent electric technologies pvt. ltd.
2.00 | Supply, Installation, Testing and Commissioning of SIM card based Auto dialler with Gas fire suppression system etc as requied as per site requirement. | 4.00 | Job |  | 8190.00 | 32760.00 | 7000.00 | 28000.00 | 14200.00 | 56800.00 | 28000.00 | advent electric technologies pvt. ltd.
3.00 | Annual maintenance contract of gas based suppression system by providing quarterly inspection,checking,repair,maintenance and replacement of unserviceable components, i/c cleaning of detection systems, verify control panel functionality , check cylinder pressures, and perform a dry system test and all other associated maintenance job as per maintenance schedule and recommendation of OEM to keep the system under serviceable condition including attending any numbers of breakdown as and when required.
3.10 | First Year After DLP | 1.00 | Job |  | 91000.00 | 91000.00 | 97500.00 | 97500.00 | 89485.00 | 89485.00 | 89485.00 | Kalpataru Industries
3.20 | Second Year After DLP | 1.00 | Job |  | 95400.00 | 95400.00 | 97500.00 | 97500.00 | 93959.00 | 93959.00 | 93959.00 | Kalpataru Industries
3.30 | Third Year After DLP | 1.00 | Job |  | 101130.00 | 101130.00 | 97500.00 | 97500.00 | 98657.00 | 98657.00 | 97500.00 | advent electric technologies pvt. ltd.
3.40 | Fourth Year After DLP | 1.00 | Job |  | 107200.00 | 107200.00 | 110000.00 | 110000.00 | 103590.00 | 103590.00 | 103590.00 | Kalpataru Industries
3.50 | Fifth Year After DLP | 1.00 | Job |  | 113630.00 | 113630.00 | 110000.00 | 110000.00 | 108770.00 | 108770.00 | 108770.00 | Kalpataru Industries
| Total in Figures |  |  |  |  | 2175110.00 |  | 2264522.37 |  | 2731586.00
Lowest Amount Quoted BY: PYROGUARD ENGINEERS PRIVATE LIMITED(2175110.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of gas-based fire suppression systems for Nav Aid Site at Patna Airport. Tender ID: 2026_AAI_285945_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -1059079) | 2175110.00 | L1
| 2 | advent electric technologies pvt. ltd. (BID ID -1059956) | 2264522.37 | L2
| 3 | Kalpataru Industries (BID ID -1058287) | 2731586.00 | L3