## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 23-Sep-2026 04:30 PM Tender Title: Modification of existing Terminal Building and replacement of False ceiling at Gaya Airport, Gaya SH -Civil Works Tender ID: 2026_AAI_287054_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Modification of existing Terminal Building and replacement of False ceiling at Gaya Airport, Gaya
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TARUN ELECTRICALS (GSTN-08ANCPM5157F1Z0) BID ID -1061725 |  | SAMASHRA CONSTRUCTION PRIVATE LIMITED (GSTN-20ABFCS1994J1Z7) BID ID -1062552 |  | K CONSTRUCTIONS (GSTN-36AAQFK9685B1ZS) BID ID -1062815 |  | M/S B. PRASAD & COMPANY (GSTN-NA) BID ID -1061230 |  | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED (GSTN-NA) BID ID -1062753 |  | Pavee Construction (GSTN-NA) BID ID -1062006 |  | East India Construction Company (GSTN-NA) BID ID -1060325 |  | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED (GSTN-NA) BID ID -1061381
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. ( The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 6245.00 | kg | 0.00 | 414.30 | 2587303.50 | 380.00 | 2373100.00 | 522.00 | 3259890.00 | 550.00 | 3434750.00 | 490.00 | 3060050.00 | 600.00 | 3747000.00 | 390.00 | 2435550.00 | 300.00 | 1873500.00 | 1873500.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
2.00 | Providing and fixing stainless steel ( Grade 304) railing/ frame work made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 3892.00 | KG | 0.00 | 772.40 | 3006180.80 | 580.00 | 2257360.00 | 378.00 | 1471176.00 | 575.00 | 2237900.00 | 500.00 | 1946000.00 | 420.00 | 1634640.00 | 625.00 | 2432500.00 | 600.00 | 2335200.00 | 1471176.00 | K CONSTRUCTIONS
3.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 22.00 | cum | 0.00 | 10117.00 | 222574.00 | 6400.00 | 140800.00 | 6489.00 | 142758.00 | 8000.00 | 176000.00 | 3000.00 | 66000.00 | 7500.00 | 165000.00 | 7500.00 | 165000.00 | 6500.00 | 143000.00 | 66000.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
4.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 25.00 | Sqm | 0.00 | 3167.95 | 79198.75 | 2256.00 | 56400.00 | 2205.00 | 55125.00 | 3500.00 | 87500.00 | 2200.00 | 55000.00 | 3500.00 | 87500.00 | 2650.00 | 66250.00 | 2500.00 | 62500.00 | 55000.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
5.00 | Providing and fixing brass 100mm Mortice latch and lock with 6 levers without pair of handles (best make of approved quality ) for aluminium doors including necessary cutting and making good etc. complete | 12.00 | Each | 0.00 | 528.85 | 6346.20 | 470.00 | 5640.00 | 1998.00 | 23976.00 | 640.00 | 7680.00 | 800.00 | 9600.00 | 1000.00 | 12000.00 | 500.00 | 6000.00 | 400.00 | 4800.00 | 4800.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
6.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 12.00 | Each | 0.00 | 983.15 | 11797.80 | 846.00 | 10152.00 | 1269.00 | 15228.00 | 810.00 | 9720.00 | 1700.00 | 20400.00 | 2000.00 | 24000.00 | 900.00 | 10800.00 | 800.00 | 9600.00 | 9600.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
7.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 24.00 | Each | 0.00 | 303.25 | 7278.00 | 235.00 | 5640.00 | 306.00 | 7344.00 | 236.00 | 5664.00 | 250.00 | 6000.00 | 450.00 | 10800.00 | 250.00 | 6000.00 | 200.00 | 4800.00 | 4800.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
8.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 12.00 | Each | 0.00 | 130.10 | 1561.20 | 112.80 | 1353.60 | 207.00 | 2484.00 | 112.00 | 1344.00 | 90.00 | 1080.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 1080.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
9.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ? 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.6 ) | 1500.00 | Sqm | 0.00 | 2333.60 | 3500400.00 | 1900.00 | 2850000.00 | 1629.00 | 2443500.00 | 1700.00 | 2550000.00 | 1380.00 | 2070000.00 | 1270.00 | 1905000.00 | 1875.00 | 2812500.00 | 1650.00 | 2475000.00 | 1905000.00 | Pavee Construction
10.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 2700.00 | Sqm | 0.00 | 1529.10 | 4128570.00 | 1137.04 | 3070008.00 | 1089.00 | 2940300.00 | 1350.00 | 3645000.00 | 1130.00 | 3051000.00 | 1200.00 | 3240000.00 | 1275.00 | 3442500.00 | 950.00 | 2565000.00 | 2565000.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
11.00 | Providing and laying polished Granite stone flooring in requied design and patterns in linear as well as curvilinear portion of the building all complete as per the architectural drawing with 18 mm thick stone slab over 20 mm (averange) thick base of cement mortar 1:4(1 cement : 4 sand ) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matehing shade including rubbing curing and polishing etc all complete as specified and as directed by the engineer -in -charge Flamed finish granite stone slab jet black cherry red elite brown cat eye of equivalent | 1835.00 | Sqm | 0.00 | 4481.30 | 8223185.50 | 2800.00 | 5138000.00 | 3006.00 | 5516010.00 | 3000.00 | 5505000.00 | 2100.00 | 3853500.00 | 4000.00 | 7340000.00 | 2700.00 | 4954500.00 | 2400.00 | 4404000.00 | 3853500.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
12.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-incharge. | 6335.00 | sqm | 0.00 | 56.35 | 356977.25 | 32.09 | 203290.15 | 117.00 | 741195.00 | 20.00 | 126700.00 | 50.00 | 316750.00 | 50.00 | 316750.00 | 20.00 | 126700.00 | 30.00 | 190050.00 | 126700.00 | East India Construction Company, M/S B. PRASAD & COMPANY
13.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 8075.00 | Sqm | 0.00 | 73.40 | 592705.00 | 47.00 | 379525.00 | 117.00 | 944775.00 | 35.00 | 282625.00 | 150.00 | 1211250.00 | 40.00 | 323000.00 | 30.00 | 242250.00 | 30.00 | 242250.00 | 242250.00 | East India Construction Company, SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
14.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 35.00 | Each | 0.00 | 143.50 | 5022.50 | 94.00 | 3290.00 | 306.00 | 10710.00 | 200.00 | 7000.00 | 100.00 | 3500.00 | 200.00 | 7000.00 | 100.00 | 3500.00 | 90.00 | 3150.00 | 3150.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
15.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 36.00 | Each | 0.00 | 367.20 | 13219.20 | 282.00 | 10152.00 | 306.00 | 11016.00 | 200.00 | 7200.00 | 100.00 | 3600.00 | 300.00 | 10800.00 | 150.00 | 5400.00 | 200.00 | 7200.00 | 3600.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
16.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 76.00 | Sqm | 0.00 | 5325.90 | 404768.40 | 4230.00 | 321480.00 | 4806.00 | 365256.00 | 4500.00 | 342000.00 | 6000.00 | 456000.00 | 4600.00 | 349600.00 | 4450.00 | 338200.00 | 4000.00 | 304000.00 | 304000.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
17.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 2700.00 | Sqm | 0.00 | 142.80 | 385560.00 | 110.00 | 297000.00 | 108.00 | 291600.00 | 100.00 | 270000.00 | 120.00 | 324000.00 | 150.00 | 405000.00 | 115.00 | 310500.00 | 100.00 | 270000.00 | 270000.00 | M/S B. PRASAD & COMPANY, SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
18.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/ m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 510.00 | sqm | 0.00 | 3718.70 | 1896537.00 | 3300.00 | 1683000.00 | 6309.00 | 3217590.00 | 3800.00 | 1938000.00 | 1860.00 | 948600.00 | 3000.00 | 1530000.00 | 3175.00 | 1619250.00 | 2900.00 | 1479000.00 | 948600.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
19.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 132.00 | Sqm | 0.00 | 5015.05 | 661986.60 | 3955.00 | 522060.00 | 4806.00 | 634392.00 | 4000.00 | 528000.00 | 2700.00 | 356400.00 | 3750.00 | 495000.00 | 4175.00 | 551100.00 | 4000.00 | 528000.00 | 356400.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
20.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 37470.00 | kg | 0.00 | 194.40 | 7284168.00 | 130.00 | 4871100.00 | 108.00 | 4046760.00 | 60.00 | 2248200.00 | 104.00 | 3896880.00 | 120.00 | 4496400.00 | 110.00 | 4121700.00 | 135.00 | 5058450.00 | 2248200.00 | M/S B. PRASAD & COMPANY
21.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 129.00 | cum | 0.00 | 6812.00 | 878748.00 | 3760.00 | 485040.00 | 5004.00 | 645516.00 | 6000.00 | 774000.00 | 3500.00 | 451500.00 | 5000.00 | 645000.00 | 4500.00 | 580500.00 | 4500.00 | 580500.00 | 451500.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
22.00 | Providing and fixing 12 mm thick Solid Acrylic Surface Sheet of approved make for vanity / check In counters and similar locations of required size, approved shade, colour and texture with matching polyfix acrylic adhesive etc. complete as per direction & satisfaction of Engineer in charge. | 50.00 | Sqm | 0.00 | 3700.00 | 185000.00 | 7800.00 | 390000.00 | 9009.00 | 450450.00 | 4000.00 | 200000.00 | 4800.00 | 240000.00 | 5000.00 | 250000.00 | 4200.00 | 210000.00 | 5000.00 | 250000.00 | 185000.00 | TARUN ELECTRICALS
23.00 | Providing and fixing 6 mm thick Solid Acrylic Surface sheet of approved make for vanity / Check In counters and similar locations of required size, approved shade, colour and texture with matching polyfix acrylic adhesive etc. complete as per direction & satisfaction of Engineer in charge. | 50.00 | Sqm | 0.00 | 3300.00 | 165000.00 | 5273.00 | 263650.00 | 4599.00 | 229950.00 | 3500.00 | 175000.00 | 4000.00 | 200000.00 | 4000.00 | 200000.00 | 3250.00 | 162500.00 | 4000.00 | 200000.00 | 162500.00 | East India Construction Company
24.00 | Providing, supplying and fixing decorative Fluted Wood Plastic Composite (WPC) wall paneling of approved make, comprising extruded WPC panels of minimum 25 mm overall thickness (or as approved), in approved shade, texture and profile, fixed over existing wall with SS screws/clips and all necessary accessories as per manufacturer's specifications, including cutting, notching, edge trims, joint treatment, finishing, and making etc. complete in all respects as directed by the Engineer-in-Charge. | 248.00 | Sqm | 0.00 | 1050.00 | 260400.00 | 987.00 | 244776.00 | 3969.00 | 984312.00 | 1500.00 | 372000.00 | 2000.00 | 496000.00 | 3000.00 | 744000.00 | 975.00 | 241800.00 | 3500.00 | 868000.00 | 241800.00 | East India Construction Company
25.00 | Providing and fixing Premium quality WPC false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of WPC board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting. | 500.00 | Sqm | 0.00 | 2300.00 | 1150000.00 | 1450.00 | 725000.00 | 1539.00 | 769500.00 | 6000.00 | 3000000.00 | 2000.00 | 1000000.00 | 3000.00 | 1500000.00 | 1350.00 | 675000.00 | 3000.00 | 1500000.00 | 675000.00 | East India Construction Company
26.00 | Providing and laying full body Vitrified tiles in floor of brand Kajaria , Johnson or equivalent, with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with high-performance, flexible Class S1 or S2 adhesive (such as Roff, Laticrete, or Ardex), in average 6 mm thickness, including grouting of joints as per direction of EIC. (Payment for grouting of joints to be made seperately) Size of Tile 800 mm x 2400 mm x 15 mm | 4430.00 | Sqm | 0.00 | 1550.00 | 6866500.00 | 2100.00 | 9303000.00 | 2223.00 | 9847890.00 | 2200.00 | 9746000.00 | 2100.00 | 9303000.00 | 2000.00 | 8860000.00 | 1725.00 | 7641750.00 | 2500.00 | 11075000.00 | 6866500.00 | TARUN ELECTRICALS
27.00 | Providing and laying full body Vitrified tiles brand Kajaria , Johnson or equivalent , with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints as per direction of EIC. (Payment for grouting of joints to be made seperately) Size of Tile 800x2400 mm x 15 mm | 886.00 | Sqm | 0.00 | 1580.00 | 1399880.00 | 2200.00 | 1949200.00 | 2223.00 | 1969578.00 | 2300.00 | 2037800.00 | 2100.00 | 1860600.00 | 2000.00 | 1772000.00 | 1750.00 | 1550500.00 | 2600.00 | 2303600.00 | 1399880.00 | TARUN ELECTRICALS
28.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 800 x 2400 mm x 15 mm | 5316.00 | sqm | 0.00 | 115.00 | 611340.00 | 47.00 | 249852.00 | 252.00 | 1339632.00 | 50.00 | 265800.00 | 40.00 | 212640.00 | 200.00 | 1063200.00 | 75.00 | 398700.00 | 400.00 | 2126400.00 | 212640.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
29.00 | Providing and fixing frameless glazed partition comprising 12 mm thick clear toughened glass fixed in SS 304 grade top slotted channel (50x50x2) and SS 304 grade bottom U channel (25x25x1.5), complete with required SS fittings , EPDM gasket, silicon sealant, Anchors , fasteners and all accessories , complete as per approved drawing and direction of Engineer-in-charge. | 820.00 | sqm | 0.00 | 3400.00 | 2788000.00 | 2500.00 | 2050000.00 | 4239.00 | 3475980.00 | 3300.00 | 2706000.00 | 3300.00 | 2706000.00 | 4600.00 | 3772000.00 | 3025.00 | 2480500.00 | 4500.00 | 3690000.00 | 2050000.00 | SAMASHRA CONSTRUCTION PRIVATE LIMITED
30.00 | Providing and fixing SS TGDI H Type pull handles 450x25mm (ctc 350mm), satin SS 304 (Art.code XL-C3003A) of dorma make or equivalent on glass as per existing standard and satisfaction of E-I-C | 36.00 | each | 0.00 | 2600.00 | 93600.00 | 2679.00 | 96444.00 | 3006.00 | 108216.00 | 3000.00 | 108000.00 | 3000.00 | 108000.00 | 2500.00 | 90000.00 | 2800.00 | 100800.00 | 3000.00 | 108000.00 | 90000.00 | Pavee Construction
31.00 | Providing & fixing Universal corner lock for glass door (Art.code Corner Lock ULUS 10 ) of dorma make or equivalent as per direction of EIC | 36.00 | each | 0.00 | 3100.00 | 111600.00 | 4136.00 | 148896.00 | 2007.00 | 72252.00 | 3400.00 | 122400.00 | 2500.00 | 90000.00 | 3500.00 | 126000.00 | 3500.00 | 126000.00 | 2500.00 | 90000.00 | 72252.00 | K CONSTRUCTIONS
32.00 | Providing & fixing door top and bottom patch including Pivot of dorma make (Art.code ULPT 10/ ULPT 20, Pivot ULPT 24)) or equivalent for glass as per existing standard to the satisfaction of EIC | 36.00 | each | 0.00 | 4100.00 | 147600.00 | 3290.00 | 118440.00 | 3006.00 | 108216.00 | 3800.00 | 136800.00 | 1200.00 | 43200.00 | 4500.00 | 162000.00 | 4125.00 | 148500.00 | 6000.00 | 216000.00 | 43200.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
33.00 | Providing & fixing floor spring of make Dorma (Art.code -BTS 75 V) or equivalent make for glass door i/c necessary fixing arrangement etc. complete as per the direction of EIC | 36.00 | each | 0.00 | 9100.00 | 327600.00 | 14000.00 | 504000.00 | 6579.00 | 236844.00 | 10000.00 | 360000.00 | 3000.00 | 108000.00 | 10500.00 | 378000.00 | 9250.00 | 333000.00 | 8000.00 | 288000.00 | 108000.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
34.00 | Providing and fixing 50 micron thick Frosted heat /light control film make Garware/ 3M or equivalent to window/door glazing in desired pattern all complete as per direction of Engineer-in-charge.. | 410.00 | sqm | 0.00 | 1000.00 | 410000.00 | 1200.00 | 492000.00 | 1539.00 | 630990.00 | 700.00 | 287000.00 | 1000.00 | 410000.00 | 3000.00 | 1230000.00 | 1275.00 | 522750.00 | 500.00 | 205000.00 | 205000.00 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED
35.00 | Providing, assembling and supplying vision glass panels (DGUs) 31.52 mm thick comprising of 6mm Heat soaked, toughened tinted glass (Misty Blue shade confirming to KT 755 of Saint Gobain or equivalent) with soft reflective coating + 12mm airgap + 6mm heat soaked +1.52 mm Lamination, 6mm toughened clear glass having properties complying Visual Light Transmission 30% , Solar factor 0.24 , U –Value should be less than 1.9 W/sqm K, External Reflection 10%, Internal reflection 10% complete job as per specifications and direction of Engineer-In-Charge. | 739.00 | Sqm | 0.00 | 6300.00 | 4655700.00 | 6500.00 | 4803500.00 | 10899.00 | 8054361.00 | 8500.00 | 6281500.00 | 7200.00 | 5320800.00 | 6350.00 | 4692650.00 | 6500.00 | 4803500.00 | 8500.00 | 6281500.00 | 4655700.00 | TARUN ELECTRICALS
36.00 | Providing and laying Duratech xstone heavy duty outdoor vitrified pavers tiles ( Kajaria or equivalent ) of approved colour and shades, laid on 20 mm thick cement mortar 1:4 ( 1 cement :4 coarse sand ), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600 x 600 x 20 mm | 924.00 | Sqm | 0.00 | 2200.00 | 2032800.00 | 1700.00 | 1570800.00 | 2709.00 | 2503116.00 | 1500.00 | 1386000.00 | 1400.00 | 1293600.00 | 1800.00 | 1663200.00 | 1650.00 | 1524600.00 | 1900.00 | 1755600.00 | 1293600.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
37.00 | Providing and Fixing metlance GI Baffle Ceiling system of Approved make Saint-Gobain Gyproc/ Hunter douglas/ Durlum or equivalent comprises of 100x50x100mm (50mm width & 100mm Height) U shaped panels. Panels shall be made of 0.5mm thick GI with polyester powder coating of 60-70 microns as per approved shade and length up to 3000mm. Panels shall be high corrosion resistance and good colour stability. The baffles shall be made on high speed, high precision roll forming machine to ensure the flatness and to avoid the failure of metal at corners. Center to center distance of panels shall be 150mm. Panels are fixed on roll formed C shaped powder coated GI carriers with nut bolt arrangement using inner & outer baffle holding caps, placed at maximum 900mm c/c. carriers are suspended from the roof or truss by 6mm dia. galvanized steel thread rod hanger. Hangers are fixed to the roof by recommended hanger system. Baffle jointers are used to join the baffles. End caps are used to cover the edges of the panels if required. | 1085.00 | sqm | 0.00 | 2500.00 | 2712500.00 | 4300.00 | 4665500.00 | 3609.00 | 3915765.00 | 2700.00 | 2929500.00 | 4300.00 | 4665500.00 | 3200.00 | 3472000.00 | 4350.00 | 4719750.00 | 2800.00 | 3038000.00 | 2712500.00 | TARUN ELECTRICALS
38.00 | Providing and Fixing metlance Linear C Panel Metal False Ceiling System of Approved make Saint-Gobain Gyproc/ Hunter douglas/ Durlum or equivalent. Metlance Linear C panels made of CR1 grade steel as per IS 513, galvanized as per IS 277 and are roll formed to 12.5mm deep ,0.5mm thickness with recessed flanges of 24mm.The standard panel lengths are 2440/3050/3660mm and can be customizes as per the requirement. Panels shall be powder coated to approved RAL Shade to external side only. Suitable panel couplers are used to join to panels together. Carriers shall be 20mm wide at bottom and 39mm deep with cutouts to hold the panels, shall be roll formed out of 0.65mm CR1 grade steels as per IS 513 and are cut to a standard length of 3000mm. The carriers shall be suspended from the slab/truss by 4mm diameter galvanized rod and height adjustable spring steel clips at maximum 1200mm c/c. Two or more carriers are to be joined together by means of carrier coupler . Edge profile shall be L- shaped, roll formed out of 0.50mm Galvanized steel strips with powder Coating in standard colors. | 1150.00 | sqm | 0.00 | 2500.00 | 2875000.00 | 2510.00 | 2886500.00 | 3609.00 | 4150350.00 | 1700.00 | 1955000.00 | 2600.00 | 2990000.00 | 2200.00 | 2530000.00 | 2550.00 | 2932500.00 | 2400.00 | 2760000.00 | 1955000.00 | M/S B. PRASAD & COMPANY
39.00 | Providing, Fixing and installing of Automatic Bi-Parting Sliding door of approved make GEZE or equivalent, modular design including cover for opening of 2000mm X 2400mm. The track profile should separate from the main profile for enabling reduction in vibration insulation Microprocessor control self-learning reversing when obstruction is encountered. Microprocessor-controlled control unit. It should be self-learning with adjustable parameter for opening and closing speed, hold open time and opening and closing force. Class of protection IP 20. for opening size of 2.0m wide X 2.40 m height. The system should have constant external power supply 230 V,50/60Hz with 12 mm frameless glass. 12 mm thick toughened glass shutter along with accessories like glass clamping rail, floor guide for glass door, radar eagle 2 nos, one light barrier, five position programme switch with knob, EM lock with cable, ST profile set etc. all complete as per specification and instruction of EIC. (Note: The work shall be executed as per manufacture's specification wherever applicable. relevant code of practice and sound engg practice) | 7.00 | Each | 0.00 | 250000.00 | 1750000.00 | 241407.00 | 1689849.00 | 180009.00 | 1260063.00 | 225000.00 | 1575000.00 | 260000.00 | 1820000.00 | 200000.00 | 1400000.00 | 250000.00 | 1750000.00 | 225000.00 | 1575000.00 | 1260063.00 | K CONSTRUCTIONS
40.00 | Providing Engineering Consultancy Services for "Modification of existing Terminal Building and replacement of False ceiling at Gaya Airport" Scope of work includes: - 1. Design and drawing of Structural Glazing i.e. toughened glass /facade system along with provision of sensor gates/ glass doors etc. as per BOQ item & site condition. 2. Design and drawing of false ceiling, Flooring pattern, Wall Cladding, ACP of Terminal building and Interior design of VIP / CIP Lounge etc. as per BOQ item & site condition. in order to improve the aesthetic look of Airport Building. 3. Reflective ceiling plan with all electrical light fixtures with provision of AC, firefighting, fire detection, PA System etc. as required. | 1.00 | Job | 0.00 | 200000.00 | 200000.00 | 280000.00 | 280000.00 | 405999.00 | 405999.00 | 175000.00 | 175000.00 | 100000.00 | 100000.00 | 500000.00 | 500000.00 | 200000.00 | 200000.00 | 250000.00 | 250000.00 | 100000.00 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 62996607.70 |  | 57115797.75 |  | 67300065.00 |  | 58003083.00 |  | 55074450.00 |  | 61150740.00 |  | 54754050.00 |  | 61121300.00
Lowest Amount Quoted BY: East India Construction Company(54754050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing Terminal Building and replacement of False ceiling at Gaya Airport, Gaya SH -Civil Works Tender ID: 2026_AAI_287054_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | East India Construction Company (BID ID -1060325) | 54754050.00 | L1
| 2 | SHASHIKANT SINGH INFRATECH PRIVATE LIMITED (BID ID -1062753) | 55074450.00 | L2
| 3 | SAMASHRA CONSTRUCTION PRIVATE LIMITED (BID ID -1062552) | 57115797.75 | L3
| 4 | M/S B. PRASAD & COMPANY (BID ID -1061230) | 58003083.00 | L4
| 5 | SANWARIYA CONSTRUCTION GLOBAL PRIVATE LIMITED (BID ID -1061381) | 61121300.00 | L5
| 6 | Pavee Construction (BID ID -1062006) | 61150740.00 | L6
| 7 | TARUN ELECTRICALS (BID ID -1061725) | 62996607.70 | L7
| 8 | K CONSTRUCTIONS (BID ID -1062815) | 67300065.00 | L8