## BoQ1
Government eProcurement System Created By: Prakash Chandra Created Date/Time: 22-Sep-2026 11:01 AM Tender Title: Modification of existing Terminal building and replacement of False Ceiling at Gaya Airport, Gaya.SH SITC of Drinking Water Fountains. Tender ID: 2026_AAI_287090_1
Tender Inviting Authority: <SM ( Engg. Elect), AAI, Gaya Airport, Gaya>
Name of Work: <Modification of existing Terminal building and replacement of False Ceiling at Gaya Airport, Gaya.SH: SITC of Drinking Water Fountains>
Contract No: <2026_AAI_287090_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd. (GSTN-07AABCO6540R1ZX) BID ID -1063361
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I:SITC of Drinking Water Fountain with RO System Supply installation, testing and commissioning of recessed bi level drinking water fountain coolers, with double ss finish bubbler and one bottle filling station Drinking water fountain with 60 LPH cooling capacity, stainless steel body-304, Suitable size Recipients, SS bubbler guard operated between 50 to 120 PSI, chilling unit suitable for R134a refigerant, adjustable thermostat, with Touchless, sensor-activation + mechanical activation at all point with non flamable foam used in the chiller, designed for easy use With MDCU29 antimicrobial, With normal and cold Option , supply complete with all accessories suitable to operate on single phase 230 V + 10%, AC 50HZ, Power Supply. The unit shall comply with GRIHA Certified(Green Rating for Integrated Habitat Assessment), TUV-SUD Certified, ANSI/NSF 61 and NSF/ANSI 372 ,UL Certified complete as per specifications. | 5.00 | Job | 263.00 | 165000.00 | 825000.00 | 825000.00 | Oasis WFS (P) Ltd.
2.00 | Supply installation, testing and commissioning of recessed single level drinking water fountain coolers, with single Stainless Steel finish bubbler and one bottle filling station Drinking water fountain with 60 LPH cooling capacity, stainless steel body-304, Suitable size Recipients, SS bubbler guard operated between 50 to 120 PSI, chilling unit suitable for R134a refigerant, adjustable thermostat, with Touchless, sensor-activation + mechanical activation at all point with non flamable foam used in the chiller, designed for easy use With MDCU29 antimicrobial, With normal and cold Option , supply complete with all accessories suitable to operate on single phase 230 V + 10%, AC 50HZ, Power Supply. The unit shall comply with GRIHA Certified(Green Rating for Integrated Habitat Assessment), TUV-SUD Certified, ANSI/NSF 61 and NSF/ANSI 372 ,UL Certified complete as per specifications. | 2.00 | Job | 263.00 | 145000.00 | 290000.00 | 290000.00 | Oasis WFS (P) Ltd.
3.00 | Supply, Installation and commissioning of 50 LPH RO system With UV (UV mini-Light flow rate 50 LPH, UV Lamp), along with Sediment filter, RO Membrane, carbon filter and pre filter, with 400 GPD motor X 2, and pressure gauge,TDS Controller, 60LTR HPT pressure tank food grade to generate 2-3 kg inlet water pressure with High pressure switch enclosed body, including all accessories such as valves, control device, interconnecting pipes, fixing arrangement etc and as per enclosed specifications complete as required. | 7.00 | Job | 263.00 | 59000.00 | 413000.00 | 413000.00 | Oasis WFS (P) Ltd.
4.00 | SITC of 3 mm SS- 304 Sheet frame work to cover the balance front space up to the height of fountain and proper wide to make look good aestheticaly. as required to complete the job as per direction by the Engineer-In-Charge. | 40.00 | Sq.Mtr | 263.00 | 9615.00 | 384600.00 | 384600.00 | Oasis WFS (P) Ltd.
5.00 | Providing and fixing of 6mm thick annealed SGG Planilaque Evolution ( Premium GRIHA Rated lacquered glass from Saint-Gobain or equivalent) as approved by engineer in charge fixed with SGG ultrafix or approved equivalent on a preferably leveled 12 mm thck BWP marine plywood on the MS Steel frame work or suitable structure . Lacqured glass must be made industrially ( via curtain coating process), opaque , coated with PU lacquer(50 micron thick) coour consistency, highly durable , humid resitant , environmentally freindly all complete as required to cover / wall panelling for the left out portion of drinking water faclity area ( above the drinking water units) . The wall panel shall be theme based . The theme shall be prepared and submitted for approval from AAI prior to preparation of wall paneling work. The Quote shall be inclusive of all related works for the panelling like , MS fabrication, painting , finishing etc nothing etra shall be paid for any works need to carried out at site for this job. | 40.00 | Sq.Mtr | 263.00 | 11200.00 | 448000.00 | 448000.00 | Oasis WFS (P) Ltd.
6.00 | SH II:Supply of Spares Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. RO Membrane (Minimum 400 GPD) - Set of 04
6.10 | For During defect liability period of 12 Months | 14.00 | Job | 263.00 | 9500.00 | 133000.00 | 133000.00 | Oasis WFS (P) Ltd.
6.20 | For Ist year after defect liability period of 12 Months | 14.00 | Job | 263.00 | 9500.00 | 133000.00 | 133000.00 | Oasis WFS (P) Ltd.
6.30 | For 2nd year after defect liability period of 12 Months | 14.00 | Job | 263.00 | 9500.00 | 133000.00 | 133000.00 | Oasis WFS (P) Ltd.
7.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Sediment Filter (20 inches)
7.10 | For During defect liability period of 12 Months | 28.00 | Job | 263.00 | 525.00 | 14700.00 | 14700.00 | Oasis WFS (P) Ltd.
7.20 | For Ist year after defect liability period of 12 Months | 28.00 | Job | 263.00 | 525.00 | 14700.00 | 14700.00 | Oasis WFS (P) Ltd.
7.30 | For 2nd year after defect liability period of 12 Months | 28.00 | Job | 263.00 | 525.00 | 14700.00 | 14700.00 | Oasis WFS (P) Ltd.
8.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Activated Filter (20 inches)
8.10 | For During defect liability period of 12 Months | 56.00 | Job | 263.00 | 650.00 | 36400.00 | 36400.00 | Oasis WFS (P) Ltd.
8.20 | For Ist year after defect liability period of 12 Months | 56.00 | Job | 263.00 | 650.00 | 36400.00 | 36400.00 | Oasis WFS (P) Ltd.
8.30 | For 2nd year after defect liability period of 12 Months | 56.00 | Job | 263.00 | 650.00 | 36400.00 | 36400.00 | Oasis WFS (P) Ltd.
9.00 | Supply of consumable spare for 50 LPH RO System of Same make as supplied with Drinking water fountains. Carbon Block (20 inches)
9.10 | For During defect liability period of 12 Months | 28.00 | Job | 263.00 | 660.00 | 18480.00 | 18480.00 | Oasis WFS (P) Ltd.
9.20 | For Ist year after defect liability period of 12 Months | 28.00 | Job | 263.00 | 660.00 | 18480.00 | 18480.00 | Oasis WFS (P) Ltd.
9.30 | For 2nd year after defect liability period of 12 Months | 28.00 | Job | 263.00 | 660.00 | 18480.00 | 18480.00 | Oasis WFS (P) Ltd.
10.00 | SH III:AICMC of Drinking Water Fountain Unit with RO All Inclusive Comprehensive Annual Maintenance (AICMC) of above Drinking Water Fountains with RO Unit for 02(Two) Years after Defect Liability Period of 01 (One) Year from date of completion of SITC work at site with good Engineering practice, as recommended by OEM and on the instructions of Engineer-in- charge for maintaining the drinking water system functional/operational and in serviceable working condition and ensuring all parameters i.e TDS, Hardness,Chlorine level, Turbidity etc within prescribed and desired values as per safe drinking water act. Scope of work includes: a) Mandatory quarterly PM visit for maintenace and servicing of entire system and attending any number of breakdowns which includes Cartridge replacement, Back wash of filters (carbon,sediment & pre filter) and replacement of Membrane and filters after 04months/ as per site requirement. Checking of other components i.e. LP switch, float valve, UV system etc. and replacement of defective components and parts. b) Complete checking of Electrical and Electronic system and wiring, solenoids, relay, sensors,push button, Hot switch, Thermostat etc. Defective components/parts shall be replaced. c) Checking of bubbler, piping, Hot tank, Drainage pipe, Push Fit etc. and other associated accessories and replacement of defective components and parts. Scope of work is illustrative not exhaustive and agency shall ensure serviceability as per site conditions for satisfactory operation of the complete system. (All Spares/parts required for CMC will be arranged by contractor. Nothing shall be paid extra by AAI in this regards. All tools and instruments for PM/service are to be arranged by OEM/agency.
10.10 | AICMC for Ist year after defect liability period of 12 Months (Rate to be quoted Per Annum for 7 Units = 1 Job) | 1.00 | Job | 263.00 | 187195.58 | 187195.58 | 187195.58 | Oasis WFS (P) Ltd.
10.20 | AICMC for 2nd year after defect liability period of 12 Months (Rate to be quoted Per Annum for 7 Units = 1 Job) | 1.00 | Job | 263.00 | 202539.48 | 202539.48 | 202539.48 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 3358075.06
Lowest Amount Quoted BY: Oasis WFS (P) Ltd.(3358075.06)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing Terminal building and replacement of False Ceiling at Gaya Airport, Gaya.SH SITC of Drinking Water Fountains. Tender ID: 2026_AAI_287090_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Oasis WFS (P) Ltd. (BID ID -1063361) | 3358075.06 | L1