## BoQ1
Government eProcurement System Created By: SARVESH KUMAR Created Date/Time: 07-Sep-2026 12:02 PM Tender Title: Conversion of Domestic to Integrated Terminal Building by Construction of Immigration and Customs Counters and Internal Partitions at JPNI Airport Patna Tender ID: 2026_AAI_287098_1
Tender Inviting Authority: <AGM (Engg.-Civil), JPNI Airport, Patna>
Name of Work: <Conversion of Domestic to Integrated Terminal Building by Construction of Immigration & Customs Counters and Internal Partitions at JPNI Airport, Patna.>
Contract No: <2026_AAI_287098>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Chinmoyee Construction (GSTN-19AGDPR3381C1ZE) BID ID -1059054 |  | SAI HIGHWAY AND BUILDERS PRIVATE LIMITED (GSTN-NA) BID ID -1059509 |  | VIHAAN INFRATECH (GSTN-NA) BID ID -1060597 |  | M/s Awadhesh Construction (GSTN-NA) BID ID -1059426 |  | P.R.ENTERPRISES (GSTN-NA) BID ID -1060525 |  | ACE MULTI SERVICES (GSTN-NA) BID ID -1060451
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | i. Providing, fabricating, supplying and fixing in position Immigration Counter of overall size 2200 mm × 1800 mm × 1200 mm, complete in all respects, as per the "Immigration Counter Plan, Elevation, Sections and Photographs" enclosed with the Tender Documents. ii. The counter shall comprise a bottom framework of 2nd Class Teak Wood of adequate sections and side framework, partitions, shelves, shutters and other structural members made from 18 mm thick Boiling Waterproof (BWP) plywood of approved make and quality. The exposed exterior surfaces shall be finished with 12 mm thick Solid Surface Acrylic of approved make, colour and shade, including seamless joints, polishing and finishing to achieve a smooth monolithic appearance. iii. The working top finished with 12mm thick solid acrylic shall be provided with a partition above the counter made of 12 mm thick clear toughened glass, fixed with approved grade stainless steel clamps, channels or other suitable fixing arrangements, complete as shown in the photographs. iv. The internal surfaces of the counter shall be finished with 1.0 mm thick decorative laminate (suede/gloss finish) of approved make, shade and pattern. The bottom floor surface inside the counter shall be finished with 2 mm thick PVC flooring over 18mm thick BWP ply of approved make and colour, including adhesive, complete. v. The counter shall be provided with a door fabricated from 12 mm thick waterproof plywood finished with 12 mm thick Solid Surface Acrylic on the exposed face and 1.0 mm thick laminate on the internal surface, complete with heavy-duty stainless steel hinges, locking arrangement and all necessary hardware. vi. The item shall include all necessary framing, drawers, shutters, shelves, keyboard tray, wire managers, cut-outs for electrical and data connections, stainless steel screws, SS hinges, telescopic drawer channels, handles, locks, magnetic catches, edge beading, bottom supports, fixing arrangements, fasteners, adhesives, sealants and all other accessories required, all complete. The rate shall also include procurement of materials, fabrication, transportation, installation, polishing, finishing, making good, and handing over the completed work. The contractor shall obtain prior approval of , material samples, colour scheme and finish from the Engineer-in-Charge before commencement of fabrication | 10.00 | Each | 100.00 | 450000.00 | 4500000.00 | 648124.00 | 6481240.00 | 225400.00 | 2254000.00 | 591000.00 | 5910000.00 | 650160.00 | 6501600.00 | 195000.00 | 1950000.00 | 1950000.00 | ACE MULTI SERVICES
2.00 | i. Providing, fabricating, supplying and fixing in position Custom Counter of overall size 900 mm × 450 mm × 1050 mm, complete in all respects, as per the "Custom Counter Plan, Elevation and Sections" enclosed with the Tender Documents. ii. The counter shall comprise a bottom framework of 2nd Class Teak Wood of adequate sections and side framework, partitions, shelves, shutters and other structural members made from 18 mm thick Boiling Waterproof (BWP) plywood of approved make and quality. The exposed exterior surfaces shall be finished with 12 mm thick Solid Surface Acrylic of approved make, colour and shade, including seamless joints, polishing and finishing to achieve a smooth monolithic appearance. iii. The working top shall be finished with 12mm thick solid acrylic, complete as shown in the drawing. iv. The internal surfaces of the counter shall be finished with 1.0 mm thick decorative laminate (suede/gloss finish) of approved make, shade and pattern. The bottom floor surface inside the counter shall be finished with 1.0 mm thick decorative laminate (suede/gloss finish) of approved make, shade and pattern, including adhesive, complete. v. The item shall include all necessary framing, drawers, shutters, shelves, keyboard tray, wire managers, cut-outs for electrical and data connections, stainless steel screws, SS hinges, telescopic drawer channels, handles, locks, magnetic catches, edge beading, bottom supports, fixing arrangements, fasteners, adhesives, sealants and all other accessories required, all complete. The rate shall also include procurement of materials, fabrication, transportation, installation, polishing, finishing, making good, and handing over the completed work. The contractor shall obtain prior approval of , material samples, colour scheme and finish from the Engineer-in-Charge before commencement of fabrication | 3.00 | Each | 100.00 | 115000.00 | 345000.00 | 122424.00 | 367272.00 | 50850.00 | 152550.00 | 125000.00 | 375000.00 | 126780.00 | 380340.00 | 50000.00 | 150000.00 | 150000.00 | ACE MULTI SERVICES
3.00 | i. Providing, fabricating, supplying and fixing in position Custom Counter inspection table of overall size 2400 mm × 800 mm × 600 mm, complete in all respects, as per the "Custom Counter inspection table Plan, Elevation and Sections" enclosed with the Tender Documents. ii. The counter shall comprise a bottom framework of 2nd Class Teak Wood of adequate sections and side framework, made from 18 mm thick Boiling Waterproof (BWP) plywood of approved make and quality. The exposed exterior surfaces shall be finished with 12 mm thick Solid Surface Acrylic of approved make, colour and shade, including seamless joints, polishing and finishing to achieve a smooth monolithic appearance. iii. The table top shall be finished with 18mm thick mirror polished granite of approved colour, complete as shown in the drawing. iv. The internal surfaces of the counter shall be painted with synthetic enamel paint with 2 coats. v. The item shall include all necessary framing, stainless steel screws, bottom supports, fixing arrangements, fasteners, adhesives, sealants and all other accessories required, all complete. The rate shall also include procurement of materials, fabrication, transportation, installation, polishing, finishing, making good, and handing over the completed work. The contractor shall obtain prior approval of material samples, colour scheme and finish from the Engineer-in-Charge before commencement of fabrication | 6.00 | Each | 100.00 | 225000.00 | 1350000.00 | 224574.00 | 1347444.00 | 84600.00 | 507600.00 | 236500.00 | 1419000.00 | 254062.00 | 1524372.00 | 60000.00 | 360000.00 | 360000.00 | ACE MULTI SERVICES
4.00 | Refer Drg. ID-PT-TB-T-ID-05 & 06 Fabricating and placing in position stamping table and pedestal ( Gents and Ladies) as per approved Drawing , made of 18 mm thick Boiling waterproof ply of approved make having stamping table exterior exposed surface finished with 12 mm thick solid acrylic in any approved equivalent colour combination and pedestal sides having 12 mm thick solid acrylic in any colour combination along with 20 mm thick flamed granite of approved color/shade at top of the pedestal, all complete as per drawing and directions of Engineer In charge.The rate should be inclusive of making complete framework all necessary screws , accessories, fixing or solid acrylic necessary moulding of edges of granite , and solid acrylic , flaming of granite . Shop drawings, material used in work, and their colour shade to be approved by Engineer-In-Charge before execution. | 14.00 | Each | 100.00 | 50000.00 | 700000.00 | 49294.00 | 690116.00 | 41625.00 | 582750.00 | 54000.00 | 756000.00 | 55351.00 | 774914.00 | 42000.00 | 588000.00 | 582750.00 | VIHAAN INFRATECH
5.00 | Refer Drg. ID-PT-TB-T-ID-10 Fabricating and placing in position Inspection table of size 1500 X 600 mm as per approved Drawing , made of 18 mm thick Boiling waterproof ply of approved make with complete exterior finish surface of 12 mm thick solid acrylic in any colour combination and interior finish with 1 mm thick suede/gloss finish laminate of approved colour and pattern with all necessary frames works /stainless steel screws/ SS hinges/telescopic channels for drawers/ handles /locks/bottom support /necessary cutouts /wire manager etc. all complete as per drawing and direction of engineer in charge. The complete work includes construction of frame work with 18 mm Boiling water proof ply, fixing of solid acrylic with necessary moulding of edges,fixing of laminate , drawers, shutters and all necessary hardware, and placing in position of complete counter. Shop drawings, material used in work and their colour shade to be approved by Engineer-In-Charge before execution | 20.00 | Each | 100.00 | 150000.00 | 3000000.00 | 144124.00 | 2882480.00 | 74500.00 | 1490000.00 | 146000.00 | 2920000.00 | 147702.00 | 2954040.00 | 43000.00 | 860000.00 | 860000.00 | ACE MULTI SERVICES
6.00 | Refer Drg. ID-PT-TB-T-ID-04 Fabricating and placing in position X-Ray Monitoring Table ( 900mm x600mm ) as per approved Drawing , made of 19 mm thick Boiling water proof block board of approved make having stamping table exterior exposed surface finished with 12 mm thick solid acrylic in any approved equivalent colour combination and pedestal sides having 12 mm thick solid acrylic in any colour combination along with 20 mm thick flamed granite of approved color/shade at top of pedestal, all complete as per drawing and directions of Engineer In charge .The rate should be inclusive of making complete frame work all necessary screws , accessories , fixing or solid acrylic necessary moulding of edges of granite , and solid acrylic , flaming of granite.Shop drawings, material used in work and their colour shade to be approved by Engineer-In-Charge before execution. | 20.00 | Each | 100.00 | 98000.00 | 1960000.00 | 94774.00 | 1895480.00 | 54975.00 | 1099500.00 | 92000.00 | 1840000.00 | 93280.00 | 1865600.00 | 48700.00 | 974000.00 | 974000.00 | ACE MULTI SERVICES
7.00 | Providing and fixing self-standing partition of overall height 1050 mm from finished floor level, complete as per the approved drawing and direction of the Engineer-in-Charge. The partition shall comprise a rigid framework made of 2nd class teak wood, with the sides covered using 12 mm thick Boiling Water Proof (BWP) plywood conforming to relevant IS specifications. The exposed surfaces shall be finished with 1.0 mm thick decorative laminate of approved make, colour and shade, bonded with approved adhesive, including edge finishing, trimming and polishing as required. The top member of the partition shall be provided with a 2nd-class teakwood capping measuring 75 mm × 125 mm, smoothly finished and painted with synthetic enamel paint. The partition shall be designed as a self-standing unit, with a minimum base width of 300 mm to ensure adequate stability on a plain floor surface without any additional support or anchoring. The base shall be integrated with the teak wood framework and plywood cladding to provide sufficient rigidity and structural stability. The item shall include all necessary teak wood members, BWP plywood, decorative laminate, adhesives, screws, nails, concealed fasteners, edge beading, polishing, finishing, cutting, fitting, labour, tools and tackles, transportation, and all works required for complete installation in all respects as per the approved drawings and the directions of the Engineer-in-Charge. | 40.00 | Metre | 100.00 | 19000.00 | 760000.00 | 19774.00 | 790960.00 | 9100.00 | 364000.00 | 18500.00 | 740000.00 | 18980.00 | 759200.00 | 5200.00 | 208000.00 | 208000.00 | ACE MULTI SERVICES
8.00 | Refer Drg. DRG :01 Providing and placing in position, Ladies Frisking booth of size 1800*1800*2150mm made with marine plyof 18mm thick conforming to IS 710 and all interior and exterior sides will be finishedwith 1mm thick suede/gloss finish laminateconforming to IS2046 placed on ground with SS brackets, with door opening on both sidesbearing curtain on SS drapery rod top finished. A 300*300 mm acrylic to be finished on the ceiling for ventilation. A charger point for charging HHMD ans a tube light to be provided as per the image , to the satisfaction of the Engineer in charge. | 3.00 | Each | 100.00 | 160000.00 | 480000.00 | 134944.00 | 404832.00 | 58300.00 | 174900.00 | 135000.00 | 405000.00 | 136780.00 | 410340.00 | 25000.00 | 75000.00 | 75000.00 | ACE MULTI SERVICES
9.00 | Refer Drg. ID-PT-TB-A-801 B Providing and fixing upto 4.5 mt height free standing frameless glass internal partitions with 12.52mm (6mm clear toughened glass+ 1.52mm Thick Normal Clear PVB Interlayer +5mm clear toughened glass) (including making suitable holes in the glass before toughening process of glass) of approved make as per approved drawings with S.S. fittings of approved make, S.S fittings shall be of material S.S. 316 grade fixed with S.S. screw or with fixing clips with SS cover profile having standred length of 3000 mm x 40mm x 32mm. The wall connecting profile shall be used on the top and bottom of the glass, complete in all respect including any kind of framing / support required for fixed glass, all complete as per specification, Tender drawing and instruction of the Engineer‐In‐Charge. The rate of the item includes structural steel with primer and painting, all complete. | 765.00 | Sqm | 100.00 | 5684.23 | 4348436.00 | 10924.00 | 8356860.00 | 11400.00 | 8721000.00 | 12400.00 | 9486000.00 | 6180.00 | 4727700.00 | 11300.00 | 8644500.00 | 4348436.00 | Chinmoyee Construction
10.00 | Providing fixing and erecting at site of approved make frameless glass door of required size (single/double leaf) with TPTA rails using 12mm thick toughend glass of approved make, with bottom TP//TA rail with lock door rail, 100 mm high, for double action door in satin stainless steel/ EV 1 finish of minimum 1000mm length, top pivot PT 24 or equivalent, door rail top 100 mm high for double action door without lock in satin SS / EV 1 finish of minimum 1000mm length, floor spring BTS 75 V or approved equivalent, H type pull handle 25mm dia x 450mm long, complete with all fittings/glass of approved make and as directon of Engineer‐in‐Charge. (Note: Nothing extra shall be paid for making holes, fixing of patch fitting etc). (Note: The work shall be executed as per manufacturer's specifications wherever applicable, relevant code of practice and sound engineering practice). a) Door size of minimum 1000mm x 2400mm | 24.00 | Sqm | 100.00 | 40000.00 | 960000.00 | 74344.00 | 1784256.00 | 40230.00 | 965520.00 | 91000.00 | 2184000.00 | 72780.00 | 1746720.00 | 12000.00 | 288000.00 | 288000.00 | ACE MULTI SERVICES
11.00 | Providing and fixing horizontal Invisible grill made of 2.5 mm diameter 7 x 7 core wire of SS 316 marine grade nylon coated cover wire rope and SS 316 stiffenerrs. The wire shall be placed at the spacing 50mm C/C with aluminium track PU coated fixed on MS post etc complete as per direction of Engineer-in-charge. Notes: (i) Providing and fixing of MS post will be paid separately. (ii)The work shall be at a height of 5.0 meter above floor and nothing extra shall be payable in this regard. The cost of Scafolding will be included in the quoted rate. | 420.00 | Sqm | 100.00 | 1500.00 | 630000.00 | 1744.00 | 732480.00 | 1300.00 | 546000.00 | 1540.00 | 646800.00 | 1352.00 | 567840.00 | 5000.00 | 2100000.00 | 546000.00 | VIHAAN INFRATECH
12.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 5500.00 | Kg | 100.00 | 150.00 | 825000.00 | 114.00 | 627000.00 | 145.00 | 797500.00 | 115.00 | 632500.00 | 112.00 | 616000.00 | 110.00 | 605000.00 | 605000.00 | ACE MULTI SERVICES
13.00 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete. Wedge expansion type` Fastener with threaded dia 10 mm | 300.00 | Each | 100.00 | 50.00 | 15000.00 | 144.00 | 43200.00 | 200.00 | 60000.00 | 50.00 | 15000.00 | 42.00 | 12600.00 | 80.00 | 24000.00 | 12600.00 | P.R.ENTERPRISES
14.00 | Providing and fixing 12mm thick B.W.P plywood of approved brand with suitable length of full threaded self driving steel screw etc. The line and length of the plywood should be as per the architectural & structural drawing , Over the sutaible M.S/ Brick work /R.C.C support as specified and direction of EIC. | 900.00 | Sqm | 100.00 | 1500.00 | 1350000.00 | 1544.00 | 1389600.00 | 1200.00 | 1080000.00 | 1480.00 | 1332000.00 | 1048.00 | 943200.00 | 1900.00 | 1710000.00 | 943200.00 | P.R.ENTERPRISES
15.00 | Providing and fixing 6 mm thick B.W.P plywood of approved brand with suitable length of full threaded self driving steel screw etc. The line and length of the plywood should be as per the architectural & structural drawing , Over the sutaible M.S/ Brick work /R.C.C support as specified and direction of EIC. | 900.00 | Sqm | 100.00 | 900.00 | 810000.00 | 944.00 | 849600.00 | 950.00 | 855000.00 | 980.00 | 882000.00 | 760.00 | 684000.00 | 1150.00 | 1035000.00 | 684000.00 | P.R.ENTERPRISES
16.00 | Providing and fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt / suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S including cost of adhesive of approved quality 1.0 mm thick. | 900.00 | Sqm | 100.00 | 800.00 | 720000.00 | 874.00 | 786600.00 | 980.00 | 882000.00 | 800.00 | 720000.00 | 705.00 | 634500.00 | 1400.00 | 1260000.00 | 634500.00 | P.R.ENTERPRISES
17.00 | Providing & Fixing 3M Frosted Translucent, cast PVC, selfadhesive vinyl, special CRYSTAL-effect film to reproduce Sand-blasting effect on glass, thickness of 2 mil (0.05mm) without adhesive & 3mil (0.8)with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F(0.6 kg/cm at 23 C). Adhesion after 24hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: MCS warranty of 3yrs (if exposed to direct sunlight) to 15yrs (indoors) must be endorsed by 3M India Limited Architectural Market Department. Area to be measured as per actuals . No wastage shall be paid for separately ( Base rate of 3M film should not be less than Rs.100.00/ Sqft.) | 765.00 | Sqm | 100.00 | 1400.00 | 1071000.00 | 1174.00 | 898110.00 | 1250.00 | 956250.00 | 1260.00 | 963900.00 | 1118.00 | 855270.00 | 1500.00 | 1147500.00 | 855270.00 | P.R.ENTERPRISES
18.00 | Providing & Fixing Roller Blinds with Alluminium alloys headrail shall be 38 m.m. with control unit, shall be made of high grade Polymer and shall not used in side the head rail which shall transfer mation from chain. Chain shall be made of plastic beads for operation. Use black out fabric with no openess factor and bottom pipe should be cover by both side round endcap. ( Basic cost of material including all assesseries should not be less than Rs. 200.00 /Sqft) | 100.00 | Sqm | 100.00 | 2500.00 | 250000.00 | 1974.00 | 197400.00 | 1980.00 | 198000.00 | 2440.00 | 244000.00 | 2180.00 | 218000.00 | 4000.00 | 400000.00 | 197400.00 | SAI HIGHWAY AND BUILDERS PRIVATE LIMITED
19.00 | Providing, fixing and installing in position satin polished stainless steel AISI 304 modular trolley‐fender system with height of 250 mm of approved make having tube dia 60.0 mm wall thickness 1.5 mm modular and component based system connected with modular laser cut SS vertical of 70X12 mm flat members at max c/c distance of 1500 mm or as per drawing with all necessary bends and joints over SS base plate of 95X95X6 mm with help of M10 x 120 counter sunk fustners. System shall be as per I.S. Specification, all complete as per drawings and directions of Engineer‐In‐ Charge. (Please note that no welding of SS pipes will be allowed and work shall on modular and component basis as directed by Engineer in‐Charge.) | 365.00 | Metre | 100.00 | 2900.00 | 1058500.00 | 1924.00 | 702260.00 | 4100.00 | 1496500.00 | 3800.00 | 1387000.00 | 3280.00 | 1197200.00 | 4500.00 | 1642500.00 | 702260.00 | SAI HIGHWAY AND BUILDERS PRIVATE LIMITED
20.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required, including cleat angle, Aluminium snap beading for glazing/paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 200.00 | Kg | 100.00 | 550.00 | 110000.00 | 574.00 | 114800.00 | 860.00 | 172000.00 | 580.00 | 116000.00 | 408.00 | 81600.00 | 600.00 | 120000.00 | 81600.00 | P.R.ENTERPRISES
21.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required, including cleat angle, Aluminium snap beading for glazing/paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 400.00 | Kg | 100.00 | 500.00 | 200000.00 | 574.00 | 229600.00 | 860.00 | 344000.00 | 650.00 | 260000.00 | 500.00 | 200000.00 | 620.00 | 248000.00 | 200000.00 | Chinmoyee Construction, P.R.ENTERPRISES
22.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 20.00 | Sqm | 100.00 | 800.00 | 16000.00 | 1144.00 | 22880.00 | 1055.00 | 21100.00 | 910.00 | 18200.00 | 728.00 | 14560.00 | 1200.00 | 24000.00 | 14560.00 | P.R.ENTERPRISES
23.00 | Providing and fixing glazing in aluminium door, windows, ventilator shutters, and partitions, etc., with EPDM rubber/neoprene gaskets, etc., complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 6 mm thickness. | 20.00 | Sqm | 100.00 | 3000.00 | 60000.00 | 2474.00 | 49480.00 | 3395.00 | 67900.00 | 1450.00 | 29000.00 | 2280.00 | 45600.00 | 7800.00 | 156000.00 | 29000.00 | M/s Awadhesh Construction
24.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 40.00 | Each | 100.00 | 300.00 | 12000.00 | 374.00 | 14960.00 | 210.00 | 8400.00 | 280.00 | 11200.00 | 200.00 | 8000.00 | 800.00 | 32000.00 | 8000.00 | P.R.ENTERPRISES
25.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Single rubber stopper | 20.00 | Each | 100.00 | 200.00 | 4000.00 | 344.00 | 6880.00 | 230.00 | 4600.00 | 100.00 | 2000.00 | 158.00 | 3160.00 | 200.00 | 4000.00 | 2000.00 | M/s Awadhesh Construction
26.00 | Providing and fixing Bright finished brass 100mm Mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc complete | 20.00 | Each | 100.00 | 2000.00 | 40000.00 | 2474.00 | 49480.00 | 2800.00 | 56000.00 | 2400.00 | 48000.00 | 1548.00 | 30960.00 | 4000.00 | 80000.00 | 30960.00 | P.R.ENTERPRISES
27.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete | 20.00 | Each | 100.00 | 2000.00 | 40000.00 | 2374.00 | 47480.00 | 2300.00 | 46000.00 | 1450.00 | 29000.00 | 1848.00 | 36960.00 | 3000.00 | 60000.00 | 29000.00 | M/s Awadhesh Construction
28.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-incharge. (Only weight of grill to be measured for payment). | 1200.00 | Kg | 100.00 | 600.00 | 720000.00 | 544.00 | 652800.00 | 860.00 | 1032000.00 | 740.00 | 888000.00 | 418.00 | 501600.00 | 700.00 | 840000.00 | 501600.00 | P.R.ENTERPRISES
29.00 | Dismantling tile work, including mortar in floors and roofs laid in cement mortar, including disposal of the rubbish outside the Airport Premises. For the thickness of tiles 8 mm to 25 mm. | 500.00 | Sqm | 100.00 | 500.00 | 250000.00 | 344.00 | 172000.00 | 280.00 | 140000.00 | 470.00 | 235000.00 | 348.00 | 174000.00 | 300.00 | 150000.00 | 140000.00 | VIHAAN INFRATECH
30.00 | Laying of Vitrified floor tiles (Full Body) in different sizes and thicknesses, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand), jointing with grey cement slurry @3.3 kg/sqm, including grouting the joints with white cement and matching pigments etc., complete. ( Vitrified tiles will be supplied by AAI) | 500.00 | Sqm | 100.00 | 700.00 | 350000.00 | 944.00 | 472000.00 | 850.00 | 425000.00 | 800.00 | 400000.00 | 398.00 | 199000.00 | 500.00 | 250000.00 | 199000.00 | P.R.ENTERPRISES
31.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 165.00 | Sqm | 100.00 | 1500.00 | 247500.00 | 924.00 | 152460.00 | 1300.00 | 214500.00 | 1100.00 | 181500.00 | 1192.00 | 196680.00 | 800.00 | 132000.00 | 132000.00 | ACE MULTI SERVICES
32.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 165.00 | Sqm | 100.00 | 80.00 | 13200.00 | 544.00 | 89760.00 | 100.00 | 16500.00 | 85.00 | 14025.00 | 70.00 | 11550.00 | 300.00 | 49500.00 | 11550.00 | P.R.ENTERPRISES
33.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 165.00 | Sqm | 100.00 | 300.00 | 49500.00 | 344.00 | 56760.00 | 450.00 | 74250.00 | 290.00 | 47850.00 | 270.00 | 44550.00 | 350.00 | 57750.00 | 44550.00 | P.R.ENTERPRISES
34.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 165.00 | Sqm | 100.00 | 200.00 | 33000.00 | 174.00 | 28710.00 | 90.00 | 14850.00 | 130.00 | 21450.00 | 108.00 | 17820.00 | 80.00 | 13200.00 | 13200.00 | ACE MULTI SERVICES
35.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 165.00 | Sqm | 100.00 | 100.00 | 16500.00 | 114.00 | 18810.00 | 135.00 | 22275.00 | 95.00 | 15675.00 | 92.00 | 15180.00 | 120.00 | 19800.00 | 15180.00 | P.R.ENTERPRISES
36.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 50.00 | Sqm | 100.00 | 200.00 | 10000.00 | 194.00 | 9700.00 | 280.00 | 14000.00 | 200.00 | 10000.00 | 198.00 | 9900.00 | 100.00 | 5000.00 | 5000.00 | ACE MULTI SERVICES
37.00 | Providing and fixing single lever wash basin mixture tap of approved make Jaquar15011BPM with all fittings and fixtures , complete as per direction of Engineer In Charge | 3.00 | Each | 100.00 | 5000.00 | 15000.00 | 6974.00 | 20922.00 | 4750.00 | 14250.00 | 7200.00 | 21600.00 | 5508.00 | 16524.00 | 20000.00 | 60000.00 | 14250.00 | VIHAAN INFRATECH
38.00 | Providing and fixing towel ring (near wash basin )of make Jaquar AQN 7721 with all fittings and fixtures , complete as per direction of Engineer In Charge | 3.00 | Each | 100.00 | 2000.00 | 6000.00 | 2574.00 | 7722.00 | 1950.00 | 5850.00 | 2700.00 | 8100.00 | 2086.00 | 6258.00 | 1500.00 | 4500.00 | 4500.00 | ACE MULTI SERVICES
39.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 3.00 | Each | 100.00 | 16000.00 | 48000.00 | 13974.00 | 41922.00 | 17000.00 | 51000.00 | 14500.00 | 43500.00 | 11680.00 | 35040.00 | 12000.00 | 36000.00 | 35040.00 | P.R.ENTERPRISES
40.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required. | 3.00 | Each | 100.00 | 18000.00 | 54000.00 | 17974.00 | 53922.00 | 23000.00 | 69000.00 | 15800.00 | 47400.00 | 18492.00 | 55476.00 | 7000.00 | 21000.00 | 21000.00 | ACE MULTI SERVICES
41.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 3.00 | Each | 100.00 | 1800.00 | 5400.00 | 1344.00 | 4032.00 | 1525.00 | 4575.00 | 1450.00 | 4350.00 | 1250.00 | 3750.00 | 1500.00 | 4500.00 | 3750.00 | P.R.ENTERPRISES
42.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 6.00 | Each | 100.00 | 250.00 | 1500.00 | 274.00 | 1644.00 | 230.00 | 1380.00 | 105.00 | 630.00 | 246.00 | 1476.00 | 1500.00 | 9000.00 | 630.00 | M/s Awadhesh Construction
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement ,trenching ,refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia Pipes | 45.00 | Metre | 100.00 | 400.00 | 18000.00 | 394.00 | 17730.00 | 450.00 | 20250.00 | 374.00 | 16830.00 | 338.00 | 15210.00 | 300.00 | 13500.00 | 13500.00 | ACE MULTI SERVICES
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia pipe | 45.00 | Metre | 100.00 | 450.00 | 20250.00 | 474.00 | 21330.00 | 360.00 | 16200.00 | 480.00 | 21600.00 | 408.00 | 18360.00 | 250.00 | 11250.00 | 11250.00 | ACE MULTI SERVICES
45.00 | Providing and fixing soil, waste and vent pipes 100mm dia Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 45.00 | Metre | 100.00 | 2000.00 | 90000.00 | 974.00 | 43830.00 | 1600.00 | 72000.00 | 2650.00 | 119250.00 | 2680.00 | 120600.00 | 800.00 | 36000.00 | 36000.00 | ACE MULTI SERVICES
46.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. fulbody vitrified tile polished/mat finish of size Size of Tile 600 x 600 mm | 15.00 | Sqm | 100.00 | 1400.00 | 21000.00 | 1474.00 | 22110.00 | 1550.00 | 23250.00 | 1260.00 | 18900.00 | 1018.00 | 15270.00 | 1300.00 | 19500.00 | 15270.00 | P.R.ENTERPRISES
47.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Fullbody vitrified tile polished/mat finish of size Size of Tile 600 x 600 mm | 70.00 | Sqm | 100.00 | 1300.00 | 91000.00 | 1324.00 | 92680.00 | 1550.00 | 108500.00 | 1285.00 | 89950.00 | 1022.00 | 71540.00 | 1300.00 | 91000.00 | 71540.00 | P.R.ENTERPRISES
48.00 | Providing & fixing C.P. hand spray with lever control (health faucet) (Kohler cat no K‐12927IN‐CP / Jaquar cat no. 573 or approved equivalent) with flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer‐Incharge. | 3.00 | Each | 100.00 | 4000.00 | 12000.00 | 1975.00 | 5925.00 | 1870.00 | 5610.00 | 1950.00 | 5850.00 | 3224.00 | 9672.00 | 2500.00 | 7500.00 | 5610.00 | VIHAAN INFRATECH
49.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 5.00 | Sqm | 100.00 | 2000.00 | 10000.00 | 2115.00 | 10575.00 | 3550.00 | 17750.00 | 2950.00 | 14750.00 | 1768.00 | 8840.00 | 8000.00 | 40000.00 | 8840.00 | P.R.ENTERPRISES
50.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 1.20 | Cum | 100.00 | 150000.00 | 180000.00 | 114000.00 | 136800.00 | 118750.00 | 142500.00 | 251000.00 | 301200.00 | 132480.00 | 158976.00 | 10000.00 | 12000.00 | 12000.00 | ACE MULTI SERVICES
| Total in Figures |  |  |  |  | 27876786.00 |  | 33896894.00 |  | 26408560.00 |  | 35899010.00 |  | 29501548.00 |  | 26628500.00
Lowest Amount Quoted BY: VIHAAN INFRATECH(26408560.00)

## BOQ Summary
BOQ Summary Details Tender Title: Conversion of Domestic to Integrated Terminal Building by Construction of Immigration and Customs Counters and Internal Partitions at JPNI Airport Patna Tender ID: 2026_AAI_287098_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VIHAAN INFRATECH (BID ID -1060597) | 26408560.00 | L1
| 2 | ACE MULTI SERVICES (BID ID -1060451) | 26628500.00 | L2
| 3 | Chinmoyee Construction (BID ID -1059054) | 27876786.00 | L3
| 4 | P.R.ENTERPRISES (BID ID -1060525) | 29501548.00 | L4
| 5 | SAI HIGHWAY AND BUILDERS PRIVATE LIMITED (BID ID -1059509) | 33896894.00 | L5
| 6 | M/s Awadhesh Construction (BID ID -1059426) | 35899010.00 | L6