## BoQ1
Government eProcurement System Created By: Sachin Khangar Created Date/Time: 24-Sep-2026 12:36 PM Tender Title: Modification of Bollard System with Additional Hydraulic Power Unit and Shifting of Tyre Killer at Vadodara Airport Tender ID: 2026_AAI_287353_1
Tender Inviting Authority: Jt.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work :- Modification of Bollard System with Additional Hydraulic Power Unit and Shifting of Tyre Killer at Vadodara Airport.
Contract No: AAI/WR/VADO/E-E/NIT-07/Modification of bollard/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -1061006
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Modification in operating system of existing bollard system by providing additional 10 HP Hydraulic power unit complete with motor,hydraulic oil tank with oil, Control panel with PLC,outdoor cabinet and all other required accessories & redistribution of operation of 4 Nos bollards with existing 15 HP Hydraulic power unit & 3 Nos bollards with new 10 HP Hydraulic power unit complete as required. | 1.00 | Job |  | 815000.00 | 815000.00 | 815000.00 | Techno Electricals
2.00 | Shifting of existing tyre killer (Make: S ADITYA Model : PIRANA-450) including dismantling and reinstallation of the unit, comprising a set of 8 meters length in two sections (4 meters + 4 meters). The scope of work shall cover all mechanical, electrical, and instrumentation components including LT panel,sensors, ensuring that after reinstallation the system is restored to the same functional condition as currently installed. | 1.00 | Job |  | 149755.00 | 149755.00 | 149755.00 | Techno Electricals
3.00 | laying of 63mm diameter DWC HDPE pipe complete with fitting and cutting, jointing etc. in the existing trench, complete as required. | 90.00 | Mtr |  | 75.00 | 6750.00 | 6750.00 | Techno Electricals
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35sqmm in the existing RCC/ HUME/ METAL/HDPE pipe as required. | 100.00 | Mtr |  | 22.00 | 2200.00 | 2200.00 | Techno Electricals
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 X 25 sq. mm (28mm) of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Set |  | 500.00 | 1000.00 | 1000.00 | Techno Electricals
6.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc with charcoal/ coke and salt as required. | 2.00 | Each |  | 6500.00 | 13000.00 | 13000.00 | Techno Electricals
7.00 | 1:2:4 (1 cement : 2coarse sand (zone - II) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.50 | Cum |  | 5000.00 | 12500.00 | 12500.00 | Techno Electricals
| Total in Figures |  |  |  |  | 1000205.00
Lowest Amount Quoted BY: Techno Electricals(1000205.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Bollard System with Additional Hydraulic Power Unit and Shifting of Tyre Killer at Vadodara Airport Tender ID: 2026_AAI_287353_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals (BID ID -1061006) | 1000205.00 | L1