## BoQ1
Government eProcurement System Created By: NELLORE BALACHANDRA Created Date/Time: 30-Sep-2026 04:57 PM Tender Title: Replacement of 5KVA UPS at Power house, Tirupati Airport. Tender ID: 2026_AAI_287822_1
Tender Inviting Authority: The Senior Manager(Engg-E), AAI, Tirupati Airport.
Name of Work: REPLACEMENT OF 5KVA UPS AT POWERHOUSE, TIRUPATI AIRPORT.
Contract No: AAI/TPT/ENGG (E)/C-07(25-26)/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -1066146
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of 5 KVA Floor mounted Online UPS (3-Phase Input and 3-Phase Output) with built-in isolation transformer at output side and without batteries and including making interconnections with existing battery bank of 30 nos. of 12V, 18 AH and as per Technical Specification attached and complete as required. | 1.00 | Job |  | 141200.00 | 141200.00 | 141200.00 | MPC ELECTRICALS AND ENGINEERS
| Total in Figures |  |  |  |  | 141200.00
Lowest Amount Quoted BY: MPC ELECTRICALS AND ENGINEERS(141200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of 5KVA UPS at Power house, Tirupati Airport. Tender ID: 2026_AAI_287822_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MPC ELECTRICALS AND ENGINEERS (BID ID -1066146) | 141200.00 | L1