## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 28-Sep-2026 05:29 PM Tender Title: Construction of Main Entry and Exist Gate along with Guard room at LBSI Airport Varanasi Tender ID: 2026_AAI_288232_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of Main Entry & Exist Gate along with Guard room at LBSI Airport Varanasi
Contract No: 2026_AAI_288232_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -1067559 |  | MINOCHA CONSTRUCTION COMPANY (GSTN-09AFMPM2502A1ZW) BID ID -1067779 |  | Rahul Constructions (GSTN-06AAFFR4603K1Z8) BID ID -1067814 |  | M/s Awadhesh Construction (GSTN-NA) BID ID -1066751 |  | A.L.T. PROJECTS PRIVATE LIMITED (GSTN-NA) BID ID -1060418 |  | DY Infra & Projects Private Limited (GSTN-NA) BID ID -1067275
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 20.00 | Cum |  | 165.00 | 3300.00 | 90.00 | 1800.00 | 69.00 | 1380.00 | 150.00 | 3000.00 | 160.00 | 3200.00 | 460.00 | 9200.00 | 1380.00 | Rahul Constructions
1.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 16.79 | Cum |  | 115.00 | 1930.85 | 80.00 | 1343.20 | 59.00 | 990.61 | 130.00 | 2182.70 | 170.00 | 2854.30 | 707.00 | 11870.53 | 990.61 | Rahul Constructions
1.00 | Disposal of moorum/building rubbish/malba/similar unserviceable, dismantled or waste material by mechanical transport including loading, transportating, unloading to approved municipal dumping ground for lead upto 10km for all lifts, complete as per directions of Engineet-in Charge. | 3.21 | Cum |  | 225.00 | 722.25 | 400.00 | 1284.00 | 199.00 | 638.79 | 200.00 | 642.00 | 450.00 | 1444.50 | 1446.00 | 4641.66 | 638.79 | Rahul Constructions
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering -All work up to plinth level: 1)1:4:8 (1 Cement: 4 Coarse sand (zone-iii) derived from natural sources : 8 graded stone aggregate 40mm nominal size derived from natural sources). | .76 | Cum |  | 7400.00 | 5624.00 | 5000.00 | 3800.00 | 3999.00 | 3039.24 | 6000.00 | 4560.00 | 6000.00 | 4560.00 | 14878.00 | 11307.28 | 3039.24 | Rahul Constructions
1.00 | Centering and shuttering including strutting, propping etc. and removal of form for -Foundation_Foundations, footings, bases of columns, etc. for mass concrete | 72.00 | Sqm |  | 160.00 | 11520.00 | 300.00 | 21600.00 | 199.00 | 14328.00 | 300.00 | 21600.00 | 350.00 | 25200.00 | 986.00 | 70992.00 | 11520.00 | S.K. CONSTRUCTION
1.01 | Centering and shuttering including strutting, propping etc. and removal of form for -Slab_Suspended floors, roofs, landings, balconies and access platform | 97.20 | Sqm |  | 295.00 | 28674.00 | 500.00 | 48600.00 | 444.00 | 43156.80 | 650.00 | 63180.00 | 850.00 | 82620.00 | 1878.00 | 182541.60 | 28674.00 | S.K. CONSTRUCTION
1.01 | Centering and shuttering including strutting, propping etc. and removal of form for -Padestal_Columns, Pillars, Piers, Abutments, Posts and Struts | 115.30 | Sqm |  | 295.00 | 34013.50 | 500.00 | 57650.00 | 444.00 | 51193.20 | 650.00 | 74945.00 | 850.00 | 98005.00 | 1978.00 | 228063.40 | 34013.50 | S.K. CONSTRUCTION
1.01 | Centering and shuttering including strutting, propping etc. and removal of form for -Beams_Lintels, beams, plinth beams, girders, bressumers and cantilevers | 202.99 | Sqm |  | 315.00 | 63941.85 | 400.00 | 81196.00 | 444.00 | 90127.56 | 450.00 | 91345.50 | 650.00 | 131943.50 | 1720.00 | 349142.80 | 63941.85 | S.K. CONSTRUCTION
1.01 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete Upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4795.11 | Kg |  | 78.00 | 374018.58 | 80.00 | 383608.80 | 63.00 | 302091.93 | 90.00 | 431559.90 | 81.00 | 388403.91 | 178.10 | 854009.09 | 302091.93 | Rahul Constructions
1.01 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete Above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9414.40 | Kg |  | 80.00 | 753152.00 | 81.00 | 762566.40 | 63.00 | 593107.20 | 90.00 | 847296.00 | 81.00 | 762566.40 | 191.00 | 1798150.40 | 593107.20 | Rahul Constructions
1.01 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.Concrete of M25 grade with minimum cement content of 330 kg /cum All works upto Plinth Level | 46.44 | Cum |  | 6820.00 | 316720.80 | 6900.00 | 320436.00 | 5499.00 | 255373.56 | 8400.00 | 390096.00 | 8000.00 | 371520.00 | 12974.00 | 602512.56 | 255373.56 | Rahul Constructions
1.01 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.Concrete of M25 grade with minimum cement content of 330 kg /cum All worksabove plinth level upto floor V level | 63.83 | Cum |  | 6850.00 | 437235.50 | 7000.00 | 446810.00 | 5499.00 | 351001.17 | 8500.00 | 542555.00 | 8000.00 | 510640.00 | 14362.00 | 916726.46 | 351001.17 | Rahul Constructions
1.01 | Steel work welded in built-up sections/ framed work, including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc.as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 9736.16 | Kg |  | 95.00 | 924935.20 | 130.00 | 1265700.80 | 71.00 | 691267.36 | 130.00 | 1265700.80 | 100.00 | 973616.00 | 161.00 | 1567521.76 | 691267.36 | Rahul Constructions
1.01 | Epoxy Paint Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. On Steel | 26.89 | Sqm |  | 165.00 | 4436.85 | 210.00 | 5646.90 | 199.00 | 5351.11 | 200.00 | 5378.00 | 220.00 | 5915.80 | 452.00 | 12154.28 | 4436.85 | S.K. CONSTRUCTION
1.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.57 | Cum |  | 5220.00 | 8195.40 | 6500.00 | 10205.00 | 4499.00 | 7063.43 | 6200.00 | 9734.00 | 8000.00 | 12560.00 | 9296.00 | 14594.72 | 7063.43 | Rahul Constructions
1.02 | Providing and laying Autoclaved Aerated concrete(AAC) blocks masonry with 150 mm to 300 mm thick with Grade-1 AAC blocks of density 551 to 650 kg/cum conforming to IS:2185 (Part 3) in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 7.37 | Cum |  | 6850.00 | 50484.50 | 7800.00 | 57486.00 | 6499.00 | 47897.63 | 7200.00 | 53064.00 | 500.00 | 3685.00 | 10458.00 | 77075.46 | 3685.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.02 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 109.03 | Kg |  | 565.00 | 61601.95 | 550.00 | 59966.50 | 399.00 | 43502.97 | 500.00 | 54515.00 | 550.00 | 59966.50 | 529.00 | 57676.87 | 43502.97 | Rahul Constructions
1.02 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)-Powder coated aluminium (minimum thickness of powder coating 50 micron) | 289.85 | Kg |  | 580.00 | 168113.00 | 600.00 | 173910.00 | 444.00 | 128693.40 | 550.00 | 159417.50 | 800.00 | 231880.00 | 581.00 | 168402.85 | 128693.40 | Rahul Constructions
1.02 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | 3.68 | Sqm |  | 865.00 | 3183.20 | 1500.00 | 5520.00 | 799.00 | 2940.32 | 900.00 | 3312.00 | 100.00 | 368.00 | 1562.00 | 5748.16 | 368.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.02 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete : 100X58X1.90mm | 8.00 | Each |  | 65.00 | 520.00 | 100.00 | 800.00 | 79.00 | 632.00 | 80.00 | 640.00 | 100.00 | 800.00 | 207.00 | 1656.00 | 520.00 | S.K. CONSTRUCTION
1.02 | Lock _(1 Per door ) Providing and fixing aluminium pull bolt lock, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws bolts, nut and washers etc. complete. | 2.00 | Nos |  | 65.00 | 130.00 | 200.00 | 400.00 | 89.00 | 178.00 | 80.00 | 160.00 | 130.00 | 260.00 | 452.00 | 904.00 | 130.00 | S.K. CONSTRUCTION
1.02 | Powder coated aluminium Tower bolt 300x12mm/150x12mm. _ (2 per shutter.) Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | 2.00 | Nos |  | 85.00 | 170.00 | 100.00 | 200.00 | 79.00 | 158.00 | 100.00 | 200.00 | 66.00 | 132.00 | 336.00 | 672.00 | 132.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.02 | Powder coated aluminium Handle with plate 125mm . _(2 per shutter.) Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125mm | 2.00 | Nos |  | 40.00 | 80.00 | 100.00 | 200.00 | 49.00 | 98.00 | 50.00 | 100.00 | 1505.00 | 3010.00 | 271.00 | 542.00 | 80.00 | S.K. CONSTRUCTION
1.02 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 20 kg/sqm) | 7.70 | Sqm |  | 1110.00 | 8547.00 | 1250.00 | 9625.00 | 999.00 | 7692.30 | 1200.00 | 9240.00 | 180.00 | 1386.00 | 2071.00 | 15946.70 | 1386.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.02 | Providing and fixing steel (white power coated) crescent lock for Aluminium window/ door with necessary screws etc. complete. | 9.00 | Nos |  | 250.00 | 2250.00 | 150.00 | 1350.00 | 149.00 | 1341.00 | 150.00 | 1350.00 | 180.00 | 1620.00 | 323.00 | 2907.00 | 1341.00 | Rahul Constructions
1.03 | Providing and fixing ISI marked M.S Sliding door bolts with nuts and screws etc. complete (Copper oxidised as per IS 1378) 250x16mm | 2.00 | Nos |  | 165.00 | 330.00 | 150.00 | 300.00 | 99.00 | 198.00 | 150.00 | 300.00 | 200.00 | 400.00 | 487.00 | 974.00 | 198.00 | Rahul Constructions
1.03 | Dash Fastner Fixing chowkhat in existing opening in brick/ RCC wall with dash fasteners/Chemical fasteners of appropriate size (3 nos on each vertical member of door chowkhat and 2 nos on each vertical member of window chowkhats), including Cost of dash fasteners/ chemical fastener. | 56.00 | Nos |  | 110.00 | 6160.00 | 150.00 | 8400.00 | 149.00 | 8344.00 | 180.00 | 10080.00 | 35.00 | 1960.00 | 130.00 | 7280.00 | 1960.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.03 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete Single rubber stopper | 1.00 | Nos |  | 30.00 | 30.00 | 50.00 | 50.00 | 29.00 | 29.00 | 50.00 | 50.00 | 1800.00 | 1800.00 | 232.00 | 232.00 | 29.00 | Rahul Constructions
1.03 | Kota Flooring Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :25mm thick | 10.64 | Sqm |  | 1265.00 | 13459.60 | 1800.00 | 19152.00 | 1199.00 | 12757.36 | 1500.00 | 15960.00 | 2300.00 | 24472.00 | 2001.00 | 21290.64 | 12757.36 | Rahul Constructions
1.03 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 1.58 | Sqm |  | 1680.00 | 2654.40 | 2000.00 | 3160.00 | 1199.00 | 1894.42 | 1800.00 | 2844.00 | 1400.00 | 2212.00 | 2530.00 | 3997.40 | 1894.42 | Rahul Constructions
1.03 | Providing and laying Digital Vitrified tiles Matt/Anti skid in floor with given sizes, with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with 32 mm( average) cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily, including grouting of joints with non shrink epoxy grout in matching shade and colour. Grooves shall be provided using plastic spacers as per approved design and drawing.-Anti Skid Flooring_Size of Tile 600 x 600 mm | 2.40 | Sqm |  | 1125.00 | 2700.00 | 1400.00 | 3360.00 | 999.00 | 2397.60 | 1000.00 | 2400.00 | 1150.00 | 2760.00 | 2589.00 | 6213.60 | 2397.60 | Rahul Constructions
1.03 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 14.64 | Sqm |  | 1120.00 | 16396.80 | 1000.00 | 14640.00 | 799.00 | 11697.36 | 1000.00 | 14640.00 | 2100.00 | 30744.00 | 1872.00 | 27406.08 | 11697.36 | Rahul Constructions
1.03 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33 mm thick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondaryintermediate cross-T of size 24x32 mm of length 600 mm to formgrid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6 mm thick with precut hole on both 25 mm flange to pierce into 12x50 mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directionsof the Engineer-in-Charge. With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 8.84 | Sqm |  | 1680.00 | 14851.20 | 1900.00 | 16796.00 | 1299.00 | 11483.16 | 1800.00 | 15912.00 | 1800.00 | 15912.00 | 1614.00 | 14267.76 | 11483.16 | Rahul Constructions
1.03 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending | 2.40 | Sqm |  | 1620.00 | 3888.00 | 1800.00 | 4320.00 | 1299.00 | 3117.60 | 1800.00 | 4320.00 | 300.00 | 720.00 | 1911.00 | 4586.40 | 720.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.03 | 12 mm self curing polymer cement plaster of mix : 1:4 (1 cement: 4 fine sand), Wall Internal | 23.02 | Sqm |  | 265.00 | 6100.30 | 300.00 | 6906.00 | 249.00 | 5731.98 | 300.00 | 6906.00 | 300.00 | 6906.00 | 413.00 | 9507.26 | 5731.98 | Rahul Constructions
1.04 | 6 mm cement plaster of mix : 1:3 (1 cement: 3 fine sand) Ceiling | 2.40 | Sqm |  | 265.00 | 636.00 | 250.00 | 600.00 | 199.00 | 477.60 | 250.00 | 600.00 | 250.00 | 600.00 | 336.00 | 806.40 | 477.60 | Rahul Constructions
1.04 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 25.42 | Sqm |  | 140.00 | 3558.80 | 155.00 | 3940.10 | 69.00 | 1753.98 | 150.00 | 3813.00 | 150.00 | 3813.00 | 529.00 | 13447.18 | 1753.98 | Rahul Constructions
1.04 | Painting with silicon & acrylic emulsion based water thinnable sealer ofapproved brand and manufacture on wet or patchy portion of plastered surfaces : Paint Acrylic Emulsion Paint_Two or more coats on new work | 23.02 | Sqm |  | 105.00 | 2417.10 | 150.00 | 3453.00 | 69.00 | 1588.38 | 100.00 | 2302.00 | 210.00 | 4834.20 | 267.00 | 6146.34 | 1588.38 | Rahul Constructions
1.04 | Finishing walls with textured exterior paint of required shade : New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm | 2.40 | Sqm |  | 115.00 | 276.00 | 210.00 | 504.00 | 69.00 | 165.60 | 100.00 | 240.00 | 5000.00 | 12000.00 | 362.00 | 868.80 | 165.60 | Rahul Constructions
1.04 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 4.03 | Sqm |  | 3250.00 | 13097.50 | 4200.00 | 16926.00 | 2499.00 | 10070.97 | 4000.00 | 16120.00 | 23000.00 | 92690.00 | 4906.00 | 19771.18 | 10070.97 | Rahul Constructions
1.04 | Stone Jali-Supplying and installation stone jaali of Dholpur beige sand stone 40 mm thick ,size as per architectural drawing istallation with the help of SS Cramps grade of 304 orDholpur stone frame work 30mm thick with the help of Cement mortar in ratio of 1:4 as per the direction of EIC | 2.00 | Sqm |  | 16500.00 | 33000.00 | 14000.00 | 28000.00 | 20999.00 | 41998.00 | 20000.00 | 40000.00 | 34000.00 | 68000.00 | 6456.00 | 12912.00 | 12912.00 | DY Infra & Projects Private Limited
1.04 | Stone Kangura / Edge Motifs Providing and fixing dry cladding of Kangura having curving or inlay work with the help of adhesive or araldite of Dholpur Biege sandstone on Bansi-Pahadpur Red sandstone thickness 75mm size as per architectural drawing, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be considered separately). | 35.00 | Rmt |  | 22850.00 | 799750.00 | 21500.00 | 752500.00 | 29999.00 | 1049965.00 | 32000.00 | 1120000.00 | 55000.00 | 1925000.00 | 3877.00 | 135695.00 | 135695.00 | DY Infra & Projects Private Limited
1.04 | Stone Cladded Arch Providing and fixing dry cladding of Stone Arch on entrance having curving or inlay work of Dholpur Biege sandstone on Bansi-Pahadpur Red sandstone thickness 300mm size as per architectural drawing, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be considered separately). | 30.00 | Sqm |  | 52000.00 | 1560000.00 | 48000.00 | 1440000.00 | 66666.00 | 1999980.00 | 82000.00 | 2460000.00 | 5000.00 | 150000.00 | 6973.00 | 209190.00 | 150000.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.04 | Stone Cladding work-Providing and fixing dry cladding for walls and columns heights as per design with 30mm thick Dholpur Biege sandstone with (machine cut edges) of uniform colour and size up-to 1mx1m, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be considered separately). | 337.99 | Sqm |  | 3850.00 | 1301261.50 | 4350.00 | 1470256.50 | 3999.00 | 1351622.01 | 4650.00 | 1571653.50 | 4800.00 | 1622352.00 | 4583.00 | 1549008.17 | 1301261.50 | S.K. CONSTRUCTION
1.04 | Stone Circular Pillar Providing and fixing circular pillars of Bansi-Pahadpur red sandstone on 40mm Dholpur Biege stone as per architectural drawing, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be considered separately). | 91.80 | Sqm |  | 4850.00 | 445230.00 | 5500.00 | 504900.00 | 4299.00 | 394648.20 | 5200.00 | 477360.00 | 6500.00 | 596700.00 | 5681.00 | 521515.80 | 394648.20 | Rahul Constructions
1.05 | HCP (Bulk Head Cladding) Providing and fixing Honeycomb panels of 12mm thickness with honeycomb consisting of two skins of flat smooth Aluminum alloy AA3005, with an outer skin thickness of 0.7 mm and inner skin thickness of 0.5mm. The panel should be Tested for Seismic Zone III compliance as per IS 1893 part 1-2016. Panel shall be factory manufactured to the required width subject to a maximum width of 1500mm and to the required lengths subject to maximum of 4500 mm and shall essentially have each 12mm thick panel with panel edges on all four sides closed. The Honeycomb panels shall be roll formed and high pressure pressed in controlled factory conditions with two part high temperature cured PU glue and with two consisting of aluminum skins and using a pre-treated corrosion resistant core of honeycomb Aluminium having a core diameter of 19mm and foil thickness of 0.076 mm. The 25mm thick panel will be finished on the exterior/ exposed surface with coil coated finish, and on the inner surface with primer coating. The 12mm thick panels shall be secured to the aluminum support/ sub structure erected along the panel lengths vertically consisting L angles 40X40X2 self-anodized finished to 15 microns and erected within the tolerances of +/ - span/1000 of plumb line and level with a non-cumulative tolerance of a maximum of 2mm Aluminium alloy for substructure will comply with ISO 6063. The substructure will be fixed to the support wall by means of 40X40X2 mm – angular Aluminium brackets with wedge type/ RAWL PLUG stainless steel anchor fastener/ HILTI or equivalent chemical fastener. The brackets will allow for a vertical and horizontal alignment tolerance of +/- 12,5mm. The panels shall be secured to the above support allowing for expansion by means of a fixing side extrusion pop riveted to the outer and inner skin and shall be fixed with aluminium “W” clamp at a distance of 150mm at panel ends and 600 – 750 mm c/c based on each panel length. The 15mm wide joint shall be covered and finished with a 10mm wide metal cover extrusion coated to the same colour, press fit to two-spring clip fixed on each “W” clamp as per Fixing detail. The Vertical joints shall have a cover profile joint of standard width of 15mm finished with 10mm metal cover and will incorporate facilities for allowing adjustment of +/- 1mm. The panel shall not be fixed in the width direction and shall allow for expansion. ASTM E 84 Standard test method for surface burning characteristics of building materials. BS 476-Part 6 Fire tests on building materials and structures. Method of test for fire propagation. BS 476-Part 7 Fire tests on building materials and structures. Method of test to determine the classification of the surface spread of flame of products.BS 476 (Part6 and Part7) (To meet the class 0 national building regulation) EN 13501-1 reaction to fire classification procedure along with NFPA 285 real time test. | 313.24 | Sqm |  | 6880.00 | 2155091.20 | 5800.00 | 1816792.00 | 5555.00 | 1740048.20 | 6600.00 | 2067384.00 | 450.00 | 140958.00 | 7747.00 | 2426670.28 | 140958.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.05 | Waterproofing Of Toilets/Sunken Toilet Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry | 4.34 | Sqm |  | 610.00 | 2647.40 | 500.00 | 2170.00 | 449.00 | 1948.66 | 500.00 | 2170.00 | 600.00 | 2604.00 | 542.00 | 2352.28 | 1948.66 | Rahul Constructions
1.05 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/ sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured. | 29.75 | Sqm |  | 590.00 | 17552.50 | 600.00 | 17850.00 | 499.00 | 14845.25 | 500.00 | 14875.00 | 700.00 | 20825.00 | 839.00 | 24960.25 | 14845.25 | Rahul Constructions
1.05 | Add for using extra cement in the items of design mix over and above thespecified cement content therein. | 28.00 | qtl |  | 550.00 | 15400.00 | 800.00 | 22400.00 | 499.00 | 13972.00 | 525.00 | 14700.00 | 2000.00 | 56000.00 | 1033.00 | 28924.00 | 13972.00 | Rahul Constructions
1.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge 1)In cement mortar | 20.00 | cum |  | 1850.00 | 37000.00 | 1500.00 | 30000.00 | 899.00 | 17980.00 | 1600.00 | 32000.00 | 350.00 | 7000.00 | 968.00 | 19360.00 | 7000.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.05 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : 1)Of area 3 sq. metres and below | 5.00 | each |  | 250.00 | 1250.00 | 200.00 | 1000.00 | 399.00 | 1995.00 | 250.00 | 1250.00 | 6.00 | 30.00 | 491.00 | 2455.00 | 30.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.05 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 20000.00 | kg |  | 2.00 | 40000.00 | 3.00 | 60000.00 | 3.00 | 60000.00 | 2.00 | 40000.00 | 100.00 | 2000000.00 | 7.15 | 143000.00 | 40000.00 | M/s Awadhesh Construction, S.K. CONSTRUCTION
1.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. 1)For thickness of tiles above 25 mm and up to 40 mm | 30.00 | sqm |  | 60.00 | 1800.00 | 50.00 | 1500.00 | 66.00 | 1980.00 | 100.00 | 3000.00 | 2000.00 | 60000.00 | 161.00 | 4830.00 | 1500.00 | MINOCHA CONSTRUCTION COMPANY
1.05 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer -in - charge 1)Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 10.00 | cum |  | 1260.00 | 12600.00 | 2000.00 | 20000.00 | 1111.00 | 11110.00 | 1000.00 | 10000.00 | 2100.00 | 21000.00 | 2101.00 | 21010.00 | 10000.00 | M/s Awadhesh Construction
1.06 | Providing and fixing Motorised Double Leaf Sliding Folding gate with six leaves on both side ( clear width -14.0 metre ,Overall width-16.40 metre, Clear height- 2.0 metre ) Gate made of mild steel with one or more coat of grey/any epoxy colour by spray as decided by EIC ,Sonic 1500J -CE marked Actuator in accordance with European directives or equivalent and standards ,Three station Push button ,Pair of photocells with anodised aluminium vertical moulding ,Flashing light etc all include as per satisfaction of EIC | 2.00 | Each |  | 1285600.00 | 2571200.00 | 1295000.00 | 2590000.00 | 1444444.00 | 2888888.00 | 1325000.00 | 2650000.00 | 900000.00 | 1800000.00 | 1246545.00 | 2493090.00 | 1800000.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.06 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured).1)Suspended floors, roofs, landings, beams and balconies (Plan area to be measured) | 555.00 | sqm |  | 180.00 | 99900.00 | 280.00 | 155400.00 | 299.00 | 165945.00 | 250.00 | 138750.00 | 250.00 | 138750.00 | 558.00 | 309690.00 | 99900.00 | S.K. CONSTRUCTION
1.06 | Providing and fixing expandable fasteners of specified size with necessary plastic sleeves and galvanised M.S. screws including drilling holes in masonry work /CCI R.C.C. and making good etc. complete. 1)50 mm long | 2000.00 | Each |  | 25.00 | 50000.00 | 25.00 | 50000.00 | 21.00 | 42000.00 | 20.00 | 40000.00 | 25.00 | 50000.00 | 95.00 | 190000.00 | 40000.00 | M/s Awadhesh Construction
1.06 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gram), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc complete as per direction of the Engineer-in-charge. | 1848.00 | Each |  | 380.00 | 702240.00 | 300.00 | 554400.00 | 299.00 | 552552.00 | 350.00 | 646800.00 | 350.00 | 646800.00 | 345.00 | 637560.00 | 552552.00 | Rahul Constructions
1.06 | Providing Engineering Consultancy Services for Steel structure for Entry and exist gate ,shop drawing for stone works , RCC foundation work, i/c design vetted by I.I.T/NIT, detailed Construction & Architectural drawings and revision of drawing if required during execution etc. as specified in tender document and any other details related to consultancy work which are essential for successful execution of works etc complete as per particular specification and direction of EIC. | 1.00 | job |  | 155000.00 | 155000.00 | 200000.00 | 200000.00 | 222222.00 | 222222.00 | 300000.00 | 300000.00 | 25000.00 | 25000.00 | 374508.00 | 374508.00 | 25000.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.06 | Boring with hydraulic piling rigs with power units, providing and installing cast in situ single under reamed piles of specified diameter and length below pile cap in M-25 cement concrete, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and the length of the pile to be embedded in pile cap etc. all complete. (Length of pile for payment shall be measured upto to the bottom of pile cap) : 1) 450 mm dia piles | 162.00 | Metre |  | 3610.00 | 584820.00 | 3600.00 | 583200.00 | 3199.00 | 518238.00 | 3500.00 | 567000.00 | 300.00 | 48600.00 | 3328.00 | 539136.00 | 48600.00 | A.L.T. PROJECTS PRIVATE LIMITED
1.06 | Extra over single under ream for providing additional bulbs in under reamed piles, under specified diameter(only the nos. of extra bulbs are to be paid 1)450 mm dia piles | 36.00 | each |  | 3200.00 | 115200.00 | 2800.00 | 100800.00 | 2599.00 | 93564.00 | 2500.00 | 90000.00 | 3100.00 | 111600.00 | 1614.00 | 58104.00 | 58104.00 | DY Infra & Projects Private Limited
1.06 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 1.00 | Each |  | 8500.00 | 8500.00 | 12000.00 | 12000.00 | 7999.00 | 7999.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10329.00 | 10329.00 | 7999.00 | Rahul Constructions
1.06 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 880.00 | 880.00 | 7000.00 | 7000.00 | 999.00 | 999.00 | 1000.00 | 1000.00 | 1340.00 | 1340.00 | 5810.00 | 5810.00 | 880.00 | S.K. CONSTRUCTION
1.06 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 1.00 | Each |  | 850.00 | 850.00 | 1200.00 | 1200.00 | 799.00 | 799.00 | 900.00 | 900.00 | 1034.00 | 1034.00 | 1227.00 | 1227.00 | 799.00 | Rahul Constructions
1.07 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour: Waste coupling 38mm of 83 mm length and 77 mm breadth weighing not less than 60gms. | 1.00 | Each |  | 100.00 | 100.00 | 400.00 | 400.00 | 99.00 | 99.00 | 100.00 | 100.00 | 122.40 | 122.40 | 775.00 | 775.00 | 99.00 | Rahul Constructions
1.07 | Providing and fixing toilet paper holder : C.P. brass | 1.00 | Each |  | 650.00 | 650.00 | 500.00 | 500.00 | 599.00 | 599.00 | 700.00 | 700.00 | 800.00 | 800.00 | 1356.00 | 1356.00 | 500.00 | MINOCHA CONSTRUCTION COMPANY
1.07 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 1.00 | Each |  | 210.00 | 210.00 | 250.00 | 250.00 | 299.00 | 299.00 | 250.00 | 250.00 | 350.00 | 350.00 | 2324.00 | 2324.00 | 210.00 | S.K. CONSTRUCTION
1.07 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 1.00 | Each |  | 150.00 | 150.00 | 500.00 | 500.00 | 99.00 | 99.00 | 100.00 | 100.00 | 170.00 | 170.00 | 2324.00 | 2324.00 | 99.00 | Rahul Constructions
1.07 | Providing and fixing of C.P. brass twin coat hook with PVC rawl plug & C.P. brass screw complete as required. | 1.00 | Each |  | 560.00 | 560.00 | 200.00 | 200.00 | 499.00 | 499.00 | 550.00 | 550.00 | 680.00 | 680.00 | 1033.00 | 1033.00 | 200.00 | MINOCHA CONSTRUCTION COMPANY
1.07 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each |  | 1250.00 | 1250.00 | 1500.00 | 1500.00 | 1299.00 | 1299.00 | 1000.00 | 1000.00 | 1600.00 | 1600.00 | 2324.00 | 2324.00 | 1000.00 | M/s Awadhesh Construction
1.07 | Providing and fixing C.P. brass angle valve for basin mixer points of approved quality conforming to IS:8931 15mm nominal bore | 3.00 | Each |  | 450.00 | 1350.00 | 500.00 | 1500.00 | 399.00 | 1197.00 | 500.00 | 1500.00 | 575.00 | 1725.00 | 1937.00 | 5811.00 | 1197.00 | Rahul Constructions
1.07 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | 1.00 | Each |  | 65.00 | 65.00 | 110.00 | 110.00 | 111.00 | 111.00 | 100.00 | 100.00 | 142.00 | 142.00 | 1549.00 | 1549.00 | 65.00 | S.K. CONSTRUCTION
1.07 | Providing, fixing, jointing, testing and commissioning UPVC pipe (Class III - 6 Kg.) conforming to IS:4985 cut to required lengths including all necessary fittings and specials. UPVC fittings IS : 7834 (Part I to Part-7) 1987 (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, cleanout plug, adaptors for connections to other materials, plugs, reducers, cowls, offsets and other specials. Fixing at wall/ceiling level supported by galvanized steel clamps & hangers etc. Making proper connection with cement solvent joint as per BIS / manufacturer. Cutting, chases / holes in floors / walls / slab. 63 mm OD | 5.00 | Metre |  | 210.00 | 1050.00 | 250.00 | 1250.00 | 199.00 | 995.00 | 200.00 | 1000.00 | 251.00 | 1255.00 | 646.00 | 3230.00 | 995.00 | Rahul Constructions
1.07 | Providing, fixing, jointing, testing and commissioning UPVC pipe (Class III - 6 Kg.) conforming to IS:4985 cut to required lengths including all necessary fittings and specials. UPVC fittings IS : 7834 (Part I to Part-7) 1987 (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, cleanout plug, adaptors for connections to other materials, plugs, reducers, cowls, offsets and other specials. Fixing at wall/ceiling level supported by galvanized steel clamps & hangers etc. Making proper connection with cement solvent joint as per BIS / manufacturer. Cutting, chases / holes in floors / walls / slab. 40 mm OD | 5.00 | Metre |  | 110.00 | 550.00 | 100.00 | 500.00 | 99.00 | 495.00 | 80.00 | 400.00 | 103.00 | 515.00 | 516.00 | 2580.00 | 400.00 | M/s Awadhesh Construction
1.08 | Providing, jointing, testing and fixing UPVC Soil, Waste & Vent system conforming to IS : 13592 (Type-B) and UPVC fittings (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, saddle pieces, cleanouts, adaptors for connections to other materials, plugs, reducers, cowls, offset and other specials. Jointing shall be done with push fit EPDM ring jointing technique in general. Solvent cement joints may be provided for fittings and specials which are not manufactured with push fit rubber joints. Fixing at wall/ceiling level supported by galvanized steel clamps & hangers etc. Making proper connection and also pipes may be laid / fixed in sunken floors, under slung from ceiling. The pipes laid in sunken floor shall be encased with not less than 75 mm thick cement concrete (1:2:4) all around. The installation shall be complete in all respects including cutting chases / holes in walls, slabs and making good the same as per specifications. (All major MS structure to hold the stack is included in this item).110 OD Type B | 15.00 | Metre |  | 465.00 | 6975.00 | 750.00 | 11250.00 | 699.00 | 10485.00 | 700.00 | 10500.00 | 810.00 | 12150.00 | 646.00 | 9690.00 | 6975.00 | S.K. CONSTRUCTION
1.08 | Providing, jointing, testing and fixing UPVC Rain water system conforming to IS : 13592 (Type -A) and UPVC fittings (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, saddle pieces, cleanouts, adaptors for connections to other materials, plugs, reducers, cowls, offset and other specials. Jointing shall be done with push fit EPDM ring jointing technique in general. Solvent cement joints may be provided for fittings and specials which are not manufactured with push fit rubber joints. Fixing at wall/ceiling level supported by galvanized steel clamps & hangers etc. Making proper connection and also pipes may be laid / fixed in sunken floors, under slung from ceiling. The pipes laid in sunken floor shall be encased with not less than 75 mm thick cement concrete (1:2:4) all around. The installation shall be complete in all respects including cutting chases / holes in walls, slabs and making good the same as per specifications. (All major MS structure to hold the stack is included in this item). 110 mm dia Type A | 40.00 | Metre |  | 380.00 | 15200.00 | 400.00 | 16000.00 | 333.00 | 13320.00 | 300.00 | 12000.00 | 484.00 | 19360.00 | 516.00 | 20640.00 | 12000.00 | M/s Awadhesh Construction
1.08 | Providing, jointing, testing and fixing UPVC Rain water system conforming to IS : 13592 (Type -A) and UPVC fittings (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, saddle pieces, cleanouts, adaptors for connections to other materials, plugs, reducers, cowls, offset and other specials. Jointing shall be done with push fit EPDM ring jointing technique in general. Solvent cement joints may be provided for fittings and specials which are not manufactured with push fit rubber joints. Fixing at wall/ceiling level supported by galvanized steel clamps & hangers etc. Making proper connection and also pipes may be laid / fixed in sunken floors, under slung from ceiling. The pipes laid in sunken floor shall be encased with not less than 75 mm thick cement concrete (1:2:4) all around. The installation shall be complete in all respects including cutting chases / holes in walls, slabs and making good the same as per specifications. (All major MS structure to hold the stack is included in this item). 75 mm dia Type A | 8.00 | Metre |  | 310.00 | 2480.00 | 280.00 | 2240.00 | 299.00 | 2392.00 | 250.00 | 2000.00 | 349.00 | 2792.00 | 491.00 | 3928.00 | 2000.00 | M/s Awadhesh Construction
1.08 | Providing and fixing UPVC/SWR trap (P trap) of self cleaning design as per IS:13592 : 1992 complete including cost of cutting and making good the cutouts in walls and floors etc.including cutting and making good the walls and floors wherever required complete. 110 mm inlet and 110 mm outlet | 2.00 | Each |  | 600.00 | 1200.00 | 500.00 | 1000.00 | 399.00 | 798.00 | 400.00 | 800.00 | 560.00 | 1120.00 | 775.00 | 1550.00 | 798.00 | Rahul Constructions
1.08 | Providing and fixing in position reducing elbow (Floor Drain) of 110x63 mm dia uPVC floor Drain including fix to floor with cement mortor. | 1.00 | Each |  | 150.00 | 150.00 | 125.00 | 125.00 | 99.00 | 99.00 | 100.00 | 100.00 | 150.00 | 150.00 | 581.00 | 581.00 | 99.00 | Rahul Constructions
1.08 | Providing and fixing Inlet Fitting for trap, formed out of 110 mm PVC pipe with multiple side inlets formed with saddle pieces, suitable for 40, 50 and 63 mm dia side connections as per standard detail and support through galvanized steel support from slab or set in cement concrete mix 1:2:4 including cutting and making good the walls and floors wherever required. | 1.00 | Each |  | 350.00 | 350.00 | 300.00 | 300.00 | 222.00 | 222.00 | 300.00 | 300.00 | 320.00 | 320.00 | 710.00 | 710.00 | 222.00 | Rahul Constructions
1.08 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 3.00 | Each |  | 60.00 | 180.00 | 50.00 | 150.00 | 29.00 | 87.00 | 40.00 | 120.00 | 50.00 | 150.00 | 2324.00 | 6972.00 | 87.00 | Rahul Constructions
1.08 | Providing and fixing un-plasticised -PVC pipe clips of approved design to un-plasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 75 mm | 5.00 | Each |  | 250.00 | 1250.00 | 350.00 | 1750.00 | 222.00 | 1110.00 | 300.00 | 1500.00 | 365.00 | 1825.00 | 116.00 | 580.00 | 580.00 | DY Infra & Projects Private Limited
1.08 | Providing and fixing un-plasticised -PVC pipe clips of approved design to un-plasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 25.00 | Each |  | 260.00 | 6500.00 | 325.00 | 8125.00 | 299.00 | 7475.00 | 300.00 | 7500.00 | 350.00 | 8750.00 | 142.00 | 3550.00 | 3550.00 | DY Infra & Projects Private Limited
1.08 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diametre and weighing not less than 440 grams. | 4.00 | Each |  | 50.00 | 200.00 | 100.00 | 400.00 | 22.00 | 88.00 | 40.00 | 160.00 | 54.00 | 216.00 | 1662.00 | 6648.00 | 88.00 | Rahul Constructions
1.09 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V .C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4.00 | Each |  | 250.00 | 1000.00 | 200.00 | 800.00 | 99.00 | 396.00 | 200.00 | 800.00 | 298.00 | 1192.00 | 3228.00 | 12912.00 | 396.00 | Rahul Constructions
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings including fixing the pipes with clamps at 1.0 m spacing .This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Note: Upto 2 inch dia — CPVC pipes and fittings conforming to IS: 15778:2007 of SDR 11 Grade. Above 2 inch dia — CPVC pipes and fittings of Schedule 40 with sch 80 fittings. Internal work - Exposed on wall 15 mm dia nominal bore | 10.00 | Metre |  | 215.00 | 2150.00 | 225.00 | 2250.00 | 199.00 | 1990.00 | 200.00 | 2000.00 | 280.00 | 2800.00 | 204.00 | 2040.00 | 1990.00 | Rahul Constructions
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings including fixing the pipes with clamps at 1.0 m spacing .This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Note: Upto 2 inch dia — CPVC pipes and fittings conforming to IS: 15778:2007 of SDR 11 Grade. Above 2 inch dia — CPVC pipes and fittings of Schedule 40 with sch 80 fittings. Internal work - Exposed on wall-20 mm dia nominal bore | 10.00 | Metre |  | 265.00 | 2650.00 | 300.00 | 3000.00 | 222.00 | 2220.00 | 250.00 | 2500.00 | 330.00 | 3300.00 | 362.00 | 3620.00 | 2220.00 | Rahul Constructions
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings including fixing the pipes with clamps at 1.0 m spacing .This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Note: Upto 2 inch dia — CPVC pipes and fittings conforming to IS: 15778:2007 of SDR 11 Grade. Above 2 inch dia — CPVC pipes and fittings of Schedule 40 with sch 80 fittings. Internal work - Exposed on wall-25 mm dia nominal bore | 5.00 | Metre |  | 310.00 | 1550.00 | 355.00 | 1775.00 | 299.00 | 1495.00 | 300.00 | 1500.00 | 400.00 | 2000.00 | 439.00 | 2195.00 | 1495.00 | Rahul Constructions
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings including fixing the pipes with clamps at 1.0 m spacing .This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Note: Upto 2 inch dia — CPVC pipes and fittings conforming to IS: 15778:2007 of SDR 11 Grade. Above 2 inch dia — CPVC pipes and fittings of Schedule 40 with sch 80 fittings. concealed work ,including cutting chase and making good the wall etc. 15 mm nominal dia Pipes | 10.00 | Metre |  | 300.00 | 3000.00 | 425.00 | 4250.00 | 333.00 | 3330.00 | 350.00 | 3500.00 | 490.00 | 4900.00 | 232.00 | 2320.00 | 2320.00 | DY Infra & Projects Private Limited
1.09 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings including fixing the pipes with clamps at 1.0 m spacing .This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Note: Upto 2 inch dia — CPVC pipes and fittings conforming to IS: 15778:2007 of SDR 11 Grade. Above 2 inch dia — CPVC pipes and fittings of Schedule 40 with sch 80 fittings. concealed work ,including cutting chase and making good the wall etc. 20 mm nominal dia Pipes | 15.00 | Metre |  | 365.00 | 5475.00 | 500.00 | 7500.00 | 349.00 | 5235.00 | 450.00 | 6750.00 | 540.00 | 8100.00 | 258.00 | 3870.00 | 3870.00 | DY Infra & Projects Private Limited
1.09 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20mm nominal bore | 2.00 | Each |  | 250.00 | 500.00 | 455.00 | 910.00 | 399.00 | 798.00 | 350.00 | 700.00 | 462.00 | 924.00 | 1808.00 | 3616.00 | 500.00 | S.K. CONSTRUCTION
1.09 | Providing & fixing Auto Air vent for water supply risers, suitable for pressure not less than 15 Kg/Sq.cm. 25 mm dia | 1.00 | Each |  | 500.00 | 500.00 | 1000.00 | 1000.00 | 799.00 | 799.00 | 900.00 | 900.00 | 1110.00 | 1110.00 | 2324.00 | 2324.00 | 500.00 | S.K. CONSTRUCTION
1.09 | Providing and fixing motorized valve including control wiring upto panel & ON/OFF arrangement and all other accessories required to make the system complete including control unit to be made of good quality PVC box, as per IP 65 with cable gland also as per IP 65 and suitable for outdoor installation complete with suitable wiring. This unit should be suitable to operate solenoid valve, float switch and consisting of contactors, control transformer, MCB, Potential free contacts for BMS, indicating lamp for automatic operation of filling OH tank with level to be mentioned between 70% (low) to 100% (full) 25 mm nominal bore | 1.00 | Each |  | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 3999.00 | 3999.00 | 4000.00 | 4000.00 | 5500.00 | 5500.00 | 12369.00 | 12369.00 | 3999.00 | Rahul Constructions
1.09 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :All kind of soil Pipes, cables etc, exceeding 80mm dia but not exeeding 300 mm dia | 20.00 | Metre |  | 200.00 | 4000.00 | 300.00 | 6000.00 | 299.00 | 5980.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 3228.00 | 64560.00 | 4000.00 | S.K. CONSTRUCTION
1.10 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :150 mm.dia. R.C.C. pipe | 20.00 | Metre |  | 510.00 | 10200.00 | 500.00 | 10000.00 | 444.00 | 8880.00 | 450.00 | 9000.00 | 550.00 | 11000.00 | 2389.00 | 47780.00 | 8880.00 | Rahul Constructions
1.10 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of RCC pipes including bed concrete as per standard design :150 mm diameter | 8.00 | Metre |  | 560.00 | 4480.00 | 650.00 | 5200.00 | 599.00 | 4792.00 | 600.00 | 4800.00 | 745.00 | 5960.00 | 2905.00 | 23240.00 | 4480.00 | S.K. CONSTRUCTION
1.10 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round RCC pipes including bed concrete as per standard design: 150 mm diameter | 20.00 | Metre |  | 650.00 | 13000.00 | 950.00 | 19000.00 | 799.00 | 15980.00 | 900.00 | 18000.00 | 1179.00 | 23580.00 | 2905.00 | 58100.00 | 13000.00 | S.K. CONSTRUCTION
1.10 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 2110.00 | 2110.00 | 1800.00 | 1800.00 | 2222.00 | 2222.00 | 2000.00 | 2000.00 | 2734.00 | 2734.00 | 10329.00 | 10329.00 | 1800.00 | MINOCHA CONSTRUCTION COMPANY
1.10 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm Nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm Nominal size), inside plastering 12mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1cement : 2 coarse sand : 4 graded stone aggregate 20mm Nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :With FPS bricks of class designation 7.5 | 4.00 | Each |  | 8500.00 | 34000.00 | 12000.00 | 48000.00 | 9999.00 | 39996.00 | 8000.00 | 32000.00 | 12500.00 | 50000.00 | 16139.00 | 64556.00 | 32000.00 | M/s Awadhesh Construction
1.10 | Extra for depth for manholes-Size 90x80 cm With FPS bricks of class designation 7.5 | 1.00 | Metre |  | 6500.00 | 6500.00 | 8000.00 | 8000.00 | 5555.00 | 5555.00 | 8000.00 | 8000.00 | 8825.00 | 8825.00 | 20658.00 | 20658.00 | 5555.00 | Rahul Constructions
1.10 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | Each |  | 4850.00 | 19400.00 | 5000.00 | 20000.00 | 3333.00 | 13332.00 | 4500.00 | 18000.00 | 5957.00 | 23828.00 | 16139.00 | 64556.00 | 13332.00 | Rahul Constructions
1.10 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | 32.00 | Each |  | 400.00 | 12800.00 | 455.00 | 14560.00 | 399.00 | 12768.00 | 400.00 | 12800.00 | 553.00 | 17696.00 | 452.00 | 14464.00 | 12768.00 | Rahul Constructions
1.10 | Providing and fixing Biodigester with all the fittings and required accessories excluding excavation & related civil work of size 1mx1mx0.75m installed as per the Engineer-in-charge. | 1.00 | No. |  | 45200.00 | 45200.00 | 55000.00 | 55000.00 | 55555.00 | 55555.00 | 55000.00 | 55000.00 | 64521.00 | 64521.00 | 32278.00 | 32278.00 | 32278.00 | DY Infra & Projects Private Limited
1.10 | Constructing soak pit 1.20x1.20x1.20 m filled with brick bats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 1.00 | No. |  | 2100.00 | 2100.00 | 5000.00 | 5000.00 | 2222.00 | 2222.00 | 2000.00 | 2000.00 | 2890.00 | 2890.00 | 41315.00 | 41315.00 | 2000.00 | M/s Awadhesh Construction
1.11 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 25 mm dia nominal bore | 350.00 | Metre |  | 380.00 | 133000.00 | 450.00 | 157500.00 | 399.00 | 139650.00 | 300.00 | 105000.00 | 310.00 | 108500.00 | 465.00 | 162750.00 | 105000.00 | M/s Awadhesh Construction
1.11 | Providing and fixing gunmetal gate valve with CI wheel of approved quality (Screwed end) 25 mm dia | 1.00 | Each |  | 600.00 | 600.00 | 800.00 | 800.00 | 499.00 | 499.00 | 500.00 | 500.00 | 620.00 | 620.00 | 1551.00 | 1551.00 | 499.00 | Rahul Constructions
1.11 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 8600.00 | 8600.00 | 1600.00 | 1600.00 | 7999.00 | 7999.00 | 8000.00 | 8000.00 | 10700.00 | 10700.00 | 19369.00 | 19369.00 | 1600.00 | MINOCHA CONSTRUCTION COMPANY
1.11 | Providing and placing on terrace ( at entry gate - toilet block) polyethylene water storage tan, IS : 12071 marked, with cover and suitable locking arragement and making necessary holes for inlet, outlet and overflow pipes but without fitting and the base support for tank. | 1000.00 | per litre |  | 14.00 | 14000.00 | 12.00 | 12000.00 | 8.00 | 8000.00 | 8.00 | 8000.00 | 9.00 | 9000.00 | 13.00 | 13000.00 | 8000.00 | M/s Awadhesh Construction, Rahul Constructions
2.00 | Electricial works :
2.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface / recessed medium class Steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. It should be complete within all respects as required. Group C | 10.00 | Point |  | 1650.00 | 16500.00 | 1560.00 | 15600.00 | 1999.00 | 19990.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 1872.00 | 18720.00 | 15000.00 | M/s Awadhesh Construction
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required. It should be complete within all respects as required. Group C | 24.00 | Point |  | 800.00 | 19200.00 | 935.00 | 22440.00 | 1111.00 | 26664.00 | 1000.00 | 24000.00 | 1150.00 | 27600.00 | 1356.00 | 32544.00 | 19200.00 | S.K. CONSTRUCTION
2.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed medium class Steel conduit alongwith 1 No. 4 sq. mm FRLS/HFFR PVC insulated copper conductor single core cable for loop earthing as required. It should be complete within all respects as required. | 20.21 | Metre |  | 415.00 | 8388.19 | 350.00 | 7074.38 | 444.00 | 8974.35 | 400.00 | 8085.00 | 450.00 | 9095.63 | 465.00 | 9398.81 | 7074.38 | MINOCHA CONSTRUCTION COMPANY
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class Steel conduit as required. It should be complete within all respects as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 62.50 | Metre |  | 380.00 | 23750.00 | 300.00 | 18750.00 | 333.00 | 20812.50 | 350.00 | 21875.00 | 400.00 | 25000.00 | 362.00 | 22625.00 | 18750.00 | MINOCHA CONSTRUCTION COMPANY
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class Steel conduit as required. It should be complete within all respects as required. 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 25.00 | Metre |  | 825.00 | 20625.00 | 700.00 | 17500.00 | 999.00 | 24975.00 | 800.00 | 20000.00 | 1000.00 | 25000.00 | 1162.00 | 29050.00 | 17500.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). (For UPS Supply on workstations). It should be complete within all respects as required. | 2.10 | Nos. |  | 800.00 | 1680.00 | 545.00 | 1144.50 | 699.00 | 1467.90 | 600.00 | 1260.00 | 750.00 | 1575.00 | 1227.00 | 2576.70 | 1144.50 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. It should be complete within all respects as required.-20 mm | 10.00 | Metre |  | 250.00 | 2500.00 | 195.00 | 1950.00 | 222.00 | 2220.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 207.00 | 2070.00 | 1950.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. It should be complete within all respects as required.-25 mm | 25.00 | Metre |  | 260.00 | 6500.00 | 195.00 | 4875.00 | 244.00 | 6100.00 | 200.00 | 5000.00 | 250.00 | 6250.00 | 232.00 | 5800.00 | 4875.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. It should be complete within all respects as required.-1 or 2 Module (75 mm x 75 mm) (For Telephone, Data, TV Outlets) | 4.20 | Each |  | 325.00 | 1365.00 | 255.00 | 1071.00 | 333.00 | 1398.60 | 300.00 | 1260.00 | 350.00 | 1470.00 | 620.00 | 2604.00 | 1071.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. It should be complete within all respects as required. | 2.10 | Each |  | 510.00 | 1071.00 | 330.00 | 693.00 | 499.00 | 1047.90 | 300.00 | 630.00 | 500.00 | 1050.00 | 775.00 | 1627.50 | 630.00 | M/s Awadhesh Construction
2.01 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. It should be complete within all respects as required. | 2.10 | Nos. |  | 600.00 | 1260.00 | 470.00 | 987.00 | 555.00 | 1165.50 | 500.00 | 1050.00 | 600.00 | 1260.00 | 1420.00 | 2982.00 | 987.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. It should be complete within all respects as required.-Telephone Socket Outlet | 2.10 | Each |  | 140.00 | 294.00 | 120.00 | 252.00 | 149.00 | 312.90 | 150.00 | 315.00 | 150.00 | 315.00 | 785.00 | 1648.50 | 252.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. It should be complete within all respects as required-Data (Cat-6A) Socket Outlet | 2.10 | Each |  | 140.00 | 294.00 | 120.00 | 252.00 | 149.00 | 312.90 | 150.00 | 315.00 | 150.00 | 315.00 | 904.00 | 1898.40 | 252.00 | MINOCHA CONSTRUCTION COMPANY
2.01 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. It should be complete within all respects as required.-2 Pair | 42.00 | Meter |  | 30.00 | 1260.00 | 25.00 | 1050.00 | 33.00 | 1386.00 | 25.00 | 1050.00 | 35.00 | 1470.00 | 129.00 | 5418.00 | 1050.00 | M/s Awadhesh Construction, MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying, drawing, Installation, Testing and commissioning of CAT6 UTP LSZH 23AWG Twisted Pair Cable in existing conduit/ on surface, Category 6 Unshielded Twisted Pair, 4 pair should be complied as per UL/ETL verification program for compliance with ANSI/TIA-568.2-D standard. Outer diameter should be in the range of 6.1mm nominal with Operating Temperature Range : -5° to +60°C, Bending Radius : < 4 X Cable Diameter at –5°C ± 1°C and Pulling Force : 11.5Kg etc. complete as required. 1 Run of cable. It should be complete within all respects as required. | 42.00 | Meter |  | 60.00 | 2520.00 | 45.00 | 1890.00 | 59.00 | 2478.00 | 50.00 | 2100.00 | 55.00 | 2310.00 | 168.00 | 7056.00 | 1890.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. It should be complete within all respects as required. | 2.00 | Each |  | 40.00 | 80.00 | 30.00 | 60.00 | 44.00 | 88.00 | 30.00 | 60.00 | 40.00 | 80.00 | 52.00 | 104.00 | 60.00 | M/s Awadhesh Construction, MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)-4 Way (4+12), Double Door | 1.00 | Nos. |  | 4200.00 | 4200.00 | 3120.00 | 3120.00 | 4333.00 | 4333.00 | 3500.00 | 3500.00 | 4300.00 | 4300.00 | 7101.00 | 7101.00 | 3120.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.-Single pole | 12.00 | Each |  | 250.00 | 3000.00 | 200.00 | 2400.00 | 277.00 | 3324.00 | 200.00 | 2400.00 | 270.00 | 3240.00 | 362.00 | 4344.00 | 2400.00 | M/s Awadhesh Construction, MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing of following rating, 240/415 volts, "C" curve, four pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.-40 Amp FP MCB | 1.00 | Nos. |  | 2650.00 | 2650.00 | 2340.00 | 2340.00 | 3111.00 | 3111.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 2582.00 | 2582.00 | 2340.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing of following rating double pole (Single phase and neutral) 240 volts, residual current circuit breaker (RCCB), having a current sensivity current 30 miliampere in the existing MCB DB complete with connections, testing & commissioning etc. as required.-40 Amp | 3.00 | Each |  | 2500.00 | 7500.00 | 1875.00 | 5625.00 | 2499.00 | 7497.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 3228.00 | 9684.00 | 5625.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 25.00 | Nos. |  | 15.00 | 375.00 | 9.50 | 237.50 | 14.00 | 350.00 | 14.00 | 350.00 | 14.00 | 350.00 | 85.00 | 2125.00 | 237.50 | MINOCHA CONSTRUCTION COMPANY
2.02 | LED Down lighter (SMD Type) (System lumen efficacy ≥ 105 < 120 lm/Watt ) Supplying, installation, Testing & Commissioning of LED Recessed/ surface Down lighter (Round/ square/ Rectangular) SMD type of following body material with PMMA and prismatic diffuser and construction as per IS :10322 with driver as per the requirement with Driver efficiency >85%,Operating voltage AC 140-270 Volt, frequency 50/60 hz, Operating temp range -15 deg to 40 deg centigrade, internal surge protection of 2.5 KV with Short & Open circuit protection ,THD < 10% , P. F.≥0.95, IP20, CRI>80 , UGR (Unified Glare Rating) < 19, Flicker free (flicker should be below5%), life time (LED,Driver & electrical circuitary), of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends , CCT 3000°K / 4000°K / 5700°K / 6000°K / 6500°K (As per ANSI Bin), SDCM (Standard Deviation Color Matching) <3, Maximum power consumption should not more than the specified rating and Fixture shall be confirming to relevant BIS standards and trade mark certificate (T.C.). Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing Complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy ≥105 and <120 lm/Watt output . LM79 & LM80 Test report from NABL lab for all testing required for LED fixtures as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement.(Thermal management: heat sink of aluminum housing such that LED junction temperature shall not rise above 90°C)-(12-15)Watt | 2.00 | Nos |  | 650.00 | 1300.00 | 545.00 | 1090.00 | 715.00 | 1430.00 | 500.00 | 1000.00 | 700.00 | 1400.00 | 9038.00 | 18076.00 | 1000.00 | M/s Awadhesh Construction
2.02 | LED Down lighter (SMD Type) (System lumen efficacy ≥ 105 < 120 lm/Watt ) Supplying, installation, Testing & Commissioning of LED Recessed/ surface Down lighter (Round/ square/ Rectangular) SMD type of following body material with PMMA and prismatic diffuser and construction as per IS :10322 with driver as per the requirement with Driver efficiency >85%,Operating voltage AC 140-270 Volt, frequency 50/60 hz, Operating temp range -15 deg to 40 deg centigrade, internal surge protection of 2.5 KV with Short & Open circuit protection ,THD < 10% , P. F.≥0.95, IP20, CRI>80 , UGR (Unified Glare Rating) < 19, Flicker free (flicker should be below5%), life time (LED,Driver & electrical circuitary), of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends , CCT 3000°K / 4000°K / 5700°K / 6000°K / 6500°K (As per ANSI Bin), SDCM (Standard Deviation Color Matching) <3, Maximum power consumption should not more than the specified rating and Fixture shall be confirming to relevant BIS standards and trade mark certificate (T.C.). Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing Complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy ≥105 and <120 lm/Watt output . LM79 & LM80 Test report from NABL lab for all testing required for LED fixtures as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement.(Thermal management: heat sink of aluminum housing such that LED junction temperature shall not rise above 90°C)-(12-15)Watt-18Watt | 22.00 | Nos |  | 800.00 | 17600.00 | 740.00 | 16280.00 | 820.00 | 18040.00 | 800.00 | 17600.00 | 900.00 | 19800.00 | 8392.00 | 184624.00 | 16280.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supply, Installation, Testing and Commissioning of ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal(Aluminium alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body. Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion)less than 10%, remote (preferably mobile app based) for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 0C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC supply Ceiling Fan compliant to IS 374:2019 fan i/c external connections with 1.5 sq.mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required.-1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum) | 2.00 | Nos |  | 2500.00 | 5000.00 | 1950.00 | 3900.00 | 2555.00 | 5110.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 6810.00 | 13620.00 | 3900.00 | MINOCHA CONSTRUCTION COMPANY
2.02 | Supply installation testing and commissioning of LED Gate light luminaire for Entrance & Exit with IP 65 min protection with aluminium extruded/ Die Cast housing with inbuilt driver of following wattage..-18 Watt | 8.00 | Nos |  | 6500.00 | 52000.00 | 6240.00 | 49920.00 | 8622.00 | 68976.00 | 7000.00 | 56000.00 | 8600.00 | 68800.00 | 3228.00 | 25824.00 | 25824.00 | DY Infra & Projects Private Limited
2.03 | Supply, Installation, Testing and Commissioning of propeller fans for exhaust air as shown on drawings. Each fan shall be complete with class "F" insulated motor, permanent split capacitor, mounting plate and accessories like wire guard, bird screen and gravity louvers for weather protection as required. Fan selection, arrangement and electrical characteristics shall be as follows :All Fans shall be provided with speed regulators, Quoted price shall be inclusive of copper power cabling from fan to single phase power point along with 3 pin plug.-200Ø | 1.00 | Nos |  | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 4550.00 | 4550.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3873.00 | 3873.00 | 3500.00 | S.K. CONSTRUCTION, MINOCHA CONSTRUCTION COMPANY
2.03 | Item related to Façade lighting : COLORLINEPROLS40WLED830P10C60DLTGGRY | 3.00 | nos. |  | 15600.00 | 46800.00 | 12500.00 | 37500.00 | 14444.00 | 43332.00 | 15000.00 | 45000.00 | 16000.00 | 48000.00 | 20658.00 | 61974.00 | 37500.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | L.SPARE DMX MALE SUPPLY CABLE 4C 1M | 1.00 | nos. |  | 900.00 | 900.00 | 700.00 | 700.00 | 888.00 | 888.00 | 800.00 | 800.00 | 930.00 | 930.00 | 1162.00 | 1162.00 | 700.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | L.SPARE DMX FEMALE SUPPLY CABLE 4C 1M | 1.00 | nos. |  | 950.00 | 950.00 | 700.00 | 700.00 | 888.00 | 888.00 | 800.00 | 800.00 | 950.00 | 950.00 | 1162.00 | 1162.00 | 700.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | L.SPARE DMX EXTENSION CABLE 4C 1M | 1.00 | nos. |  | 1200.00 | 1200.00 | 700.00 | 700.00 | 888.00 | 888.00 | 900.00 | 900.00 | 1000.00 | 1000.00 | 1149.00 | 1149.00 | 700.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | L.SPARE DMX EXTENSION CABLE 4C 3M | 1.00 | nos. |  | 1500.00 | 1500.00 | 740.00 | 740.00 | 1333.00 | 1333.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 1730.00 | 1730.00 | 740.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | CS JUNCTION BOX 3 WAY / IP68 connector | 3.00 | nos. |  | 250.00 | 750.00 | 175.00 | 525.00 | 222.00 | 666.00 | 200.00 | 600.00 | 220.00 | 660.00 | 1149.00 | 3447.00 | 525.00 | MINOCHA CONSTRUCTION COMPANY
2.03 | XPERIAPROLS75WLEDRGBNWP10DLTGGRY | 6.00 | nos. |  | 18500.00 | 111000.00 | 17150.00 | 102900.00 | 12222.00 | 73332.00 | 18000.00 | 108000.00 | 20000.00 | 120000.00 | 27761.00 | 166566.00 | 73332.00 | Rahul Constructions
2.03 | L.SPARE DMX MALE SUPPLY CABLE 4C 1M | 1.00 | nos. |  | 900.00 | 900.00 | 700.00 | 700.00 | 888.00 | 888.00 | 800.00 | 800.00 | 930.00 | 930.00 | 1578.00 | 1578.00 | 700.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | L.SPARE DMX FEMALE SUPPLY CABLE 4C 1M | 1.00 | nos. |  | 950.00 | 950.00 | 700.00 | 700.00 | 888.00 | 888.00 | 800.00 | 800.00 | 950.00 | 950.00 | 1578.00 | 1578.00 | 700.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | L.SPARE DMX EXTENSION CABLE 4C 1M | 3.00 | nos. |  | 1000.00 | 3000.00 | 700.00 | 2100.00 | 888.00 | 2664.00 | 900.00 | 2700.00 | 1000.00 | 3000.00 | 1149.00 | 3447.00 | 2100.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | L.SPARE DMX EXTENSION CABLE 4C 3M | 6.00 | nos. |  | 1500.00 | 9000.00 | 725.00 | 4350.00 | 1333.00 | 7998.00 | 1200.00 | 7200.00 | 1500.00 | 9000.00 | 1795.00 | 10770.00 | 4350.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | CS JUNCTION BOX 3 WAY | 6.00 | nos. |  | 210.00 | 1260.00 | 175.00 | 1050.00 | 222.00 | 1332.00 | 200.00 | 1200.00 | 220.00 | 1320.00 | 904.00 | 5424.00 | 1050.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | DMX CONTROLLER 4x512CH UE11 | 1.00 | nos. |  | 115000.00 | 115000.00 | 80000.00 | 80000.00 | 111111.00 | 111111.00 | 100000.00 | 100000.00 | 120000.00 | 120000.00 | 68555.00 | 68555.00 | 68555.00 | DY Infra & Projects Private Limited
2.04 | COLORSCAPE UNIVERSAL _ADDRESS WRITER | 1.00 | nos. |  | 32000.00 | 32000.00 | 20000.00 | 20000.00 | 25555.00 | 25555.00 | 28000.00 | 28000.00 | 30000.00 | 30000.00 | 21303.00 | 21303.00 | 20000.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | DMX AMPLIFIER 4 PIN M12 | 1.00 | nos. |  | 12500.00 | 12500.00 | 9350.00 | 9350.00 | 11111.00 | 11111.00 | 11000.00 | 11000.00 | 13300.00 | 13300.00 | 10329.00 | 10329.00 | 9350.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | DMX SPLITTER 8 WAY | 1.00 | nos. |  | 16500.00 | 16500.00 | 15500.00 | 15500.00 | 15555.00 | 15555.00 | 18000.00 | 18000.00 | 18000.00 | 18000.00 | 16655.00 | 16655.00 | 15500.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | Charges for DMX Programing and Commissioning | 1.00 | job |  | 35800.00 | 35800.00 | 25000.00 | 25000.00 | 33333.00 | 33333.00 | 35000.00 | 35000.00 | 41000.00 | 41000.00 | 47758.00 | 47758.00 | 25000.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | FLEXILINECOLORSCAPELED14.4W/MRGBW 5 meter roll | 10.00 | nos. |  | 6850.00 | 68500.00 | 4500.00 | 45000.00 | 5555.00 | 55550.00 | 6000.00 | 60000.00 | 7000.00 | 70000.00 | 7947.00 | 79470.00 | 45000.00 | MINOCHA CONSTRUCTION COMPANY
2.04 | LEDDRIVERCV350W24V14.6AEBV350S024SV | 4.00 | nos. |  | 8500.00 | 34000.00 | 1150.00 | 4600.00 | 8888.00 | 35552.00 | 8000.00 | 32000.00 | 10000.00 | 40000.00 | 7947.00 | 31788.00 | 4600.00 | MINOCHA CONSTRUCTION COMPANY
2.05 | DMX DECODER_RGBW_12V/24V_480W | 4.00 | nos. |  | 6800.00 | 27200.00 | 4500.00 | 18000.00 | 4444.00 | 17776.00 | 6000.00 | 24000.00 | 7000.00 | 28000.00 | 6759.00 | 27036.00 | 17776.00 | Rahul Constructions
2.05 | 1 Mtr wire 5pin IP67 Female Connector RGBW | 5.00 | nos. |  | 400.00 | 2000.00 | 300.00 | 1500.00 | 333.00 | 1665.00 | 300.00 | 1500.00 | 5500.00 | 27500.00 | 939.00 | 4695.00 | 1500.00 | M/s Awadhesh Construction, MINOCHA CONSTRUCTION COMPANY
2.05 | 1M EXTENSION WIRE 5PIN IP67 RGBW | 10.00 | nos. |  | 600.00 | 6000.00 | 450.00 | 4500.00 | 444.00 | 4440.00 | 600.00 | 6000.00 | 440.00 | 4400.00 | 1206.00 | 12060.00 | 4400.00 | A.L.T. PROJECTS PRIVATE LIMITED
2.05 | CS JUNCTION BOX 3 WAY | 5.00 | nos. |  | 210.00 | 1050.00 | 155.00 | 775.00 | 177.00 | 885.00 | 200.00 | 1000.00 | 590.00 | 2950.00 | 1065.00 | 5325.00 | 775.00 | MINOCHA CONSTRUCTION COMPANY
2.05 | Aluminium Channel with Diffuser (Running Meter) | 50.00 | rmtr. |  | 400.00 | 20000.00 | 300.00 | 15000.00 | 333.00 | 16650.00 | 300.00 | 15000.00 | 220.00 | 11000.00 | 507.00 | 25350.00 | 11000.00 | A.L.T. PROJECTS PRIVATE LIMITED
2.05 | Supply of 1.1kV grade 4CX25 sqmm XLPE insulated Aluminium conductor armoured power cable with FRLS property as per IS:7098 | 100.00 | Meters |  | 400.00 | 40000.00 | 300.00 | 30000.00 | 429.00 | 42900.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 781.00 | 78100.00 | 30000.00 | M/s Awadhesh Construction, MINOCHA CONSTRUCTION COMPANY
2.05 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. -Upto 35 sq. mm | 100.00 | Meters |  | 410.00 | 41000.00 | 310.00 | 31000.00 | 453.00 | 45300.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 1033.00 | 103300.00 | 31000.00 | MINOCHA CONSTRUCTION COMPANY
2.05 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.- 4 X 25 sq. mm (28mm) | 2.00 | Each |  | 350.00 | 700.00 | 270.00 | 540.00 | 373.00 | 746.00 | 300.00 | 600.00 | 350.00 | 700.00 | 1550.00 | 3100.00 | 540.00 | MINOCHA CONSTRUCTION COMPANY
2.05 | Illuminated Signage- Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in- Charge. All exterior signs should be manufactured considering harsh outdoor conditions, weatherproofing techniques and materials shall be used. Letter face :Providing and fixing blue/white translucent 040, 5mm thick acrylic box letter with 5mm thick walls 35 mm deep Back Channel :The channel letters would be made out of 1.2 mm thick aluminum, Letter to receive the front acrylic and house the controller and LEDs. All the letters would be made in profile to achieve true right angle. All mounting would be done in true plumb and using templet, keeping the alignment of the letters in one level. Lighting:All internal illumination shall be using LED of approved make with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per approved drawing by EIC. Size : 900 MM Letter Height Entry Side: लाल बहादुर शास्त्री अंतर्राष्ट्रीय हवाई अड्डे, वाराणसी में आपका स्वागत है-AAI Logo- Welcome to Lal Bhadhur Shastri International Airport, Varanasi Exit Side:आगमन के लिए धन्यवाद/ Thanks for Visiting. Drg. No. - Refer design drawing 1.8S, 1.8G (only for ref.) | 1.00 | Set |  | 1325000.00 | 1325000.00 | 1600000.00 | 1600000.00 | 1359394.54 | 1359394.54 | 2200000.00 | 2200000.00 | 2100000.00 | 2100000.00 | 1187812.00 | 1187812.00 | 1187812.00 | DY Infra & Projects Private Limited
| Total in Figures |  |  |  |  | 16593335.92 |  | 16922506.57 |  | 16444444.00 |  | 19751982.90 |  | 16831316.13 |  | 19985617.31
Lowest Amount Quoted BY: Rahul Constructions(16444444.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Main Entry and Exist Gate along with Guard room at LBSI Airport Varanasi Tender ID: 2026_AAI_288232_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rahul Constructions (BID ID -1067814) | 16444444.00 | L1
| 2 | S.K. CONSTRUCTION (BID ID -1067559) | 16593335.92 | L2
| 3 | A.L.T. PROJECTS PRIVATE LIMITED (BID ID -1060418) | 16831316.14 | L3
| 4 | MINOCHA CONSTRUCTION COMPANY (BID ID -1067779) | 16922506.58 | L4
| 5 | M/s Awadhesh Construction (BID ID -1066751) | 19751982.90 | L5
| 6 | DY Infra & Projects Private Limited (BID ID -1067275) | 19985617.31 | L6