## BoQ1
Government eProcurement System Created By: MUSHAM SREEDHAR BABU Created Date/Time: 22-Sep-2026 02:48 PM Tender Title: SITC of Gas Suppression System for NAV- AIDS and Integration of Fire Alarm System at Fire Control Room at Kalaburagi Airport Tender ID: 2026_AAI_288734_1
Tender Inviting Authority: Asst General Manager (Engg-E), AAI, Kalaburagi Airport
Name of Work: SITC of Gas Suppression System for NAV- AIDS and Integration of Fire Alarm System at Fire Control Room at Kalaburagi Airport
Contract No: 2026_AAI_288734_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -1068038 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -1068419 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -1069201 |  | SOUTHERN ELECTRONICS (BANGALORE) PRIVATE LIMITED (GSTN-NA) BID ID -1069062 |  | ALLIES FIRE SYSTEMS PVT LTD (GSTN-NA) BID ID -1068832 |  | Kalpataru Industries (GSTN-NA) BID ID -1068555
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: SITC of GAS Suppression System for NAV-AIDS
1.01 | Design, manufacuring, supply, installation, testing and commissioning of Gas Suppression System for the following area consisting of Cylinder PESO Approved, complete with UL / VDS/ PESO Approved valve assembly and arangement for supervisory switch connection for monitoring cylinder pressure, a pressure guage with a safety burst disc,electronic control head / Solenoid, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos. of Nozzles (UL / VDS listed), Piping, Manifold, conventional Fire Alarm cum Gas Release Panel with smoke detectors ,Manual gas release and abort station, Piping, Manifold, FRLS armoured copper cabling and required control modules (if required) etc. complete as required as per technical specifications. Location: Localizer Hut /Glide path Hut/ DVOR (Size: LxWxH= 4m x 5m x 3m= 60 m3) (±10%). Set mean Each site considered one job Note : (1) Gas (Quantity would be as per the volume given below and as per the UL / VDS certification.) CLEAN AGENT (FK-5-1-12) / Inert Gas with Zero Ozone Depletion Potential (ODP), has appearance / Colourless gas and odour less. (2) Complete designing of the system along with shop drawings and technical details of the components to be submitted for approval of EIC prior to execution of work. (3) The Cylinder, Volume of Gas, Nos. of Nozzles, discharge valves, piping design and pressure calculations using manufacturer design software for each rooms where fire protection is required duly approved by manufacturer (OEM) shall be submitted prior to commencement of the works | 3.00 | Set |  | 336000.00 | 1008000.00 | 280800.00 | 842400.00 | 400000.00 | 1200000.00 | 550000.00 | 1650000.00 | 680000.00 | 2040000.00 | 352467.00 | 1057401.00 | 842400.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | SH-II: SITC of Fire Alarm system at CCR/Power House/Fire Control Room and Integration with Existing Fire Alarm System.
2.01 | SITC of 4 loop addressable fire alarm panel including 2 loop card, mother board, batteries similar to existing fire alarm system at kalaburagi Airport make Ravel-Avani. | 2.00 | Set |  | 88650.00 | 177300.00 | 146690.00 | 293380.00 | 275000.00 | 550000.00 | 76315.00 | 152630.00 | 110000.00 | 220000.00 | 99800.00 | 199600.00 | 152630.00 | SOUTHERN ELECTRONICS (BANGALORE) PRIVATE LIMITED
2.02 | Supply & fixing of Photoelectric, Multi sensor smoke detectors along with mounting base with unique optical sensing chamber, visible LED's complete with all accessories including connections etc.with the existing system as required. Make Ravel model : RE317D-SL | 50.00 | Nos |  | 2100.00 | 105000.00 | 1720.00 | 86000.00 | 3000.00 | 150000.00 | 2040.00 | 102000.00 | 3250.00 | 162500.00 | 3210.00 | 160500.00 | 86000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.03 | Supply & fixing of Manual Call Point with all accessories including connections etc. suitable for existing system as required. | 4.00 | Nos |  | 2715.00 | 10860.00 | 3270.00 | 13080.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 3600.00 | 14400.00 | 5970.00 | 23880.00 | 10860.00 | Nexus Fire And Security Systems
2.04 | Supply & fixing of Hooter with all accessories including connections etc. suitable for existing system as required. | 4.00 | Nos |  | 1560.00 | 6240.00 | 3275.00 | 13100.00 | 4500.00 | 18000.00 | 4690.00 | 18760.00 | 4000.00 | 16000.00 | 5830.00 | 23320.00 | 6240.00 | Nexus Fire And Security Systems
2.05 | Supply of 2 X 1.5 sq.mm. Cu conductor, XLPE, 1.1 kv, steel wire armoured, PVC sheathed AC cable generally conforming to IS-7098(p-1) / 1554(p-1) with upto date ammendments etc. complete as required | 1000.00 | Mtr |  | 104.00 | 104000.00 | 120.00 | 120000.00 | 100.00 | 100000.00 | 165.00 | 165000.00 | 180.00 | 180000.00 | 206.00 | 206000.00 | 100000.00 | CENTRE TAP ENGINEERING
2.06 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall/ surface as required. | 300.00 | Mtr |  | 75.00 | 22500.00 | 40.00 | 12000.00 | 50.00 | 15000.00 | 165.00 | 49500.00 | 210.00 | 63000.00 | 95.00 | 28500.00 | 12000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.07 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | 300.00 | Mtr |  | 150.00 | 45000.00 | 60.00 | 18000.00 | 50.00 | 15000.00 | 182.00 | 54600.00 | 300.00 | 90000.00 | 115.00 | 34500.00 | 15000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 1478900.00 |  | 1397960.00 |  | 2066000.00 |  | 2206490.00 |  | 2785900.00 |  | 1733701.00
Lowest Amount Quoted BY: PYROGUARD ENGINEERS PRIVATE LIMITED(1397960.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Gas Suppression System for NAV- AIDS and Integration of Fire Alarm System at Fire Control Room at Kalaburagi Airport Tender ID: 2026_AAI_288734_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -1068419) | 1397960.00 | L1
| 2 | Nexus Fire And Security Systems (BID ID -1068038) | 1478900.00 | L2
| 3 | Kalpataru Industries (BID ID -1068555) | 1733701.00 | L3
| 4 | CENTRE TAP ENGINEERING (BID ID -1069201) | 2066000.00 | L4
| 5 | SOUTHERN ELECTRONICS (BANGALORE) PRIVATE LIMITED (BID ID -1069062) | 2206490.00 | L5
| 6 | ALLIES FIRE SYSTEMS PVT LTD (BID ID -1068832) | 2785900.00 | L6