## BoQ1
eProcurement System Government of India Created By: Dipesh Singh Created Date/Time: 30-Sep-2026 12:25 PM Tender Title: PUBLIC SANITATION FACILITY Tender ID: 2026_ASI_925405_1
Tender Inviting Authority: The Superintending Archaeologist, Archaeological Survey of India, Rajkot Circle, Rajkot.
Name of Work: DEVELOPMENT OF SOLAR-ASSISTED PUBLIC SANITATION FACILITY AT SUN TEMPLE THANGADH
Contract No: 3C/6(SR)/RJT/2026-27/C
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Maruti Abhiyantriki (GSTN-24ABLFM4133C1ZN) BID ID -3482102 |  | RAJIVBHAI DHANSUKHBHAI SOMPURA (GSTN-NA) BID ID -3482240 |  | OSHNIK CONSTRUCTION (GSTN-NA) BID ID -3482439 |  | Everest Builders (GSTN-NA) BID ID -3482211
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing the site of the work by cutting, uprooting and removing bushes, shrubs, rank vegetation, grass, undergrowth, roots and stumps, and removal of rubbish and other objectionable materials lying on the site, including dressing and levelling of the cleared surface to the required grade, stacking of serviceable material separately as directed and disposal of all unserviceable materials, malba and rubbish outside the site boundary within the specified lead, including all labour, tools, tackles and supervision required for the work. | 150.00 | M2 |  | 18.66 | 2799.00 | 18.30 | 2745.00 | 200.00 | 30000.00 | 30.00 | 4500.00 | 2745.00 | RAJIVBHAI DHANSUKHBHAI SOMPURA
2.00 | Earth work in excavation for foundations, footings, column pits, plinth beams and trenches in all kinds of soil (ordinary/hard/soft rock as encountered) to the required width, length and depth as per drawings, including dressing of sides and ramming of bottoms to correct level and grade, getting out the excavated earth from the pit/trench, stacking useful excavated earth within the specified lead for use in backfilling, and disposal of surplus/unserviceable excavated earth with all lifts and lead as specified, complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 47.79 | cum |  | 275.92 | 13186.22 | 270.71 | 12937.23 | 500.00 | 23895.00 | 900.00 | 43011.00 | 12937.23 | RAJIVBHAI DHANSUKHBHAI SOMPURA
3.00 | Earth work in excavation for septic tank, soak pit, inspection chambers and other underground structures in all kinds of soil to the required dimensions and depth shown in drawings, including dressing of sides and ramming of bottoms, dewatering by suitable means wherever water is encountered, shoring and strutting where required, and disposal of surplus excavated earth within the specified lead and lift, complete with all labour, tools and plant. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 68.00 | cum |  | 188.15 | 12794.20 | 184.60 | 12552.80 | 1000.00 | 68000.00 | 950.00 | 64600.00 | 12552.80 | RAJIVBHAI DHANSUKHBHAI SOMPURA
4.00 | Filling in trenches, plinth, sides of foundations and around structures with available excavated earth (excluding rock fragments), spread in layers not exceeding 200 mm loose thickness, each layer watered, rammed and compacted with mechanical/manual means to the required density, including dressing, levelling and disposal of any surplus material, complete with all labour, tools and plant. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 32.47 | cum |  | 207.76 | 6745.97 | 203.84 | 6618.68 | 200.00 | 6494.00 | 190.00 | 6169.30 | 6169.30 | Everest Builders
5.00 | Providing and laying plain cement concrete of nominal mix 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate of specified nominal size) in foundations, levelling courses and bed concrete, including batching, mixing in mechanical mixer, laying in position, compacting by vibration/ramming, finishing the top surface and curing for the specified period, complete with all materials, labour, tools, plant, scaffolding/shuttering where required and testing of cubes as directed. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 14.50 | cum |  | 7732.38 | 112119.51 | 7586.49 | 110004.11 | 3500.00 | 50750.00 | 6000.00 | 87000.00 | 50750.00 | OSHNIK CONSTRUCTION
6.00 | Providing and laying cement concrete plinth protection of specified thickness all around the building, laid to the approved slope away from the structure, including preparation and compaction of sub-grade, laying and compacting the concrete, providing construction/expansion joints as required, finishing the top surface smooth and curing for the specified period, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 25.50 | M2 |  | 794.26 | 20253.63 | 779.27 | 19871.39 | 3500.00 | 89250.00 | 700.00 | 17850.00 | 17850.00 | Everest Builders
7.00 | Providing and laying design mix reinforced cement concrete of Grade M25 in foundations, footings, pedestals, plinth beams and other structural members below plinth level, excluding the cost of reinforcement and formwork (paid separately), including design/trial mix, batching, machine mixing, transporting, placing in position, compacting by mechanical vibrator, finishing to true line, level and grade, and curing for the specified period, complete with all materials, labour, tools, plant and testing of cubes as directed. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 17.90 | cum |  | 9893.99 | 177102.42 | 9707.31 | 173760.85 | 7000.00 | 125300.00 | 7600.00 | 136040.00 | 125300.00 | OSHNIK CONSTRUCTION
8.00 | Providing and laying design mix reinforced cement concrete of Grade M25 in columns, beams, lintels, slabs, chajjas, canopies, staircases and other structural members above plinth level, excluding the cost of reinforcement and formwork (paid separately), including design/trial mix, batching, machine mixing, transporting to the required height/location, placing in position, compacting by mechanical vibrator, finishing to true line, level and grade, and curing for the specified period, complete with all materials, labour, tools, plant, staging and testing of cubes as directed. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 17.02 | cum |  | 10270.98 | 174812.08 | 10077.18 | 171513.60 | 7500.00 | 127650.00 | 8000.00 | 136160.00 | 127650.00 | OSHNIK CONSTRUCTION
9.00 | Providing and removing centering, shuttering, strutting and propping for reinforced cement concrete foundations, footings, pedestals and similar members, including alignment, camber and level as per drawings, use of approved shuttering material, and dismantling/striking of formwork after attainment of requisite strength/curing period without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 24.11 | M2 |  | 415.68 | 10022.04 | 407.84 | 9833.02 | 1000.00 | 24110.00 | 700.00 | 16877.00 | 9833.02 | RAJIVBHAI DHANSUKHBHAI SOMPURA
10.00 | Providing and removing centering, shuttering, strutting and propping for reinforced cement concrete columns, including alignment, plumb, bracing and supports of adequate strength, and dismantling/striking of formwork after attainment of requisite strength without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 73.44 | M2 |  | 1018.98 | 74833.89 | 999.75 | 73421.64 | 1000.00 | 73440.00 | 800.00 | 58752.00 | 58752.00 | Everest Builders
11.00 | Providing and removing centering, shuttering, strutting, propping and staging for reinforced cement concrete lintels, beams and tie beams to the required camber, line and level, and dismantling/striking of formwork after attainment of requisite strength without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 89.94 | M2 |  | 780.58 | 70205.37 | 765.86 | 68881.45 | 600.00 | 53964.00 | 750.00 | 67455.00 | 53964.00 | OSHNIK CONSTRUCTION
12.00 | Providing and removing centering, shuttering, staging, supports and propping for reinforced cement concrete roof slabs, adequately braced and supported to withstand the wet concrete load without deflection, and dismantling/striking of formwork after attainment of requisite strength without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 81.71 | M2 |  | 982.89 | 80311.94 | 964.34 | 78796.22 | 700.00 | 57197.00 | 700.00 | 57197.00 | 57197.00 | Everest Builders, OSHNIK CONSTRUCTION
13.00 | Providing and removing centering, shuttering, staging and supports for reinforced cement concrete staircases including waist slab, risers, treads and landings to the required profile, camber and level, and dismantling/striking of formwork after attainment of requisite strength without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 6.00 | M2 |  | 810.85 | 4865.10 | 795.55 | 4773.30 | 600.00 | 3600.00 | 650.00 | 3900.00 | 3600.00 | OSHNIK CONSTRUCTION
14.00 | Providing and removing centering, shuttering, staging and supports for reinforced cement concrete chajjas, sunshades, entrance canopies and similar cantilevered/projecting members to the required profile, slope and level, and dismantling/striking of formwork after attainment of requisite strength without damage to the concrete, complete with all labour, materials and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 12.66 | M2 |  | 1008.17 | 12763.43 | 989.14 | 12522.51 | 500.00 | 6330.00 | 750.00 | 9495.00 | 6330.00 | OSHNIK CONSTRUCTION
15.00 | Providing, cutting, bending and placing in position Thermo Mechanically Treated (TMT) reinforcement bars of Grade Fe-500D, conforming to relevant IS standards, for all reinforced cement concrete works up to plinth level, of diameters and spacing as per structural drawings/Bar Bending Schedule, including straightening, cutting to required lengths, bending to shape, providing binding wire, chairs, cover blocks and spacers to maintain correct cover, laps, hooks and anchorage as per drawings, and all incidental works, complete with all labour, tools and tackles. | 2760.80 | KG |  | 114.32 | 315614.66 | 112.16 | 309651.33 | 75.00 | 207060.00 | 101.00 | 278840.80 | 207060.00 | OSHNIK CONSTRUCTION
16.00 | Providing and constructing 230 mm thick first-class brick masonry (using bricks of approved class designation) in superstructure, laid in cement mortar 1:6, including raking out of joints for plaster key, erection of scaffolding (single/double as required), curing for the specified period, and all incidental works such as bedding, jointing, plumbing and racking back at junctions, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 20.06 | cum |  | 9652.31 | 193625.34 | 9470.19 | 189972.01 | 4500.00 | 90270.00 | 9000.00 | 180540.00 | 90270.00 | OSHNIK CONSTRUCTION
17.00 | Providing and constructing 115 mm thick half-brick (partition) masonry walls, laid in cement mortar 1:4, reinforced with approved reinforcement (mesh/tie bars) at specified courses wherever required for stability, including scaffolding, curing and all incidental works, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 101.43 | M2 |  | 1191.23 | 120826.46 | 1168.75 | 118546.31 | 3500.00 | 355005.00 | 900.00 | 91287.00 | 91287.00 | Everest Builders
18.00 | Providing and applying 20 mm thick cement plaster in two coats (base coat and finishing coat) in cement mortar 1:4 on external wall surfaces, including preparation and roughening of the masonry surface, scaffolding, application to a true and even surface with sharp edges and corners, and curing for the specified period, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 128.96 | M2 |  | 516.64 | 66625.89 | 506.90 | 65369.82 | 300.00 | 38688.00 | 330.00 | 42556.80 | 38688.00 | OSHNIK CONSTRUCTION
19.00 | Providing and applying 12 mm thick cement plaster in cement mortar 1:4 on internal wall surfaces, finished smooth with a steel trowel, including preparation of the masonry surface and curing for the specified period, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 169.21 | M2 |  | 367.87 | 62247.28 | 360.93 | 61072.97 | 225.00 | 38072.25 | 330.00 | 55839.30 | 38072.25 | OSHNIK CONSTRUCTION
20.00 | Providing and applying 6 mm thick cement plaster in cement mortar 1:3 on the underside/soffit of RCC ceilings, including preparation of the concrete surface (hacking/roughening as required for key), finishing smooth and curing for the specified period, complete with all materials, labour, scaffolding and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 74.10 | M2 |  | 318.48 | 23599.37 | 312.47 | 23154.03 | 175.00 | 12967.50 | 290.00 | 21489.00 | 12967.50 | OSHNIK CONSTRUCTION
21.00 | Preparing the external plastered surface by cleaning, filling minor cracks/undulations and priming, and applying approved waterproof cement paint in the required number of coats (minimum two, or as recommended by the manufacturer) to achieve a uniform shade, texture and finish, including scaffolding and protection of adjoining surfaces/fittings, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 132.74 | M2 |  | 123.91 | 16447.81 | 121.58 | 16138.53 | 100.00 | 13274.00 | 110.00 | 14601.40 | 13274.00 | OSHNIK CONSTRUCTION
22.00 | Providing, fabricating and fixing mild steel safety grills for windows and ventilators of approved design (design of grill to be got approved from the Engineer-in-Charge before execution), including cutting, welding and grinding of MS members to the required section and pattern, fixing in position with holdfasts/anchor fasteners, application of a coat of approved steel primer followed by finishing coat(s) of approved paint, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 130.00 | KG |  | 182.96 | 23784.80 | 179.50 | 23335.00 | 105.00 | 13650.00 | 160.00 | 20800.00 | 13650.00 | OSHNIK CONSTRUCTION
23.00 | Providing and fixing vitreous china floor-mounted European-pattern water closet of approved make, complete with seat and lid cover, low-level/concealed flushing cistern and fittings, connection to the soil pipe, jointing with the required accessories, and testing for leakage, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2.00 | Nos |  | 6906.48 | 13812.96 | 6776.17 | 13552.34 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | OSHNIK CONSTRUCTION
24.00 | Providing and fixing vitreous china Orissa-pattern squatting water closet (pan) of approved size, complete with 100 mm sand cast iron/PVC P- or S-trap, flushing arrangement, foot rests where specified and all connecting accessories, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 4.00 | Nos |  | 7173.44 | 28693.76 | 7038.10 | 28152.40 | 1200.00 | 4800.00 | 5000.00 | 20000.00 | 4800.00 | OSHNIK CONSTRUCTION
25.00 | Providing and fixing vitreous china flat-back, lipped-front urinal of approved size, complete with automatic/manual flushing cistern and spreaders, waste fittings, chromium plated brackets/supports and connections to the waste pipe, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 3.00 | Nos |  | 1747.89 | 5243.67 | 1714.19 | 5142.57 | 1500.00 | 4500.00 | 4400.00 | 13200.00 | 4500.00 | OSHNIK CONSTRUCTION
26.00 | Providing and fixing vitreous china wash basin of approved size and pattern, complete with chromium plated pillar tap, waste coupling, chromium plated bottle trap, cast iron/CP brackets, and connections to the water supply and waste pipes, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 5.00 | Nos |  | 1604.42 | 8022.10 | 1574.14 | 7870.70 | 2000.00 | 10000.00 | 4000.00 | 20000.00 | 7870.70 | RAJIVBHAI DHANSUKHBHAI SOMPURA
27.00 | Providing and fixing 600 mm x 450 mm bevelled-edge mirror of approved quality, fixed to the wall with CP brass screws and PVC sleeves, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 3.00 | Nos |  | 1704.43 | 5113.29 | 1672.27 | 5016.81 | 1000.00 | 3000.00 | 1100.00 | 3300.00 | 3000.00 | OSHNIK CONSTRUCTION
28.00 | Providing, laying, jointing, testing and commissioning of CPVC pipes of 25 mm nominal diameter (conforming to relevant IS standard) for concealed internal water supply, including cutting chases in walls, fixing the pipe with clamps/saddles at required intervals, solvent cement jointing, making good the chased walls to match the existing finish, hydraulic testing of the completed line for leakage, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 40.00 | RMT |  | 664.89 | 26595.60 | 652.34 | 26093.60 | 100.00 | 4000.00 | 350.00 | 14000.00 | 4000.00 | OSHNIK CONSTRUCTION
29.00 | Providing and fixing rigid unplasticised PVC (uPVC) rainwater/soil pipes of 110 mm diameter (conforming to relevant IS standard), including all specials such as bends, tees, offsets and shoes, fixing with clamps/holder-bat clamps at the required spacing, solvent cement jointing, and testing of the completed line for leakage, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 30.00 | RMT |  | 400.04 | 12001.20 | 392.50 | 11775.00 | 325.00 | 9750.00 | 430.00 | 12900.00 | 9750.00 | OSHNIK CONSTRUCTION
30.00 | Providing and fixing square-mouth stoneware gully trap of approved size, complete with cast iron hinged grating, half-brick masonry chamber in cement mortar built around the trap, cement concrete bed, necessary excavation, and connection of the trap to the drain line, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 4.00 | Nos |  | 2870.11 | 11480.44 | 2815.96 | 11263.84 | 400.00 | 1600.00 | 1000.00 | 4000.00 | 1600.00 | OSHNIK CONSTRUCTION
31.00 | Constructing brick masonry inspection chamber/manhole in cement mortar to the required internal size and depth, including necessary excavation, cement concrete bed, RCC cover slab, cast iron frame and cover of approved size, internal plastering with a floating coat of neat cement, and backfilling around the completed chamber, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 3.00 | Nos |  | 13536.78 | 40610.34 | 13281.37 | 39844.11 | 2500.00 | 7500.00 | 8000.00 | 24000.00 | 7500.00 | OSHNIK CONSTRUCTION
32.00 | Providing, placing, testing and commissioning of rotational-moulded polyethylene overhead/ground-level water storage tank of approved capacity, complete with lockable cover, inlet, outlet, overflow and washout connections, and providing/fixing the necessary supporting arrangement, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2000.00 | LTR |  | 11.66 | 23320.00 | 11.44 | 22880.00 | 8.00 | 16000.00 | 10.00 | 20000.00 | 16000.00 | OSHNIK CONSTRUCTION
33.00 | Preparing the plastered surface by cleaning, filling minor cracks and rubbing down, and applying one coat of water-thinnable cement primer of approved make before application of the finishing coats, complete with all materials, labour and scaffolding. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 243.31 | M2 |  | 78.39 | 19073.07 | 76.91 | 18712.97 | 80.00 | 19464.80 | 60.00 | 14598.60 | 14598.60 | Everest Builders
34.00 | Providing and applying premium quality acrylic emulsion paint of approved shade in two or more coats over an approved primer, applied with brush/roller to achieve an even shade, texture and smooth finish, including cleaning of the surface between coats, complete with all materials, labour and scaffolding. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 243.31 | M2 |  | 151.37 | 36829.83 | 148.51 | 36133.97 | 150.00 | 36496.50 | 90.00 | 21897.90 | 21897.90 | Everest Builders
35.00 | Providing and laying 25 mm thick Kota stone slab flooring of approved shade over a cement mortar bed of specified thickness, including cutting and dressing of the stone to the required size, laying to line and level with proper joints, machine rubbing and polishing, pointing the joints with matching cement slurry and finishing complete, with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 15.00 | M2 |  | 2065.15 | 30977.25 | 2026.18 | 30392.70 | 900.00 | 13500.00 | 1600.00 | 24000.00 | 13500.00 | OSHNIK CONSTRUCTION
36.00 | Providing and laying approved anti-skid ceramic floor tiles of approved size and shade over a properly prepared and levelled base, fixed with approved tile adhesive to the required pattern, including cutting of tiles to size at junctions/edges, grouting of joints with matching grout, and cleaning of the finished surface, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 60.00 | M2 |  | 1162.34 | 69740.40 | 1140.41 | 68424.60 | 1400.00 | 84000.00 | 1050.00 | 63000.00 | 63000.00 | Everest Builders
37.00 | Providing and fixing ceramic glazed tile skirting of approved height, size and shade, fixed with tile adhesive over the prepared wall base, including cutting of tiles to size, grouting and finishing of joints with matching grout, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 5.10 | M2 |  | 1179.46 | 6015.25 | 1157.21 | 5901.77 | 1400.00 | 7140.00 | 1150.00 | 5865.00 | 5865.00 | Everest Builders
38.00 | Providing and fixing glazed ceramic wall tiles of approved size and shade on wall surfaces up to the required height, fixed with approved tile adhesive over the prepared base, including cutting of tiles at junctions/fittings, grouting of joints with matching grout, and cleaning of the finished surface, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 113.40 | M2 |  | 1344.03 | 152413.00 | 1318.67 | 149537.18 | 1400.00 | 158760.00 | 1200.00 | 136080.00 | 136080.00 | Everest Builders
39.00 | Providing and fixing 18 mm thick polished granite slab of approved shade for wash basin counters, urinal partitions and similar locations, including cutting to the required size and shape, edge polishing (machine polished, rounded/bull-nosed edge as directed), and fixing in position over a supporting frame/masonry with cement mortar/adhesive and epoxy joint filling, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 8.00 | M2 |  | 4294.96 | 34359.68 | 4213.92 | 33711.36 | 4500.00 | 36000.00 | 3600.00 | 28800.00 | 28800.00 | Everest Builders
40.00 | Providing and laying 40 mm thick damp-proof course (DPC) with cement concrete 1:2:4 incorporating an approved integral waterproofing compound in the specified dosage, laid over the masonry to the full width of the wall, finished smooth and cured for the specified period, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 10.35 | M2 |  | 435.50 | 4507.43 | 427.28 | 4422.35 | 500.00 | 5175.00 | 300.00 | 3105.00 | 3105.00 | Everest Builders
41.00 | Providing and applying an approved integrated waterproofing treatment over the RCC roof, comprising preparation and cleaning of the roof surface, laying a waterproof screed of average 120 mm thickness laid to required slope for drainage, application of the approved waterproofing compound/coating in the manufacturer's recommended number of coats, providing a protective/finishing layer, and curing for the specified period, complete with all materials, labour and tools, with the manufacturer's standard guarantee to be furnished. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 80.75 | M2 |  | 1785.68 | 144193.66 | 1751.98 | 141472.39 | 500.00 | 40375.00 | 1550.00 | 125162.50 | 40375.00 | OSHNIK CONSTRUCTION
42.00 | Providing and fixing pressed steel door frames of Profile 'B', manufactured from galvanized steel sheet of the specified gauge (or, where specified, Aluminium section frame of proper section and size as approved), including welding/jointing of the frame, providing and fixing holdfasts/lugs for anchorage into masonry, hinges, application of a coat of approved steel primer, and fixing in position true to line, level and plumb, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 21.60 | RMT |  | 618.30 | 13355.28 | 606.63 | 13103.21 | 800.00 | 17280.00 | 600.00 | 12960.00 | 12960.00 | Everest Builders
43.00 | Providing and fixing 35 mm thick factory-made flush door shutters (or, where specified, Aluminium-framed shutter) of approved make and finish, complete with approved ironmongery/fittings and fixtures such as hinges, tower bolts, handles and stoppers, fixed to the door frame in proper alignment, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 10.08 | M2 |  | 3682.28 | 37117.38 | 3612.80 | 36417.02 | 4500.00 | 45360.00 | 3000.00 | 30240.00 | 30240.00 | Everest Builders
44.00 | Providing and fixing factory-made Aluminium door frames , of approved section, size and anodised/powder-coated finish, complete with all accessories, fasteners, fixtures, glazing (where specified) and hardware, fixed in position true to line, level and plumb, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 29.70 | RMT |  | 522.26 | 15511.12 | 512.41 | 15218.58 | 4000.00 | 118800.00 | 500.00 | 14850.00 | 14850.00 | Everest Builders
45.00 | Providing and fixing 30 mm thick solid PVC door shutters of approved make, complete with hinges, handles, tower bolts and all other necessary hardware, fixed to the door frame in proper alignment, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 9.45 | M2 |  | 3449.03 | 32593.33 | 3383.95 | 31978.33 | 3500.00 | 33075.00 | 3400.00 | 32130.00 | 31978.33 | RAJIVBHAI DHANSUKHBHAI SOMPURA
46.00 | Providing, fabricating and fixing powder-coated aluminium glazed shutters of approved section and design, complete with frames, glazing (of the specified thickness and type), locking arrangement, rubber gaskets/beading and all other accessories, fixed in position true to line and level, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 130.00 | KG |  | 672.52 | 87427.60 | 659.83 | 85777.90 | 4500.00 | 585000.00 | 600.00 | 78000.00 | 78000.00 | Everest Builders
47.00 | Boring/drilling a bore well of 150 mm diameter for casing/strainer pipe by a suitable method (rotary/DTH as prescribed) in accordance with IS: 2800 (Part I), in all kinds of soil/rock strata up to 80 m depth, including collecting soil/rock samples at required intervals, preparing the strata chart, and hire and running charges of all boring machinery, tools, plant and consumables, complete with all labour. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 80.00 | RMT |  | 769.56 | 61564.80 | 755.04 | 60403.20 | 1000.00 | 80000.00 | 600.00 | 48000.00 | 48000.00 | Everest Builders
48.00 | Supplying, assembling, lowering and fixing in a true vertical position inside the bore well, unplasticised PVC medium-well casing (CM) pipe of 150 mm nominal size dia (160 mm OD), conforming to IS: 12818, including jointing of pipe lengths, centering devices, and lowering to the required depth, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 30.00 | RMT |  | 840.85 | 25225.50 | 824.98 | 24749.40 | 700.00 | 21000.00 | 800.00 | 24000.00 | 21000.00 | OSHNIK CONSTRUCTION
49.00 | Gravel packing in tube well construction in accordance with IS: 4097, comprising supply of gravel of fine/medium/coarse grading and size as required, and placing/packing the gravel in the annular space between the casing and the bore in the required quantity and manner, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | cum |  | 2145.97 | 2145.97 | 2105.48 | 2105.48 | 6000.00 | 6000.00 | 1800.00 | 1800.00 | 1800.00 | Everest Builders
50.00 | Development of the tube well in accordance with IS: 2800 (Part I) and IS: 11189, by an approved method (surging/air-lift/jetting as directed) until the well yields clear sand-free water, including measuring the yield of the well by the 'V'-notch method, collecting water samples and getting them tested in an approved laboratory, and disinfection of the well before commissioning, complete with all labour, tools and plant. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 10.00 | Hours |  | 1150.15 | 11501.50 | 1128.45 | 11284.50 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 10000.00 | Everest Builders, OSHNIK CONSTRUCTION
51.00 | Constructing masonry chamber of size 60 cm x 60 cm x 75 cm (inside) in brick work in cement mortar 1:4, with cast iron surface box and cover of approved pattern, and inside plastering with cement mortar 1:3 finished with a floating coat of neat cement, to be developed as a lockable borewell chamber, including necessary excavation and backfilling, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 4.00 | Nos |  | 11514.14 | 46056.56 | 12296.90 | 49187.60 | 2800.00 | 11200.00 | 7500.00 | 30000.00 | 11200.00 | OSHNIK CONSTRUCTION
52.00 | Supplying, Installing, Testing & Commissioning (SITC) of an ISI-marked and BEE star-rated borewell submersible pump set of 7.5 HP, three phase, 415 V, 50 Hz, suitable for a 150 mm diameter borewell, complete with stainless steel pump shaft, stainless steel motor body, stainless steel/Noryl impellers, mechanical seal, water-filled/oil-filled submersible motor, and IE3 (preferred)/IE2 energy-efficient motor conforming to relevant BIS standards, suitable for delivering approximately 250-350 LPM discharge at 85-90 m total dynamic head, including transportation to site, lowering into the bore well, alignment, electrical connection, testing and commissioning, together with all standard accessories supplied by the manufacturer. Submersible power cable (paid separately under Item 53) and the pump control panel (paid separately under Item 59) are excluded from this item Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 79500.00 | 79500.00 | 78000.00 | 78000.00 | 25000.00 | 25000.00 | 80000.00 | 80000.00 | 25000.00 | OSHNIK CONSTRUCTION
53.00 | Providing, laying and commissioning PVC insulated, PVC sheathed flat submersible copper cable, 1100 V grade, 3 core x 6 sq. mm, for connection of the submersible pump, complete with waterproof/heat-shrink joints, cable guards along the rising main, clamping at the required intervals, and terminations at both ends, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 110.00 | RMT |  | 424.00 | 46640.00 | 416.00 | 45760.00 | 450.00 | 49500.00 | 600.00 | 66000.00 | 45760.00 | RAJIVBHAI DHANSUKHBHAI SOMPURA
54.00 | Supplying and laying 50 mm diameter HDPE PE-100, PN-10 pipe conforming to IS 4984, complete with compression fittings, couplers, bends, tees, unions and clamps/supports at the required intervals, including jointing, testing of the laid line under pressure, and commissioning, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 90.00 | RMT |  | 318.00 | 28620.00 | 312.00 | 28080.00 | 300.00 | 27000.00 | 300.00 | 27000.00 | 27000.00 | Everest Builders, OSHNIK CONSTRUCTION
55.00 | Supplying and laying 1.1 kV grade XLPE insulated, PVC sheathed, armoured aluminium conductor cable, 4 core x 16 sq. mm, complete with cable glands, crimped lugs, clamps and saddles at the required spacing, and terminations at both ends, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 40.00 | RMT |  | 190.80 | 7632.00 | 187.00 | 7480.00 | 800.00 | 32000.00 | 390.00 | 15600.00 | 7480.00 | RAJIVBHAI DHANSUKHBHAI SOMPURA
56.00 | Providing and fixing on the delivery line: one 50 mm dia gun metal non-return valve, two 50 mm dia full bore gun metal ball valves, one 100 mm dia pressure gauge (0-10 kg/cm2) with gun metal cock, and gun metal unions, nipples and sockets and all other accessories required for a complete and leak-proof assembly, including jointing and testing, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 12720.00 | 12720.00 | 12480.00 | 12480.00 | 1500.00 | 1500.00 | 12000.00 | 12000.00 | 1500.00 | OSHNIK CONSTRUCTION
57.00 | Providing GI pipe earthing comprising a 40 mm dia x 2.5 m long GI pipe electrode, complete with masonry inspection chamber with cast iron cover, funnel, GI watering pipe, charcoal and salt backfill around the electrode, GI earthing strip/GI wire connection up to the point of use, clamps and all connections, executed as per IS 3043 and CPWD Specifications, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2.00 | EACH |  | 7950.00 | 15900.00 | 7800.00 | 15600.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 4000.00 | OSHNIK CONSTRUCTION
58.00 | Providing all miscellaneous accessories required for the complete installation and commissioning of the borewell pumping system, including stainless steel safety wire rope, cable clamps, pipe supports, foundation bolts, electrical insulating rubber mat conforming to IS 15652, aluminium danger notice plate and identification plates, sealing materials, hardware, consumables, transportation, and all other incidental works, including plain cement concrete for foundation and other minor civil works associated with the installation, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 10600.00 | 10600.00 | 10400.00 | 10400.00 | 10000.00 | 10000.00 | 10100.00 | 10100.00 | 10000.00 | OSHNIK CONSTRUCTION
59.00 | Supplying, Installing, Testing & Commissioning (SITC) of a weatherproof, floor/wall-mounted pump control panel suitable for a 7.5 HP three-phase borewell pump, complete with MPCB, magnetic contactor, thermal overload relay, phase failure and phase reversal protection, dry-run protection, under- and over-voltage protection relay, digital voltmeter, digital ammeter, selector switch, LED indication lamps, terminal blocks, internal wiring, cable glands, and a powder-coated CRCA enclosure, including all internal accessories, testing and commissioning, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 15900.00 | 15900.00 | 15600.00 | 15600.00 | 15000.00 | 15000.00 | 14850.00 | 14850.00 | 14850.00 | Everest Builders
60.00 | Providing and fixing a Customised FRP Drinking Water Kiosk with container cabin of overall size 10 ft x 10 ft x 10 ft (3.0 m x 3.0 m x 3.0 m), comprising a complete FRP modular cabin with wall/roof panels and MS supporting frame, an exhaust window/opening covered with an MS safety grill, a door with frame, hinges, lock, handle and hardware, complete internal electrical wiring with conduit, sub-main feed cable, distribution board and modular switches/sockets, LED light fittings (internal and external), an exhaust fan with installation and testing, a cement concrete platform of the specified thickness, platform finishing and anchoring arrangements, and an internal washable floor finish, complete as one composite Job as detailed in the Annexure to Item 60. Quantity/component break-up is given in the Annexure for scope definition only and shall not be treated as separately payable items. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 265000.00 | 265000.00 | 260000.00 | 260000.00 | 200000.00 | 200000.00 | 256000.00 | 256000.00 | 200000.00 | OSHNIK CONSTRUCTION
61.00 | Provision for making, supplying and fixing of stone benches of size 6'3" long x 2'0" wide x 1'3" high, using sand stone from Dhangadhra quarry, including all materials and labour for cutting, dressing, moulding and carving of the stone, transportation up to the monument site, and fixing in the approved location and orientation as per the design supplied by the engineer incharge, complete with all materials, labour and tools. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2.00 | Nos |  | 17892.80 | 35785.60 | 17555.20 | 35110.40 | 10000.00 | 20000.00 | 17000.00 | 34000.00 | 20000.00 | OSHNIK CONSTRUCTION
62.00 | Supplying, Installing, Testing & Commissioning (SITC) of a Stainless Steel (SS 304 body) water cooler of minimum 150 litre storage capacity and 60 LPH cooling capacity, complete with all standard accessories supplied by the manufacturer, electrical connection, testing and commissioning, as detailed in the Annexure to Item 62, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 90100.00 | 90100.00 | 88400.00 | 88400.00 | 80000.00 | 80000.00 | 90000.00 | 90000.00 | 80000.00 | OSHNIK CONSTRUCTION
63.00 | Supplying, Installing, Testing & Commissioning (SITC) of a Commercial RO + UV Water Purifier of minimum 50 LPH capacity, complete with pre-filters, RO membrane, UV disinfection system, TDS controller, storage tank and all standard accessories, including installation, electrical/plumbing connection, testing and commissioning, and a comprehensive Annual Maintenance Contract (AMC) as specified in the Annexure to Item 63, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 47700.00 | 47700.00 | 46800.00 | 46800.00 | 7.00 | 7.00 | 44000.00 | 44000.00 | 7.00 | OSHNIK CONSTRUCTION
64.00 | Providing and fixing a heavy-duty Stainless Steel (SS 304) drinking water tap, complete with all necessary fittings, unions and accessories for connection to the supply line, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2.00 | EACH |  | 2120.00 | 4240.00 | 2080.00 | 4160.00 | 10000.00 | 20000.00 | 1300.00 | 2600.00 | 2600.00 | Everest Builders
65.00 | Providing and fixing an automatic float valve/tank-level control assembly suitable for the water storage tank, complete with all fittings, connection to the inlet line, testing and commissioning, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 4770.00 | 4770.00 | 4680.00 | 4680.00 | 5000.00 | 5000.00 | 4800.00 | 4800.00 | 4680.00 | RAJIVBHAI DHANSUKHBHAI SOMPURA
66.00 | Providing complete plumbing and drain connections for the Water Cooler and RO Purifier System, comprising inlet connection, outlet connection, isolation valves, RO reject water line, overflow line and waste line, complete with all fittings, supports and clamps, testing of all connections for leakage and commissioning, complete with all materials, labour and tools, as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 12720.00 | 12720.00 | 12840.00 | 12840.00 | 5000.00 | 5000.00 | 13000.00 | 13000.00 | 5000.00 | OSHNIK CONSTRUCTION
67.00 | Supplying and fixing a complete Stainless Steel (SS 304) grab rail set for the accessible/PwD toilet, comprising horizontal, vertical and folding grab rails of approved design, complete with all necessary fixing accessories/fasteners suitable for the wall construction, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 11660.00 | 11660.00 | 11440.00 | 11440.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5000.00 | OSHNIK CONSTRUCTION
68.00 | Providing and fixing directional and identification signage of approved design and material, including lettering, pictorial symbols/Braille where specified, and necessary fixing arrangements and accessories, complete as directed by the Engineer-in-Charge. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge.(5 to 6 signage needs to be provided) | 1.00 | Job |  | 5300.00 | 5300.00 | 5200.00 | 5200.00 | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 5200.00 | RAJIVBHAI DHANSUKHBHAI SOMPURA
69.00 | Supplying, Installing, Testing & Commissioning (SITC) of a 1.5 kWp Grid-Interactive Solar Photovoltaic System, complete with PV modules, hybrid inverter, 24 V 100 Ah Li-ion battery, mounting structure suitable for the roof, DC and AC cabling, DC Distribution Board (DCDB) and AC Distribution Board (ACDB), earthing, and all other accessories, complete with installation, testing and commissioning. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 238500.00 | 238500.00 | 234000.00 | 234000.00 | 100000.00 | 100000.00 | 185000.00 | 185000.00 | 100000.00 | OSHNIK CONSTRUCTION
70.00 | Supplying, Installing, Testing & Commissioning (SITC) of a 100 LPD Solar Water Heater system, complete with Evacuated Tube Collectors (ETC), insulated storage tank, supporting structure suitable for the roof, insulated hot/cold water piping, and all accessories, complete with installation, testing and commissioning. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 24034.44 | 24034.44 | 23580.96 | 23580.96 | 150000.00 | 150000.00 | 25000.00 | 25000.00 | 23580.96 | RAJIVBHAI DHANSUKHBHAI SOMPURA
71.00 | Electrical interconnection of the Solar PV System with the Main Distribution Board, including provision of a suitable changeover arrangement (solar/grid) and protective devices, complete with all materials, labour, testing and commissioning, as one composite Job. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 15900.00 | 15900.00 | 15600.00 | 15600.00 | 30000.00 | 30000.00 | 14000.00 | 14000.00 | 14000.00 | Everest Builders
72.00 | Providing complete solar earthing system (GI pipe earthing/chemical earthing as specified) with earth electrode, earth conductor and all connecting accessories, complete with all materials, labour, testing and commissioning. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 2.00 | EACH |  | 8117.48 | 16234.96 | 7964.32 | 15928.64 | 15000.00 | 30000.00 | 8000.00 | 16000.00 | 15928.64 | RAJIVBHAI DHANSUKHBHAI SOMPURA
73.00 | Testing, commissioning and performance demonstration of the complete installed system(s), including preparation and handing over of the Operation & Maintenance (O&M) Manual and all applicable Warranty Documentation, complete as one composite Job. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 6360.00 | 6360.00 | 6240.00 | 6240.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | Everest Builders
74.00 | Providing and laying 60 mm thick interlocking cement concrete paver blocks of grade M-30 over a well-prepared sub-base, comprising preparation of the sub-grade, providing plain cement concrete (PCC) base course, spreading and levelling of bedding sand, laying of paver blocks true to line, level and the specified pattern, filling of joints with fine sand, compaction of the laid blocks by plate vibrator, finishing the surface with the proper slope for drainage, providing and fixing edge restraints/edging with PCC or kerb stones as required, including transportation of all materials to site, loading/unloading, watering and curing, complete with all tools, plant, and skilled and unskilled labour. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 450.00 | M2 |  | 1161.76 | 522792.00 | 1139.84 | 512928.00 | 800.00 | 360000.00 | 1010.00 | 454500.00 | 360000.00 | OSHNIK CONSTRUCTION
75.00 | Providing and laying 75 mm thick compacted coarse sand filling below floor, spread in layers, watered, rammed and compacted to the required level and grade, including dressing and levelling, complete with all labour, materials, tools and plant. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 3.92 | cum |  | 2251.18 | 8824.63 | 2208.70 | 8658.10 | 5000.00 | 19600.00 | 1500.00 | 5880.00 | 5880.00 | Everest Builders
76.00 | Providing and laying 100 mm thick Plain Cement Concrete (PCC) of mix 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 40 mm nominal size) as a rigid sub-base below floor, including compaction, finishing of the top surface and curing for the specified period, complete in all respects as per CPWD Specifications. Complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 5.23 | cum |  | 7220.72 | 37764.37 | 7084.48 | 37051.83 | 4000.00 | 20920.00 | 5200.00 | 27196.00 | 20920.00 | OSHNIK CONSTRUCTION
77.00 | Providing for minor civil and electrical works as detailed in the Annexure to Item 77, including all materials, labour, tools, tackles, transportation, installation, testing, commissioning and all incidental works, complete in all respects as per approved drawings/specifications and as approved by the Engineer-in-Charge. | 1.00 | Job |  | 265000.00 | 265000.00 | 260000.00 | 260000.00 | 400000.00 | 400000.00 | 210000.00 | 210000.00 | 210000.00 | Everest Builders
78.00 | Construction of a Material Store Room cum Site Office of size 4.5 m x 3.20 m (plinth) x 2.90 m clear height, as per the approved design and drawing, comprising an RCC framed structure covered with masonry walls, false ceiling, tiled flooring, an attached toilet with complete plumbing, sanitary fittings and fixtures, supply and fixing of aluminium doors and windows with MS safety grills, internal and external painting of walls and ceiling, and waterproofing of the terrace, executed generally in accordance with the Detailed Technical Sanction Working BOQ given in the Annexure to Item 78 and the accompanying technical drawings (floor plan, elevations, roof plan, building cross-section, and door/window/grill details), complete as directed by the Site-in-Charge at the specified location complete work (refer annexure for work components) | 14.40 | M2 |  | 31800.00 | 457920.00 | 31200.00 | 449280.00 | 60000.00 | 864000.00 | 26000.00 | 374400.00 | 374400.00 | Everest Builders
| Total in Figures |  |  |  |  | 4889206.38 |  | 4801295.61 |  | 5393270.05 |  | 4280275.60
Lowest Amount Quoted BY: Everest Builders(4280275.60)

## BOQ Summary
BOQ Summary Details Tender Title: PUBLIC SANITATION FACILITY Tender ID: 2026_ASI_925405_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Everest Builders (BID ID -3482211) | 4280275.60 | L1
| 2 | RAJIVBHAI DHANSUKHBHAI SOMPURA (BID ID -3482240) | 4801295.61 | L2
| 3 | Maruti Abhiyantriki (BID ID -3482102) | 4889206.38 | L3
| 4 | OSHNIK CONSTRUCTION (BID ID -3482439) | 5393270.05 | L4