## BoQ1
eProcurement System Government of India Created By: Nitin Kumar Agarwal Created Date/Time: 09-Oct-2026 05:27 PM Tender Title: UPGRADATION OF TOURIST AMENITIES AT TAJ MAHAL, AGRA Tender ID: 2026_ASI_925839_1
Tender Inviting Authority: Superintending Archaeologist, Archaeological Survey of India, 22 Mall Road, Agra, Uttar Pradesh - 282001
Name of Work: UPGRADATION OF TOURIST AMENITIES AT TAJ MAHAL, AGRA
Contact No: 0562-2227261
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bankey Bihari Stone Merchant (GSTN-09AATFB3471B1ZF) BID ID -3483667 |  | J.D.TRADERS (GSTN-09ATWPS7428K1ZJ) BID ID -3483828 |  | DHAKARE BROTHERS (GSTN-NA) BID ID -3483804
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing R.O. plant of 1000 Ltr/hr (01 Nos.). capacity having SS skid mounted, Fully covered, Manual as well as fully automatic Taj Mahal, Agra. Specification and component given below - (1) Capacity - 1000 LPH, (2) Working Pressure- 10-12 Bar, (3) Booster pump 2-18 - vertical pump/R.O. pump SS 316 Sumo/DP/Eq., (4) Membrane Material - TFC with FRP outer wrap, membrane size x unit - 40 x 40 x 4 Dow/GE osmonics/ Eq., (5) membrane Housing Material - SS/FRP (Maxima/Imported), (6) Membrane Housing - 80 x 40 x 2, (7) Flow Meter - Pure water & waste water, (8) Pressure Gauges - 4 Nos. (Sand filer, Carbon filter, MCF, Membrane feed and reject). (9) Water quality indicator - On line TDS meter, (10) Electrical Controls - Main Supply :On/Off, Over load protection, High Pressure Pump : On/Off, Raw water pump : On/Off, Dosing pump : On/Off, High Pressure/Low Pressure Tripping, level sensor, (11) Frame/skid - Stainless steel, (12) Solenoid valve 1", (13) Pre Filtration - sand filter & carbon filter, (14) Feed water Requirement - Feed water Temp:20-45 C, SDI. ( R.O Plant including all accessories must be of Reputed Brand).- 1- a- Vassals Aventura/ Wavs Cyber 1665 T & D. (Rate Including GST as per Rule). 1.1-b-M.P. Valve Imported 1".(Rate Including GST as per Rule). | 2.00 | Nos. |  | 42700.00 | 85400.00 | 28025.00 | 56050.00 | 27786.00 | 55572.00 | 55572.00 | DHAKARE BROTHERS
1.02 | 1-c-Micron filter big blue 20" with housing Imported. (Rate Including GST as per Rule). | 2.00 | Nos. |  | 6400.00 | 12800.00 | 7125.00 | 14250.00 | 7050.00 | 14100.00 | 12800.00 | Bankey Bihari Stone Merchant
1.03 | 1-d-R.O.High pressure pump SS 316 Sumo/DP/Eq. -2-18. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 85470.00 | 85470.00 | 82650.00 | 82650.00 | 82500.00 | 82500.00 | 82500.00 | DHAKARE BROTHERS
1.04 | 1-e-Row water pump Crompton/Kriloskar/Eq.-2.00HP. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 18300.00 | 18300.00 | 17575.00 | 17575.00 | 17490.00 | 17490.00 | 17490.00 | DHAKARE BROTHERS
1.05 | 1-f-Pump for cleaning SS. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 15300.00 | 15300.00 | 14725.00 | 14725.00 | 14695.00 | 14695.00 | 14695.00 | DHAKARE BROTHERS
1.06 | 1-g-Membrane (40 x 40) Dow/GE osmonics/Eq. (Rate Including GST as per Rule). | 4.00 | Nos. |  | 21440.00 | 85760.00 | 20425.00 | 81700.00 | 19786.00 | 79144.00 | 79144.00 | DHAKARE BROTHERS
1.07 | 1-h-Membrane Housing Maxima/Imported 2E. (Rate Including GST as per Rule). | 2.00 | Nos. |  | 20700.00 | 41400.00 | 19950.00 | 39900.00 | 18285.00 | 36570.00 | 36570.00 | DHAKARE BROTHERS
1.08 | 1-i-Dozer Unit Insecta/Eq. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 15000.00 | 15000.00 | 15200.00 | 15200.00 | 14995.00 | 14995.00 | 14995.00 | DHAKARE BROTHERS
1.09 | 1-j-TDS Meter - Aquatek / Himtex/ Eq. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 7740.00 | 7740.00 | 7600.00 | 7600.00 | 7585.00 | 7585.00 | 7585.00 | DHAKARE BROTHERS
1.10 | 1-k-Flow meter - Fivebro / Himtex/ Eq. (Rate Including GST as per Rule). | 2.00 | Nos. |  | 5400.00 | 10800.00 | 5225.00 | 10450.00 | 4975.00 | 9950.00 | 9950.00 | DHAKARE BROTHERS
1.11 | 1-l-Pressure gauge meter Imported SS. (Rate Including GST as per Rule). | 4.00 | Nos. |  | 1900.00 | 7600.00 | 1710.00 | 6840.00 | 1650.00 | 6600.00 | 6600.00 | DHAKARE BROTHERS
1.12 | 1-m-Low Pressure Switch Imported. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 4000.00 | 4000.00 | 4275.00 | 4275.00 | 4045.00 | 4045.00 | 4000.00 | Bankey Bihari Stone Merchant
1.13 | 1-n-Electric Panel Automatic. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 26000.00 | 26000.00 | 25175.00 | 25175.00 | 23785.00 | 23785.00 | 23785.00 | DHAKARE BROTHERS
1.14 | 1-o-Skid SS 304 for R.O. Plant. (Rate Including GST as per Rule). | 1.00 | Nos. |  | 34000.00 | 34000.00 | 33250.00 | 33250.00 | 32985.00 | 32985.00 | 32985.00 | DHAKARE BROTHERS
1.15 | 1-p-S.S. Stand for pure water tank. (Rate Including GST as per Rule). | 150.00 | Kg. |  | 540.00 | 81000.00 | 522.00 | 78300.00 | 495.00 | 74250.00 | 74250.00 | DHAKARE BROTHERS
1.16 | 1-q-Solenoid valve 1". (Rate Including GST as per Rule). | 1.00 | Nos. |  | 10240.00 | 10240.00 | 9975.00 | 9975.00 | 9786.00 | 9786.00 | 9786.00 | DHAKARE BROTHERS
1.17 | 1-r-Floty. (Rate Including GST as per Rule). | 2.00 | Nos. |  | 3400.00 | 6800.00 | 3325.00 | 6650.00 | 3285.00 | 6570.00 | 6570.00 | DHAKARE BROTHERS
1.18 | 1-s-Pipe fitting UPVC. (Rate Including GST as per Rule). | 1.00 | Job. |  | 24200.00 | 24200.00 | 23750.00 | 23750.00 | 23182.00 | 23182.00 | 23182.00 | DHAKARE BROTHERS
1.19 | 1-t-Sand Media. (Rate Including GST as per Rule). | 50.00 | Kg. |  | 16.00 | 800.00 | 14.25 | 712.50 | 14.10 | 705.00 | 705.00 | DHAKARE BROTHERS
1.20 | 1-u-Carbon media. (Rate Including GST as per Rule). | 35.00 | Kg. |  | 205.00 | 7175.00 | 199.50 | 6982.50 | 187.20 | 6552.00 | 6552.00 | DHAKARE BROTHERS
1.21 | 1-v-Storage Tank (Triple layer). (Rate Including GST as per Rule). | 3000.00 | Ltr. |  | 12.00 | 36000.00 | 11.87 | 35610.00 | 11.85 | 35550.00 | 35550.00 | DHAKARE BROTHERS
1.22 | 1-w-Storage Tank white - Rectangular (ISI). (Rate Including GST as per Rule). | 1000.00 | Ltr. |  | 18.00 | 18000.00 | 17.57 | 17570.00 | 16.85 | 16850.00 | 16850.00 | DHAKARE BROTHERS
1.23 | 1-x-Fabrication/Testing/Installation charges- for item no. 1 (a to w). (Rate Including GST as per Rule). | 1.00 | Item. |  | 44300.00 | 44300.00 | 43225.00 | 43225.00 | 42985.00 | 42985.00 | 42985.00 | DHAKARE BROTHERS
2.00 | Providing & installation of Water Chiller 2 ton cap. in 1000 Ltr. HDPE tank with all accessories required during execution of work as per the direction of the site in-charge. (Chiller and Tank including all accessories must be of Reputed Brand). (Rate Including GST as per Rule). | 1.00 | Nos. |  | 93000.00 | 93000.00 | 90250.00 | 90250.00 | 90120.00 | 90120.00 | 90120.00 | DHAKARE BROTHERS
3.00 | Earth work in excavation by manual means in foundation trenches or drains of all kinds of soil (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m as per the direction of the site in-charge. (Rate Including GST as per Rule). | 5.93 | Cum. |  | 240.00 | 1423.20 | 240.60 | 1426.76 | 237.00 | 1405.41 | 1405.41 | DHAKARE BROTHERS
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) as per the direction of the site in-charge. (Rate Including GST as per Rule). | 1.88 | Cum |  | 7000.00 | 13160.00 | 6742.85 | 12676.56 | 6621.00 | 12447.48 | 12447.48 | DHAKARE BROTHERS
5.00 | Brick work with cement mortar 1:6 (1 cement : 6 coarse sand) common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth as per the direction of the site in-charge. (Rate Including GST as per Rule). | 13.69 | Cum |  | 6400.00 | 87616.00 | 6592.00 | 90244.48 | 6585.00 | 90148.65 | 87616.00 | Bankey Bihari Stone Merchant
6.00 | Providing and laying cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) in coping, including mixed colouring pigment matching to original as per the direction of the site in-charge. (Rate Including GST as per Rule). | 2.26 | Cum |  | 6940.00 | 15684.40 | 7282.00 | 16457.32 | 7182.00 | 16231.32 | 15684.40 | Bankey Bihari Stone Merchant
7.00 | Providing and laying 20 mm cement plaster on brick wall of mix: 1:4 (1 cement: 4 coarse sand) as per the direction of the site in-charge. (Rate Including GST as per Rule). | 31.64 | Sqm. |  | 450.00 | 14238.00 | 450.00 | 14238.00 | 442.00 | 13984.88 | 13984.88 | DHAKARE BROTHERS
8.00 | Providing red sand stone members as drain cover and base of required size & shape with one face semi dressed and fixed with lime mortar 1: 1: 1 ratio (1 Unslaked Lime : 1 Coarse Sand : 1 Surkhi of 1st class bricks) and pointing the same mortar including supply of all materials, labour, T.& P. etc. required for proper completion of work including pointing as per the direction of the site in-charge. (Rate Including GST as per Rule). | 5.35 | Cum. |  | 18100.00 | 96835.00 | 7938.00 | 42468.30 | 17585.00 | 94079.75 | 42468.30 | J.D.TRADERS
9.00 | Providing & fixing 75 mm thick fine dressed red sand stone flooring over 25 mm thick lime mortar 1: 1: 1 ratio (1 Unslaked Lime : 1 Coarse Sand : 1 Surkhi of 1st class bricks) after taking out very carefully old & decayed red sand stone floor and pointing the same mortar including supply of all materials, labour, T.& P. etc. required for proper completion of work including pointing as per the direction of the site in-charge. (Rate Including GST as per Rule). | 4.08 | Sqm. |  | 2900.00 | 11832.00 | 2763.00 | 11273.04 | 2742.00 | 11187.36 | 11187.36 | DHAKARE BROTHERS
10.00 | Providing and fixing 18 mm thick Granite stone slab colour black, Cherry/Ruby red, gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels Area of slab upto 0.50 sqm. for making toilet wash basin counter as per the direction of the site in-charge. (Rate Including GST as per Rule). | 29.60 | Sqm. |  | 5200.00 | 153920.00 | 5003.00 | 148088.80 | 4985.00 | 147556.00 | 147556.00 | DHAKARE BROTHERS
11.00 | Providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete.(Rate Including GST as per Rule). | 9.00 | Nos. |  | 943.00 | 8487.00 | 904.00 | 8136.00 | 887.00 | 7983.00 | 7983.00 | DHAKARE BROTHERS
12.00 | Providing and fixing White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required. (Rate Including GST as per Rule). | 9.00 | Nos. |  | 3800.00 | 34200.00 | 3660.00 | 32940.00 | 3587.00 | 32283.00 | 32283.00 | DHAKARE BROTHERS
13.00 | Provision for very carefully removal of red sand stone floor members of 8 cm to 20 cm thickness and resetting as per original with lime mortar 1: 1: 1 ratio (1 Unslaked Lime : 1 Coarse Sand : 1 Surkhi of 1st class bricks) including pointing, supply of all materials, Scaffolding labour T&P etc. (Rate Including GST as per Rule). | 45.00 | Sqm. |  | 1540.00 | 69300.00 | 1510.00 | 67950.00 | 1495.00 | 67275.00 | 67275.00 | DHAKARE BROTHERS
14.00 | Providing and laying vitrified floor tiles (water proof) in different sizes 600x600mm (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. (Rate Including GST as per Rule). | 31.93 | Sqm. |  | 1500.00 | 47895.00 | 1435.00 | 45819.55 | 1392.00 | 44446.56 | 44446.56 | DHAKARE BROTHERS
15.00 | Providing & Laying of PVC pipe 4" dia and 30 cm. dept. in floor for connecting water counter to soak pit of garden including all accessories, labour, material T&P etc. required for proper complete work as per the direction of the site in-charge. (Rate Including GST as per Rule). | 30.00 | Rmt. |  | 354.00 | 10620.00 | 345.00 | 10350.00 | 342.00 | 10260.00 | 10260.00 | DHAKARE BROTHERS
16.00 | Steel work Hot finished welded type tubes in built up tubular arch frame with doors (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete as per the direction of the site in-charge. (Rate Including GST as per Rule). | 309.96 | Kg. |  | 170.00 | 52693.20 | 179.00 | 55482.84 | 169.00 | 52383.24 | 52383.24 | DHAKARE BROTHERS
17.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade, One or more coats on old work as per the direction of the site in-charge. (Rate Including GST as per Rule). | 14.43 | Sqm. |  | 103.00 | 1486.29 | 95.00 | 1370.85 | 89.00 | 1284.27 | 1284.27 | DHAKARE BROTHERS
18.00 | Boring 5” dia for water harvesting 120’ deep and make 3’x4’ size 2’ deep masonry tank for filtration of water and fulfil with gravels around 4” dia 120’ deep PVC pipe and tank as per the direction of the site in-charge. (Rate Including GST as per Rule). | 2.00 | nos. |  | 38700.00 | 77400.00 | 37202.00 | 74404.00 | 37102.00 | 74204.00 | 74204.00 | DHAKARE BROTHERS
19.00 | Provision for Supply & laying of PVC Water absorbent mat 6mm thick including removal of old & decayed Water absorbent mat with labours T&P etc. required for proper completion of work as per the direction of the site in-charge. (Rate Including GST as per Rule). | 113.56 | Sqm. |  | 900.00 | 102204.00 | 883.00 | 100273.48 | 872.00 | 99024.32 | 99024.32 | DHAKARE BROTHERS
20.00 | Providing and fixing of PVC flooring 1.6mm thick as per the direction of the site in-charge. (Rate Including GST as per Rule). | 160.00 | Sqm. |  | 1000.00 | 160000.00 | 1068.00 | 170880.00 | 999.00 | 159840.00 | 159840.00 | DHAKARE BROTHERS
21.00 | Providing, fixing and arrangement of 1.50 H.P. Submersible pump crompton greaves brand 120' deep boring 110 mm dia P.V.C. pipe 20 Kg / cm2 and 32 mm dia colomn pipe CPVC (ISI mark) heavy class complete with starter and connecting the same to the existing supply with 3" G.I Pipe, icluding all accessories i.e. Valve, Elbow, Socket, Bend etc upto 35 mtrs as per the direction of the site in-charge. 21-a- Boring charges for submersible (Dia or Borewell 5” dia). (Rate Including GST as per Rule). | 36.00 | Rmt. |  | 150.00 | 5400.00 | 142.00 | 5112.00 | 137.00 | 4932.00 | 4932.00 | DHAKARE BROTHERS
21.01 | 21-b- P.V.C. Pipe 110 mm dia. (Rate Including GST as per Rule). | 36.00 | Rmt. |  | 440.00 | 15840.00 | 427.00 | 15372.00 | 401.00 | 14436.00 | 14436.00 | DHAKARE BROTHERS
21.02 | 21-c- 32 mm dia Colomn pipe CPVC (ISI mark). (Rate Including GST as per Rule). | 36.00 | Rmt. |  | 170.00 | 6120.00 | 171.00 | 6156.00 | 168.00 | 6048.00 | 6048.00 | DHAKARE BROTHERS
21.03 | 21-d- 1.50 H.P. Submersible pump crompton/eq. (Rate Including GST as per Rule). | 1.00 | No. |  | 11000.00 | 11000.00 | 10925.00 | 10925.00 | 10900.00 | 10900.00 | 10900.00 | DHAKARE BROTHERS
21.04 | 21-e- Starter/ panel 1.5 HP. (Rate Including GST as per Rule). | 1.00 | No. |  | 3000.00 | 3000.00 | 3325.00 | 3325.00 | 3288.00 | 3288.00 | 3000.00 | Bankey Bihari Stone Merchant
21.05 | 21-f- Copper Cable 3 core for submersible. (Rate Including GST as per Rule). | 50.00 | Rmt. |  | 250.00 | 12500.00 | 237.00 | 11850.00 | 232.00 | 11600.00 | 11600.00 | DHAKARE BROTHERS
21.06 | 21-g- 32mm dia CPVC pipe fittings. (Rate Including GST as per Rule). | 20.00 | Rmt. |  | 35.00 | 700.00 | 34.00 | 680.00 | 33.00 | 660.00 | 660.00 | DHAKARE BROTHERS
21.07 | 21-h- Rope (PVC Plastic water proof Rope- 10 mm dia). (Rate Including GST as per Rule). | 36.00 | Rmt. |  | 25.00 | 900.00 | 23.00 | 828.00 | 22.00 | 792.00 | 792.00 | DHAKARE BROTHERS
22.00 | Providing & laying of 25mm dia 4 Core Aluminium Armoured Cable with all accessories & labour charges required for execution of work as per the direction of the site in-charge. (Rate Including GST as per Rule). | 500.00 | Rmt. |  | 400.00 | 200000.00 | 380.00 | 190000.00 | 377.00 | 188500.00 | 188500.00 | DHAKARE BROTHERS
23.00 | Providing and laying 8mm thick Jute Coir Floor Carpet, including stiching, labour charges etc as per the direction of the site in-charge. (Rate Including GST as per Rule). | 40.56 | Sqm. |  | 1640.00 | 66518.40 | 1615.00 | 65504.40 | 1599.00 | 64855.44 | 64855.44 | DHAKARE BROTHERS
24.00 | Materials and labour charges for upgradation of existing R.O. Plants in Taj Mahal complex. 24-a- Supply & fixing of Pressmatic Tap with Crome Finish - Jaquar PRS-CHR-031G or EQ with GI/UPVC Socket as per the direction of the site in-charge. (Rate Including GST as per Rule). | 40.00 | Nos. |  | 1700.00 | 68000.00 | 1950.00 | 78000.00 | 2100.00 | 84000.00 | 68000.00 | Bankey Bihari Stone Merchant
24.01 | 24-b- Supply & laying of Polythene layer for R.O Plant Base as per the direction of the site in-charge. (Rate Including GST as per Rule). | 30.00 | Sqm. |  | 40.00 | 1200.00 | 47.00 | 1410.00 | 46.00 | 1380.00 | 1200.00 | Bankey Bihari Stone Merchant
24.02 | 24-c- Providing & laying of Multi Stand Wire Copper 1 Sq.mm (90 Mtr). (Rate Including GST as per Rule). | 2.00 | Budle |  | 1300.00 | 2600.00 | 1425.00 | 2850.00 | 1401.00 | 2802.00 | 2600.00 | Bankey Bihari Stone Merchant
24.03 | 24-d- Providing & laying of 1.6 sq. mm Poly Submersible Flat Cable. (Rate Including GST as per Rule). | 100.00 | Rmt. |  | 100.00 | 10000.00 | 114.00 | 11400.00 | 112.00 | 11200.00 | 10000.00 | Bankey Bihari Stone Merchant
24.04 | 24-e- Supply & fixing of MCB 32 Amp. (Rate Including GST as per Rule). | 5.00 | Nos. |  | 1340.00 | 6700.00 | 1425.00 | 7125.00 | 1399.00 | 6995.00 | 6700.00 | Bankey Bihari Stone Merchant
24.05 | 24-f- Supply & fixing of PVC Kassing patti 40 mm x 3.00 m. (Rate Including GST as per Rule). | 50.00 | Nos. |  | 27.00 | 1350.00 | 28.00 | 1400.00 | 27.00 | 1350.00 | 1350.00 | Bankey Bihari Stone Merchant, DHAKARE BROTHERS
24.06 | 24-g- Supply & fixing of PVC Junction, Tee, elbow for kassing. (Rate Including GST as per Rule). | 50.00 | Nos. |  | 8.00 | 400.00 | 7.60 | 380.00 | 7.20 | 360.00 | 360.00 | DHAKARE BROTHERS
24.07 | 24-h- Supply of PVC Gulli 45mm (packet). (Rate Including GST as per Rule). | 4.00 | Pkt. |  | 50.00 | 200.00 | 47.50 | 190.00 | 46.00 | 184.00 | 184.00 | DHAKARE BROTHERS
24.08 | 24-i- Supply of Kassing Keel (packet). (Rate Including GST as per Rule). | 5.00 | Pkt. |  | 40.00 | 200.00 | 38.00 | 190.00 | 37.00 | 185.00 | 185.00 | DHAKARE BROTHERS
24.09 | 24-j- Supply of Steel screw 1.50" (packet). (Rate Including GST as per Rule). | 2.00 | Pkt. |  | 100.00 | 200.00 | 95.00 | 190.00 | 92.00 | 184.00 | 184.00 | DHAKARE BROTHERS
24.10 | 24-k- Supply of Steel screw 2.50".(Rate Including GST as per Rule). | 1.00 | Pkt. |  | 150.00 | 150.00 | 142.50 | 142.50 | 138.00 | 138.00 | 138.00 | DHAKARE BROTHERS
24.11 | 24-l- Supply & fixing of Button Holder havells. (Rate Including GST as per Rule). | 10.00 | Nos. |  | 75.00 | 750.00 | 71.25 | 712.50 | 70.00 | 700.00 | 700.00 | DHAKARE BROTHERS
24.12 | 24-m- Labour charges for pvc pipe fittings, plumbing work and electric fittings etc. L.s. for item no. 25 (a to l). (Rate Including GST as per Rule). | 1.00 | Job |  | 11500.00 | 11500.00 | 11400.00 | 11400.00 | 11000.00 | 11000.00 | 11000.00 | DHAKARE BROTHERS
25.00 | Shifting of old & decayed red sand stone members as jali,muttakka, bracket and bans-balli etc. from Mehman khana South-East side burji to Gaushala godown, lead upto 300 mtr. by handcart & mannual labour as per the direction of the site in-charge. (Rate Including GST as per Rule). | 5.41 | Cum. |  | 20500.00 | 110905.00 | 20080.00 | 108632.80 | 19785.00 | 107036.85 | 107036.85 | DHAKARE BROTHERS
26.00 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal as per the direction of the site in-charge. (Rate Including GST as per Rule). | 1.00 | No. |  | 17000.00 | 17000.00 | 16720.00 | 16720.00 | 16500.00 | 16500.00 | 16500.00 | DHAKARE BROTHERS
27.00 | Supply & fixing of Curtain cloth 8' long and 4' wide including labour charges etc as per the direction of the site in-charge. (Rate Including GST as per Rule). | 16.00 | Nos. |  | 1470.00 | 23520.00 | 1425.00 | 22800.00 | 1410.00 | 22560.00 | 22560.00 | DHAKARE BROTHERS
28.00 | Supply of Healthcare Mild Steel Powder Coated 2 Fold Stretchers, WSH-1442. (Rate Including GST as per Rule). | 2.00 | Nos. |  | 2900.00 | 5800.00 | 2850.00 | 5700.00 | 2900.00 | 5800.00 | 5700.00 | J.D.TRADERS
| Total in Figures |  |  |  |  | 2312532.49 |  | 2206140.18 |  | 2220976.53
Lowest Amount Quoted BY: J.D.TRADERS(2206140.18)

## BOQ Summary
BOQ Summary Details Tender Title: UPGRADATION OF TOURIST AMENITIES AT TAJ MAHAL, AGRA Tender ID: 2026_ASI_925839_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | J.D.TRADERS (BID ID -3483828) | 2206140.18 | L1
| 2 | DHAKARE BROTHERS (BID ID -3483804) | 2220976.53 | L2
| 3 | Bankey Bihari Stone Merchant (BID ID -3483667) | 2312532.49 | L3